DAILY CHECKLIST – CMDL Aerosol System

Month:	________Year:200__													Station: Bondville, Illinois

| Date | CNC butanol level: fill y/n | CN drier flow* ~8.5 lpm | CNC vacuum >14 ” Hg | CNC status lights G/R/Both | PSAP filter change | PSAP flow ~0.5 lpm | Q_stack* ~850 lpm | MFC box, Neph. ~29 lpm | MFC box, filters ~29 lpm | Active filter (1-8) | Active filter pressure (60-100 hPa) | Comments (e.g., rain, smoke, instrument issues, vehicle traffic, etc.etc.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |

Problems: Contact Allison Payton (303) 497-6189 or Betsy Andrews (303) 497-5171			Logging Status: *ABCFLMNU

*Check values on computer screen in ‘aerosol window’ <alt+A>

Month:________________  Year: 200___

WEEKLY TASKS

| PSAP ref. filter Date Time (UTC) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Neph span check Date Time (UTC) |  |  |  |  |
| Impactor films Date |  |  |  |  |
| Carousel filters (Filter Rack) Date |  |  |  |  |
| Leak check Date |  |  |  |  |
| Mail carousel filters to PMEL |  |  |  |  |

MONTHLY TASKS

| Mail PSAP filters, checklists to NOAA |  |
| --- | --- |
| Check supply levels | Butanol PSAP filters Impactor films Plastic bags Other:___________________ |