## Slide 1: NOAA Humidifier – smaller (lower flow) version (yours will have larger tubing and fittings)
Ribbon heater
Thermal cutoff switch
Swagelok reducing union, bored out to pass smaller tube
Exterior aluminum tube
Water port (hole drilled into fitting and tube press fit into hole)

## Slide 2: What the high-flow assembled humidifier looks like
Water port (hole drilled into fitting and tube press fit into hole)
1-inch OD aluminum tube
Self fusing silicone tape
Swagelok stainless steel reducing union, 1” – ¾”
¾-inch teflon ferrules
¾-inch stainless tube

## Slide 3: What our water circulation system looks like
Water reservoir
Water fill port
Water pump
Water float switch – shuts off heater when no water flow
Water pump controller (can adjust the pump flow)
Water filter
Water flow path:
reservoir  water pump  inlet (bottom) of humidifier  outlet (top) of humidifier  water float switch  water filter  reservoir