# CCN Spares and Consumable Supplies

A series of spares and a consumable supplies kits are available for the CCN unit.

- Startup Kit (KIT-0001):  provided with the initial instrument purchase

- Consumables Kit (KIT-0002): a maintenance kit that will support the CCN for one year of continuous operation

- Field Repair Kit (KIT-0003): a basic hardware and electronic component field service.

- Electronic Repair Kit: a circuit board and OPC head field service.

### Start Up Kit (p/n: KIT-0001) 			no charge

| Start Up Kit (p/n: KIT-0001) Contents |
| --- |
| QTY (Each) | Part Number | Description |
| 1 | ASSY-0122 | Plug Assembly |
| 1 | FUS-0030 * | 1.0 A PC board fuse |
| 2 | FUS-0006 * | 2.0 A PC board fuse |
| 2 | FUS-0012 * | 3.15 A PC board fuse |
| 2 | FUS-0002 * | 5.0 A PC board fuse |
| 1 | CON-0240 | Connector |
| 1 | ASSY-0119 | Touch Screen Cable |
| 1 | COMP-0015 | Touch Screen |
| 1 | CBL-0021 | Null Modem Serial Cable |
| 1 | PLUM-0167 | Syringe Adapter |
| 1 | PLUM-0162 | Syringe, 30cc |
| 4 | HW-0448 | M 4 x 8 mm screen mounting screws |
| 4 | HW-0462 | M4 spring lock washer |
| 1 | DOC-0087 | Software Manual |
| 1 | DOC-0086 | Hardware Manual |
| 1 | SOFT-0002 | CCN CD Software |

* The fuses used in the CCN are printed circuit board mount fuses and are often not available at general electronics outlets.

### Consumables Kit (p/n: KIT-0002) 			$660

The Consumables Kit is designed to supply parts that will be consumed in one year of continuous operation.

| Consumables Kit Contents (p/n: KIT-0002) |
| --- |
| QTY (Each) | Part Number | Description |
| 1 | CON-0240 | Female power connector |
| 4 | FLTR-0011 | Disposable sheath air filter |
| 8 | HW-0327 | Ferrule set for filter |
| 4 | MP-1080 | Bottle gaskets |
| 10 | PLUM-0124 | Flangeless nut for tubing |
| 10 | PLUM-0125 | Ferrule for 1/8 inch tubing |
| 2 | PLUM-0129 | Safety coated bottle |
| 1 | PLUM-0139 | 10 ft length of 1/8 inch tubing |
| 1 | PLUM-0148 | Sample pump diaphragm kit |
| 1 | PLUM-0114 | Nafion humidifier |
| 1 | PLUM-0162 | Disposable Syringe |
| 1 | FLT-0014 | 200cc Gas Purifier |
| 1 |  | Syringe Filter |

### Basic Field Repair Kit (KIT-0003) 			$2,630

The Basic Field repair spares kit includes electronic components exclusive of the printed circuit boards.

| Field Repair Kit Contents (p/n: KIT-0003) |
| --- |
| QTY (Each) | Part Number | Description |
| 1 | CBL-0004 | 50 pin cable |
| 1 | COMP-0013 | 20 G hard drive with operating system and software |
| 8 | EL-0022 | Thermoelectric cooler |
| 1 | EL-0026 | Thermoelectric cooler driver |
| 2 | EL-0031 | Temperature sensing element |
| 1 | PLUM-0171 | Solenoid pump unit 20 ul |
| 1 | PLUM-0187 | Pump, Self-Priming, 12VDC, 60 microleters |
| 1 | PLUM-0149 | Air sample pump |
| 1 | PLUM-0142 | Proportional valve for flow control |
| 1 | SW-0010 | Power switch/circuit breaker |
| 1 | MISC-0094 | Wrist grounding strap |
| 1 | MISC-0103 | 7/64 Hex Bit |
| 1 | MISC-0097 | Torque screwdriver |
| 1 | LUB-0004 | Heatsink compound |

### Electronics Kit (p/n: KIT-0004)			TBD

The electronics kit (KIT-0004) includes the printed circuit cards, computer cards and a complete optical particle counter head

| Electronics Kit Contents (p/n: KIT-0004) |
| --- |
| QTY (Each) | Part Number | Description |
| 1 | ABD-0072 | Optical Particle Counter Processing (CDPE) |
| 1 | ABD-0073 | Optical Particle Counter Power Supply |
| 1 | ABD-0110 | CCN Controller/Power Supply |
| 1 | ASSY-0064 | Optical Particle Counter Head |
| 1 | COMP-0016 | PC-104 two port serial card |
| 1 | COMP-0017 | PC-104 multi function card |
| 1 | COMP-0018 | PC-104 base card |
| 1 | COMP-0019 | PC-104 CPU Card w/ Processor and Memory |
| 1 | MISC-0094 | Wrist grounding strap |