General commands

| Keystrokes | Action |
| --- | --- |
| <enter><enter> | Brings up message window |
| <control> <M> | Shows root menu |
| <esc> | Shows root menu and hides root menu |
| <alt> <X> | Selects root menu entry ‘X’ when root menu is not focused (X can be A,B,C,F,G,H,L,M,N,O,S,U,V,W) |
| <control><D> | Disc operations menu |
| <control><M><enter> | Online log entry (message window) |
| <F12> | Online log entry (message window) |
| <control><E> | Toggles error window |
| <control><C> | Quit cpdclient |
| <M> | Shows menu for active window |
| <control> <W> or <W> | Closes active window |
| <tab> | Cycles through open windows |
| Arrow keys (in menu) | Move thru menu list |
| Number/letter (in menu) | Quick select on menu list |
| Keystrokes | Action |
| <enter> (in menu/dialog box) | Chooses or toggles selected item |
| <enter> (dialog box) | Begins enter input mode, text will be bolded; pressing <enter> again will end input mode |
| <control><W> (in menu) | Cancels selection |
| <esc> or <control><W> | Exits menu/dialog box without applying changes |
| <enter> (with bottom entry selected in dialog box) | Closes dialog box and applies all changes |

Maintenance commands – note these are ONLY the computer commands needed for maintenance.  The manual describes the maintenance procedures in more detail and should be referred to for exact procedures.

| Keystrokes | Action |
| --- | --- |
| <enter><enter> | Brings up message window |
| <Alt><L><M><3> <Alt><L><M><3> | PSAP filter change Lets computer know psap filter is being changed Lets computer know psap change is over |
| <enter><enter> <Alt><A ><M><3> <Alt> <A><M><3> <Alt> <N><M><5> <enter><enter> | Impactor change Enter message ‘starting impactor film change’ Bypass analyzers Actually change impactors Unbypass analyzers Start Neph zero Enter message ‘end of impactor servicing and neph zero’ |
| <enter><enter> <enter><enter> <enter><enter> | Leak Check Enter message ‘starting leak check’ Enter message ‘ambient values are CN= dp Neph imp =’ Enter message ‘filtered values are CN= dp Neph imp =’ |
| <Alt><F><M,<6> <Alt><F><M><6> | Changing Carousel Filters Selects filter change and computer knows it’s starting Do all the filter change stuff computer knows filter change is over |
| <Alt> <N><M><3> <Alt> <N> | Span check Lets computer know span check is starting, follow prompts Check span check results |