DAILY CHECKLIST – CMDL Aerosol System

Month:	________Year:200__											Station: Mt. Waliguan, Qinghai Province, China

| Date | System /laptop communicating? | CPC butanol level: Fill (y/n) | CPC drier flow >4 lpm | CPC vacuum >10 in. Hg | CPC status lights Green? | PSAP filter change (HHMM) | PSAP flow (~0.75 lpm) | Q_stack* (700-1000 lpm) | PID box, 4th PID ~29 lpm | PID box, 2nd PID (Sample RH) <40 | Spare sample lines ~30 lpm? | Comments and Observations (e.g., sunny, rain, smoke, cloud, fog, instrument issues, vehicle traffic, etc.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |

Problems: Contact Sun Junying, tel: ______________________

*Check values on computer screen in ‘aerosol window’ <alt+A>

Month:________________  Year: 200___

EVERY WEEK TASKS

| PSAP ref. filter Date Time (UTC) |  |  |  |  |
| --- | --- | --- | --- | --- |

EVERY TWO WEEK TASKS

| Neph span check Date Time (UTC) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Clean 1-micron impactor Date |  |  |  |  |
| Leak check Date |  |  |  |  |

EVERY MONTH TASKS

| Clean 10-micron impactor (Date) |  |
| --- | --- |
| Check supply levels | Butanol PSAP filters Other:___________________ |