DAILY CHECKLIST – NOAA/ESRL/GMD Aerosol System

Month:	________Year:20__												Station: Trinidad Head, California

| Date | CNC butanol level: fill y/n | CN drier flow1 ~8.5 lpm (Q_Q72) | CNC vacuum 14 ” Hg | CNC status lights (green | PSAP filter change | PSAP flow2 ~1.2 lpm | Q_stack3 ~850 lpm | CLAP filter change | CLAP Flow3 | CLAP spot1 | PID box, flow ~29 lpm | Comments (e.g., rain, smoke, instrument issues, vehicle traffic, etc.etc.) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |

Problems: Contact Pat Sheridan (303) 497-6672 or Betsy Andrews (303) 497-5171			Logging Status: CEFNPRUW

Check values on computer screen: 1<enter><f> ; 2<enter> <r> ;3main screen ; 4<enter> <w>

Month:________________  Year: 20___

WEEKLY TASKS

| PSAP ref. filter Date Time (UTC) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Neph span check Date Time (UTC) |  |  |  |  |  |
| Impactor cleaning (Hum. Rack) Date |  |  |  |  |  |
| Leak check Date | ambCN= amb_dP= filtCN= filt_dP= | ambCN= amb_dP= filtCN= filt_dP= | ambCN= amb_dP= filtCN= filt_dP= | ambCN= amb_dP= filtCN= filt_dP= | ambCN= amb_dP= filtCN= filt_dP= |
| Pumpbox Vac guage~0.25”H2O Rotameters ~30 lpm |  |  |  |  |  |

MONTHLY TASKS

| Mail PSAP filters, checklists to NOAA |  |
| --- | --- |
| Flush CN Butanol |  |
| Check supply levels | Butanol DI water PSAP filters Plastic bags Other:_____________ |
| Check CN drier filter, Change if necessary |  |