Packing list for station maintenance

General

- USB stick

- Selected tubing and fittings and nylon ferrules

- Duct tape!

- Climbing harness

- Camera

- Garbage bag

- ¼” nylon ferrules for CO2 filter replace

- cable ties

- hard copy of cpd.ini

Flows

- Bios flow meter + tubing and some ¼” to ½” connections

- Hepa filters for upstream of MFCs (2 at THD)

T/RH sensor calibration, check

- Hygrometer

- RH generator

- Handheld digital thermometer

- extension cables for RH sensors

- spare RH sensors

- Teflon sleeves for RH sensors

Pressure

- Magnahelic for pitot tube calibration – 0.5” H2O

- Magnahelic and manifold for pressure sensors - 0-2 psi magnahelic

- Magnahelic for CN vacuum 0-15 psi

Pumpbox

- Vanes for carbon vane pump (k479 at THD)

- Diaphragm pump kit (K294 at THD)

- Fiber glass fluff for pump filter

- Pitot tube and acrylic tube

CN

- 3010 for overnight comparison

- mixing chamber + power for mixing chamber fan + conductive tubing

- balston filter on CN drier line

- replace drier tube

Nephs

- Hepa filter with attachments for neph zero

- 1 Hepa filters for each neph hepa filter (not necessary every year)

- 1 balston filter for each  neph balston filter

- 1 balston filter to replace balston filter in CO2 line +ferrules

PSAP

- no parts replaced on annual basis

Windbird

- Compass

- Walkie-talkies

Specific for THD-2005

- PSAP knob

- Blower with mods, and potentiometer and dial that Jim is making

- O-rings for humidifier valves

- Sharpies for psap bag writing

- Pitot tube?

- Stamps

- Live CPD