Nitrous Oxide and Halocompounds

J.H. Butler (editor), J.W. Elkins, S.A. Montzka, T.M. Thompson, T.H. Swanson, A.D. Clarke, F.L. Moore, D.F. Hurst, P. Romashkin, S.A. Yvon-Lewis, J.M. Lobert, G. Dutton, L.T. Lock, D. King

Research conducted by the Nitrous Oxide and Halocompounds Group (NOAH) of NOAA/CMDL includes (1) weekly flask sampling and analysis of air from both remote locations and regionally influenced sites, (2) operation of instrumentation for hourly, in situ measurement of trace gases at the four NOAA/CMDL observatories and at four regionally influenced sites, (3) preparation and maintenance of calibration gases for all measurements, (4) participation on campaigns requiring in situ stratospheric measurements from high-altitude aircraft and balloons, (5) investigation of oceanic processes influencing trace gas composition of the atmosphere, (6) in situ monitoring of air at multiple elevations from tall towers, and (7) measurement of gases in air that is archived in consolidated snow in Antarctica and Greenland.

Continuing Programs

Introduction (Elkins/Montzka/Butler)

The main mission of NOAH is to measure and analyze the distribution and trends of nitrous oxide (N2O) and many halogenated gases in the atmosphere and ocean with the best analytical tools available.  The halogenated gases, or halocompounds, include the chlorofluorocarbons(CFCs), chlorinated solvents (CCl4, CH3CCl3, CHCl3, etc.), hydrochlorofluorocarbons (HCFCs), hydrofluorocarbons (HFCs), methyl halides (including CH3Br, CH3Cl), halons, and sulfur hexafluoride (SF6).  In the next two years, the perfluorocarbons (PFCs) will be added to the list of compounds measured by NOAH.  The recent motivations for measuring these compounds are (1) that many of the brominated and chlorinated compounds that cause ozone depletion are being phased out of production by the Montreal Protocol [UNEP, 1987] and its subsequent amendments, and (2) that these and many of the compounds introduced to replace them contribute to global warming.  The Kyoto Conference for Global Warming conducted in December 1997 recommended future limits on the emissions of six compounds or types:  (1) carbon dioxide (CO2), (2) methane (CH4), (3) N2O, (4) HFCs, (5) SF6, and (6) the PFCs.  Four out of the six categories are within  the domain of NOAHÕs research.

NOAH’s continuing programs are based upon in situ measurements or measurements of air samples from four CMDL observatories and nine cooperative sampling sites (Figure 5.1.1(1), Table 5.1.1(1).  These stations provide a robust network for evaluating global atmospheric change and hemispheric relationships for the various compounds.

One of our more significant discoveries in the past two years is the turnover of total anthropogenic chlorine in the atmosphere.  This finding came from the combined results of NOAH’s flask sampling, in situ monitoring, and standards programs.  As a result of declining concentrations and growth rates for CFCs, methyl chloroform, and CCl4, the amount of chlorine, equivalent chlorine (chlorine + bromine weighted by an efficiency factor), and effective equivalent chlorine (equivalent chlorine weighted by destruction rates in the mid-latitude stratosphere) contained within long-lived, halogenated gases (CFCs, HCFCs, CH3CCl3, CCl4, and halons), peaked in 1992-1994 and declined through 1995 [Montzka et al., 1996; Cunnold et al., 1997].  Our measurements suggest that declines in these quantities continued during 1996-1997 at rates similar to those observed in mid-1995 (Figure 5.1.1(2)).  Amounts observed at the end of 1997 represent a decrease of 2-4% from the peak Cl, ECl, and EECl delivered to the atmosphere from these gases in earlier years.  Declines in the total atmospheric burden of Cl, ECl, and EECl are relatively smaller, because other gases (e.g., CH3Cl and CH3Br) also contribute significantly to atmospheric burden of these quantities.

The gas contributing the most to this decline is CH3CCl3, which has an atmospheric lifetime of less than 5 y.  As this gas is removed from the atmosphere, the overall rate of the decline in total chlorine will become smaller.  However, distributions and trends of this gas do allow us to understand other atmospheric processes.  For example, the difference in the atmospheric mixing ratio of CH3CCl3 between hemispheres has become dramatically smaller since 1992 as emissions have declined.  The global latitudinal distribution of CH3CCl3 in 1992 and earlier years reflected the distribution of sources;  mixing ratios in the northern hemisphere were higher than in the southern hemisphere because this solvent was emitted predominantly in the northern hemisphere.  As emissions become insignificant, the distribution of CH3CCl3 will instead reflect the latitudinal distribution of sinks for this compound, which are dominated by the reaction of CH3CCl3 with the hydroxyl radical (Figure 5.1.1(3)).  Since the summer of 1996, mixing ratios at SMO have been lower than at CGO, likely as a result of the greater abundance of OH in the tropics.  Continued monitoring of methyl chloroform as emissions diminish further should allow for refined estimates of the global lifetime of CH3CCl3 and, therefore, of other trace gases that react with OH.  It will also be useful in estimating  the mean annual OH abundance in the northern and  southern hemispheres.

Other significant results from NOAH’s Continuing Programs are the global increases in atmospheric N2O and SF6, again observed in both the flask and in situ monitoring, the continued growth of atmospheric HCFC’s and HFC’s as they increasingly are used as replacements for the ozone-depleting CFC’s, and the surprising, protracted growth of the halons in the atmosphere years after the cessation of their production in developed countries.

Flask Samples

Overview (Butler/Montzka)

NOAH’s flask sampling program has undergone a few changes in 1996-97 designed mainly to facilitate processing of samples and data.  Over the past decade the number of gases analyzed by this group has risen from 3 to over 25 and the number of weekly sampling sites has more than doubled, from 5 to 11 (Figure 5.1.1(1), Table 5.1.1(1). Additional flasks are collected as part of NOAH special projects, including oceanic expeditions, polar firn sampling, and aircraft missions.  Flasks that once were analyzed on one instrument are now analyzed on four instruments, two of which are mass spectrometers (Table 5.1.2.1(2)).

This increase in the number of flasks sampled and gases measured has resulted in a considerable increase in the laboratory workload.  Attempts to offset this have focused on automation of NOAH instruments, streamlining of data processing, and improving quality control.  In 1991 the first of the automated instruments, a three-channel GC/ECD system capable of measuring 7 gases, was put in service to replace the old manual, one-channel GC/ECD that measured only 3 gases [Montzka et al 1991].  After a few years of debugging and intercomparison, the old, manual GC/ECD was retired in 1996.  Software for running the automated GC/ECD system  was upgraded in 1995.  In the past two years quality control programs have been written and a database developed which now allow an assessment of data from samples immediately following analysis and posting for internal review on the same day.

Other efforts at automation include the GC/MS responsible mainly for measurement of HCFC’s and methyl halides, and an additional GC/ECD system (LEAPS), used mainly for measurement of halons and methyl bromide.  Programs also have been  written to speed up processing of data from these instruments.  Peak integration is now fully automated on both  GC/MS instruments, although manual integration of peaks is still necessary on the LEAPS GC/ECD system.

NOAH has evaluated some new sampling flasks, purchasing 32 new, 3-liter, electropolished, stainless-steel flasks from Meriter Corporation (San Jose, CA) for inclusion in our sampling network.  These flasks are constructed from 316 stainless steel, are highly electropolished, and have minimal weld exposure internally.  Stability is excellent for most gases in these flasks, although CCl4 and, to a lesser extent, CH3CCl3 can degrade over the long term, as they do in all steel flasks filled with dry air.  NOAH’s recent work with glass flasks in sampling firn air has shown that glass flasks identical to those used in the carbon cycle network, can be used for sampling halocarbons over the short-term.  Further tests of flasks already in the network showed that many of them, however, can be contaminated.  Apparently, the usefulness of these flasks for halocarbon sampling depends in good part upon their history.  NOAH continues to purchase and test these in small lots as a possible option for use in special projects and for measuring gases that are less stable in selected stainless steel flasks.

We made a number of improvements at our flask sampling sites during 1996 and 1997.  At SMO the sample inlet was moved from the stack to the pump board/Air-Cadet inlet system of the RITS GC to avoid cross contamination from other observatory instruments with inlets attached to the stack. Samples are now collected from the continuous flow, pressurized inlet at all sites except CGO, which will be changed over in 1998.  Because of  concerns about the durability of the Air-Cadet pumps for use with the RITS inlet system and flask sampling, we have begun replacing the existing pumps with KNF Neuberger N-05 pumps.  This has been done during visits to  SPO, MLO, KUM, and SMO; pumps at the remaining sites will be upgraded in 1998.  The Neuberger pumps have been used at the tower sites (ITN, LEF, HFM) since 1994 and have proven to be more reliable and durable.  They require less maintenance and should improve the quality of NOAH's flask samples.  At KUM, before November 1997, a pump system was carried to the site and connected upstream of the continuously flowing, Air Cadet pump to facilitate flask sampling.  In November 1997, the Air cadet pump was replaced by a continuously flowing KNF Neuberger pump.  Flasks can now be sampled using a simple manifold.  BRW and CGO will be visited in 1998 to receive the same improvements.  At NWR, AC power has been installed at Tvan.  The battery powered pump system will be replaced by a new system, allowing flasks to be filled to higher pressures.

In addition to improvements at these sites, we also initiated sampling with glass flasks at Palmer Station (PSA) at the end of 1997, in an attempt to understand the seasonal cycling of some of the more reactive halogens at a southern hemispheric, coastal site.  The objective is to compare results from this site with those from BRW, where seasonal cycles are pronounced and perhaps influenced by the breakup of ice.

5.1.2.2	CFC’s, Major Chlorocarbons, N2O and SF6 (Butler/Clarke)

CFC’s and Chlorocarbons.  Measurements from the automated flask GC (OTTO) show that atmospheric mixing ratios of CFC-11 and CFC-113 continued to decline through 1996-97, at rates slightly faster(?) than previously reported for earlier years [Montzka et al., 1996], while the growth rate of CFC-12, although still positive, decreased from ___ to ___ (See cover figure).  Global mean mixing ratios of CH3CCl3, which peaked  at 140 ppt in 1991, had decreased by a factor of nearly 2 by the end of 1997.  This substantial drop is due to a sharp decline in emissions in combination with an atmospheric lifetime of less than 5 y [Prinn et al., 1995].  The decline observed for this molecule has driven the downturn in tropospheric total chlorine noted since 1994 (Section 5.1.5) [Montzka et al., 1996].  Its overall contribution to this drop, however, will become smaller soon..  The global mixing ratio of CCl4 is more difficult to determine from flask samples because CCl4 (and to a much lesser extent CH3CCl3 and CH3Br) can be degraded in dry air samples stored for extended periods in  stainless steel flasks.  This is indicated by anomalously low mixing ratios and poor flask pair agreement in many of the samples collected  at SPO, and less frequently from wintertime samples collected at ALT, BRW, MLO, and NWR.  Nevertheless, measurements from reliable flask samples (those for which pair agreement is within acceptable limits{maybe mention a limit...}) support the trends and abundance determined by the RITS program, showing a continued decrease of ___ for atmospheric CCl4 through 1996-97.

N2O.  The growth rate of atmospheric N2O over the past two decades has ranged from under 0.5 to over 1.0 ppt y-1 (Fig 5.1.2.2(1)).  The mean, globally averaged growth rate of this gas during this time has been 0.75(0.03 (95% C.L.) ppt y-1, which amounts to about 0.25% y-1.  These data and growth rates are from 20 years of flask analyses and are corroborated by measurements with RITS in situ instrumentation over the past 11 years (Section 5.1.3.1).  The factors causing this increase and which determine the isotopic composition of atmospheric N2O are currently unexplained[Bouwman et al., 1995; Cicerone, 1989; Kim and Craig, 1993].  However, our measurements of firn air [Battle et al., 1996] and other ice-core records  [Khalil and Rasmussen, 1989; Leuenberger and Siegenthaler, 1992; Machida et al., 1995] show clearly that N2O has been increasing in the atmosphere for at least the past 100 y.

SF6.  SF6, a trace gas only recently introduced into the atmosphere, has a lifetime of ~3200 y [Ravishankara et al., 1993] and a greenhouse warming potential (GWP) of 15,000-35,000 [Schimel and al., 1996], making it an extraordinarily strong greenhouse gas on a per molecule basis.  The gas is used mainly as an insulator in electrical transformers and circuit breakers and, once leaked into the atmosphere, will persist for centuries to come.  Although present at low ppt levels in today’s atmosphere and currently of little global consequence, SF6 has been increasing in abundance since the early 1970’s [Geller et al., 1997; Maiss and Levin, 1994].  Our data, which include archived air samples and recent samples from our flask network, show that the growth rate has not changed much over the past decade (Fig 5.1.2.2(2)).  The growth rate of 0.20(0.03 (95% C.L.) ppt y-1 from our flask network samples, which run from 1995-1998, does not differ significantly from the 0.22(0.03 (95% C.L.) ppt y-1 from archived NWR samples, which go back to 1987.  NH, SH, and global growth rates for this gas are identical, which is to be expected for a gas with constant source strength and long lifetime.

5.1.2.3 Halons (Butler/Montzka/Clarke)

Measurements show that the atmospheric burden of halons H-1301 and H-1211 has doubled and that for H-2402 has increased by over half during the past decade (Figure 5.1.2.3(1)) [Butler et al., 1998].  Halon mixing ratios have continued to increase in recent years, despite an international ban on their production and sales in developed nations as of 1 January 1994.  Emissions persist to an extent because of a lack of suitable substitutes for critical uses as fire extinguishants.  As of 1 January 1997, halons H-1301 (CBrF3), H-1211 (CBrClF2), and H-2402 (CBr2F4) were present in the troposphere at 2.3(0.1, 3.5(0.1, and 0.45(0.03 pmol mol-1.  {Note:  Update amounts and rates to end of 1997}.  During 1995-96, the tropospheric mole fraction of H-1301 increased at 0.044(0.011 pmol mol-1 y-1, while that for H-1211 grew at 0.16(0.016 pmol mol-1 y-1. Tropospheric H-2402 is increasing at 9(1 fmol mol-1 y-1. These increases are significant and of concern because of the efficiency of bromine in depleting stratospheric ozone and because of the long atmospheric lifetimes of these gases.

The growth rate of H-1301 appears to have slowed recently, but it remains significant (Table 5.1.2.3(1)), Fig 5.1.2.3(2a)) and, within stated uncertainties, the 1997 growth rate does not differ from that reported for the end of 1996 [Butler et al., 1998].  Atmospheric H-1211 is increasing at a much higher rate than H-1301 and hasn’t shown much sign of slowing over the past decade (Table 5.1.2.3(1), Fig. 5.1.2.3(2b)).  The 1997 tropospheric growth is virtually identical to growth over the past decade.  Although the growth rate of H-2402  is substantially slower than that of the other two halons, H-2402 contains two bromine atoms per molecule.  Thus the increase of Br due to growth of H-2402 in the atmosphere in 1997 (Check this number) is almost half that of H-1301 and about one-tenth that of H-1211.

Few measurements of halons that allow for accurate comparisons to the results presented here have been reported over the past decade.  Usually, such reports are associated with field missions that are limited in geographic distribution, period of sampling, or both.  Some are part of stratospheric investigations, so contribute only a few values for the troposphere.   Even if these differences in sampling are taken into account, it is still clear that measurements from these studies in the past have not agreed well at all (Fig. 5.1.2.3(2)).  Such widespread disagreement among laboratories underscores the need for extensive intercalibration among investigators making these measurements.  Small offsets in calibration can lead to large errors in estimates of potential ozone depletion, because of the potential of the halons to offset gains in stratospheric ozone protection resulting from reductions in chlorocarbon emissions [e.g, Montzka et al. 1996].  Small errors in estimating the atmospheric burden of halons can lead to significant errors in estimates of the atmospheric burden or trend of equivalent chlorine in the atmosphere [Daniel et al. 1996].

Evaluations of the growth rates and the amounts of  “banked” halon available for use suggest that H-1301 emissions could continue at the present rate for another 40 y before depleting the bank of H-1301 [Butler et al., 1998].  This would leave an atmospheric mixing ratio of 3.6 ppt, or 57% higher than observed today.  Under the same scenario, reserves of H-1211 would be depleted in 8-12 y, leaving an atmospheric mixing ratio of 4.6-5.0 ppt, or 31-43% higher than observed today.  However, there is a significant discrepancy between H-1211 emissions calculated from production and use and emissions deduced from atmospheric measurements.  The discrepancy can be or reconciled by lowering estimated emissions by ~25%, reducing the atmospheric lifetime of H-1211 from the 20 y given in Kaye et al [Kaye et al., 1994]Kaye [1994 #55] to 11 y, or some combination of the two [Butler et al., 1998].  These uncertainties throw considerable doubt into modeled predictions of the future burden and fate of H-1211 in the atmosphere.  It is not certain whether the continued rapid increase in H1211 results from a depletion of known reserves, inordinately high fugitive emissions during its production in third world countries, or unreported production of halon.

5.1.2.4.  Chlorofluorocarbon Alternatives Measurement Program (Montzka)

Measurements of chlorofluorocarbon alternatives were continued on two instruments during 1996-1997.  On average, 1 to 3 flask pairs per month from 8 remote and 3 regional sampling locations were analyzed on the older GC-MS instrument over this period.  In addition, about one sample flask pair per month was analyzed from the remote locations on the instrument dedicated to making measurements of HFC-134a.  The main change made in this program involved automated data manipulation on both instruments as of January 1997, and automated analysis of larger flasks on the older GC-MS instrument as of September 1997.

Automated data manipulation allows for results to be calculated and compiled more efficiently than previously.  This is achieved through the use of macros written for the explicit purpose of determining chromatographic peak areas, and calculating and compiling results with a commercially available spreadsheet software package.

Automation allows for unattended analysis of up to 8 flasks or 4 high-pressure cylinders.  Flasks and secondary air standards are connected via a 16-port stream selection valve to the instrument inlet.  Flows from flasks are regulated with different lengths of small diameter stainless steel tubing that is matched to the initial flask pressure.  With automated analysis, agreement between replicate injections and between simultaneously filled flasks is similar or improved over manual analysis.  Results from a subset of flasks analyzed by both methods agreed for nearly all compounds.  Some small offsets were observed for HCFC-142b and HCFC-141b and appear to result from problems associated with manual analysis of flasks.  Protocols for routine checking of sample integrity as it passes through the multiple sampling ports are being implemented.

Also, halocarbon flask sampling began in December of 1997 from Palmer Station, Antarctica.  With assistance from CMDL’s Carbon Cycle Group, samples are collected in glass flasks two times per month.  The glass flasks are filled to about 1.3 kPa with the CCG MAKS sampling apparatus by personnel trained by CCG.  Although contamination is observed for some halocarbons, pump tests and preliminary results suggest good data can be obtained for many other compounds with this technique.  Sampling was added to this site to collect more information on how short-lived halocarbons vary seasonally in the Southern Hemisphere, and how the coastal, polar, marine environment can influence mixing ratios of particular gases.

Mixing ratios of the most abundant HCFCs continue to increase throughout the global troposphere (Figure 5.1.2.4(1); Table 5.1.2.4(1)).  In mid-1997, these 3 gases accounted for about 5% or 150 ppt of the atmospheric burden of chlorine contained within long-lived, anthropogenic halocarbons.  This amount was increasing by about 10 ppt per year in 1997, or similar to that reported for earlier years [Elkins et al., 1996].

Continued increases are also observed for HFC-134a, a gas for which restrictions on future use are being considered as part of the Kyoto Protocol (Figure 5.1.2.4(1); Table 5.1.2.4(1)).  Global mixing ratios of this CFC replacement are currently below 10 ppt.  Instrumental problems arising from laboratory air contamination and other issues limited the number of good measurements made in 1997.  Additional instrumental improvements are being implemented to avoid these problems in the future.

5.1.2.5.  Short-lived gases (Montzka)

Measurements of CH2Cl2, CHCl3, and C2Cl4 by GC-MS techniques were continued from remote flask sampling locations during the 1996-1997 period (Figure 5.1.2.5(1)) and as part of the CAMP.  Beginning in 1995, use of a new type of flask, built at Max Planck Insititue for Chemistry (MPI), Mainz,  has allowed for more reliable measurements of CH2Cl2 and CHCl3, and reliable measurements of CH3Cl and CH3Br (Figure 5.1.2.5(1)).  These MPI flasks are larger (2.4L vs. 0.8L), made out of a higher grade stainless steel, and do not contain any seals that require teflon tape.  Results from simultaneously filled pairs of these flasks generally agree to within the instrument measurement capabilities, suggesting that mixing ratios of gases contained within the flasks do not change during storage and transport.  This was not true for some gases, particularly CH3Cl and CH3Br, in the older, 0.8L flasks.

5.1.3.1 RITS Measurements (Thompson)

Operations Update.  The major operational change in this program over the two year period 1996-97 was the relocation of equipment to new buildings at three sites.  The air line intakes were not moved during this period however, but in November 1995, the tower at Amundsen-Scott Station, Antarctica was moved and the lines extended to accommodate construction of the Atmospheric Research Observatory.  Normal equipment and software maintenance continued as usual based on failures and problems reported by the site personnel.

At Niwot Ridge C-1 location a 10’x16’ Tall Ranch Tuff Shed was placed at the site in early October 1995 just east of the existing facility.  Over the next 6 months as time and weather permitted, a window was installed and the interior of the structure was wired for electricity, insulated, wall board and flooring installed, heat and air conditioning put in, and finish work done by NOAH staff.  University of Colorado personnel brought power to the building and also installed a fiber optic computer network.  On April 3, 1996 all the equipment was moved into the new building.  As the air lines were moved, one of the lines was found to have a small hole in it about three feet from where it entered the old building.  The Dekabon tubing was cut at that point and attached to the pump in the new building.  A comparison of the previous months data shows no statistical difference between the two air lines for any of the chemicals measured.

The new building at American Samoa was completed in early July 1996 and our equipment was the first to be moved from the old EKTO building.  The equipment was checked and then turned off on July 20, 1996, moved and tested, and was operational on July 25th.  Because the existing air lines were not sufficiently long to reach into the new building, a union fitting was put in each line and about 30’ of new Dekabon tubing added to reach the pump board.

On January 21, 1997 the computer and gas chromatograph equipment was shut down in the Clean Air Facility at Amundsen-Scott Station, Antarctica, crated for transport, and moved quickly by truck to avoid freezing to the new Atmospheric Research Observatory.  Most other project equipment had already been moved without regard to where it would be installed in the new building just to get it out of the cold.  This necessitated unloading and moving crates to make room to set up.  By the 27th of January all the equipment was operational again.  The very long air sampling lines were moved and cable-tied up off the snow with other lines on poles to avoid being crushed by people and equipment.  Since the distance from the Atmospheric Research Observatory to the sampling tower was closer than the Clean Air Facility to the tower, the excess air line was coiled up in the crawl space below the first floor where the equipment is located.

There have been frequent problems observed over time with the Air Cadet pumps which are used to draw air through the air sampling lines at all the field sites.  The expensive diaphragms sometimes rupture within two weeks of replacement.  An alternative pump that has proved much more reliable is the KNF Neuberger pump used at the tall tower gas chromatograph sites.  All Air Cadet pumps will be replaced by these in early 1998.

The RITS three channel gas chromatographs will be phased out after a 6-12 week comparison period with the new four channel STEALTH system.  This comparison period will be used to ensure comparable results.  The first STEALTH gas chromatograph was shipped in December 1997 and will be installed at Amendsen-Scott Station, Anarctica in January 1998.

Data Analysis.  A thorough review of our current calibration scale for CFC-12 was undertaken before an intercomparison meeting with AGAGE staff in May 1997.  This resulted in changes on the order of -2% to assigned mixing ratios for all calibaration tanks used at the field sites from 1993 to the present.  Likewise, by applying the same techniques to other gases, the calibration scales for CFC-11, nitrous oxide, methyl chloroform, and carbon tetrachloride have changed though not dramatically.  All data presented here have had these corrections applied and are our best estimates of what is happening in the global tropospheric atmosphere.

The revised global average maximum CFC-11 mixing ratio is 272.5 ppt in late 1993 (Figure 5.1.3.1(1)).  The mixing ratio is 268.8 ppt at the end of 1997, the growth rate is -1.3 ppt/yr, and the interhemispheric difference is 2.6 ppt.

The global CFC-12 mixing ratio at the end of 1997 is 531.4 ppt (Figure 5.1.3.1(2)).  The growth rate slowed until mid-1996 and now appears to be holding steady at 3.6 ppt/yr.  It was expected to reach zero over the next 18 months because of its previous near constant deceleration but that has now changed.  The average interhemispheric difference continues to decline and is 7.9 ppt in late 1997.

Carbon tetrachloride has been decreasing in the troposphere over the last six years currently at the rate of -0.7 ppt/yr.  At the end of 1997 the global mixing ratio is 102.0 ppt and the interhemispheric difference about 1.4 ppt (Figure 5.1.3.1(3)).  The revised calibration scale has increased mixing ratios by approximately 1% from 1993 and the rate of decrease is less than previously reported.

The rapid decrease in methyl chloroform, because of its banned use and short atmospheric lifetime of about 5 years, continues (Figure 5.1.3.1(4)).  At the end of 1997, the global mixing ratio is 76.9 ppt.  The interhemispheric gradient is near zero at 2.4 ppt.  The individual site mixing ratios are just starting to become interesting as changes from being source driven to being sink driven occur.  The late 1997 growth rate is -13.4 ppt/yr.  If this rate persists as it has over the 1995-97 period, methyl chloroform could be near zero in just 4-5 more years.

Nitrous oxide (Figure 5.1.3.1(5)) continues to grow in the atmosphere at an average rate of 0.68 ppb/yr over the past 4 years.  The global mixing ratio at the end of 1997 is 313.1 ppb and the average hemispheric difference over the whole 1987-97 period is 1.2 ppb.  There is an annual cycle in the southern hemisphere that is in phase with the annual cycle in the northern hemisphere peaking in the first quarter of each year  generally.

5.1.3.2  Four Channel in situ Gas Chromatographs (Swanson) (We MUST have a new name for this beast . . . .)

Three four channel NOAH STEALTH type gas chromatographs are currently in operation at HFM, ITN, and LEF.  A fourth single channel version measures nitrous oxide (N20) and sulfur hexaflouride (SF6) at ALT.  These new in situ gas chromatographs are designed to replace the NOAH RITS in situ gas chromatographs.  The first replacement NOAH STEALTH gas chromatographic system has been shipped to SPO and will be installed in January, 1998.  Laboratory tests are underway for the NOAH STEALTH system due to be installed at BRW in second quarter of 1998.  After installation of the BRW system, installation at MLO and SMO will be scheduled.  It is anticipated that installation will take place in Fall, 1998.

Chromatography and Software.  Each NOAH in situ gas chromatograph system is custom designed specifically for the atmospheric scientific goals of the site. Table 1. lists the compounds to be sampled by the new NOAH in situ gas chromatograph at the NOAA CMDL Observatories.

Chromatographic control and data acquisition are accomplished by programs developed within NOAH using the QNX operating system running on Personal Computers (PC).  QNX is a UNIX based operating system with structured C programming language support.  As a multitasking operating system, QNX allows simultaneous programming functions that allow for concurrent control, data acquisition, user interface and data retrieval.  The enhanced capabilities of QNX have allowed NOAH to add features that take advantage of a wide range of modern technology.

The control functions of the NOAH in situ gas chromatograph fall into two categories, those controlled by a custom digital interface and those controlled by an RS-485 network.  Sample selection, chromatographic valves, cut-off solenoids, and flow controllers are controlled by a custom digital interface.  Temperature controllers use an RS-485 network.  Two data acquisition circuit boards handle input from the gas chromatograph electrometers, temperature and pressure sensors.

Chromatographic data from the electrometers and engineering data are stored in a file buffer on the hard drive of the computer. Raw chromatograms and a representative subset of the engineering data are extracted from the buffer, compressed and stored in a retrieval sub-directory set up as a first-in-first-out (FIFO) on the hard drive and archived to on 100 Mb Iomega Zip disks at the site.

A computer workstation at CMDL Boulder, noah2, retrieves the chromatographic and engineering data from the NOAH in situ gas chromatograph on a daily basis for processing.  Routines for this retrieval have been programmed using TCP/IP - Internet links.

Additional programs for use in trouble-shooting and routine maintenance have been included in the QNX software.  A World Wide Web (WWW), home page at the field site allows scientists and technicians to determine the operational status of the instrument system remotely over the Internet.  The WWW page includes real-time and near real-time engineering and chromatographic data displayed in table and graphic formats.  This user interface, accessed with widely available WWW browse software, adds considerable flexibility for scientists and technicians to collaborate to anticipate problems and resolve them quickly.

Installation.  Installation of the NOAH in situ gas chromaotograph at the Atmospheric Research Observatory at SPO is proposed for January, 1998.  This three sage project began in Boulder in late 1997 with logistics. The completion of the installation at  SPO  will include the Facilities and Set-up stages.

Logistics were a major part of the installation process for SPO.  All carrier gas cylinders were ordered from Antarctic Support Services in July, 1998 so that they would arrive before the NOAH in situ gas chromatograph was deployed.  The NOAH in situ gas chromatogaph and its associated components were shipped in nine crates in December, 1997.

Facilities preparations for the NOAH in situ gas chromatogaph will involve re-configuration of the SPO RITS system.  The RITS system and the NOAH in situ gas chromatogaph will share space on a 3 foot by 8 foot laboratory table.  To conserve space, the computers for each system will share keyboard, mouse and monitor through a switch box.   A network connection to both computers will be through 10BaseT connections to ARO local area network (LAN). Connections to the Internet and the South Pole wide area network (WAN) will be through fiber optic cable from ARO to the WAN communications center located in the Science building inside the South Pole Dome.

Set-up for the NOAH in situ gas chromatogaph is anticipated to take up to one week.  A primary goal in this step will be to minimize the down-time for the RITS system.  The NOAH STEALTH gas chromatographic system was shipped with the chillier and trap assembly removed. After re-assembly of the NOAH STEALTH gas chromatographic system, systematic testing will determine the amount of fine tuning needed to make the system operational. Quality control and calibrations will complete the process of Installation.

Upon successful installation, the replacement NOAH STEALTH gas chromatographic system will begin to sample the atmosphere at the South Pole.

5.1.4 	Gravimetric Standards (Elkins Section missing 4/15/98)

5.2 Stratospheric measurements

5.2.1 Aircraft projects-ACATS-IV (Romashkin/Elkins/Hurst)

The four-channel Airborne Chromatograph for Atmospheric Trace Species (ACATS-IV) makes in-situ measurements of 10 trace gases in the upper troposphere and lower stratosphere: chlorofluorocarbon (CFC)-11 (CCl3F), CFC-113 (CClF2CCl2F), CFC-12 (CCl2F2), methyl chloroform (CH3CCl3), carbon tetrachloride (CCl4), halon-1211 (CBrClF2), nitrous oxide (N2O), sulfur hexafluoride (SF6), hydrogen (H2) and methane (CH4), with chloroform (CHCl3) added to the list in 1997.  ACATS-IV made its first measurements in 1994 during Airborne Southern Hemisphere Ozone Experiment / Measurements for Assessing the Effects of Stratospheric Aviation (ASHOE/MAESA 1994-95) mission.  The instrument continued to be an integral part of the NASA ER-2 aircraft payload during 1995-96 Stratospheric Tracers of Atmospheric Transport (STRAT) and 1997 Photochemistry of Ozone Loss in the Arctic Region in Summer (POLARIS) missions.  A detailed description of the instrument can be found in Elkins et al., [1996b].

ASHOE/MAESA:  Stratospheric and Atmospheric Lifetimes of Source Gases.  The environmental impact of the measured anthropogenically produced chemicals (source gases) depends in good part upon the rate at which they release ozone-depleting chemicals in the stratosphere, i.e. their stratospheric lifetimes.  For many compounds studied here, there exist no significant tropospheric sinks (e.g. N2O, CCl4, CFCs 11, 12, and 113).  For these gases, the stratospheric lifetime is identical to or very near the atmospheric lifetime.  In general, longer atmospheric lifetimes are associated with greater ozone depletion potentials (ODP) and greater global warming potentials (GWP).  Simultaneous in situ measurements of the ten long-lived source gases were made in the lower stratosphere and upper troposphere on board using the ACATS-IV instrument [Elkins, et al., 1996b].  Volk et al., [1997] presented an analysis of the lifetimes calculated using two independent methods from data collected on the NASA ER-2 high-altitude aircraft during the 1994 ASHOE/MAESA campaign.

Plumb and Ko, [1992] showed that in the Òglobal diffuserÓ model, stratospheric transport can be described by a simple one-dimensional flux-gradient relation.  If the mixing ratios of two long-lived tracers, s1 and s2, are in steady state, then the slope of their correlation in the lower stratosphere equals the ratio of their stratospheric removal rates and thus

(1)

where Bi is the total atmospheric burden for species I, and ti is its steady-state stratospheric lifetime, equal to the steady-state atmospheric lifetime for species without tropospheric sinks.  The observed extratropical tracer abundances exhibit compact mutual correlations that show little interhemispheric difference or seasonal variability except at higher altitudes in Southern Hemisphere spring.

The mean age of the air (G) is calculated using the stratospheric measurement of SF6 and its tropospheric trend [Geller et al., 1997]. Volk, et al., [1997] showed that, under the same conditions, steady-state stratospheric lifetimes may be derived from the gradient of the steady-state tracer mixing ratio, s, with respect to the mean age of stratospheric air [Hall and Plumb, 1994], G, in the measured air parcels:

(2)

where Nu is the total number of molecules above the tropopause, and the gradient with respect to age, ds/dG, needs to be evaluated at the extratropical tropopause (close to the 380 K potential temperature, q, surface).

If the tropospheric mixing ratio of the tracer is changing with time, part of the tracer gradient at the tropopause is due to accumulation in the stratosphere and 1/ti in either equation (1) or (2) has to be replaced with , where ti is the instantaneous lifetime and  is the total accumulation rate above the tropopause.  Volk, et al., [1997] proposed an alternative method of accounting for tropospheric growth and non-steady-state mixing ratios, c, to obtain steady-state lifetimes.  In this method, one deduces the correction factors C(ci) for each species using the tracer gradient with respect to age at the tropopause, observed dci/dG; the time series of tropospheric mixing ratios of the respective species during a 5-year period prior to the stratospheric observations; and estimates of the width of the stratospheric age spectrum from 3-D transport models [Hall and Plumb, 1994].

Volk, et al., [1997] showed that corrected steady-state correlation slopes defined as

(3)

can be used in Equation (1) to derive steady-state lifetimes based on a given CFC-11 reference lifetime.  Mixing ratios of N2O from the Airborne Tunable Laser Absorption Spectrometer (ATLAS, Loewenstein et al., [1989]) and ACATS CFC-113 plotted against ACATS-IV CFC-11 (Figure 5.2.1.(1)) are used to calculate their observed gradient (dci/dcCFC-11) in Table 5.2.1(1).  ATLAS N2O measurements are calibrated from NOAA/CMDL N2O standards and agreed with on board ACATS N2O measurements to within ±2%.  ATLAS N2O data are used here because ATLAS (1 sec.) has a higher sampling rate then ACATS (360 sec.).   The steady-state stratospheric lifetime for a source gas using the reference lifetime for CFC-11 is

(4)

where  is the mean atmospheric mixing ratio where the gradient is calculated at the tropopause.   From Figure 5.2.1(1) and Table 5.2.1(1), the steady-state atmospheric and stratospheric lifetime for N2O is 122 ± 22 yr and for CFC-113 is 100 ± 32 yr using a CFC-11 reference lifetime of 45 ±7 yr using equation (4).

The steady-state gradient dsi/dG defined as (observed dci/dG) times C(ci) is used in Equation (2) to obtain the steady-state lifetime using the "mean age" technique.  The steady-state stratospheric lifetime for a source gas based on mean age becomes

(5)

where Ma is the total atmospheric mass (5.13 x 1018 kg) and Mu is the total atmospheric mass in the upper atmosphere above the tropospause (1.1 x 1016 kg).  From Figure 5.2.1(1) and Table 5.2.1(1), the steady state atmospheric and stratospheric lifetime for N2O is 124 ± 49 yr and for CFC-113 is 89± 35 yr  based on mean age calculated using equation (5).  The uncertainties on the lifetimes using mean age are less precise than those calculated from the reference lifetime method because SF6 was only measured during the last quarter of the flights during ASHOE/MAESA.  From this limited flights, there were very little because the sampling rate also was one data point for SF6 every 360 sec.

Two independent methods for calculating stratospheric lifetime using observations have been developed.  Lifetime results from the two methods presented in Volk, et al., [1997] are consistent with each other (see Table 5.2.1(1)).  In most cases the calculated stratospheric lifetimes from observations are shorter than the WMO or IPCC reference lifetimes derived from photochemical models.  The reason may be that earlier models used for calculating the WMO/IPCC reference lifetimes did not incorporate the faster transport of the tropical stratosphere that is partly advective and similar to a Òleaky pipeÓ [Volk et al., 1996].  Since the derived stratospheric lifetimes are identical to the atmospheric lifetimes for many of the source gases in Table 5.2.1(1), the shorter lifetimes also would imply a faster recovery of the ozone layer following the complete phase-out of industrial halocarbons than currently predicted.

STRAT campaign.  The primary goal of the STRAT mission was to measure the morphology and dynamic properties of long-lived tracers as functions of altitude, latitude, and season to help determine the rates for global-scale transport and future stratospheric distributions of high-speed civil transport (HSCT) exhaust.  STRAT flight tracks were often latitudinal surveys in the upper troposphere and lower stratosphere where ACATS-IV provided key measurements of tracers used to study transport processes in the lower stratosphere. ACATS-IV participated in four out of six STRAT deployments and was flown on a total of 31 flights that spanned a wide range of latitudes (2.1¡S to 59.1¡N), predominantly at 15 to 21 km altitudes (potential temperature, ( = 360 to 510 K).  These flights included 4 southbound survey (SBS) flights into the tropics from Barbers Point, Hawaii (22¡N), 4 northbound survey (NBS) flights to nearly 60¡N from Moffett Field, CA (38¡N), and 23 purely midlatitude flights from both locations.

Sulfur hexafluoride (SF6) has no known sinks below the stratopause ((=3,200 yrs, Ravishankara et al., [1993]), a steady rate of growth of 6.7% per year [Geller et al., 1997] and is used extensively to study atmospheric transport processes.  Due to its large and steady growth rate, SF6 is also a useful indicator of the age of air masses in the upper atmosphere [Geller, et al., 1997;Volk, et al., 1997;Wamsley et al., 1998].  Mixing ratios of SF6 in the stratosphere are used to determine when air masses last passed through the tropopause, with the age of air masses at the tropical tropospause defined as zero. Tropospheric air masses that have not yet reached the tropopause are associated with negative ages.  ACATS-IV measurements of SF6 in the northern midlatitude upper troposphere during November 1995, and December 1996 (Figure 5.2.1(2)) show that mixing ratios increased by approximately 0.28 ppt in thirteen months, which is close to the 0.26 ppt expected from the documented growth rate.  The convergence of the November 1995 and December 1996 data sets in Figure 5-2 above ( = 450 K is due to increased effects stratospheric mixing with age of the air.

In the tropics (2¡S to 20¡N), vertical profiles of the mixing ratios of trace gases with different lifetimes conform to the results of study byVolk, et al., [1996], which showed significant quasi-horizontal transport in the lower stratosphere from midlatitudes into the tropical region (i.e., entrainment into a Òleaky tropical pipeÓ).  This entrainment of midlatitude air results in Òproportionally mixedÓ tropical profiles, which for CFC-11, are shifted about 15% from the unmixed tropical model line of Volk, et al., [1996] in Figure 5.2.1(3).  In the altitude range important for HSCT (16-20 km), ACATS-IV tropical data show several intrusions of midlatitude air into the tropics, denoted by several measuremetns which lie far to the left of the Òproportionally mixedÓ tropical profiles (( = 410-450 K and at 480 K, Figure 5.2.1(3)).  These anomalously low CFC-11 mixing ratios are well correlated with other long-lived tracers, indicating that air masses were mixed conservatively.  The trace gases mixing ratios of the intruding air masses are about 50% lower than the Òproportionally mixedÓ profiles, and more typical of midlatitude air from much further aloft  (( > 440 K; the midlatitude data is showed by red line and a 95% prediction band on Figure 5.2.1(3)). Similar, but weaker intrusions of midlatitude air at the same ( can be also seen in other tropical data (ASHOE/MAESA data in Elkins et al., [1996a];Volk, et al., [1996]).

The entrainment of midlatitude air into the tropics can be further illustrated by looking at the age of the air in the tropical region.  The age measured during the flight of Dec. 11, 1996 reaches 1.8-2.3 yrs at both 410-450 and 480 K surfaces in the latitude range from 12¡N to 20¡N.  Younger air at 440 K (1.4 yrs) but up to 2.7 yrs at 480 K surface was observed during all other tropical flights.  The 1.4 yr. old air masses are about one year older than what is seen in this region in Òproportionally mixedÓ profiles.  Especially illustrative is the southbound survey flight of Nov. 5, 1995 which crossed both  Òproportionally mixedÓ tropical air with age of about 0.4 yr. and midlatitude air with the age of 2.4 yrs which is mixing in at 480 K on the edge of tropical ascent region at 17¡N (see the ÒforkÓ for this flight showed by open circles on Figure 5.2.1(3)).

Most of the NBS flights show typical midlatitude vertical tracer profiles represented by the red line (mean) and prediction band on Figure 5.2.1(3). Only one flight (Feb. 1, 1996) actually crossed a filament of the polar vortex between 52 and 52.5¡N, with the age of the air exceeding 5.9 yrs. Typically, the mean age of the air in midlatitudes for STRAT at altitudes from 19 to 20 km averages at 2.5-3 yrs and does not exceed 4.4 yrs, reaching this maximum on four flights (Feb. 2 and 15, 1996; Dec. 9 and 13, 1996).

The total chlorine (Cltotal) loading of the lower stratosphere and its partitioning into total organic chlorine (CCly) and inorganic chlorine (Cly) was calculated by  Woodbridge et al., [1995].  Similar study of total bromine and it partitioning is presented inWamsley, et al., [1998].  ACATS-IV measures organic chlorinated compounds which account for 80% of total organic chlorine, and halon-1211, which contains about 16% of the total organic bromine in the atmosphere (see Section 5.2.1.1 for the list of measured compounds).  Calculated values of total chlorine and bromine and their organic and inorganic components, based on ACATS-IV measurements during STRAT, are shown in Figure 5.2.1(4).  Also shown are the total chlorine and bromine calculated from balloon-borne measurements up to 32 km altitude by the LACE (Lightweight Airborne Chromatograph Experiment) instrument during a Sept. 21, 1996 flight from Fort Sumner, New Mexico (35¡N) and a Feb. 14, 1997 flight from Ju‡zeiro do Norto, Brazil (7¡S, indicated as Òtropical flightÓ in Figure 5.2.1(4)).  See Section 5.2.2 for further discussions of LACE data from these and other flights.

POLARIS campaign.  The objective of 1997 POLARIS campaign was to understand the behavior of polar stratospheric ozone as it changes from very high concentrations in spring down to very low concentrations in autumn.  Missions were flown from Fairbanks, AK (65¡N), Moffett Field, CA, and Barbers Point, HI.  POLARIS data span the latitude range from 3.4¡S to 90¡N; however, because the main objective of the mission was to investigate the photolysis processes and their effects on radicals and ozone, latitudinal surveys played a smaller part than during STRAT.  ACATS-IV participated in 26 successful flights from April through September 1997.

For POLARIS, ACATS-IV chromatography was accelerated to decrease analyses time from 180 to 125 s. and hence, increase spatial resolution of measurements.  This was achieved by Òfolding backÓ the peaks with retention times over 2 minutes onto the beginning of the next chromatogram (Figure 5.2.1(5)), and injecting the next sample before all peaks were eluted.  Channel 2 (N2O and SF6) chromatography remained ÒunfoldedÓ, but the analyses time was reduced from 360 to 250 s.  The ÒfoldingÓ technique was first tested on the LACE instrument  (see Section 5.3, Elkins, et al., [1996a]), and was found not to degrade the precision or accuracy of the measurements.

ACATS-IV chloroform (CHCl3) peaks were first integrated during POLARIS with a precision of about ±0.5 ppt (±5% of CHCl3 mixing ratios) in the remote troposphere. Chloroform in the atmosphere reacts with the hydroxyl radical (OH) and is the shortest-lived ((=0.5 yr.) compound measured by ACATS-IV. Vertical gradients of CHCl3 are large compared to longer-lived species like CFC-11, and CHCl3 mixing ratios rapidly decrease from 10-15 ppt in the troposphere to 0.2-2 ppt in the stratosphere (Figure 5.2.1(6)).  Comparison of ACATS-IV chloroform measurements to the analyses of flasks filled during the same flights (NCAR WAS, E. Atlas, personal communication, 1997) shows that ACATS-IV results are on average are about 1 ppt higher than WAS, with a greater difference in the troposphere.  The cause of this discordance between ACATS and WAS CHCl3 data is being investigated, and may be resolved by future efforts to increase the signal-to-noise ratio of the ACATS-IV CHCl3 peaks (see Section 5.2.1.5). Currently, ACATS-IV provides the only chloroform data at mid-tropospheric altitudes because WAS sample containers are limited in number and are normally reserved for sampling at higher altitudes.

Several POLARIS flights from Fairbanks encountered air masses influenced by  the polar vortex.  A variety of mixtures of vortex and midlatitude air were sampled, as is clearly showed by tracer-tracer correlations of species with significantly different lifetimes (Figure 5.2.1(7)).  During the flight of June 29, 1997 ACATS-IV sampled photochemically processed vortex air characterized by very low trace gases mixing ratios (see Figure 5.2.1(7)) at the altitude of 21 km, at relatively low latitude (62-78¡N, see green points on Figure 5-8).  The balloon GC, LACE, also observed vortex remnants during its flight from Fairbanks on the same day (see Figure 5.2.2(5)).  It is interesting that the remnants of the polar vortex with the age of almost 7 yrs were detected in late June while earlier NBS flights in April encountered air masses that were at most 5.4 yrs old.  This is explained by the location of the polar vortex on the Siberian side of the pole in April 1997, too far from Fairbanks to be reached by the ER-2.

The two-dimensional distribution of air mass ages during POLARIS (Figure 5.2.1(8)), calculated from ACATS-IV SF6 measurements, demonstrates that the tropical lower stratosphere is characterized by young air (0.3 to 0.8 yr average), and that the lines of stable tracer mixing ratios (isopleths) typically follow ( surfaces.  Air masses older than 4 to 5 yr are generally found poleward of 50¡N, but in some cases were observed around 40¡N.  The oldest air masses encountered during POLARIS were 6.7 yr at  about 60-65¡N in late June of 1997.  It is ironic that flights reaching 90¡N in April 1997, did not cross the vortex boundary because of its location, yet flights in late June did intercept vortex air.

ACATS-IV Future.  With nearly two years before the next scheduled deployment of ACATS-IV, there are plans to make several improvements to the intrument.  A larger sample loop will be implemented on Channel 1 (3% OV-101 column) to increase the chloroform peak size. The chromatography column for channel 2 (N2O and SF6) will be changed to decrease the analysis time from 250 to 70 s and to improve the precision of SF6 measurements (currently about 3%). Chromatography changes to Channel 3 are expected to improve measurements of halon-1211, which is believed to be co-eluted with a small underlying peak that results in decrease of precision and accuracy.  The changes to Channel 3 may also permit measurements of CH4, which would free up one GC channel for measurements of new compounds, and permit 70 s analyses times on at least three channels while still measuring everything it measured before, except hydrogen.  The operation of ACATS-IV under a new, fully preemptive, multitasking operating system QNX (a variation of UNIX for IBM-PC compatible computers) has already been field-tested during the final flight of POLARIS between Barbers Point, HI and San Jose, CA.

5.2.2	High Altitude GC Tracer Measurements Project: OMS/STRAT/POLARIS (Moore/Elkins)

The Lightweight Airborne Chromatograph Experiment (LACE) is a relatively new three-channel GC instrument (Fig. 5.2.2(1) and Table 5.2.2(1)).  It was constructed to extend real time GC measurements of atmospheric tracers, like those of the ACATS instrument, to higher altitudes of up to 32 km where, particularly in the tropics, a larger portion of ozone production and loss takes place.  The LACE instrument has also made improvements on the spatial and temporal resolution by speeding up the chromatography to obtain a sample period of 70 seconds.  Many of these improvements have now been incorporated into the ACATS instrument.  During the last year LACE has obtained science quality data from four balloon flights onboard the Observations of the Middle Stratosphere (OMS) gondola. As part of the STRAT campaign, LACE flew one midlatitude flight out of New Mexico at 35( north and two tropical flights out of Brazil at 7( south.  There was also one polar flight out of Fairbanks at 65( N as part of the POLARIS campaign. Upcoming campaigns out of Fort Sumner, New Mexico and Kiruna, Sweden are confirmed. Future Southern Hemisphere midlatitude flights out of Australia are also being discussed.

The OMS package is currently configured to quantify stratospheric transport issues.  Towards this end LACE has made in situ measurements from the ground to the middle stratosphere of the long lived tracers halon-1211, chlorofluorocarbons (CFC-11, CFC-113, CFC-12), nitrous oxide (N2O), and sulfur hexafluoride (SF6) with a typical precision of between 1% and 4%.  The stratospheric lifetimes of these halocarbons and nitrous oxide are dominated by simple photolysis. Their global atmospheric lifetimes span several orders of magnitude.  Similarly, the local photolytic lifetimes reduce by four orders of magnitude in going from the tropopause to 32 km.  This range in lifetimes covers the dynamic time scales of stratospheric transport and their mixing ratios are extremely sensitive to this transport with a strong dependency on vertical flow.

Sulfur hexafluoride does not have this altitude dependent photo-disassociation and has a global lifetime of greater than 3200 years.  Spatial and temporal gradients in the mixing ratio of SF6 are therefore driven by surface emissions predominantly in the Northern Hemisphere.  This leads to both a large interhemispheric surface gradient and a nearly linear surface growth rate as documented by Geller et al, [1997].

Sulfur hexafluoride adds to this powerful data set because of its sensitivity to a somewhat independent degree of freedom.  By lacking this stratospheric sink, its sensitivity to transport is driven entirely by the mean transit time from this growing tropospheric source.  Unlike the halocarbons, the measured gradients in the value of SF6 in the stratosphere have only a passive sensitivity to altitude, yet maintain a strong dependency on the time scales of transport [Volk et al, 1997]. Our current precision of SF6 in the stratosphere is 2 %, which translates to 3.5 months of growth.

Although this 3.5 month resolution is adequate to track stratospheric dynamics, by defining a mean age of the air parcel since entering the stratosphere, it is not adequate to track most of the transport within the free troposphere, with the exception of the interhemispheric exchange rate. Nontheless, tropospheric vertical gradients with both temporal and latitudinal dependence appear to persist. The interhemispheric surface gradient is believed to be  transported into the free troposphere between 30( N and 30( S, in a time scale comparable to or faster than this 3.5-month resolution.  A measurement of these vertical gradients in the SF6 mixing ratio below 380 K, coupled with the existing measured surface gradients, can be used to quantify tropospheric transport and stratosphere-troposphere exchange.  This may also be used to improve the connection between the CMDL global mean value of SF6 and stratospheric age, as defined by a value of zero assigned at the tropical tropopause.

Finally, the CFCÕs and H-1211 mixing ratios represent a significant fraction of the total chlorine and bromine entering the stratosphere.  As with the ACATS instrument, an estimate of total chlorine and bromine and their organic-inorganic partitioning can be made.  Please refer back to section 5.2.1 for details and data.

Stratospheric Dynamics.  Major strides in understanding the interactions  between pollutants, ozone production vs. loss, and climate  forcing have been made in the last decade.  The interactive  relationship between chemistry and transport has been brought to the forefront where uncertainties  in transport appear to be the limiting parameter  in the predictive aspects of the field.  The quality of the upcoming assessment on the environmental  impact of existing aircraft and the proposed High Speed Civilian Transport (HSCT) fleet is therefore limited  by our ability to quantify stratospheric transport.

LACE data is being analyzed to quantify stratospheric transport.  In particular, estimates have been made of entrainment of air from midlatitudes  into the tropics across the subtropical barrier, the mean age of an air parcel after crossing the tropical tropopause, and mean flow.  Breakdown of the arctic vortex and a resulting cross theta Òmixing surfaceÓ was also observed.  These will be discussed later in this section.

As descussed by Plumb and Ko [1992], tracer-tracer correlation between simple photochemical species are robust and tight, so long as quasi-horizontal mixing dominates over vertical advection, as in the global diffuser model.  In the Òtropical pipeÓ model of Plumb [1996], the concept of a tight tracer-tracer correlation is also valid in the midlatitudes, and to a large degree in the tropics on the other side of the tropical barrier.  Mixing across this tropical barrier, the so-called Òleaky pipeÓ, connects these two regions.  This mixing is a dominant mechanism for transport of midlatitude lower stratospheric air into the middle and upper stratosphere.  This midlatitude mixing into the tropics is also a key uncertainty in the HSCT assessment and has been a primary focus of the OMS platform.

A modified Volk et al, [1996] analysis, which quantifies the mixing of air from the extratropical stratosphere into the tropical pipe, has being extended to 32 km by using the new LACE CFC and SF6 profiles.  Two approaches have proven fruitful. The first approach relies on mean vertical advection rates () calculated by Rosenlof [1995].  Chemical losses of the CFCÕs () is dominated by simple photolysis; therefore, assuming no midlatitude influence, isolated tropical profiles can be calculated given an advection rate, photochemical lifetimes (J values), and the mixing ratios () of the CFCÕs entering the tropical tropopause (see Fig. 5.2.2(2) (a) and (b)).  This isolated tropical profile can be evolved vertically from the tropical tropopause including  a constant mixing, , from the measured midlatitude profile along constant theta surfaces. This tracer continuity is governed by equation 1.

(1)

A least squares fit of this evolved tropical profile, with mixing, to the measured tropical profile is then performed over three separate altitude ranges.  The entrainment time () is varied as the free fit parameter.  This entrainment time is held constant over each given altitude range to stabilize the fits.  These isolated tropical profiles have also been corrected for weak O(1D) chemistry and tropospheric growth  (Fig. 5.2.2(2) (a) and (b)).

One problem that limits this approach is the large uncertainty in the tropical advection rate. Fortunately, the advection rate can be eliminated from the calculation by using tracer-tracer correlation between molecules of differing atmospheric life times.  This can be seen by taking the ratio of equation 1 for the mixing ratioof one molecule, to equation 1 for the mixing ratio  of a second molecule.

(2)

Because this advection rate Q is common for all molecules in the same air mass moving up the tropical pipe, it drops out  of Eq. 2.  This second approch is shown in Fig. 5.2.2(2) (c) and (d).

Entrainment times from a preliminary analysis of LACE data is shown in Fig. 5.2.2(2) (e).  LACE data are consistent with a constant entrainment time of 15.1 */ 1.25 months over the entire range up to 32 km.  By 32 km, 90 % of the air in the tropical upwelling region is of midlatitude origin due to the total integrated entrainment.  A comparison of the first approach (Eq. 1) which is sensitive to Q, with the second approach (Eq. 2) which is independent of Q may help to pin down mean flow in the tropics.  This work is consistent with the Volk et al, [1996] earlier analysis and is expected to generate a more complete picture of midlatitude intrusions into the tropics when finalized.

Along this same theme, data taken recently in the tropics revealed air masses which were of midlatitude origin, showing the characteristic signature of lower mixing  ratios.  Surprisingly enough, the ozone profile did not show the same midlatitude signature and remained representative of tropical air. The chemical equilibrium time for ozone at these locations is quite fast (weeks to a month), apparently much faster than the mixing time over the spatial scale of these midlatitude intrusions, during this time of weak upwelling.  This data and the chemical equilibrium time can therefore set lower limits on mixing within the tropical upwelling region.

Sulfur hexafloride has proven to be a very useful trace gas for looking at transport in the lower and middle stratosphere.  Measurements of stratospheric SF6 permit an accurate determination of the mean age of an air parcel after crossing the tropical tropopause.  Mean age estimates are shown in Figure 5.2.2(3) for all LACE flights along with 3D model estimates. In general these models underestimate age of air as defined by SF6. Although exaggerated mixing from midlatitudes could account for the older measured age in the tropics, the excessively young midlatitude model estimates implying that mean flow in these models is most probably too high.

The profiles of SF6 in the extratropics bend at 25 km, above which the mixing ratios are nearly constant leading to a constant mean age (see Fig. 5.2.2(4)).  This constant profile above 25 km has also been seen in flask measurements of SF6 taken over India [Patra et al., 1997].  The observed SF6 profile has been shown to be qualitatively consistent with a large vertical gradient of increasing meridional flow with altitude, as indicated in an annually averaged zonal mean meridional circulation  calculated  by Rosenlof [1995].  The vertical mixing above 25 km suggested by Patra et al, [1997], is therefore not needed to explain these profiles. The profiles of our photolytic species such as CFC-12 (Fig. 5.2.2(4)) show the same constant behavior near 25 km but decrease again with height above an altitude where the local lifetimes, due to photo-disassociation become shorter than about one year.  Time scales of mean flow, both meridional and vertical, coupled with isentropic mixing in the extratropics, may therefore be quantifiable from this data set.  This may be accomplished by an intercomparison of these CFC species, whose mixing ratios are driven by altitude dependent photolysis, with the SF6 profiles which are driven by the mean transit time.

The interesting region shown in Fig. 5.2.2(4) below 380 K, where CFC-ll has already taken on a troposphere values yet SF6 still shows strong gradients, will be discussed in a later section.

One important lessons from our OMS balloon launch from POLARIS in Fairbanks was the observation of unmixed and or mixed remnants of the polar vortex from the earlier March 1997 Arctic ozone hole.  These measurements show one reason why we should continue to sample the Arctic because the remnants of this vortex lasted as late as July.  As shown in Fig. 5.2.2(5), this mixed air is clearly not representative of a typical midlatitude distribution and must be continually monitored to quantify both the chemistry and dynamics which are taking place at the pole.

Atmospheric Dynamics Below the 380 K Isentropic Surface.  LACE has taken highly precise measurements of several trace gases in the lowermost stratosphere and upper troposphere, regions for which very little tracer data exist.  Measurements of SF6 and CFC-11 in particular reveal many interesting features in these regions and their vertical gradients offer constraints on transport time scales.  Simulation of these tracer gradients by models is important for an accurate assessment of tracer transport in the lower stratosphere and troposphere where the impact of aircraft exhaust and the transport of greenhouse gases play a key role.

The lowermost stratosphere or middleworld is that part of the stratosphere which lies between the tropopause and the 380 K potential temperature surface, as shown schematically in Figure 5.2.2(6).  The middleworld is a unique part of the stratosphere since air can be exchanged isentropically between the stratosphere and troposphere as denoted by the dashed arrow in Figure 5.2.2(6).  Thus, the middleworld contains a mixture of older stratospheric air advected downward from the stratospheric overworld by the mean meridional circulation and tropospheric air which has been isentropically transported into the middleworld.  The relative importance of downward advection and isentropic transport largely depends on season and location.

Figure 5.2.2(7) shows profiles of SF6 and CFC-11 from the Ft. Sumner, NM flight on September 21, 1996.  The 380 K and tropopause heights are indicated on the figure and lines are drawn through the data in each height region.  The two profiles have very different vertical gradients in the middleworld.  CFC-11 has almost no vertical gradient below the 380 K surface while SF6 has a large vertical gradient in the middleworld and a small but still noticeable gradient in the upper troposphere.  The constant CFC-11 mixing ratio suggests that the gradients seen in the SF6 profiles are of  tropospheric origin since downward advection would have a larger effect on CFC-11 because of its more rapid decrease due to photolysis above the 380 K surface.  Weak downward flow across the 380 K surface at the time of our flight is consistent with the seasonality of the mean meridional circulation in the stratosphere, and the midlatitude location.

The vertical gradient in SF6 from the Ft. Sumner flight is therefore assumed to be due to an interplay between isentropic mixing from the tropical upper troposphere and residence time of air in the middleworld.  If due solely to growth, the vertical gradient in SF6 would represent a nine month age difference over the depth of the middleworld.  The time scale of isentropic mixing between the tropopause and the northern mid-latitudes is on the order of a month or less and the flushing time of the Northern Hemisphere middleworld is thought to be roughly four or five months.  Therefore, some of the vertical gradient in the middleworld is thought to be caused by transport of the interhemispheric gradient of surface SF6 to the upper troposphere.  Some portion of the interhemispheric gradient in SF6 is likely to be mapped along the tropopause from the tropics to the midlatitudes.  As tropospheric air is isentropically mixed into the midlatitude middleworld the latitudinal tropopause gradient will contribute to the vertical gradient of SF6 in the middleworld.

This suggested gradient in SF6 along the tropopause may have a strong seasonal dependency caused by the seasonal variability of tropospheric transport coupled with the interhemispheric gradient of SF6 at the surface.  Profiles of SF6 which have been normalized to remove the growth rate for the two Brazil flights are shown in Figure 5.2.2(8).  Shown at the bottom of Figure 5.2.2(8) are the surface hemispheric averages, also normalized, from the CMDL network.  The February Brazil flight has SF6 mixing ratios in the upper troposphere which are close to the global mean surface value and decrease toward the Southern Hemisphere surface average with decreasing height.  This profile is consistent with a significant amount of Northern Hemisphere surface air entering the tropical upper troposphere during February.  Figure 5.2.2(9) shows the monthly mean position of the Hadley circulation (Oort and Yienger, 1996) for the month of this tropical flight and one previous month.  In January and February the Northern Hemisphere Hadley cell is shifted south and is also consistent with a significant amount of Northern Hemispheric surface air transported into the tropical upper troposphere as suggested by our data.

Our November flight has a nearly constant mixing ratio in the upper troposphere which is close to the Southern Hemisphere surface average.  Figure 5.2.2(9) shows that in October and November the Northern Hemisphere Hadley cell is weak and shifted north of the equator so the  tropical upper troposphere should be dominated by Southern Hemispheric air at a 7(S, again consistent with our data .

These tropical profiles suggest that the seasonal cycle of the Hadley circulation causes a seasonal cycle in the SF6 mixing ratios in the tropical upper troposphere.  This seasonal cycle will likely cause a seasonal cycle in the latitudinal gradient of SF6 mixing ratios along the tropopause since the mean Hadley circulation flow in the upper troposphere is poleward.  For the Northern Hemisphere tropopause we would expect a large gradient during summer when more Southern Hemisphere surface air is transported into the tropical upper troposphere and a very weak gradient during winter when mostly Northern Hemisphere surface air is transported into the tropical upper troposphere.  Our midlatitude flight was in September, at the beginning of Fall when there is likely to be at least a  remnant of the tropopause gradient caused by the summer tropospheric transport. This also suggests that a small seasonal correction to the connection between stratospheric age of air  and the CMDL global average may be needed.

The effects of significant mean downward motion across the 380 K surface on trace gas profiles in the middleworld can be seen in Figure 5.2.2(10).  CFC-12, CFC-11, Halon 1211 and SF6 measurements from the June 30, 1997 flight over Fairbanks, AK are shown in this figure along with the heights of the 380 K and tropopause surfaces.  A sharp decrease in the mixing ratios of all four tracers is seen just above the tropopause.

Among the photolytic tracers this decrease and the vertical gradient in the middleworld are largest in the shortest lived tracer, Halon 1211, which is consistent with the expected effect of downward advection.  Subsequently smaller decreases above the tropopause and vertical gradients in the middleworld are seen in CFC-11 and CFC-12 which have longer photochemical lifetimes.  SF6 also has a large decrease above the tropopause which is due not to photolysis but to its growth rate.  Air advected down across the 380 K surface in the high latitudes is older, two years on average, than tropospheric air.  So the sharp decrease in SF6 above the tropopause is a result of the growth of SF6 in the troposphere during the time air has been transported to the high latitude middleworld.

Even though June is a time of relatively weak mean downward flow in the Northern Hemisphere high latitudes, the tracer data suggests that this flow is the dominant transport into this part of the middleworld.  It is interesting to note the relative compactness of the profiles above and below the 380 K surface. The middleworld appears to be relatively well mixed compared to the stratosphere above the 380 K surface.

5.3  	Ocean Projects

5.3.1 	Southern Ocean Expedition - BLAST III (Butler)

The flux of CH3Br from the world’s oceans has been a source of considerable controversy over recent years.  Although earlier studies had suggested that the ocean was a large, net source of atmospheric CH3Br (e.g., Singh et al. 1983; Khalil et al 1993), recent, widespread examinations by NOAA/CMDL of the saturation of CH3Br in the east Pacific and Atlantic Oceans showed that most of the ocean was undersaturated in this gas (Lobert et al. 1995, 1996; Butler et al. 1995).  Extrapolation of these data indicated that the global oceans were a net sink for atmospheric CH3Br.

Two subsequently published numerical models, however, suggested that polar and sub-polar oceans might be a large, net source of atmospheric CH3Br [Pilinis et al., 1996; Anbar et al., 1996].  The two models used production rates based on data published in Lobert et al. [1995], presuming them to be either constant over the entire ocean or a function of chlorophyll-a concentration.  With chemical degradation being very slow  in cold, polar waters, and a very high biological productivity during the austral summer, the predicted saturation anomalies were positive and ranged up to 500%, indicating that this polar source could globally outweigh the sinks estimated in Lobert et al. [1995].  To resolve this discrepancy, NOAA/CMDL conducted a study to measure the saturation of CH3Br in the Southern Ocean during a time of high biological productivity (BLAST III, Figure 5.3.1(1); Lobert et al. 1997).

The shipboard GC/MS and sampling system were virtually identical to that used during the two previous cruises. On this cruise we also measured CH3Br with a custom-built GC equipped with an electron capture detector (GC/ECD) and different columns and ECDs in support of measurements by GC/MS.  Mole fractions from MS and ECD systems agreed, on average, within 0.2 ppt (Table 5.3.1(1)).  Measured, dry mole fractions of CH3Br in the atmosphere were consistent with data from the BLAST I and BLAST II cruises..  Most important, however, is that the ocean was consistently undersaturated in CH3Br, with a mean saturation anomaly, corrected for physical effects, of -33±8% (Figure 5.3.1(2c), Table 5.3.1(1)).

Maintaining a steady-state, ~35% undersaturation of CH3Br in the surface waters in the presence of air-sea exchange requires a minimum in situ degradation rate of about 5.8 % d-1, which is a factor of 10 larger than that for chemical degradation alone.  The most likely explanation of these findings is that dissolved CH3Br is being degraded by an additional, significant mechanism other than reaction with H2O and Cl-.  A significant biological sink for CH3Br in subtropical waters has been identified recently (King and Saltzman, 1996).

Several conclusions can be drawn from this study. First, the Southern Ocean, and probably most high-latitude waters, are a net sink for atmospheric CH3Br.  Second, biological processes, or some chemical processes other than reaction with H2O or Cl-, rapidly remove CH3Br from surface waters.  Third, CH3Br production is neither constant over the global ocean, nor strictly dependent upon chlorophyll concentration.  The data from this expedition, along with those from BLAST I and BLAST II, suggest that the global ocean is a net sink of 21 (11-31) Gg y-1 for CH3Br.

5.3.2 Oceanic Uptake of Atmospheric Trace Gases (Yvon-Lewis/Butler)

The atmospheric lifetime of a trace gas is derived from the sum of its sink strengths, or loss rates.  Loss to the ocean is a significant sink for some gases, and has been examined only on a cursory level for others.  Over the past few years, we have developed a gridded, finite-increment model to determine the uptake rate constant and partial atmospheric lifetime with respect to oceanic degradation for any trace gas that reacts in seawater.  The model, originally developed to study the oceanic uptake of atmospheric methyl bromide (CH3Br) [Yvon and Butler, 1996; Yvon-Lewis and Butler, 1997], is used here to calculate the oceanic uptake rate and partial atmospheric lifetime of chlorocarbons, HCFC’s, and HFC’s (Figure 5.3.2(1), Table 5.3.2(1)).  The oceanic uptake rate (mol y-1) is defined in the following equation:

The rate constant (kocn) and lifetime (tocn) for this removal process can then be calculated from the following equation:

Initially, this equation was applied to a 2º x 2º grid of physical properties in and over the global ocean for the calculation of the partial atmospheric lifetime with respect to oceanic uptake for CH3Br (Figure 5.3.2(2)).  The inclusion of both the chemical and biological degradation rates for CH3Br in the ocean resulted in a partial atmospheric lifetime of 1.8 (1.1-3.9) y, which is substantially shorter and more certain than the 3.7 (1.4-14) y estimate calculated by Butler [1994], owing to the inclusion of spatial variability in oceanic physical properties and biological degradation rates.  The corresponding atmospheric lifetime for CH3Br is 0.7 (0.5-1.2) y.

Oceanic uptake does not appear to be a significant sink  for  many of the HCFC’s and the HFC’s (Table 5.3.2(2)).  Because biological degradation processes have not been investigated for most of these trace gases, the term (kbiol) was null in these calculations.  Model results for these gases depend upon chemical degradation rates alone.  The presence of any biological degradation would result in substantially reduced lifetimes.  Evidence for the presence of degradation mechanisms other than the hydrolysis reaction used in this model has been observed in the saturation anomaly data for CH3Br, CH3Cl, and CCl4.

The tocn values calculated by Wine and Chameides [1989] are shorter than those determined by this model because the investigators ignored stratification below the mixed layer [e.g., Butler et al. 1991].  At this time, there are no available data on the degradation rate constants and/or solubilities for many of the halocarbons found in the atmosphere.  This lack of data prevents us from calculating the impact that oceanic degradation processes may have on the lifetimes and budgets of many trace gases.  Accounting for the oceanic uptake of CH3Cl and OCS resulted in reductions of 3% and 25% in the total atmospheric lifetimes for these species.

Section 5.4  GC Measurements at Two Tall Towers in the U.S. (Hurst)

Automated, four-channel gas chromatographs (GC) have been in operation at the 610Êm WITN tower in eastern North Carolina (NC) since November, 1994, and at the 447Êm WLEF tower in northern Wisconsin (WI) since June, 1996.  Every hour, these instruments measure twelve trace gases (CFC-11, CFC-12, CFC-113, CH3CCl3, CCl4, CHCl3, C2Cl4, N2O, SF6, H2, CH4, and CO) at 51, 123, and 496 m above ground on the NC tower, and at 30, 76, and 396 m on the WI tower.  The GCs are calibrated hourly with two standards of dried, whole air stored in Aculife-treated aluminum cylinders, one of which has been diluted by 10% with zero air.  The design and operation of the GC at the NC tower have been described previously [Elkins et al., 1996; Hurst et al., 1997a].

Trace gas mixing ratios at the two towers are variable on diurnal, synoptic, seasonal, and longer time scales.  Diurnal variations result primarily from the daily development of the planetary boundary layer (PBL) which defines the mixing depth of ground-based source emissions.  At night, local and regional emissions augment mixing ratios beneath a shallow (100-200 m) inversion and create significant vertical gradients.  During the late morning and afternoon, this vertical structure disappears as emissions are rapidly mixed into a 1-2 km deep PBL by convection [Hurst et al., 1997a; Hurst et al., 1998].  Diurnal variability at the lower two sampling levels on each tower is greater than at the top because the nocturnal inversion consistently lies between the middle and top sampling levels.

Synoptic-scale variability is driven predominantly by the transport of pollution plumes from regional urban centers to the measurement sites.  Daily mean mixing ratios (and daily standard deviations) at 496 m on the NC tower during 1996-1997 illustrate day-to-day (and diurnal-scale) variability (Figure 5.4(1)).  Daily means 5-10% above the majority of the data are regular features, especially for C2Cl4.  Significant long-term trends in CH3CCl3 and SF6 mixing ratios at the NC tower are also evident (Figure 5.4(1)).  Linear fits to regional ÒbackgroundÓ mixing ratios during 1996-1997 at the NC tower imply trends of -16.5 ( 0.5 ppt yr-1 for CH3CCl3 and 0.24 ( 0.01 ppt yr-1 for SF6 [Hurst et al., 1997b] which are in good agreement with background trends at remote northern hemispheric sites [Montzka et al., 1996; Geller et al., 1997].

Synoptic-scale variability of trace gases at the NC tower was analyzed to identify regional-scale emission ratios [Bakwin et al., 1997].  C2Cl4 was chosen as the reference compound because of its high ratio of atmospheric variability to measurement precision at the NC tower, and its well- known emissions [McCulloch and Midgley, 1996].  Several statistical approaches were used for the analysis, including a method where ÒscoresÓ for each trace gas were computed as the sum of its mixing ratios during pollution events >Ê4 hours in duration.  For December, 1994, through August, 1996, 211 pollution events of 4 to 273 hours duration were identified [Bakwin et al., 1997].  Event scores for each trace gas were plotted against those for C2Cl4 and fit witha linear, orthogonal distance regression (Figure 5.4(2)) to determine a regional-scale emission ratio. C2Cl4 correlated well with CFC-12, CFC-11, CH3CCl3, SF6, and several other gases (r > 0.85).  North American source strengths estimated from this ÒscoreÓ method and a time-domain analysis of the data are in good agreement with industry estimates for CH3CCl3 and CO, but are 35-75% lower for CFCs.  Discordance in CFC estimates may indicate that CFC emissions from the region surrounding the NC tower are not representative of North America (although CH3CCl3 and CO emissions appear to be) or that industry estimates of CFC emissions during 1995-1996 are too high.  The latter scenario is supported by Elkins et al. [1993] and Cunnold et al. [1997], who demonstrated that global-scale observations of CFC-11 and CFC-12 mixing ratios during the 1990s are significantly lower than those calculated from emission inventories.

The synoptic-scale variability of several halogenated trace gases recently decreased at both the NC and WI towers, reflecting reductions in regional-scale emissions [Hurst et al., 1998].  Mixing ratio variability at all sampling heights on the towers was examined, but trends were deduced using only nighttime data from the top sampling level of each tower to minimize the influences of local sources and diurnal-scale variability, leaving regional emissions as the primary source of variability.  Monthly variability, calculated as one standard deviation of monthly-binned mixing ratios with measurement errors subtracted in quadrature, was plotted as a time series and fit witha linear least-squares regression (Figure 5.4(3)).  Variability at the remotely-located WI tower was generally lower than at the NC tower, which is closer to large urban centers.

Significant decreases in the synoptic-scale variability of CFC-12, CFC-113, CH3CCl3, and C2Cl4 were observed at both towers (Table 5.4.1).  With the exception of CH3CCl3, variability trends at the two towers agreed to within their quoted uncertainties.  The variability trend for CH3CCl3 at the NC tower, -1.31 ( 0.19 ppt yr-1, represents a 72 ( 11% decrease in regional emissions between early 1995 and late 1997.  Trends for CFC-11, CCl4, and SF6 at both towers did not differ significantly from zero.  However, because of the low ratios of atmospheric variability to measurement precision for these gases, only trends > 25% over the entire measurement period at each tower could have been detected at a 75% level of confidence.  Reductions in CFC-12, CFC-113, and CH3CCl3 emissions are attributed to production restrictions imposed by the Montreal Protocol.  Reduced emissions of C2Cl4 are probably the result of recent requests to industry by the US EPA to voluntarily reduce emissions of this compound because of its toxicity.

5.5  Firn air Measurements (Butler/Montzka)

Past success in analyzing for halocarbons in air samples collected from firn (unconsolidated snow) at the South Pole (Elkins et al 1996) prompted us to continue these investigations in Greenland and Antarctica.  Our initial measurements of South Pole firn air were from low pressure, glass flasks used in collecting air for carbon-cycle gases.   Although these measurements seemed reasonable and the samples generally uncontaminated, they could only be run on two of our instruments;  GC/MS measurements were precluded for the South Pole samples because of a lack of available air.  In April 1996, we assisted in the collection of samples from two holes at Tunu, Greenland (lat, long) and filled our usual 2.5 L stainless-steel flasks to 375 kPa (yielding about 9 L of air) in addition to the glass flasks (150 kPa, yielding only 3.8 L air, most of which is used in analyses for carbon-cycle gases by CMDL’s Carbon Cycle Group).  Samples were returned to Boulder for analysis on all four instruments used in flask analyses (Table 5.1.2.1(2)).  Both glass flasks and steel flasks were run on the two GC/ECD systems and steel flasks were run on the two GC/MS systems.  Similarly, we obtained samples in both steel and glass flasks from deep and shallow holes drilled at Siple Dome, Antarctica (lat, long) in December of 1996.

Data from these sites showed that CFC’s, CH3CCl3, CCl4, SF6, and halons were essentially absent in the early 20th century atmosphere (Figures 5.5(1) and 5.5(2) and 5.5(3)).  This is not surprising information, but these samples, which, unlike the initial South Pole samples, were collected in such a way as to avoid low-level contamination of halocarbons, are the first verification of levels of CFC’s and the major chlorocarbons that do not differ significantly from zero.  The data clearly demonstrate that, if natural sources of these gases do exist, they are insignificant in today’s atmosphere.

Results for methyl halides were more ambiguous, although it still may be possible to derive 20th century atmospheric histories for them (Figures 5.5(3) and 5.5(4)).  Methyl chloride in the diffusive zone is about 10% higher than it is at the bottom of the profiles, suggesting that activities over the past century have elevated the mixing ratio of this gas in the atmosphere by about 50 pmol mol-1.   Also, in the upper 10-12 m of the firn, CH3Cl concentrations actually decrease toward the surface by about 10 pmol mol-1.  This is consistent with seasonal cycles of CH3Cl, which are associated with photochemical cycles of tropospheric OH.

Data for CH3Br from Siple Dome agreed well with those from the South Pole, both suggesting that atmospheric CH3Br in the earlier part of this century was about 25% lower than it is today (Figure 5.5(3)).  However, at Tunu, Greenland, a warmer and more coastally influenced site, CH3Br was high near the bottom of the profile, reaching mixing ratios of nearly 50 pmol mol-1 at the firn-ice transition.  Tests confirm that this elevation in concentration at depth is not an artifact of sample collection, storage, or analysis.  This leads us to believe that the observed high values for CH3Br in the firn at Tunu are real, although not necessarily of atmospheric origin.  (This feature was also observed at Tunu for at least one other marine, biogenic gas, CH3I, and it was observed for CHBr3 at Siple Dome, where CH3Br and CH3I do not appear to have been produced.)  A model of the firn profiles strongly suggests that CH3Br is produced near the firn-ice transition, a process that could not have been happening at South Pole or Siple Dome and yield the observed profiles.

Processes in the upper 10 m of firn also may affect CH3Br concentrations.  In both holes at each Antarctic site, the CH3Br concentration was elevated by as much as 1 ppt (10-15%) in samples just below the surface.  This feature was consistent, though at present unexplained.  Such variations did not appear throughout the profiles, which suggests this may be a phenomenon limited to the upper 10 m.  How this affects the overall profile is difficult to ascertain without first understanding the process.   All firn samplings were conducted during the summer months, thus precluding any evaluation of seasonal effects in the surface.  In the fall of 1997, flasks were sent to South Pole for sampling from a 15 m deep hole in winter and summer of 1998.

References

Appenzeller, C, J. R. Holton and K. H. Rosenlof, Seasonal variation of mass transport across the tropopause, J. Geophys. Res., 101, 15,071-15,078, 1996.

Bakwin, P.S., D.F. Hurst, P.P. Tans, and J.W. Elkins, Anthropogenic sources of halocarbons, sulfur hexafluoride, carbon monoxide, and methane in the southeastern United States, J. Geophys. Res., 102, 15915-15925, 1997.

Battle, M., M. Bender, T. Sowers, P. Tans, J. Butler, J. Elkins, J. Ellis, T. Conway, N. Zhang, P. Lang, and A. Clarke, Histories of atmospheric gases from the firn at South Pole, Nature, 383 (6597), 231-235, 1996.

Bouwman, A.F., K.W. Van der Hoek, and J.G.J. Olivier, Uncertainties in the global source distribution of nitrous oxide, Journal of Geophysical Research, 100 (D2), 2785-2800, 1995.

Butler, J. H., J. W. Elkins, T. M. Thompson, B. D. Hall, T. H. Swanson, and V. Koropalov, Oceanic consumption of CH3CCl3: Implications for tropospheric OH, J. Geophys. Res., 96, 22,347-22,355, 1991.

Butler, J. H., The potential role of the ocean in regulating atmospheric CH3Br, Geophys. Res. Lett., 21, 185-188, 1994.

Butler, J.H., S.A. Montzka, A.D. Clarke, J.M. Lobert, and J.W. Elkins, Growth and distribution of halons in the atmosphere, Journal of Geophysical Research, 103 (D1), 1503-1511, 1998.

Chen, L., Y. Makide, and T., Tominaga, Distribution and trend of chlorodifluoromethane (HCFC-22) in the atmosphere, Chem. Lett., 2423-2426, 1994.

Chin, M. and D. D. Davis, A reanalysis of carbonyl sulfide as a source of stratospheric background sulfur aerosol, J. Geophys. Res., 100, 8993-9005, 1995.

Cicerone, R., Analysis of sources ans sinks of atmospheric nitrous oxide (N2O), Journal of Geophysical Research, 94, 18,265-18,271, 1989.

Cunnold, D.M., R.F. Weiss, R.G. Prinn, D. Hartley, P.G. Simmonds, P.J. Fraser, B.R. Miller, F.N. Alyea, and L. Porter, GAGE/AGAGE measurements indicating reductions in global emissions  of CCl3F and CCl2F2 in 1992-1994, J. Geophys. Res., 102, 1259-1269, 1997.

DeBruyn W. J. and E. S. Saltzman, Diffusivity of methyl bromide in water, Mar. Chem., 57, 55-59, 1997a.

DeBruyn W. J. and E. S. Saltzman, The solubility of methyl bromide in pure water, 35 ‰ sodium chloride and seawater, Mar. Chem., 56, 51-57, 1997b.

Elkins, J. W., D. W. Fahey, J. M. Gilligan, G. S. Dutton, T. J. Baring, C. M. Volk, R. E. Dunn, R. C. Myers, S. A. Montzka, P. R. Wamsley, A. H. Hayden, J. H. Butler, T. M. Thompson, T. H. Swanson, E. J. Dlugokencky, P. C. Novelli, D. F. Hurst, J. M. Lobert, S. J. Ciciora, R. J. McLaughlin, T. L. Thompson, R. H. Winkler, P. J. Fraser, L. P. Steele and M. P. Lucarelli, Airborne gas chromatograph for in situ measurements of long-lived species in the upper troposphere and lower stratosphere, Geophys. Res. Lett., 23(4) , 347-350, 1996b.

Elkins, J. W., J. H. Butler, T. M. Thompson, S. A. Montzka, R. C. Myers, J. M. Lobert, S. Yvon, P. R. Wamsley, F. L. Moore, J. M. Gilligan, D. F. Hurst, A. D. Clarke, T. H. Swanson, C. M. Volk, L. T. Lock, L. S. Geller, G. S. Dutton, R. M. Dunn, M. F. Dicorelto, T. J. Baring and A. H. Hayden, 5. Nitrous Oxide and Halocompounds,  Climate Monitoring and Diagnostics Laboratory No. 23 Summary Report 1994-1995 , D. H. Hofmann and R. Rosson, ed.,  84-111, US Dept. of Commerce, Boulder, 1996a.

Elkins, J.W., T.M. Thompson, T.H. Swanson, J.H. Butler, B.D. Hall, S.O. Cummings, D.A. Fisher, and A.G. Raffo, Slowdown in the growth rates of atmospheric chlorofluorocarbons 11 and 12, Nature, 364, 780-783, 1993.

Elliott, S., E. Lu and F. S. Rowland, Rates and mechanisms for the hydrolysis of carbonyl sulfide in natural waters, Environ. Sci. Technol., 23, 458-461, 1989.

Fabian, P., R. Borchers, R. Leifer, B. H. Subbaraya, S. Lal, and M. Boy, Global stratospheric distribution of halocarbons, Atmos. Environ., 30, 1787-1796, 1996.

Geller, L.S., J.W. Elkins, J.M. Lobert, A.D. Clarke, D.F. Hurst, J.H. Butler, and M. R.C., Tropospheric SF6: Observed latitudinal distribution and trends, derived emissions and interhemispheric exchange time, Geophysical Research Letters, 24 (6), 675-678, 1997.

Gerkins, R. R. and J. A. Franklin, The rate of degradation of 1,1,1-trichloroethane in water by hydrolysis and dehydrohalogenation, Chemosphere, 19, 1929-1937, 1989.

Gossett, J. M., Measurements of Henry’s Law constants for C1 and C2 chlorinated hydrocarbons, Environ. Sci. and Technol., 21, 202-208, 1987.

Hall, T. M. and R. A. Plumb, Age as a diagnostic of stratospheric transport, J. Geophys. Res., 99, 1059-1070, 1994.

Harnisch, J. and R. Borchers, Tropospheric trends for CF4 and C2F6 since 1982 derived from SF6 dated stratospheric air, Geophys. Res. Lett., 23(10) , 1099-1102, 1996.

Hurst, D.F., Bakwin, P.S., and J.W. Elkins, Recent trends in halogenated trace gas mixing ratios and variance on two tall towers in the United States, EOS Trans. AGU, 78, Fall Meet. suppl., F94, 1997b.

Hurst, D.F., P.S. Bakwin, and J.W. Elkins, Recent trends in the variability of halogenated trace gases over the United States, submitted to J. Geophys. Res., 1998.

Hurst, D.F., P.S. Bakwin, R.C. Myers, and J.W. Elkins, Behavior of trace gas mixing ratios on a very tall tower in North Carolina, J. Geophys. Res., 102, 8825-8835, 1997a.

IPCC, Climate Change 1994  Radiative Forcing of Climate Change and An Evaluation of the IPCC IS92 Emission Scenarios,  Intergovernmental Panel on Climate Change , J. T. Houghton, L. G. M. Filho, J. Bruce, H. Lee, B. A. Callander, E. Haites, N. Harris, and K. Maskell, ed.,  339, Cambridge, UK, 1995.

Jeffers, P. M., L. M. Ward, L. M. Woytowitch, and N. L. Wolfe, Homogeneous hydrolysis rate constant for selected chlorinated methanes, ethanes, ethenes, and propanes, Environ. Sci. Technol., 23, 965-969, 1989.

Johnson, J. E. and H. Harrison, Carbonyl sulfide concentrations in the surface waters and above the Pacific Ocean, J. Geophys. Res., 91, 7883-7888, 1986.

Kaye, J.A., S.A. Penkett, and F.M. Ormond, Report on concentrations, lifetimes and trends of CFCs, halons and related species, NASA, 1994.

Khalil, M.A.K., and R.A. Rasmussen, Constraints imposed by the ice core data on the budgets of nitrous oxide and methane, in 28th Liege International Astrophysical Colloquium June 26-30, 1989, edited by P.J.G. Crutzen, J.C.; Zander, R., pp. 403-410, University de Liege, Liege, Belgium, 1989.

Kim, K.-R., and H. Craig, Nitrogen-15 and oxygen-18 characteristics of nitrous oxide: A global perspective, in Science, pp. 1855-1857, 1993.

King, D. B. And E. S. Saltzman, Removal of methyl bromide in coastal seawater: Chemical and biological rates, J. Geophys. Res., 102, 18715-18721, 1997.

Lal, S., R. Borchers, P. Fabian, P. K. Patra, and B. H. Subbaraya, Vertical distribution of methyl bromide over Hyderbad, India, Tellus, 46B, 373-377, 1994.

Leuenberger, M., and U. Siegenthaler, Ice-age atmospheric concentration of nitrous oxide from an Antarctic ice core, Nature, 360, 449-451, 1992.

Liss, P.S. and L. Merlivat, Air-sea gas exchange rates: Introduction and synthesis, in The Role of Air-Sea Exchange in Geochemical Cycling, edited by P. Buat-Menard, pp. 113-127, D. Reidel, Norwell, MA, 1986.

Lobert J. M., J. H. Butler, S. A. Montzka, L. S. Geller, R. C. Myers, and J. W. Elkins, A net sink for atmospheric CH3Br in the East Pacific Ocean, Science, 267, 1002-1005, 1995.

Lobert, J.M., S.A. YvonLewis, J.H. Butler, S.A. Montzka, and R.C. Myers, Undersaturation of CH3Br in the Southern Ocean, Geophysical Research Letters, 24 (2), 171-172, 1997.

Loewenstein, M., J. R. Podolske, K. R. Chan and S. E. Strahan, Nitrous oxide as a dynamical tracer in the 1987 Airborne Antarctic Ozone Experiment, J. Geophys. Res., 94(D9) , 11589-11598, 1989.

Machida, T., T. Nakazawa, Y. Fujii, S. Aoki, and O. Watanabe, Increase in the atmospheric nitrous oxide concentration during the last 250 years, Geophysical Research Letters, 22 (21), 2921-2924, 1995.

Maiss, M., and I. Levin, Global increase of SF6 observed in the atmosphere, Geophysical Research Letters, 21 (7), 569-572, 1994.

McCulloch, A., and P.M. Midgley, The production and global distribution of emissions of trichloroethene, tetrachloroethene, and dichloromethane over the period 1988-1992, Atmos. Environ., 30, 601-608, 1996.

McLinden, M. O., Physical properties of alternatives to the fully halogenated chlorofluorocarbons, in Scientific Assessment of Stratospheric Ozone: 1989 Vol. II Appendix AFEAS Report, WMO Global Ozone Research and Monitoring Project-Report No. 20, 469p., 1989.

Moelwyn-Hughes, E. A., The hydrolysis of methyl halides, Proc. Roy. Soc. A, 164, 295-306, 1938.

Montzka, S.A., J.H. Butler, R.C. Myers, T.M. Thompson, T.H. Swanson, A.D. Clarke, L.T. Lock, and J.W. Elkins, Decline in the tropospheric abundance of halogen from halocarbons: Implications for stratospheric ozone depletion, Science, 272 (5266), 1318-1322, 1996.

Moore, R. M., C. E. Green, and V. K. Tait, Determination of Henry’s Law constants for a suite of naturally occurring halogenated methanes in seawater, Chemosphere, 30, 1183-1191, 1995.

Patra, P. K., S. Lal, B. H. Subbaraya, C. H. Jackman and P. Rajaratnam, Observed vertical profile of sulphur hexafluoride (SF6) and its atmospheric applications, J. Geophys. Res., 102, 8855-8859, 1997.

Plumb, R. A. and M. K. W. Ko, Interrelationships between mixing ratios of long-lived stratospheric constituents, J. Geophys. Res., 97, 10145-10156, 1992.

Plumb, R. A., A Òtropical pipeÓ model of stratospheric transport, J. Geophys. Res., 101, 3957-3972, 1996.

Prinn, R. G., R. F. Weiss, B. R. Miller, J. Huang, F. N. Alyea, D. M. Cunnold, P. B. Fraser, D. E. Hartley, and P. G. Simmons, Atmospheric trends and lifetime of trichloroethane and global average hydroxyl radical concentrations based on 1978-1994 ALE/GAGE measurements, Science, 269, 187-192, 1995.

Ravishankara, A.R., S. Solomon, A.A. Turnipseed, and R.F. Warren, Atmospheric lifetimes of long-lived halogenated species, Science, 259, 194-200, 1993.

Rosenlof, K. R., Seasonal cycle of the residual mean meridional circulation in the stratosphere, J. Geophys. Res., 100, 5173-5191, 1995.

Schimel, D., and e. al., Radiative Forcing of Climate Change, in Climate Change 1995: The Science of Climate Change.  contribution of WGI to the Second Assessment Report of the Intergovernmental Panel on Climate Change (IPCC), edited by J.T. Houghton, L.G. Meira Filho, B.A. Callander, N. Harris, A. Kattenberg, and  K. Maskell, pp. 65-131,  Cambridge University Press, Cambridge, 1996.

Ulshöfer, V. S. and M. O. Andreae, Carbonyl sulfide (COS) in the surface ocean and the atmospheric COS budget, Aquat. Geochem., submitted, 1997.

UNEP, Montreal Protocol on Substances that Deplete the Ozone Layer, Final Act, 15 pp., United Nations Environmental Programme, Nairobi, 1987.

UNEP, Report of the Seventh Meeting of the Parties to the Montreal Protocol on Substances that deplete the ozone layer (Vienna), United Nations Environmental Programme, New York, 1995.

Volk, C. M., J. W. Elkins, D. W. Fahey, G. S. Dutton, J. M. Gilligan, M. Loewenstein, J. R. Podolske, K. R. Chan and M. R. Gunson, Evaluation of source gas lifetime from stratospheric observations, J. Geophys. Res., 102(D21) , 25,543-25,564, 1997.

Volk, C. M., J. W. Elkins, D. W. Fahey, R. J. Salawitch, G. S. Dutton, J. M. Gilligan, M. H. Profitt, M. Loewenstein, J. R. Podolske, K. Minschwaner, J. J. Margitan, and K. R. Chan, Quantifying transport between the tropical and mid-latitude lower stratosphere, Science, 272, 1763-1768, 1996.

Wamsley, P. R., J. W. Elkins, D. W. Fahey, G. S. Dutton, C. M. Volk, R. C. Myers, S. A. Montzka, J. H. Butler, A. D. Clarke, P. J. Fraser, L. P. Steele, M. P. Lucarelli, E. L. Atlas, S. M. Schauffler, D. R. Blake, F. S. Rowland, W. T. Sturges, J. M. Lee, S. A. Penkett, A. Engel, R. M. Stimpfle, K. R. Chan, D. K. Weisenstein, M. K. W. Ko and R. J. Salawitch, Distribution of halon-1211 in the upper troposphere and lower stratosphere and the 1994 total bromine budjet, J. Geophys. Res., 103(D1) , 1513-1526, 1998.

Wang, C. J-L., D.R. Blake, and F.S. Rowland, Seasonal variations in the atmospheric distribution of a reactive chlorine compound, tetrachloroethene (CCl2=CCl2), Geophys. Res. Lett., 22, 1097-1100, 1995.

Wanninkhof, R., Relationship between wind speed and gas exchange over the ocean, J. Geophys. Res., 97, 7373-7382, 1992.

Wilke, C. R. and P. Chang, Correlation of diffusion coefficients in dilute solutions, AIChE. J., 35, 281-289, 1955.

Wine, P. H. and W. L. Chameides, Possible atmospheric lifetimes and chemical reaction mechanisms for selected HCFCs, HFCs, CH3CCl3, and their degradation products against dissolution and/or degradation in seawater and cloudwater, in Scientific Assessment of Stratospheric Ozone: 1989 Vol. II Appendix AFEAS Report, WMO Global Ozone Research and Monitoring Project-Report No. 20, 469p., 1989.

WMO, Scientific Assessment of Ozone Depletion:  1994, Global Ozone Research and Monitoring Project ,  37,  R. T. W. D. L. Albritton, and R. J. Aucamp, ed. , pp. 451, World Meteorological Organization (WMO), Geneva, 1995.

WMO, World Meteorological Organization (WMO) Scientific Assessment of Ozone Depletion:  1991, Global Ozone Research and Monitoring Project, 25, 357, 1992.

Woodbridge, E. L., J. W. Elkins, D. W. Fahey, L. E. Heidt, S. Solomon, T. J. Baring, T. M. Gilpin, W. H. Pollock, S. M. Schauffler, E. L. Atlas, M. Loewenstein, J. R. Podolske, C. R. Webster, R. D. May, J. M. Gilligan, S. A. Montzka, K. A. Boering and R. J. Salawitch, Estimates of total organic and inorganic chlorine in the lower stratosphere from in situ  and flask measurements, J. Geophys. Res., 100(D2) , 3057-3064, 1995.

Woodruff, S. D., R. J. Slutz, R. L. Jenne, and P. M. Steurer, A comprehensive ocean-atmosphere data set, Bull. Amer. Meteor. Soc., 68, 521-527, 1987.

World Meteorological Organization, Global Ozone Research and Monitoring Report No. 37: Scientific Assessment of Ozone Depletion: 1994, Geneva, 1995.

Yvon, S. A. and J. H. Butler, An improved estimate of the oceanic lifetime of atmospheric CH3Br, Geophys. Res. Lett., 23(1), 53-56, 1996.

Yvon-Lewis, S. A. and J. H. Butler, The potential effect of biological degradation on the lifetime of  atmospheric CH3Br, Geophys. Res. Lett., 24(10), 1227-1230, 1997.

Figure Captions

Figure 5.1.1(1)	Geographic locations of old and new stations in the NOAH flask (gray circles) and in situ (crosses) networks.

Figure 5.1.1(2).  Trends in chlorine, equivalent chlorine (chlorine + bromine multiplied by an efficiency factor of 50), and effective equivalent chlorine (equivalent chlorine where compound-specific halogen release rates are considered) from compounds listed in Table 5.1.2.1(2) Steve , OK?.  Symbols refer to the northern hemisphere (filled diamonds), southern hemisphere (filled squares), and global tropospheric mean (plusses).

Figure 5.1.1(3). CH3CCl3 - Montzka?

Figure 5.1.2.2(1).  NOAA/CMDL Measurements of Atmospheric N2O:  (a)  Global and hemispheric averages of the dry mole fraction of N2O in flask samples dating back to 1987,  (b)  annual growth rates calculated from year-to-year differences in the global mean N2O.  The dark line is a loess smooth of the data.

Figure 5.1.2.2(2). NOAA/CMDL Measurements of Atmospheric SF6:  (a)  Global and hemispheric averages of the dry mole fraction of SF6 in flask samples dating back to 1995,  (b)  annual growth rates calculated from year-to-year differences in the global mean N2O.  The dark line is a loess smooth of the data.

Figure 5.1.2.3(1).  Hemispheric and global bi-monthly averages of tropospheric mole fractions of  (a) H-1301, (b) H-1211, and (c) H-2402.  Data are taken from the NOAA/CMDL flask network (squares),  research cruises (triangles), and cylinders of archived air (diamonds).  Northern hemispheric results are shown as shaded symbols, southern hemispheric results as open symbols, and global means as solid symbols.  Bimonthly, hemispheric averages are calculated by weighting measurements by the cosine of the sampling latitude within each hemisphere.  Global averages are computed as means of the hemispheric averages.

Figure 5.1.2.3(2).  Measurements of tropospheric halons over the past decade.  Solid lines are NOAA/CMDL global averages for (a) H-1211 and (b) H-1301.  Symbols signify measurements by other laboratories and research groups.  Filled squares represent work by Khalil and Rasmussen [Ehhalt et al. 1989, Khalil and Rasmussen 1992], open triangles are from a study by Singh et al. [1988], open squares represent measurements by Oertel [1992], filled circles are measurements by C.J.-L. Wang, D.R. Blake, N. Blake, and F.S. Rowland, as given in Lorenzen-Schmidt [1994], filled diamonds are values from Lorenzen-Schmidt [1994], open circles are from Schauffler et al. [1993], and filled triangles are from Fabian et al. [1994].

Figure 5.1.2.4(1)  Atmospheric dry mole fractions (ppt) of the most abundant HCFCs and HFC-134a.  Each point represents the mean of 2 simultaneously filled flasks from one of eight stations: ALT, filled circle; BRW, filled triangle; NWR, filled diamond; KUM, plusses; MLO, open square; SMO, open triangle; CGO, filled diamond; SPO, filled circle.  Also plotted are results from analysis of archived air samples (open circles) filled at NWR and in past cruises from both hemispheres.

Figure 5.1.2.4(2).  Atmospheric dry mole fractions (ppt) determined for selected chlorinated trace gases and CH3Br.  Symbols are identical to those described in Figure 5.1.4.2(1).  Results shown for CH3Cl, CH3Br,and CHCl3 are from 2.4L flasks only.  Results plotted for CH2Cl2 and C2Cl4 are from both 2.4L and 0.8L flask samples.  All results are based on preliminary calibration scales.

Figure 5.1.3.1(1)  (a) Monthly average CFC-11 mixing ratios in ppt from the in situ GCs, (b) hemispheric and global average mixing ratios; and (c) global average growth rate in ppt/yr.

Figure 5.1.3.1(2) (a) Monthly average CFC-12 mixing ratios in ppt from the in situ GCs, (b) hemispheric and global average mixing ratios; and (c) global average growth rate in ppt/yr.

Figure 5.1.3.1(3) (a) Monthly average carbon tetrachloride mixing ratios in ppt from the in situ GCs, (b) hemispheric and global average mixing ratios smoothed using a LOWESS routine; and (c) global average growth rate in ppt/yr.

Figure 5.1.3.1.(4) (a) Monthly average methyl chloroform mixing ratios in ppt from the in situ GCs, (b) hemispheric and global average mixing ratios; and (c) global average growth rate in ppt/yr.

Figure 5.1.3.1.(5) (a) Monthly average nitrous oxide mixing ratios in ppb from the in situ GCs, (b) hemispheric and global average mixing ratios smoothed using a LOWESS routine; and (c) global average growth rate in ppb/yr.

Figure 5.1.3.1.(5)  Hemispheric and global average nitrous oxide mixing ratios in ppb from the in situ GCs.  These data have been smoothed using a LOWESS routine.

Figure 5.1.3.2(1). Chromatogram of Channel 1, SPO NOAH in situ gas chromatograph

Figure 5.1.3.2(2). Chromatogram of Channel 2, SPO NOAH in situ gas chromatograph

Figure 5.1.3.2(3). Chromatogram of Channel 3, SPO NOAH in situ gas chromatograph

Figure 5.1.3.2(4)4. Chromatogram of Channel 4, SPO NOAH in situ gas chromatograph

Figure 5.2.1(1).	Two methods used to calculate the stratospheric lifetimes from aircraft data.  The mixing ratio and its gradient of (a) ATLAS N2O and ACATS CFC-113 against a lifetime reference molecule like CFC-11 and the mixing ratio and its gradient of (c) ATLAS N2O and (d) ACATS CFC-113 against the mean age of the air mass calculated from airborne SF6 measurements.  Observations (pluses, where symbol size indicates uncertainty, left axes), normalized local correlation slopes (triangles with error bars, right axes), and quadratic fits with uncertainty envelopes (lines, right axes).

Figure 5.2.1(2).	Mixing ratios of SF6 measured by ACATS-IV during November 1995 and December 1996. The difference of mixing ratios observed in the upper troposphere (0.28 ppt) is close to the expected difference of 0.26 ppt calculated from the SF6 growth of 6.7% yr-1 in the troposphere.

Figure 5.2.1(3)	STRAT tropical (2¡S to 20¡N) vertical profiles of CFC-11, showing significant intrusion of midlatitude air into the tropics between (=410 and 450 K and around 480 K.  The solid black curve is a purely advective (ÒunmixedÓ) profile for CFC-11 in the tropics calculated by Volk, et al., [1996]. Dashed black curve is Òproportionally mixedÓ profile.  Red curve is a least squares fit to all midlatitude data.  Thin green lines encompass 95% of midlatitude data. The ÒforkÓ observed during the Nov. 5, 1995 flight is denoted by open circles.

Figure 5.2.1(4)Total chlorine and bromine for STRAT mission. ACATS-IV measures compounds that represent 80% of organic chlorine and halon-1211 containing 16% of organic bromine. The remaining unmeasured organic Cl is calculated using tracer-tracer correlations. Based on Wamsley, et al., [1998]. LACE data from a midlatitude balloon flight is comparable to ACATS-IV midlatitude measurements and extends the data set to 32 km into the stratosphere where total organic Cl approaches zero. See section 5.2.2 for further discussion of the LACE data.

Figure 5.2.1(5).	Comparison of a) ÒstraightÓ and b) Òfolded backÓ chromatograms. In (a), the air peak is removed (see Elkins, et al., [1996b]) and CHCl3 peak is nearly indistinguishable; injections are made every 180 s. In (b), CH3CCl3 and CCl4 peaks from the previous injection appear in front of the air peak; these peaks from the current injection will appear in the beginning of the following injection. Injections are made every 125 s.

Figure 5.2.1(6).	Total chlorine and bromine for STRAT mission. ACATS-IV measures compounds that represent 80% of organic chlorine and halon-1211 containing 16% of organic bromine. The

Figure 5.2.1(6).	Chloroform versus CFC-11. Being a short-lived tracer with sinks in the troposphere ((=0.5 yr.), CHCl3 decays very rapidly with altitude in contrast with CFC-11, which is has no such sinks. CFC-11 approaches 10 ppt at 26 km and zero at about 30 km in midlatitudes.

Figure 5.2.1(7).	Tracer-tracer correlations, POLARIS mission. a) Medium-lived CFC-113 ((=85 yrs.) shows some separation in the part of the plot depicting mixing; b) Longer-lived CFC-12 ((=102 yrs.) shows several better separated lines of mixing of air parcels with different age and, subsequently, compounds ratio determined by difference in photolysis rate.

Figure 5.2.1(8).	Two-dimensional profile of altitude and the age of the air based on POLARIS data. The oldest air masses (green) are found at high altitude in the latitude range 60-70¡N; younger air is seen at the lower altitudes and latitudes. Zero age is defined at the tropical tropopause, hence negative ages are associated with tropospheric data. Dotted lines show potential temperature surfaces which typically define isopleths (equal mixing ratios).

Figure 5.2.2(1) The Lace GC is constructed in three main layers, an oven layer; a GC pluming layer; and electronics layer. The GC is pressurized to maintain an even redistribution of heat through convection. This is especially important at the operating altitude of 32 km.  Forced air is circulated through the instrument and along the pressurized shell via air ducts to help dissipate the  200 watts of heat.

Figure 5.2.2(2)  Panels (a) and (b) show least square fits to SF6 and CFC-12 using Eq.1 over three altitude ranges. They are sensitive to uncertainties in vertical advection rates. Panels (c) and (d) show least square fits using Eq. 2 for CFC-11 vs. SF6 and CFC-12 over the same three altitude ranges. They are therefore independent of vertical advection. Panel (e) showes  a compilation of entrainment from the four fits in each of the three altitude ranges. A straight average of entrainment over the four fits is included within the graphs of each altitude range in (e).  Also included are the corresponding weighted averages, which includes uncertainties in photolysis and advection. These are quoted in text above each graph in (e).

Figure 5.2.2(3)   Vertical profiles of mean age of the air from zonally averaged models and balloon measurements from LACE (squares) and Harnisch et al., [1996] (triangles) for (a) tropics at -7o lat., (b) subtropics at 20o lat., (c) midlatitudes at 35o lat., and (d) polar regions at 65o lat.  The shaded region indicates a range, while individual lines (w/o symbols) indicates individual models outside the range.  Mean age is taken to be zero at the equator at 18 km.

Figure 5.2.2(4).  Profiles of CFC-11, SF6 and CFC-12 from Fort Sumner, New Mexico on September 21, 1996 are shown.  The data represent measurements taken during both ascent and descent. Lack of an asymmetry implies that there is no contamination in the data set from the balloon or gondola out gassing. Three levels are highlighted on the plots as horizontal lines, the tropopause at approximately 13 km, the 380 K potential temperature surface below which CFC-11 has tropospheric values, and the 25 km surface above which SF6  is constant.

Figure 5.2.2(5). Tracer-tracer correlation plot of CFC-12 versus CFC-11 from LACE on the OMS gondola for flights on September 21, 1996 (midlatitudes), February 14, 1997 and November 11, 1998 (tropics), and June 30, 1997 (POLARIS, polar regions).  The LACE data is compared against the ACATS  data from a POLARIS flight of the ER-2 aircraft on June 30, 1997.  The Blue line indicates tropical data isolated from the mid and high latitudes by the Òleaky pipeÓ, the dashed red line represents a nominal midlatitude and or polar profile, and the dashed gray line points out regions of conservative mixing across isopleths due to the anomalously late break down of the polar vortex. This mixing line can only be observed in a tracer-tracer plot over regions which have curvature in the nominal midlatitude profile.

Figure 5.2.2.(6).	Schematic of the isentropic mixing (Fh) and downward mean flow (Fin)  in the lower stratosphere and upper troposphere.  The lowermost stratosphere is bounded by the tropopause and the 380 K surfaces.  From Appenzeller et. al (1996).

Figure 5.2.2(7)	Profiles of SF6 and CFC-11 from the Sep. 21, 1996 Ft. Sumner, NM flight. The tropopause and 380 K surfaces are indicated on each plot and rough linear fits to the data are included in each region. Note the strong gradient in SF6  due to isentropic mixing. Note also that CFC-11 has taken on tropospheric values at and below the 380K surface rather than at the tropopause.

Figure 5.2.2(8)  	Profiles of SF6 from the two Brazil flights and the Ft. Sumner flight normalized to remove the growth rate.  Normalized Northern and Southern Hemispheric mean surface mixing ratios from the CMDL network are also included at the bottom of the graph.  Triangles are from the February Brazil flight, diamonds are from the November Brazil flight and open circles are from the Ft. Sumner flight. This data is consistent with the tropospheric dynamics outlined in Figure 5.2.2.9

Figure 5.2.2(9)  Streamfunctions of the monthly mean Hadley cell for October and November outlining tropospheric transport during our first tropical flight.  Also shown are the mean Hadley cells for January and February during our second tropical flight.  From Oort and Yienger (1996).

Figure 5.2.2(10)  Profiles of CFC-12, CFC-11, Halon 1211 and SF6 from the Fairbanks, AK flight.  The tropopause and 380 K surfaces are indicated. The three distinct regions, the stratospheric overworld, the middleworld, and the troposphere, are clearly defined by both the gradients and spread in the data.  Relationships between the time scales of  mean flow and mixing  can be inferred.

Figure 5.3.1(1)  BLAST III cruise track from McMurdo, Antarctica, to Punta Arenas, Chile, aboard the R/V Nathaniel Palmer, Cruise 96-02. Numbers along the cruise track indicate the Julian day of year 1996.

Figure 5.3.1(2)  Measurements of methyl bromide in air (a), air equilibrated with surface water (b), and the resulting saturation anomaly (c) for both the GC/MS and the GC/ECD systems. The shaded area in panel (c) represents the saturation anomaly, corrected for physical effects, calculated from the GC/MS saturation anomaly (black line).

Figure 5.3.2(1). Schematic of the air-sea flux of a trace gas.  Terms are as described in Table 5.3.2(1).

Figure 5.3.2(2).  Global distribution of the oceanic uptake rate constant, kocn,i , where kocn,i = (1/(ocn)i for combined chemical and biological aquatic removal of atmospheric CH3Br.  Including biological processes lowers the partial atmospheric lifetime with respect to oceanic loss from 2.7 y (Yvon and Butler 1996) to 1.9 y (Yvon-Lewis and Butler 1997).  The biological processes have the added effect of lowering the estimated,

Figure 5.4(1)  Time series of daily mean mixing ratios of CH3CCl3 (circles), C2Cl4 (crosses), and SF6 (inverted triangles) at the NC tower during 1996-1997. The mean mixing ratio ( one standard deviation for each day are represented by vertical bars (solid for CH3CCl3 and SF6, dashed for C2Cl4).

Figure 5.4(2)  Pollution event scores for CFC-12, CFC-11, CH3CCl3, and SF6 versus scores of C2Cl4 at the NC tower for the period December, 1994, through August, 1996. The y-axis of each panel represents event scores of the compound listed in the panel. The x-axes are scores for C2Cl4. Slopes of lines fit to each panel using an orthogonal distance regression reflect regional-scale emission ratios of the y-axis compound to C2Cl4 (from Bakwin et al., 1997).

Figure 5.4(3)  Trends in monthly nighttime variability at the top sampling level of the NC tower (circles) and WI tower (crosses). Variability was calculated as one standard deviation of  nighttime mixing ratios during each month with random measurement noise removed. Lines are fit to variability time series at the NC (solid) and WI (dashed) towers with least-squares regressions reflect trends in regional-scale emissions (from Hurst et al., 1998).

Figure 5.5(1)  “Conservative” gases of anthropogenic origin in Tunu Firn Air.  (a) CFC’s, (b) halons, (c) SF6.  CO2 in air at the bottom of the Tunu profile corresponds to atmospheric CO2 in the early 1930’s.

Figure 5.5(2)  Chlorocarbons in Siple Dome Firn Air.  (a) CH3CCl3 and CCl4, (b) CH3Cl.  CO2 in air at the bottom of the Siple Dome profile corresponds to atmospheric CO2 in the early 1950’s.

Figure 5.5(3)  Replacement Compounds for CFC’s in Tunu Firn Air.

Figure 5.5(4)  Methyl Bromide in Firn Air.  (a) Antarctica, (b) Tunu, Greenland.

Tables

| TABLE 5.1.1(1) Geographic and Network Information on NOAH Network Sites |
| --- |
| Code | Station | Latitude | Longitude | Elevations | LST-GMT |
| (m) | (hr) | Type |
| ALT | Alert, North West Territories. Canada* | 82.45(N | 62.52(W | 210 | -4 | F,I |
| BRW | Pt. Barrow, Alaska | 71.32(N | 136.60(W | 11 | -9 | F,I |
| MHT | Mace Head, Ireland# | 53.33(N | 9.90(W | 26 | 0 | F |
| LEF | WLEF tower, Wisconsin | 45.95(N | 90.28(W | 470 | -6 | F,I |
| HFM | Harvard Forest, Massachusettsà | 42.54(N | 72.18(W | 340 | -5 | F,I |
| NWR | Niwot Ridge, Colorado¤ | 40.04(N | 105.54(W | 3013 | -7 | F,I |
| ITN | WITN tower, North Carolina | 35.37(N | 77.39(W | 9 | -5 | F,I |
| MLO | Mauna Loa, Hawaii | 19.54(N | 155.58(W | 3397 | -10 | F,I |
| KUM | Cape Kumukahi, Hawaii | 19.52(N | 154.82(W | 3 | -10 | F |
| SMO | Tuluila, American Samoa | 14.23(S | 170.56(W | 77 | -11 | F,I |
| CGO | Cape Grim, Tasmania, Australia** | 40.41(S | 144.64(E | 94 | +10 | F |
| PSA | Palmer Station, Antarctica@ | 64.92(S | 64.00(W | 10 | +12 | F |
| SPO | South Pole, Antarctica | 89.98(S | 102.00(E | 2841 | +12 | F,I |

Cooperative sites (F = flasks, I = in situ) with:

*AES, in situ GC:  Only N2O and SF6

CCG.  Flasks will be added to WLEF in 1996.  The ACATS-II instrument ran as an in situ GC at WLEF for 1995.

àHarvard University

¤University of Colorado

#University College

**Commonwealth Scientific and Industrial Research Organization (CSIRO) and Bureau of Meteorology, Australia

@Only glass flask used

Table 5.1.2.1(2)  Instrumentation for NOAH Flask Analysis

| Instrument | Type | Gases | Frequency of Network Data |
| --- | --- | --- | --- |
| OTTO | GC/ECD, 3-channel, isothermal |

N2O,

CFC’s (3)  ClC’s (2)

| SF6 | weekly |
| --- | --- |
| LEAPS | GC/ECD, 1-channel, temperature programmed |

Halons (2) CH3Cl CH3Br CFC’s (1)

|  | semi-monthly to monthly |
| --- | --- |
| HCFC-MS | GC/MS, 1-channel, temperature programmed |

HCFCs (3)

HFCs (1)

CFCs (3)

halons (1)

ClCs (6)

| BrCs (3) | semi monthly |
| --- | --- |
| HFC-MS | GC/MS, 1-channel, temperature programmed |

HCFCs (5)

HFCs (2)

CFCs (2)

halons (2)

ClCs (6)

BrCs (3)

| ClBrCs (3) | semi-monthly to monthly |
| --- | --- |

Table 5.1.2.3(1) Atmospheric Halons

Gas

Tropospheric Mole Fraction

(pmol mol-1)

Global Growth Rate

(pmol mol-1 y-1)

| H-1301 | 2.3 ± 0.1 | 0.044 ± 0.011 |
| --- | --- | --- |
| H-1211 | 3.5 ± 0.01 | 0.16 ± 0.016 |
| H-2402 | 0.45 ± 0.03 | 0.009 ± 0.001 |
| Tropospheric mole fractions are for the end of 1996. Global growth rates are given as the observed change in the latitudinally weighted, global, mean mixing ratios for mid-1995-1996 for H-1301, and 1995-1996 for H-1211 and H-2402. |

| Table 5.1.2.4(1). Global mid-year burden and rate of change for HCFCs, and HFC-134a |
| --- |
| Compound | mid 1996 mixing ratio (ppt) |

mid 1997 mixing ratio

(ppt)

1996-1997 growth rate

| (ppt yr-1) |
| --- |
| HCFC-22 | 121.3 | 126.0 | 4.9 |
| HCFC-141b | 5.4 | 7.4 | 1.9 |
| HCFC-142b | 7.7 | 8.7 | 1.0 |
| HFC-134a | 3.1 | 2.4 | 2.1 |
| Quantities estimated from latitudinally weighted measurements at 7 remote sampling locations. |

Table 5.1.3.2(1)  Peak Characteristics on 4-Channel GC at SPO

| Compound | Channel |
| --- | --- |

Retention

Time (sec)

Peak Window

Size

| (sec) |
| --- |
| N2O_q | 1 | 250 | 40 |
| SF6_q | 1 | 310 | 20 |
| N2O_a | 2 | 50 | 30 |
| CFC12_a | 2 | 70 | 30 |
| CFC11_a | 2 | 215 | 70 |
| CFC11_f | 3 | 200 | 20 |
| CFC113_f | 3 | 235 | 20 |
| CHCl3_f | 3 | 350 | 20 |
| CH3CCl3_f | 3 | 425 | 30 |
| CCl4_f | 3 | 485 | 30 |
| TCE_f | 3 | 590 | 40 |
| PCE_f | 3 | 1230 | 80 |
| CFC22_cc | 4 | 640 | 30 |
| CH3Cl_cc | 4 | 710 | 40 |
| CH3Br_cc | 4 | 1148 | 60 |
| q = Porapak Q column; a = Unibeads 1s column (replacing old Porasil a column); f = Fluocol column (?) (replacing ov101?); cc = capillary column (Poraplot Q) |

Table 5.2.1(1) Stratospheric Steady-State Lifetimes From Volk, et al., [1997]. Compared to Current Reference Values

Source Gas

Observed dci/dG

| (ppt yr-1 ± %) | SteadyÐstate Lifetime based on age (yr) |
| --- | --- |

Observed

| dci/ dcCFC-11 (ppt/ppt, ± %) | Steady-state Lifetime based on CFC-11 (yr) tCFC-11 = 45 ± 7 yr-1 | WMO/IPCC Reference Lifetimes (yr) | Correction Factor C(ci) |
| --- | --- | --- | --- |
| N2O | -13,000 ± 38% | 124 ± 49 | 436 ± 11% | 122 ± 22 | 120b | 0.97 ± 0.02 |
| CH4 | -109,000±48% | 84 ± 35 | 3230 ± 10% | 93 ± 14 | 120c | 0.96 ± 0.02 |
| CFC-12 | -43.8 ± 25% | 77 ± 26 | 1.29 ± 7% | 87 ± 17 | 105b | 0.77 ± 0.07 |
| CFC-113 | -7.3 ± 22% | 89 ± 35 | 0.212 ± 20% | 100 ± 32 | 85b | 0.65 ± 0.12 |
| CFC-11 | -33.5 ± 28% | 41 ± 12 | (1) | (45 ± 7) | 50b | 0.96 ± 0.02 |
| CCl4 | -15.9 ± 32% | 32 ± 11 | 0.515 ± 3.6% | 32 ± 6 | 42b | 1.03 ± 0.02 |
| CH3CCl3 | -16.3 ± 35% | 30 ± 9 | 0.472 ± 10% | 34 ± 8 | 45c | 1.14 ± 0.13 |
| H-1211 | -0.84 ± 31% | 20 ± 9 | 0.0237 ± 7% | 24 ± 6 | 36d | 0.90 ± 0.10 |

a Uncertainty of CFC-11 lifetime is not included in uncertainty estimate.

b [WMO, 1995], Table 13-1.

c [IPCC, 1995] , Table 2.2.

d [WMO, 1992], Table 6.2, scaled to tCFC-11= 45 years.

Table 5.2.2(1) Chromatographic Parameters for LACE. All channels use VALCO ECDÕs and sample every 70 seconds. Channel 1 measures H-1211, CFC-11 and CFC-113. Channel 2 measures SF6 and CFC-12. Channel 3 measures SF6 and N20.

Channel

No.

(Dope)

Packed Columns

Pre/Main (length)

Post-main (length)

Column

Temp

(C()

Carrier Flow

ave.

(sscm)

Loop

Size

(cm3)

# 1

OV-101  10%

| 1/2 (4 m) | 63 | 73 | 5.0 |
| --- | --- | --- | --- |
| # 2 |

Mole. Sieve 5A 30/40

| 1/2 (3 m) | 115 | 141 | 2.5 |
| --- | --- | --- | --- |

# 3

(CO2)

Porapak Q

1/3 (2 m)

Mole. Sieve 5A 30/40

Post-main (0.16 m)

74

| 175 | 45 | 2.0 |
| --- | --- | --- |

Table 5.3.1(1) Mean Mixing Ratios of CH3Br in Air and Equilibrated Water during BLAST III

GC/MS

(ppt)

GC/ECD

| (ppt) | Mean Saturation Anomaly | Corrected Saturation Anomaly |
| --- | --- | --- |
| Air | 8.3 ± 0.3 | 8.5 ± 0.7 |
| Equilibrated Water | 5.5 ± 0.6 | 5.6 ± 0.8 | -36±7% | -33±8% |

Saturation Anomaly = percent departure from equilibrium, calculated from GC/MS data.

Corrected Saturation Anomaly = Mean Anomaly, corrected for physical effects, such as those associated with mixing and warming of surface waters (e.g., Butler et al 1991).

Table 5.3.2(1). Definition of terms used in Figure 1 and subsequent equations

| Parameter or Variable | Symbol or formula |
| --- | --- |

| units | References for calculations |
| --- | --- |
| Partial pressure of X | PX | atm |
|  | Oceanic concentration of X | Xaq | mol m-3 |
|  | Gas transfer velocity | KW | m y-1 | 1, 2, 3, 4 |
| Solubility | H | m3 atm mol-1 | 5, 6, 7, 8, 9 |
| Atmospheric burden of X | nx,a | mol |
|  | Surface area of ocean | A | m2 |
|  | Mixed layer depth | z | m | 10 |
| Mass of the troposphere | ntr | mol |
|  | Fraction of X in troposphere | r | unitless | 11, 12, 13 |
| Production rate of X | P0 | mol m-3 y-1 |
|  | Mixed layer chemical degradation rate constant |

kd

| y-1 | 8, 14, 15, 16, 17,18, 19 |
| --- | --- |
| Mixed layer biological degradation rate constant |

kbiol

| y-1 | 14,20 |
| --- | --- |
| Thermocline diffusion coefficient | Dz | m2 y-1 | 10 |
| Thermocline chemical degradation rate constant |

kz

| y-1 | 8, 14, 15, 16, 17,18, 19 |
| --- | --- |
| Grid cell index | i | -- |
|  | Interhemispheric ratio multiplier (NH and SH) |

RIHR

unitless

20, 21

1Wanninkhof [1992], 2Liss and Merlivat [1986], 3DeBruyn and Saltzman [1997a], 4Wilke and Chang [1955], 5DeBruyn and Saltzman [1997b], 6Moore et al. [1995], 7Gosset [1987], 8McLinden [1989], 9Johnson and Harrison [1986], 10Li et al. [1984], 11Lal et al. [1994], 12Fabian et al. [1996], 13Chen et al. [1994], 14King and Saltzman [1997], 15Moelwyn-Hughes [1938], 16Gerkins and Franklin [1989], 17Jeffers and Wolfe [1989], 18Wine and Chameides [1989], 19Elliott et al. [1989], 20Lobert et al. [1995], 21Montzka et al. [1996]

Table 5.3.2(2). tocn and t for selected halocarbons.

|  | tocn (y) | t (y) |
| --- | --- | --- |
| Trace Gas | This Study | Previous | Ref. | WMO (1994)* | This Study |
| CH3Cl | 70(70-79) |
|  | 1.5 | 1.46 |
| CH3CCl3 | 94(94-123) | 59-128 | 1 | 4.8 (4) | 4.8 |
| CCl4 | 2250 |
|  | 42 | 42 |
| HCFC-22 | 2320 | 110 | 2 | 13.3 | 13.3 |
| HFC-125 | 10600 | >1500 | 2 | 36 | 36 |
| HFC-134a | 9100 | >1100 | 2 | 14 | 14 |
| HFC-152a | 5530 | >460 | 2 | 1.5 | 1.5 |
| HCFC-124 | 1840 | 360 | 2 | 5.9 | 5.9 |
| HCFC-142b | 2060 | 270 | 2 | 19.5 | 19.5 |
| HCFC-123 | 635 | 180 | 2 | 1.4 | 1.4 |
| HCFC-141b | 2230 | 77-360 | 2 | 9.4 | 9.4 |
| CHCl3 | 715 |
|  | 0.55 | 0.55 |
| C2Cl4 | 2130000 |
|  | 0.4 (5),* |
|  | OCS | 13.2 | 18 | 3 | 4.3 (6),* | 3.2 |

* No oceanic uptake was considered except for CH3CCl3.

1Butler et al. [1991], 2Wine and Chameides [1989], 3Ulshöfer and Andreae [1997], 4Prinn et al. [1995], 5Wang et al. [1995], 6Chin and Davis [1995]

# Comments

3.6/2.3

4.6-5.8/3.5

Use ÒhardÓ hyphens for all minus signs (SHIFT-CTRL-HYPHEN)

global emissions?

ÒusingÓ and other participles must refer back to a noun in the sentence.  Terribly mis-used by scientists.

Why would we expect globally averaged emissions to be representative of ANY specific site?