## summaryO3 18 Jun 16
Averages of total ozone:
With the exisiting Calibration, Lamp tests included
Average is over the complete Mu range
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
278.6641 | 296.8149 | 278.4286 | 264.6698 | 273.7619
4.9022 | 23.053 | 4.6667 | -9.0922
With Langley Plot Calibration
Langley Plot Adjustments and Lamp Test results included
D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD*
273.2588 | 280.685 | 275.6278 | 267.5614 | 274.3308
-1.072 | 6.3542 | 1.2969 | -6.7695

## IdD083
Dobson 083 at IZO 2016.Sep.22 Langley Plot Results
SLC083Na | -0.9 | SLC083Nc | -0.7 | [9 empty] | SLC083Nd | -0.7 | [11 empty] | Correction to
D083 LP adj. A:-1.21 C:-0.89 D:-1.16 Nad:-0.05 | [12 empty] | MaxMu | 2.5 | MaxMu can be changed | [5 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83 | AD | CD
[20 empty] | With out High mu values | -0.86439 |  | -1.1154 |  | -0.94533 | 0.17006 | 0.25099 | [14 empty] | Limited Mu range
[11 empty] | 46 |  |  |  | 278.6641 | 296.8149 | 278.4286 | 264.6698 | 273.7619 | all Values | -0.89161 |  | -1.1608 |  | -1.2107 | -0.049958 | 0.26917 | [14 empty] | 0.18208 |  | 0.17467
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD | 1/mu.cd | P*CD_83 | 1/mu.ad | P*AD_83
143.2 | 82 | 253.8 | 22 | 7 | 56 | 0 | 9 | 16 | C | 83 | IZO | 134.1057 | 78.1659 | 240.9259 | 275.6375 | 286.5918 | 274.9174 | 267.4481 | 271.8725 | 0.23468 | 0.22782 | 0.23814 | 0.10335 | 0.24159 | 0.49144 | 2016-09-22 07:56 | 4.261 | 4.4708 | 2016-09-22 07:57 | 4.1993 | 4.3991 | 2016-09-22 07:58 | 4.1392 | 4.3297 | 2016-09-22 07:56 | 4.23 | 4.4346 | 2016-09-22 07:57 | 4.1691 | 4.3641 | 0.23641 | 0.12447 | 0.23986 | 0.38809
134.9 | 77.2 | 241.3 | 22 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 126.292 | 73.7607 | 228.2229 | 275.1922 | 287.088 | 275.7007 | 266.2252 | 272.7436 | 0.24851 | 0.22745 | 0.25197 | 0.10353 | 0.25544 | 0.49284 | 2016-09-22 08:00 | 4.024 | 4.1974 | 2016-09-22 08:01 | 3.9687 | 4.1343 | 2016-09-22 08:02 | 3.9148 | 4.0731 | 2016-09-22 08:01 | 3.9961 | 4.1656 | 2016-09-22 08:02 | 3.9416 | 4.1034 | 0.25024 | 0.12392 | 0.25371 | 0.38931
127.7 | 73 | 230.3 | 22 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 119.5351 | 69.9162 | 216.8839 | 275.4396 | 288.189 | 276.5596 | 265.7736 | 273.5534 | 0.26238 | 0.22765 | 0.26584 | 0.10392 | 0.26932 | 0.49437 | 2016-09-22 08:04 | 3.8113 | 3.9561 | 2016-09-22 08:05 | 3.7616 | 3.9002 | 2016-09-22 08:06 | 3.7131 | 3.8459 | 2016-09-22 08:04 | 3.7863 | 3.9279 | 2016-09-22 08:06 | 3.7372 | 3.8728 | 0.26411 | 0.12373 | 0.26758 | 0.39045
121.6 | 69.1 | 219.8 | 22 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 113.8549 | 66.3577 | 206.3 | 276.9609 | 288.4043 | 276.828 | 268.2752 | 273.8449 | 0.27626 | 0.22891 | 0.27973 | 0.104 | 0.2832 | 0.49485 | 2016-09-22 08:08 | 3.6198 | 3.7418 | 2016-09-22 08:09 | 3.5749 | 3.6919 | 2016-09-22 08:10 | 3.5311 | 3.6434 | 2016-09-22 08:08 | 3.5972 | 3.7167 | 2016-09-22 08:10 | 3.5529 | 3.6675 | 0.27799 | 0.12491 | 0.28146 | 0.39085
115.7 | 65.8 | 210.1 | 22 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 108.3773 | 63.347 | 196.6194 | 277.2189 | 290.1963 | 276.9156 | 267.3212 | 273.5095 | 0.29014 | 0.22912 | 0.29361 | 0.10465 | 0.29707 | 0.49501 | 2016-09-22 08:12 | 3.4466 | 3.5502 | 2016-09-22 08:13 | 3.4059 | 3.5055 | 2016-09-22 08:14 | 3.3662 | 3.4619 | 2016-09-22 08:12 | 3.4262 | 3.5277 | 2016-09-22 08:13 | 3.3859 | 3.4835 | 0.29187 | 0.12447 | 0.29534 | 0.39036
110 | 62.6 | 201.2 | 22 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 103.0993 | 60.4113 | 187.8434 | 276.2977 | 290.1671 | 277.0258 | 265.6894 | 273.6614 | 0.304 | 0.22836 | 0.30746 | 0.10464 | 0.31092 | 0.49521 | 2016-09-22 08:16 | 3.2894 | 3.3781 | 2016-09-22 08:17 | 3.2524 | 3.3377 | 2016-09-22 08:18 | 3.2162 | 3.2984 | 2016-09-22 08:17 | 3.2708 | 3.3578 | 2016-09-22 08:18 | 3.2342 | 3.3179 | 0.30573 | 0.12372 | 0.30919 | 0.39057
105.3 | 59.7 | 193 | 22 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 98.7425 | 57.7387 | 179.7673 | 277.0695 | 290.0836 | 276.9925 | 267.1068 | 273.646 | 0.31784 | 0.229 | 0.32129 | 0.10461 | 0.32474 | 0.49515 | 2016-09-22 08:20 | 3.1463 | 3.2226 | 2016-09-22 08:21 | 3.1125 | 3.186 | 2016-09-22 08:22 | 3.0794 | 3.1504 | 2016-09-22 08:20 | 3.1293 | 3.2042 | 2016-09-22 08:22 | 3.0958 | 3.1681 | 0.31956 | 0.12439 | 0.32301 | 0.39054
100.7 | 57.2 | 185.6 | 22 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 94.4669 | 55.4226 | 172.4783 | 276.6251 | 291.1197 | 277.1397 | 265.5027 | 273.573 | 0.33163 | 0.22863 | 0.33507 | 0.10498 | 0.33851 | 0.49541 | 2016-09-22 08:24 | 3.0154 | 3.0815 | 2016-09-22 08:25 | 2.9845 | 3.0483 | 2016-09-22 08:26 | 2.9542 | 3.0158 | 2016-09-22 08:24 | 2.9999 | 3.0648 | 2016-09-22 08:26 | 2.9692 | 3.032 | 0.33335 | 0.12365 | 0.33679 | 0.39043
96.6 | 54.7 | 178.6 | 22 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 90.6583 | 53.096 | 165.577 | 276.6176 | 290.1406 | 276.8617 | 266.2358 | 273.4758 | 0.34537 | 0.22863 | 0.34879 | 0.10463 | 0.35222 | 0.49491 | 2016-09-22 08:28 | 2.8955 | 2.953 | 2016-09-22 08:29 | 2.867 | 2.9227 | 2016-09-22 08:30 | 2.8392 | 2.893 | 2016-09-22 08:28 | 2.8812 | 2.9378 | 2016-09-22 08:29 | 2.853 | 2.9078 | 0.34708 | 0.124 | 0.35051 | 0.39028
92.8 | 52.7 | 172.3 | 22 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 87.1374 | 51.2218 | 159.4234 | 276.5035 | 291.7944 | 276.9848 | 264.7436 | 273.2152 | 0.35905 | 0.22853 | 0.36245 | 0.10522 | 0.36586 | 0.49513 | 2016-09-22 08:32 | 2.7852 | 2.8356 | 2016-09-22 08:33 | 2.759 | 2.8078 | 2016-09-22 08:34 | 2.7333 | 2.7806 | 2016-09-22 08:33 | 2.772 | 2.8216 | 2016-09-22 08:34 | 2.7461 | 2.7941 | 0.36075 | 0.12331 | 0.36416 | 0.38991
89.4 | 50.8 | 166.8 | 22 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 83.9852 | 49.4288 | 154.0459 | 276.7928 | 292.7313 | 277.7419 | 264.5234 | 273.9295 | 0.37265 | 0.22877 | 0.37604 | 0.10556 | 0.37942 | 0.49649 | 2016-09-22 08:36 | 2.6835 | 2.7278 | 2016-09-22 08:37 | 2.6593 | 2.7023 | 2016-09-22 08:38 | 2.6356 | 2.6772 | 2016-09-22 08:36 | 2.6713 | 2.715 | 2016-09-22 08:38 | 2.6474 | 2.6897 | 0.37435 | 0.12321 | 0.37773 | 0.39092
86.4 | 49 | 161.3 | 22 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 81.2037 | 47.7205 | 148.6649 | 277.6811 | 293.0858 | 277.5977 | 265.8179 | 273.6615 | 0.38618 | 0.2295 | 0.38954 | 0.10569 | 0.39291 | 0.49623 | 2016-09-22 08:40 | 2.5895 | 2.6287 | 2016-09-22 08:41 | 2.5671 | 2.6051 | 2016-09-22 08:42 | 2.5451 | 2.582 | 2016-09-22 08:40 | 2.5782 | 2.6168 | 2016-09-22 08:42 | 2.5561 | 2.5935 | 0.38786 | 0.12381 | 0.39123 | 0.39054
82.9 | 47.3 | 156.4 | 22 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 77.9737 | 46.0976 | 143.9147 | 275.3921 | 292.9703 | 277.9958 | 261.8405 | 274.1914 | 0.39961 | 0.22761 | 0.40296 | 0.10565 | 0.4063 | 0.49694 | 2016-09-22 08:44 | 2.5024 | 2.5371 | 2016-09-22 08:45 | 2.4816 | 2.5154 | 2016-09-22 08:46 | 2.4612 | 2.494 | 2016-09-22 08:44 | 2.492 | 2.5262 | 2016-09-22 08:46 | 2.4714 | 2.5046 | 0.40129 | 0.12196 | 0.40463 | 0.39129
80.5 | 45.8 | 151.7 | 22 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 75.7665 | 44.6576 | 139.3587 | 277.0655 | 293.6124 | 278.0564 | 264.307 | 274.1066 | 0.41296 | 0.229 | 0.41628 | 0.10588 | 0.41959 | 0.49705 | 2016-09-22 08:48 | 2.4215 | 2.4524 | 2016-09-22 08:49 | 2.4022 | 2.4323 | 2016-09-22 08:50 | 2.3833 | 2.4124 | 2016-09-22 08:49 | 2.4118 | 2.4423 | 2016-09-22 08:50 | 2.3927 | 2.4223 | 0.41462 | 0.12312 | 0.41794 | 0.39117
78.1 | 44.5 | 147.3 | 22 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 73.5579 | 43.4039 | 135.1098 | 277.9173 | 295.2626 | 278.0991 | 264.5363 | 273.7446 | 0.4262 | 0.2297 | 0.4295 | 0.10647 | 0.43278 | 0.49712 | 2016-09-22 08:52 | 2.3463 | 2.3739 | 2016-09-22 08:53 | 2.3283 | 2.3551 | 2016-09-22 08:54 | 2.3106 | 2.3367 | 2016-09-22 08:52 | 2.3373 | 2.3645 | 2016-09-22 08:54 | 2.3194 | 2.3459 | 0.42785 | 0.12322 | 0.43114 | 0.39065
75.7 | 43.2 | 143.2 | 22 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 71.3466 | 42.1447 | 131.1899 | 277.9449 | 295.7793 | 278.2501 | 264.1814 | 273.8045 | 0.43934 | 0.22972 | 0.44261 | 0.10666 | 0.44587 | 0.49739 | 2016-09-22 08:56 | 2.2761 | 2.3009 | 2016-09-22 08:57 | 2.2593 | 2.2834 | 2016-09-22 08:58 | 2.2428 | 2.2662 | 2016-09-22 08:56 | 2.2677 | 2.2921 | 2016-09-22 08:58 | 2.2511 | 2.2748 | 0.44097 | 0.12306 | 0.44424 | 0.39073
73.4 | 41.9 | 139.3 | 22 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 69.227 | 40.8799 | 127.4696 | 277.6678 | 295.1599 | 278.2538 | 264.1658 | 273.9667 | 0.45236 | 0.22949 | 0.4556 | 0.10644 | 0.45883 | 0.4974 | 2016-09-22 09:00 | 2.2106 | 2.2328 | 2016-09-22 09:01 | 2.1949 | 2.2165 | 2016-09-22 09:02 | 2.1795 | 2.2005 | 2016-09-22 09:00 | 2.2027 | 2.2246 | 2016-09-22 09:02 | 2.1871 | 2.2085 | 0.45398 | 0.12306 | 0.45722 | 0.39096
71.4 | 40.9 | 135.9 | 22 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 67.3841 | 39.9028 | 124.2291 | 278.1769 | 297.2195 | 278.8957 | 263.4718 | 274.2514 | 0.46527 | 0.22991 | 0.46847 | 0.10718 | 0.47167 | 0.49855 | 2016-09-22 09:04 | 2.1493 | 2.1693 | 2016-09-22 09:05 | 2.1346 | 2.1541 | 2016-09-22 09:06 | 2.1201 | 2.1391 | 2016-09-22 09:05 | 2.1419 | 2.1616 | 2016-09-22 09:06 | 2.1273 | 2.1465 | 0.46687 | 0.12273 | 0.47007 | 0.39137
69.6 | 39.8 | 132.4 | 22 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 65.7271 | 38.8236 | 120.8842 | 279.0799 | 297.0698 | 278.7005 | 265.1868 | 274.0455 | 0.47805 | 0.23066 | 0.48122 | 0.10713 | 0.48439 | 0.4982 | 2016-09-22 09:08 | 2.0918 | 2.1099 | 2016-09-22 09:09 | 2.078 | 2.0956 | 2016-09-22 09:10 | 2.0645 | 2.0816 | 2016-09-22 09:08 | 2.0849 | 2.1027 | 2016-09-22 09:10 | 2.0712 | 2.0886 | 0.47964 | 0.12353 | 0.48281 | 0.39107
67.8 | 38.7 | 129.1 | 22 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 64.0699 | 37.7395 | 117.7331 | 279.3635 | 295.94 | 278.4785 | 266.562 | 274.0537 | 0.4907 | 0.23089 | 0.49384 | 0.10672 | 0.49697 | 0.4978 | 2016-09-22 09:12 | 2.0379 | 2.0542 | 2016-09-22 09:13 | 2.0249 | 2.0409 | 2016-09-22 09:14 | 2.0122 | 2.0277 | 2016-09-22 09:12 | 2.0314 | 2.0475 | 2016-09-22 09:14 | 2.0185 | 2.0343 | 0.49227 | 0.12418 | 0.49541 | 0.39108
66.1 | 37.8 | 126.1 | 22 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 62.5027 | 36.849 | 114.8739 | 279.5807 | 296.6208 | 278.5545 | 266.4184 | 273.9775 | 0.50322 | 0.23107 | 0.50632 | 0.10696 | 0.50942 | 0.49794 | 2016-09-22 09:16 | 1.9872 | 2.002 | 2016-09-22 09:17 | 1.975 | 1.9895 | 2016-09-22 09:18 | 1.963 | 1.9771 | 2016-09-22 09:16 | 1.9811 | 1.9957 | 2016-09-22 09:18 | 1.969 | 1.9833 | 0.50477 | 0.12411 | 0.50787 | 0.39097
64.4 | 36.9 | 123.3 | 22 | 9 | 20 | 0 | 9 | 16 | C | 83 | IZO | 60.932 | 35.9557 | 112.2162 | 279.194 | 296.4935 | 278.7295 | 265.8289 | 274.2295 | 0.51559 | 0.23075 | 0.51866 | 0.10692 | 0.52173 | 0.49825 | 2016-09-22 09:20 | 1.9395 | 1.9529 | 2016-09-22 09:21 | 1.928 | 1.9411 | 2016-09-22 09:22 | 1.9167 | 1.9295 | 2016-09-22 09:20 | 1.9338 | 1.947 | 2016-09-22 09:22 | 1.9224 | 1.9353 | 0.51713 | 0.12384 | 0.5202 | 0.39133
62.7 | 36.1 | 120.3 | 22 | 9 | 24 | 0 | 9 | 16 | C | 83 | IZO | 59.3593 | 35.1594 | 109.3919 | 278.216 | 297.0337 | 277.9493 | 263.6741 | 273.1162 | 0.52782 | 0.22995 | 0.53086 | 0.10711 | 0.53389 | 0.49686 | 2016-09-22 09:24 | 1.8946 | 1.9068 | 2016-09-22 09:25 | 1.8837 | 1.8957 | 2016-09-22 09:26 | 1.8731 | 1.8847 | 2016-09-22 09:24 | 1.8891 | 1.9012 | 2016-09-22 09:26 | 1.8784 | 1.8902 | 0.52934 | 0.12283 | 0.53237 | 0.38974
61.4 | 35.4 | 117.9 | 22 | 9 | 28 | 0 | 9 | 16 | C | 83 | IZO | 58.1548 | 34.4612 | 107.1411 | 279.0704 | 298.3601 | 278.4444 | 264.1617 | 273.4017 | 0.53991 | 0.23065 | 0.54291 | 0.10759 | 0.54589 | 0.49774 | 2016-09-22 09:28 | 1.8522 | 1.8633 | 2016-09-22 09:29 | 1.8419 | 1.8528 | 2016-09-22 09:30 | 1.8319 | 1.8425 | 2016-09-22 09:28 | 1.847 | 1.858 | 2016-09-22 09:30 | 1.8369 | 1.8476 | 0.54141 | 0.12306 | 0.5444 | 0.39015
60 | 34.6 | 115.4 | 22 | 9 | 32 | 0 | 9 | 16 | C | 83 | IZO | 56.8553 | 33.6616 | 104.7926 | 278.829 | 297.5092 | 278.2394 | 264.3906 | 273.3604 | 0.55184 | 0.23045 | 0.5548 | 0.10729 | 0.55775 | 0.49737 | 2016-09-22 09:32 | 1.8121 | 1.8223 | 2016-09-22 09:33 | 1.8025 | 1.8124 | 2016-09-22 09:34 | 1.7929 | 1.8026 | 2016-09-22 09:32 | 1.8073 | 1.8173 | 2016-09-22 09:34 | 1.7977 | 1.8075 | 0.55332 | 0.12317 | 0.55627 | 0.39009
58.9 | 33.9 | 113.2 | 22 | 9 | 36 | 0 | 9 | 16 | C | 83 | IZO | 55.8321 | 32.9607 | 102.7243 | 279.9875 | 297.5308 | 278.5231 | 266.428 | 273.7107 | 0.56361 | 0.23141 | 0.56653 | 0.10729 | 0.56944 | 0.49788 | 2016-09-22 09:36 | 1.7743 | 1.7836 | 2016-09-22 09:37 | 1.7651 | 1.7742 | 2016-09-22 09:38 | 1.7561 | 1.765 | 2016-09-22 09:36 | 1.7697 | 1.7789 | 2016-09-22 09:38 | 1.7606 | 1.7696 | 0.56507 | 0.12412 | 0.56799 | 0.39059
57.3 | 33.2 | 111.1 | 22 | 9 | 40 | 0 | 9 | 16 | C | 83 | IZO | 54.3415 | 32.2588 | 100.7541 | 277.4922 | 296.9282 | 278.761 | 262.4664 | 274.1614 | 0.57522 | 0.22935 | 0.5781 | 0.10708 | 0.58097 | 0.49831 | 2016-09-22 09:40 | 1.7385 | 1.747 | 2016-09-22 09:41 | 1.7298 | 1.7381 | 2016-09-22 09:42 | 1.7213 | 1.7294 | 2016-09-22 09:40 | 1.7341 | 1.7425 | 2016-09-22 09:42 | 1.7255 | 1.7337 | 0.57666 | 0.12227 | 0.57954 | 0.39123
56.4 | 32.5 | 108.8 | 22 | 9 | 44 | 0 | 9 | 16 | C | 83 | IZO | 53.502 | 31.5558 | 98.6069 | 279.0904 | 295.7055 | 278.0645 | 266.2471 | 273.5982 | 0.58667 | 0.23067 | 0.5895 | 0.10663 | 0.59233 | 0.49706 | 2016-09-22 09:44 | 1.7045 | 1.7123 | 2016-09-22 09:45 | 1.6963 | 1.704 | 2016-09-22 09:46 | 1.6883 | 1.6957 | 2016-09-22 09:44 | 1.7004 | 1.7081 | 2016-09-22 09:46 | 1.6923 | 1.6998 | 0.58809 | 0.12403 | 0.59092 | 0.39043
55.2 | 32 | 106.9 | 22 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 52.3806 | 31.0529 | 96.8401 | 278.3062 | 297.2207 | 278.2854 | 263.6821 | 273.4923 | 0.59794 | 0.23002 | 0.60074 | 0.10718 | 0.60352 | 0.49746 | 2016-09-22 09:48 | 1.6724 | 1.6795 | 2016-09-22 09:49 | 1.6646 | 1.6716 | 2016-09-22 09:50 | 1.657 | 1.6638 | 2016-09-22 09:48 | 1.6685 | 1.6756 | 2016-09-22 09:50 | 1.6608 | 1.6677 | 0.59934 | 0.12284 | 0.60213 | 0.39028
48.7 | 28.5 | 94.9 | 22 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 46.2454 | 27.5117 | 85.5835 | 280.8921 | 302.1265 | 280.0423 | 264.4672 | 274.4552 | 0.68158 | 0.23216 | 0.68399 | 0.10895 | 0.68639 | 0.5006 | 2016-09-22 10:20 | 1.4672 | 1.4709 | 2016-09-22 10:21 | 1.462 | 1.4656 | 2016-09-22 10:22 | 1.4569 | 1.4604 | 2016-09-22 10:20 | 1.4646 | 1.4682 | 2016-09-22 10:22 | 1.4594 | 1.463 | 0.68279 | 0.12321 | 0.68519 | 0.39165
48 | 28.1 | 93.7 | 22 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 45.5778 | 27.1043 | 84.4531 | 280.6862 | 301.5966 | 280.1872 | 264.5116 | 274.7708 | 0.69116 | 0.23199 | 0.69352 | 0.10876 | 0.69587 | 0.50086 | 2016-09-22 10:24 | 1.4468 | 1.4502 | 2016-09-22 10:25 | 1.4419 | 1.4452 | 2016-09-22 10:26 | 1.437 | 1.4403 | 2016-09-22 10:24 | 1.4444 | 1.4477 | 2016-09-22 10:25 | 1.4395 | 1.4428 | 0.69234 | 0.12323 | 0.6947 | 0.3921
47.3 | 27.8 | 92.6 | 22 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 44.9083 | 26.7984 | 83.4186 | 280.1967 | 302.6738 | 280.4935 | 262.8091 | 274.8823 | 0.70053 | 0.23158 | 0.70284 | 0.10915 | 0.70514 | 0.5014 | 2016-09-22 10:28 | 1.4275 | 1.4306 | 2016-09-22 10:29 | 1.4228 | 1.4259 | 2016-09-22 10:30 | 1.4182 | 1.4212 | 2016-09-22 10:28 | 1.4251 | 1.4282 | 2016-09-22 10:30 | 1.4205 | 1.4235 | 0.70169 | 0.12244 | 0.704 | 0.39226
46.9 | 27.5 | 91.5 | 22 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 44.5248 | 26.4921 | 82.3868 | 281.8986 | 303.4307 | 280.6065 | 265.2421 | 274.8328 | 0.7097 | 0.23299 | 0.71196 | 0.10942 | 0.7142 | 0.50161 | 2016-09-22 10:32 | 1.409 | 1.4119 | 2016-09-22 10:33 | 1.4046 | 1.4074 | 2016-09-22 10:34 | 1.4002 | 1.4029 | 2016-09-22 10:32 | 1.4068 | 1.4097 | 2016-09-22 10:34 | 1.4024 | 1.4052 | 0.71083 | 0.12357 | 0.71308 | 0.39219
46.2 | 27.2 | 90.3 | 22 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 43.8519 | 26.1855 | 81.2655 | 280.8851 | 303.8704 | 280.1553 | 263.1034 | 274.1565 | 0.71866 | 0.23215 | 0.72086 | 0.10958 | 0.72305 | 0.5008 | 2016-09-22 10:36 | 1.3915 | 1.3942 | 2016-09-22 10:37 | 1.3872 | 1.3898 | 2016-09-22 10:38 | 1.383 | 1.3856 | 2016-09-22 10:36 | 1.3894 | 1.392 | 2016-09-22 10:38 | 1.3851 | 1.3877 | 0.71976 | 0.12257 | 0.72196 | 0.39122
45.6 | 26.8 | 89.3 | 22 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 43.2735 | 25.7762 | 80.3336 | 280.4458 | 301.9252 | 280.2715 | 263.8293 | 274.7938 | 0.7274 | 0.23179 | 0.72955 | 0.10888 | 0.73169 | 0.50101 | 2016-09-22 10:40 | 1.3748 | 1.3772 | 2016-09-22 10:41 | 1.3707 | 1.3731 | 2016-09-22 10:42 | 1.3667 | 1.3691 | 2016-09-22 10:40 | 1.3727 | 1.3752 | 2016-09-22 10:41 | 1.3687 | 1.3711 | 0.72847 | 0.12291 | 0.73062 | 0.39213
45.1 | 26.5 | 88.2 | 22 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 42.7907 | 25.4688 | 79.3106 | 280.6214 | 301.7147 | 279.8234 | 264.3036 | 274.2858 | 0.73592 | 0.23193 | 0.73802 | 0.1088 | 0.7401 | 0.50021 | 2016-09-22 10:44 | 1.3588 | 1.3611 | 2016-09-22 10:45 | 1.355 | 1.3572 | 2016-09-22 10:46 | 1.3512 | 1.3534 | 2016-09-22 10:44 | 1.3569 | 1.3592 | 2016-09-22 10:46 | 1.3531 | 1.3553 | 0.73697 | 0.12313 | 0.73906 | 0.3914
44.7 | 26.4 | 87.2 | 22 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 42.4038 | 25.3663 | 78.3822 | 281.4483 | 305.4433 | 279.5776 | 262.8841 | 273.0357 | 0.74423 | 0.23262 | 0.74627 | 0.11015 | 0.74829 | 0.49977 | 2016-09-22 10:48 | 1.3437 | 1.3458 | 2016-09-22 10:49 | 1.34 | 1.3421 | 2016-09-22 10:50 | 1.3364 | 1.3384 | 2016-09-22 10:48 | 1.3418 | 1.3439 | 2016-09-22 10:50 | 1.3382 | 1.3402 | 0.74525 | 0.12247 | 0.74728 | 0.38962
44.4 | 26.2 | 86.4 | 22 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 42.1132 | 25.1612 | 77.6403 | 282.9607 | 306.8207 | 279.9384 | 264.5007 | 273.1396 | 0.75231 | 0.23387 | 0.75429 | 0.11064 | 0.75626 | 0.50041 | 2016-09-22 10:52 | 1.3292 | 1.3312 | 2016-09-22 10:53 | 1.3257 | 1.3276 | 2016-09-22 10:54 | 1.3223 | 1.3242 | 2016-09-22 10:52 | 1.3275 | 1.3294 | 2016-09-22 10:54 | 1.324 | 1.3259 | 0.7533 | 0.12322 | 0.75528 | 0.38977
43.7 | 25.8 | 85.5 | 22 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 41.434 | 24.7505 | 76.8062 | 280.7269 | 303.6054 | 279.7415 | 263.0264 | 273.7057 | 0.76017 | 0.23202 | 0.76209 | 0.10948 | 0.76401 | 0.50006 | 2016-09-22 10:56 | 1.3155 | 1.3173 | 2016-09-22 10:57 | 1.3122 | 1.3139 | 2016-09-22 10:58 | 1.3089 | 1.3106 | 2016-09-22 10:56 | 1.3138 | 1.3156 | 2016-09-22 10:57 | 1.3105 | 1.3123 | 0.76113 | 0.12254 | 0.76305 | 0.39058
43.4 | 25.7 | 84.9 | 22 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 41.1423 | 24.6477 | 76.2504 | 281.8515 | 306.6295 | 280.5758 | 262.6805 | 273.9866 | 0.76779 | 0.23295 | 0.76967 | 0.11057 | 0.77152 | 0.50155 | 2016-09-22 11:00 | 1.3024 | 1.3041 | 2016-09-22 11:01 | 1.2993 | 1.3009 | 2016-09-22 11:02 | 1.2961 | 1.2977 | 2016-09-22 11:01 | 1.3008 | 1.3025 | 2016-09-22 11:02 | 1.2977 | 1.2993 | 0.76873 | 0.12238 | 0.7706 | 0.39098
42.9 | 25.4 | 83.8 | 22 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 40.6554 | 24.3393 | 75.2327 | 280.9768 | 305.0199 | 279.253 | 262.3744 | 272.7364 | 0.77519 | 0.23223 | 0.77701 | 0.10999 | 0.77881 | 0.49919 | 2016-09-22 11:04 | 1.29 | 1.2915 | 2016-09-22 11:05 | 1.287 | 1.2885 | 2016-09-22 11:06 | 1.284 | 1.2855 | 2016-09-22 11:04 | 1.2885 | 1.29 | 2016-09-22 11:06 | 1.2855 | 1.287 | 0.7761 | 0.12223 | 0.77791 | 0.38919
42.4 | 25.2 | 83.2 | 22 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 40.1675 | 24.1335 | 74.6787 | 279.8917 | 305.3605 | 279.7883 | 260.1854 | 273.321 | 0.78236 | 0.23133 | 0.78412 | 0.11012 | 0.78586 | 0.50014 | 2016-09-22 11:08 | 1.2782 | 1.2796 | 2016-09-22 11:09 | 1.2753 | 1.2767 | 2016-09-22 11:10 | 1.2725 | 1.2738 | 2016-09-22 11:08 | 1.2767 | 1.2781 | 2016-09-22 11:10 | 1.2739 | 1.2753 | 0.78324 | 0.12121 | 0.78499 | 0.39003
42.2 | 24.9 | 82.4 | 22 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 39.972 | 23.8245 | 73.9408 | 281.4018 | 303.2004 | 279.3666 | 264.5363 | 273.3386 | 0.78929 | 0.23258 | 0.79099 | 0.10934 | 0.79267 | 0.49939 | 2016-09-22 11:12 | 1.267 | 1.2683 | 2016-09-22 11:13 | 1.2642 | 1.2655 | 2016-09-22 11:14 | 1.2616 | 1.2628 | 2016-09-22 11:12 | 1.2656 | 1.2669 | 2016-09-22 11:13 | 1.2629 | 1.2641 | 0.79014 | 0.12324 | 0.79183 | 0.39005
41.9 | 24.8 | 81.8 | 22 | 11 | 16 | 0 | 9 | 16 | C | 83 | IZO | 39.6785 | 23.7215 | 73.3877 | 281.8203 | 305.3209 | 279.6174 | 263.6372 | 273.117 | 0.79599 | 0.23293 | 0.79763 | 0.1101 | 0.79925 | 0.49984 | 2016-09-22 11:16 | 1.2563 | 1.2575 | 2016-09-22 11:17 | 1.2537 | 1.2549 | 2016-09-22 11:18 | 1.2512 | 1.2523 | 2016-09-22 11:17 | 1.255 | 1.2562 | 2016-09-22 11:18 | 1.2524 | 1.2536 | 0.79681 | 0.12282 | 0.79844 | 0.38974
41.6 | 24.6 | 81.1 | 22 | 11 | 20 | 0 | 9 | 16 | C | 83 | IZO | 39.3845 | 23.5153 | 72.7426 | 282.0731 | 304.9461 | 279.3146 | 264.3755 | 272.8325 | 0.80245 | 0.23313 | 0.80402 | 0.10997 | 0.80558 | 0.4993 | 2016-09-22 11:20 | 1.2462 | 1.2473 | 2016-09-22 11:21 | 1.2437 | 1.2448 | 2016-09-22 11:22 | 1.2413 | 1.2424 | 2016-09-22 11:20 | 1.245 | 1.2461 | 2016-09-22 11:22 | 1.2425 | 1.2436 | 0.80324 | 0.12317 | 0.8048 | 0.38933
41.3 | 24.6 | 80.7 | 22 | 11 | 24 | 0 | 9 | 16 | C | 83 | IZO | 39.0902 | 23.5153 | 72.3739 | 282.1615 | 308.9735 | 280.1235 | 261.4149 | 272.828 | 0.80866 | 0.23321 | 0.81018 | 0.11142 | 0.81168 | 0.50074 | 2016-09-22 11:24 | 1.2366 | 1.2376 | 2016-09-22 11:25 | 1.2343 | 1.2353 | 2016-09-22 11:26 | 1.232 | 1.233 | 2016-09-22 11:24 | 1.2355 | 1.2364 | 2016-09-22 11:26 | 1.2332 | 1.2341 | 0.80942 | 0.12179 | 0.81093 | 0.38932

## IdD083_star
This Page uses the lamp tests and the langley plot results in the limited mu range from sheet IdD083 | [21 empty] | the correction values from ID083 are applied to the NC
Dobson 083 at IZO 2016.Sep.22 Langley Plot Results | [15 empty] | 109
SLC083Na | -0.9 | SLC083Nc | -0.7 | [9 empty] | SLC083Nd | -0.7
D083 LP adj. A:-0.37 C:-0.01 D:-0.05 Nad:-0.32 | [20 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83
[15 empty] | 273.2588 | 280.685 | 275.6278 | 267.5614 | 274.3308 | All Obs | -0.014497 |  | -0.049289 |  | -0.36929 | -0.32001 | 0.034792
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD* | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD
143.2 | 82 | 253.8 | 22 | 7 | 56 | 0 | 9 | 16 | C | 83 | IZO | 133.2413 | 77.0506 | 239.9805 | 273.1831 | 279.2261 | 273.6398 | 268.7951 | 272.1334 | 0.23468 | 0.22579 | 0.23814 | 0.10069 | 0.24159 | 0.48915 | 2016-09-22 07:56 | 4.261 | 4.4708 | 2016-09-22 07:57 | 4.1993 | 4.3991 | 2016-09-22 07:58 | 4.1392 | 4.3297 | 2016-09-22 07:56 | 4.23 | 4.4346 | 2016-09-22 07:57 | 4.1691 | 4.3641
134.9 | 77.2 | 241.3 | 22 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 125.4276 | 72.6453 | 227.2776 | 272.5931 | 279.2943 | 274.3499 | 267.647 | 273.0209 | 0.24851 | 0.2253 | 0.25197 | 0.10072 | 0.25544 | 0.49042 | 2016-09-22 08:00 | 4.024 | 4.1974 | 2016-09-22 08:01 | 3.9687 | 4.1343 | 2016-09-22 08:02 | 3.9148 | 4.0731 | 2016-09-22 08:01 | 3.9961 | 4.1656 | 2016-09-22 08:02 | 3.9416 | 4.1034
127.7 | 73 | 230.3 | 22 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 118.6707 | 68.8008 | 215.9385 | 272.6956 | 279.9663 | 275.1354 | 267.2702 | 273.8473 | 0.26238 | 0.22538 | 0.26584 | 0.10096 | 0.26932 | 0.49183 | 2016-09-22 08:04 | 3.8113 | 3.9561 | 2016-09-22 08:05 | 3.7616 | 3.9002 | 2016-09-22 08:06 | 3.7131 | 3.8459 | 2016-09-22 08:04 | 3.7863 | 3.9279 | 2016-09-22 08:06 | 3.7372 | 3.8728
121.6 | 69.1 | 219.8 | 22 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 112.9905 | 65.2423 | 205.3546 | 274.0717 | 279.7522 | 275.3304 | 269.8467 | 274.1553 | 0.27626 | 0.22652 | 0.27973 | 0.10088 | 0.2832 | 0.49217 | 2016-09-22 08:08 | 3.6198 | 3.7418 | 2016-09-22 08:09 | 3.5749 | 3.6919 | 2016-09-22 08:10 | 3.5311 | 3.6434 | 2016-09-22 08:08 | 3.5972 | 3.7167 | 2016-09-22 08:10 | 3.5529 | 3.6675
115.7 | 65.8 | 210.1 | 22 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 107.5129 | 62.2316 | 195.6741 | 274.1845 | 281.1149 | 275.3445 | 268.9673 | 273.8365 | 0.29014 | 0.22661 | 0.29361 | 0.10137 | 0.29707 | 0.4922 | 2016-09-22 08:12 | 3.4466 | 3.5502 | 2016-09-22 08:13 | 3.4059 | 3.5055 | 2016-09-22 08:14 | 3.3662 | 3.4619 | 2016-09-22 08:12 | 3.4262 | 3.5277 | 2016-09-22 08:13 | 3.3859 | 3.4835
110 | 62.6 | 201.2 | 22 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 102.2349 | 59.2959 | 186.8981 | 273.1183 | 280.6571 | 275.3815 | 267.4101 | 274.0049 | 0.304 | 0.22573 | 0.30746 | 0.10121 | 0.31092 | 0.49227 | 2016-09-22 08:16 | 3.2894 | 3.3781 | 2016-09-22 08:17 | 3.2524 | 3.3377 | 2016-09-22 08:18 | 3.2162 | 3.2984 | 2016-09-22 08:17 | 3.2708 | 3.3578 | 2016-09-22 08:18 | 3.2342 | 3.3179
105.3 | 59.7 | 193 | 22 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 97.8781 | 56.6233 | 178.822 | 273.7455 | 280.1459 | 275.2751 | 268.9018 | 274.006 | 0.31784 | 0.22625 | 0.32129 | 0.10102 | 0.32474 | 0.49208 | 2016-09-22 08:20 | 3.1463 | 3.2226 | 2016-09-22 08:21 | 3.1125 | 3.186 | 2016-09-22 08:22 | 3.0794 | 3.1504 | 2016-09-22 08:20 | 3.1293 | 3.2042 | 2016-09-22 08:22 | 3.0958 | 3.1681
100.7 | 57.2 | 185.6 | 22 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 93.6025 | 54.3072 | 171.533 | 273.1568 | 280.7558 | 275.3496 | 267.3717 | 273.9495 | 0.33163 | 0.22576 | 0.33507 | 0.10124 | 0.33851 | 0.49221 | 2016-09-22 08:24 | 3.0154 | 3.0815 | 2016-09-22 08:25 | 2.9845 | 3.0483 | 2016-09-22 08:26 | 2.9542 | 3.0158 | 2016-09-22 08:24 | 2.9999 | 3.0648 | 2016-09-22 08:26 | 2.9692 | 3.032
96.6 | 54.7 | 178.6 | 22 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 89.7939 | 51.9806 | 164.6317 | 273.0056 | 279.3523 | 274.9991 | 268.1784 | 273.8688 | 0.34537 | 0.22564 | 0.34879 | 0.10074 | 0.35222 | 0.49158 | 2016-09-22 08:28 | 2.8955 | 2.953 | 2016-09-22 08:29 | 2.867 | 2.9227 | 2016-09-22 08:30 | 2.8392 | 2.893 | 2016-09-22 08:28 | 2.8812 | 2.9378 | 2016-09-22 08:29 | 2.853 | 2.9078
92.8 | 52.7 | 172.3 | 22 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 86.273 | 50.1064 | 158.4781 | 272.7485 | 280.5836 | 275.05 | 266.7595 | 273.6246 | 0.35905 | 0.22543 | 0.36245 | 0.10118 | 0.36586 | 0.49167 | 2016-09-22 08:32 | 2.7852 | 2.8356 | 2016-09-22 08:33 | 2.759 | 2.8078 | 2016-09-22 08:34 | 2.7333 | 2.7806 | 2016-09-22 08:33 | 2.772 | 2.8216 | 2016-09-22 08:34 | 2.7461 | 2.7941
89.4 | 50.8 | 166.8 | 22 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 83.1208 | 48.3134 | 153.1006 | 272.8955 | 281.1002 | 275.7354 | 266.6122 | 274.3552 | 0.37265 | 0.22555 | 0.37604 | 0.10137 | 0.37942 | 0.4929 | 2016-09-22 08:36 | 2.6835 | 2.7278 | 2016-09-22 08:37 | 2.6593 | 2.7023 | 2016-09-22 08:38 | 2.6356 | 2.6772 | 2016-09-22 08:36 | 2.6713 | 2.715 | 2016-09-22 08:38 | 2.6474 | 2.6897
86.4 | 49 | 161.3 | 22 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 80.3393 | 46.6051 | 147.7196 | 273.6423 | 281.037 | 275.5198 | 267.9791 | 274.1034 | 0.38618 | 0.22617 | 0.38954 | 0.10134 | 0.39291 | 0.49251 | 2016-09-22 08:40 | 2.5895 | 2.6287 | 2016-09-22 08:41 | 2.5671 | 2.6051 | 2016-09-22 08:42 | 2.5451 | 2.582 | 2016-09-22 08:40 | 2.5782 | 2.6168 | 2016-09-22 08:42 | 2.5561 | 2.5935
82.9 | 47.3 | 156.4 | 22 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 77.1093 | 44.9822 | 142.9694 | 271.2127 | 280.5065 | 275.8472 | 264.0735 | 274.6495 | 0.39961 | 0.22416 | 0.40296 | 0.10115 | 0.4063 | 0.4931 | 2016-09-22 08:44 | 2.5024 | 2.5371 | 2016-09-22 08:45 | 2.4816 | 2.5154 | 2016-09-22 08:46 | 2.4612 | 2.494 | 2016-09-22 08:44 | 2.492 | 2.5262 | 2016-09-22 08:46 | 2.4714 | 2.5046
80.5 | 45.8 | 151.7 | 22 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 74.9021 | 43.5422 | 138.4134 | 272.7466 | 280.7366 | 275.8374 | 266.6113 | 274.5808 | 0.41296 | 0.22543 | 0.41628 | 0.10124 | 0.41959 | 0.49308 | 2016-09-22 08:48 | 2.4215 | 2.4524 | 2016-09-22 08:49 | 2.4022 | 2.4323 | 2016-09-22 08:50 | 2.3833 | 2.4124 | 2016-09-22 08:49 | 2.4118 | 2.4423 | 2016-09-22 08:50 | 2.3927 | 2.4223
78.1 | 44.5 | 147.3 | 22 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 72.6935 | 42.2885 | 134.1645 | 273.4599 | 281.978 | 275.8104 | 266.9114 | 274.2347 | 0.4262 | 0.22602 | 0.4295 | 0.10168 | 0.43278 | 0.49303 | 2016-09-22 08:52 | 2.3463 | 2.3739 | 2016-09-22 08:53 | 2.3283 | 2.3551 | 2016-09-22 08:54 | 2.3106 | 2.3367 | 2016-09-22 08:52 | 2.3373 | 2.3645 | 2016-09-22 08:54 | 2.3194 | 2.3459
75.7 | 43.2 | 143.2 | 22 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 70.4822 | 41.0294 | 130.2445 | 273.3501 | 282.0893 | 275.8922 | 266.6265 | 274.3103 | 0.43934 | 0.22592 | 0.44261 | 0.10172 | 0.44587 | 0.49318 | 2016-09-22 08:56 | 2.2761 | 2.3009 | 2016-09-22 08:57 | 2.2593 | 2.2834 | 2016-09-22 08:58 | 2.2428 | 2.2662 | 2016-09-22 08:56 | 2.2677 | 2.2921 | 2016-09-22 08:58 | 2.2511 | 2.2748
73.4 | 41.9 | 139.3 | 22 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 68.3626 | 39.7645 | 126.5243 | 272.9368 | 281.068 | 275.8273 | 266.6804 | 274.4882 | 0.45236 | 0.22558 | 0.4556 | 0.10136 | 0.45883 | 0.49306 | 2016-09-22 09:00 | 2.2106 | 2.2328 | 2016-09-22 09:01 | 2.1949 | 2.2165 | 2016-09-22 09:02 | 2.1795 | 2.2005 | 2016-09-22 09:00 | 2.2027 | 2.2246 | 2016-09-22 09:02 | 2.1871 | 2.2085
71.4 | 40.9 | 135.9 | 22 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 66.5197 | 38.7874 | 123.2838 | 273.3109 | 282.7293 | 276.4014 | 266.0551 | 274.7885 | 0.46527 | 0.22589 | 0.46847 | 0.10196 | 0.47167 | 0.49409 | 2016-09-22 09:04 | 2.1493 | 2.1693 | 2016-09-22 09:05 | 2.1346 | 2.1541 | 2016-09-22 09:06 | 2.1201 | 2.1391 | 2016-09-22 09:05 | 2.1419 | 2.1616 | 2016-09-22 09:06 | 2.1273 | 2.1465
69.6 | 39.8 | 132.4 | 22 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 64.8627 | 37.7082 | 119.9388 | 274.0802 | 282.1853 | 276.1389 | 267.8383 | 274.598 | 0.47805 | 0.22653 | 0.48122 | 0.10176 | 0.48439 | 0.49362 | 2016-09-22 09:08 | 2.0918 | 2.1099 | 2016-09-22 09:09 | 2.078 | 2.0956 | 2016-09-22 09:10 | 2.0645 | 2.0816 | 2016-09-22 09:08 | 2.0849 | 2.1027 | 2016-09-22 09:10 | 2.0712 | 2.0886
67.8 | 38.7 | 129.1 | 22 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 63.2055 | 36.6241 | 116.7877 | 274.2315 | 280.6653 | 275.8504 | 269.2809 | 274.6215 | 0.4907 | 0.22665 | 0.49384 | 0.10121 | 0.49697 | 0.4931 | 2016-09-22 09:12 | 2.0379 | 2.0542 | 2016-09-22 09:13 | 2.0249 | 2.0409 | 2016-09-22 09:14 | 2.0122 | 2.0277 | 2016-09-22 09:12 | 2.0314 | 2.0475 | 2016-09-22 09:14 | 2.0185 | 2.0343
66.1 | 37.8 | 126.1 | 22 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 61.6383 | 35.7337 | 113.9285 | 274.3179 | 280.96 | 275.8605 | 269.2038 | 274.5604 | 0.50322 | 0.22672 | 0.50632 | 0.10132 | 0.50942 | 0.49312 | 2016-09-22 09:16 | 1.9872 | 2.002 | 2016-09-22 09:17 | 1.975 | 1.9895 | 2016-09-22 09:18 | 1.963 | 1.9771 | 2016-09-22 09:16 | 1.9811 | 1.9957 | 2016-09-22 09:18 | 1.969 | 1.9833
64.4 | 36.9 | 123.3 | 22 | 9 | 20 | 0 | 9 | 16 | C | 83 | IZO | 60.0676 | 34.8403 | 111.2709 | 273.8017 | 280.451 | 275.9704 | 268.6802 | 274.8273 | 0.51559 | 0.2263 | 0.51866 | 0.10113 | 0.52173 | 0.49332 | 2016-09-22 09:20 | 1.9395 | 1.9529 | 2016-09-22 09:21 | 1.928 | 1.9411 | 2016-09-22 09:22 | 1.9167 | 1.9295 | 2016-09-22 09:20 | 1.9338 | 1.947 | 2016-09-22 09:22 | 1.9224 | 1.9353
62.7 | 36.1 | 120.3 | 22 | 9 | 24 | 0 | 9 | 16 | C | 83 | IZO | 58.4949 | 34.044 | 108.4466 | 272.6958 | 280.614 | 275.1259 | 266.5904 | 273.7288 | 0.52782 | 0.22538 | 0.53086 | 0.10119 | 0.53389 | 0.49181 | 2016-09-22 09:24 | 1.8946 | 1.9068 | 2016-09-22 09:25 | 1.8837 | 1.8957 | 2016-09-22 09:26 | 1.8731 | 1.8847 | 2016-09-22 09:24 | 1.8891 | 1.9012 | 2016-09-22 09:26 | 1.8784 | 1.8902
61.4 | 35.4 | 117.9 | 22 | 9 | 28 | 0 | 9 | 16 | C | 83 | IZO | 57.2904 | 33.3458 | 106.1958 | 273.4238 | 281.5678 | 275.5575 | 267.1422 | 274.0289 | 0.53991 | 0.22599 | 0.54291 | 0.10154 | 0.54589 | 0.49258 | 2016-09-22 09:28 | 1.8522 | 1.8633 | 2016-09-22 09:29 | 1.8419 | 1.8528 | 2016-09-22 09:30 | 1.8319 | 1.8425 | 2016-09-22 09:28 | 1.847 | 1.858 | 2016-09-22 09:30 | 1.8369 | 1.8476
60 | 34.6 | 115.4 | 22 | 9 | 32 | 0 | 9 | 16 | C | 83 | IZO | 55.9909 | 32.5462 | 103.8472 | 273.0576 | 280.349 | 275.2899 | 267.4344 | 274.0021 | 0.55184 | 0.22568 | 0.5548 | 0.1011 | 0.55775 | 0.4921 | 2016-09-22 09:32 | 1.8121 | 1.8223 | 2016-09-22 09:33 | 1.8025 | 1.8124 | 2016-09-22 09:34 | 1.7929 | 1.8026 | 2016-09-22 09:32 | 1.8073 | 1.8173 | 2016-09-22 09:34 | 1.7977 | 1.8075
58.9 | 33.9 | 113.2 | 22 | 9 | 36 | 0 | 9 | 16 | C | 83 | IZO | 54.9677 | 31.8453 | 101.779 | 274.093 | 280.0077 | 275.5117 | 269.5343 | 274.3666 | 0.56361 | 0.22654 | 0.56653 | 0.10097 | 0.56944 | 0.4925 | 2016-09-22 09:36 | 1.7743 | 1.7836 | 2016-09-22 09:37 | 1.7651 | 1.7742 | 2016-09-22 09:38 | 1.7561 | 1.765 | 2016-09-22 09:36 | 1.7697 | 1.7789 | 2016-09-22 09:38 | 1.7606 | 1.7696
57.3 | 33.2 | 111.1 | 22 | 9 | 40 | 0 | 9 | 16 | C | 83 | IZO | 53.4772 | 31.1434 | 99.8088 | 271.4762 | 279.0472 | 275.6886 | 265.6343 | 274.8314 | 0.57522 | 0.22438 | 0.5781 | 0.10063 | 0.58097 | 0.49282 | 2016-09-22 09:40 | 1.7385 | 1.747 | 2016-09-22 09:41 | 1.7298 | 1.7381 | 2016-09-22 09:42 | 1.7213 | 1.7294 | 2016-09-22 09:40 | 1.7341 | 1.7425 | 2016-09-22 09:42 | 1.7255 | 1.7337
56.4 | 32.5 | 108.8 | 22 | 9 | 44 | 0 | 9 | 16 | C | 83 | IZO | 52.6376 | 30.4404 | 97.6616 | 272.9547 | 277.4718 | 274.932 | 269.4756 | 274.282 | 0.58667 | 0.2256 | 0.5895 | 0.10006 | 0.59233 | 0.49146 | 2016-09-22 09:44 | 1.7045 | 1.7123 | 2016-09-22 09:45 | 1.6963 | 1.704 | 2016-09-22 09:46 | 1.6883 | 1.6957 | 2016-09-22 09:44 | 1.7004 | 1.7081 | 2016-09-22 09:46 | 1.6923 | 1.6998
55.2 | 32 | 106.9 | 22 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 51.5162 | 29.9375 | 95.8948 | 272.0526 | 278.6396 | 275.0938 | 266.9704 | 274.1898 | 0.59794 | 0.22485 | 0.60074 | 0.10048 | 0.60352 | 0.49175 | 2016-09-22 09:48 | 1.6724 | 1.6795 | 2016-09-22 09:49 | 1.6646 | 1.6716 | 2016-09-22 09:50 | 1.657 | 1.6638 | 2016-09-22 09:48 | 1.6685 | 1.6756 | 2016-09-22 09:50 | 1.6608 | 1.6677
48.7 | 28.5 | 94.9 | 22 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 45.381 | 26.3963 | 84.6382 | 273.7638 | 280.9703 | 276.4124 | 268.1969 | 275.2544 | 0.68158 | 0.22627 | 0.68399 | 0.10132 | 0.68639 | 0.49411 | 2016-09-22 10:20 | 1.4672 | 1.4709 | 2016-09-22 10:21 | 1.462 | 1.4656 | 2016-09-22 10:22 | 1.4569 | 1.4604 | 2016-09-22 10:20 | 1.4646 | 1.4682 | 2016-09-22 10:22 | 1.4594 | 1.463
48 | 28.1 | 93.7 | 22 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 44.7134 | 25.9889 | 83.5078 | 273.4577 | 280.1456 | 276.5072 | 268.2918 | 275.5817 | 0.69116 | 0.22601 | 0.69352 | 0.10102 | 0.69587 | 0.49428 | 2016-09-22 10:24 | 1.4468 | 1.4502 | 2016-09-22 10:25 | 1.4419 | 1.4452 | 2016-09-22 10:26 | 1.437 | 1.4403 | 2016-09-22 10:24 | 1.4444 | 1.4477 | 2016-09-22 10:25 | 1.4395 | 1.4428
47.3 | 27.8 | 92.6 | 22 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 44.0439 | 25.683 | 82.4732 | 272.8702 | 280.9345 | 276.7644 | 266.6385 | 275.7047 | 0.70053 | 0.22553 | 0.70284 | 0.10131 | 0.70514 | 0.49474 | 2016-09-22 10:28 | 1.4275 | 1.4306 | 2016-09-22 10:29 | 1.4228 | 1.4259 | 2016-09-22 10:30 | 1.4182 | 1.4212 | 2016-09-22 10:28 | 1.4251 | 1.4282 | 2016-09-22 10:30 | 1.4205 | 1.4235
46.9 | 27.5 | 91.5 | 22 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 43.6604 | 25.3767 | 81.4415 | 274.4762 | 281.4094 | 276.8296 | 269.1196 | 275.6664 | 0.7097 | 0.22686 | 0.71196 | 0.10148 | 0.7142 | 0.49485 | 2016-09-22 10:32 | 1.409 | 1.4119 | 2016-09-22 10:33 | 1.4046 | 1.4074 | 2016-09-22 10:34 | 1.4002 | 1.4029 | 2016-09-22 10:32 | 1.4068 | 1.4097 | 2016-09-22 10:34 | 1.4024 | 1.4052
46.2 | 27.2 | 90.3 | 22 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 42.9875 | 25.0701 | 80.3201 | 273.3691 | 281.5738 | 276.3316 | 267.0279 | 275.0011 | 0.71866 | 0.22594 | 0.72086 | 0.10154 | 0.72305 | 0.49396 | 2016-09-22 10:36 | 1.3915 | 1.3942 | 2016-09-22 10:37 | 1.3872 | 1.3898 | 2016-09-22 10:38 | 1.383 | 1.3856 | 2016-09-22 10:36 | 1.3894 | 1.392 | 2016-09-22 10:38 | 1.3851 | 1.3877
45.6 | 26.8 | 89.3 | 22 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 42.4091 | 24.6608 | 79.3882 | 272.8383 | 279.3599 | 276.4021 | 267.7996 | 275.6491 | 0.7274 | 0.2255 | 0.72955 | 0.10074 | 0.73169 | 0.49409 | 2016-09-22 10:40 | 1.3748 | 1.3772 | 2016-09-22 10:41 | 1.3707 | 1.3731 | 2016-09-22 10:42 | 1.3667 | 1.3691 | 2016-09-22 10:40 | 1.3727 | 1.3752 | 2016-09-22 10:41 | 1.3687 | 1.3711
45.1 | 26.5 | 88.2 | 22 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 41.9263 | 24.3534 | 78.3653 | 272.9248 | 278.8874 | 275.9095 | 268.3185 | 275.1515 | 0.73592 | 0.22557 | 0.73802 | 0.10057 | 0.7401 | 0.49321 | 2016-09-22 10:44 | 1.3588 | 1.3611 | 2016-09-22 10:45 | 1.355 | 1.3572 | 2016-09-22 10:46 | 1.3512 | 1.3534 | 2016-09-22 10:44 | 1.3569 | 1.3592 | 2016-09-22 10:46 | 1.3531 | 1.3553
44.7 | 26.4 | 87.2 | 22 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 41.5394 | 24.2509 | 77.4369 | 273.6648 | 282.3609 | 275.6204 | 266.9424 | 273.9116 | 0.74423 | 0.22618 | 0.74627 | 0.10182 | 0.74829 | 0.49269 | 2016-09-22 10:48 | 1.3437 | 1.3458 | 2016-09-22 10:49 | 1.34 | 1.3421 | 2016-09-22 10:50 | 1.3364 | 1.3384 | 2016-09-22 10:48 | 1.3418 | 1.3439 | 2016-09-22 10:50 | 1.3382 | 1.3402
44.4 | 26.2 | 86.4 | 22 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 41.2488 | 24.0458 | 76.695 | 275.0927 | 283.4901 | 275.939 | 268.6012 | 274.0255 | 0.75231 | 0.22736 | 0.75429 | 0.10223 | 0.75626 | 0.49326 | 2016-09-22 10:52 | 1.3292 | 1.3312 | 2016-09-22 10:53 | 1.3257 | 1.3276 | 2016-09-22 10:54 | 1.3223 | 1.3242 | 2016-09-22 10:52 | 1.3275 | 1.3294 | 2016-09-22 10:54 | 1.324 | 1.3259
43.7 | 25.8 | 85.5 | 22 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 40.5696 | 23.6351 | 75.8609 | 272.7768 | 280.0335 | 275.7012 | 267.1679 | 274.6012 | 0.76017 | 0.22545 | 0.76209 | 0.10098 | 0.76401 | 0.49284 | 2016-09-22 10:56 | 1.3155 | 1.3173 | 2016-09-22 10:57 | 1.3122 | 1.3139 | 2016-09-22 10:58 | 1.3089 | 1.3106 | 2016-09-22 10:56 | 1.3138 | 1.3156 | 2016-09-22 10:57 | 1.3105 | 1.3123
43.4 | 25.7 | 84.9 | 22 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 40.2779 | 23.5323 | 75.3051 | 273.8215 | 282.8233 | 276.4957 | 266.8617 | 274.8915 | 0.76779 | 0.22631 | 0.76967 | 0.10199 | 0.77152 | 0.49426 | 2016-09-22 11:00 | 1.3024 | 1.3041 | 2016-09-22 11:01 | 1.2993 | 1.3009 | 2016-09-22 11:02 | 1.2961 | 1.2977 | 2016-09-22 11:01 | 1.3008 | 1.3025 | 2016-09-22 11:02 | 1.2977 | 1.2993
42.9 | 25.4 | 83.8 | 22 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 39.791 | 23.2239 | 74.2874 | 272.8694 | 280.9867 | 275.1344 | 266.5941 | 273.6504 | 0.77519 | 0.22553 | 0.77701 | 0.10133 | 0.77881 | 0.49182 | 2016-09-22 11:04 | 1.29 | 1.2915 | 2016-09-22 11:05 | 1.287 | 1.2885 | 2016-09-22 11:06 | 1.284 | 1.2855 | 2016-09-22 11:04 | 1.2885 | 1.29 | 2016-09-22 11:06 | 1.2855 | 1.287
42.4 | 25.2 | 83.2 | 22 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 39.3031 | 23.0181 | 73.7334 | 271.7094 | 281.1074 | 275.6325 | 264.4424 | 274.2439 | 0.78236 | 0.22457 | 0.78412 | 0.10137 | 0.78586 | 0.49271 | 2016-09-22 11:08 | 1.2782 | 1.2796 | 2016-09-22 11:09 | 1.2753 | 1.2767 | 2016-09-22 11:10 | 1.2725 | 1.2738 | 2016-09-22 11:08 | 1.2767 | 1.2781 | 2016-09-22 11:10 | 1.2739 | 1.2753
42.2 | 24.9 | 82.4 | 22 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 39.1076 | 22.7091 | 72.9955 | 273.147 | 278.7347 | 275.1747 | 268.8292 | 274.2701 | 0.78929 | 0.22576 | 0.79099 | 0.10051 | 0.79267 | 0.4919 | 2016-09-22 11:12 | 1.267 | 1.2683 | 2016-09-22 11:13 | 1.2642 | 1.2655 | 2016-09-22 11:14 | 1.2616 | 1.2628 | 2016-09-22 11:12 | 1.2656 | 1.2669 | 2016-09-22 11:13 | 1.2629 | 1.2641
41.9 | 24.8 | 81.8 | 22 | 11 | 16 | 0 | 9 | 16 | C | 83 | IZO | 38.8141 | 22.6061 | 72.4424 | 273.4955 | 280.65 | 275.3907 | 267.9647 | 274.0568 | 0.79599 | 0.22604 | 0.79763 | 0.10121 | 0.79925 | 0.49228 | 2016-09-22 11:16 | 1.2563 | 1.2575 | 2016-09-22 11:17 | 1.2537 | 1.2549 | 2016-09-22 11:18 | 1.2512 | 1.2523 | 2016-09-22 11:17 | 1.255 | 1.2562 | 2016-09-22 11:18 | 1.2524 | 1.2536
41.6 | 24.6 | 81.1 | 22 | 11 | 20 | 0 | 9 | 16 | C | 83 | IZO | 38.5202 | 22.3999 | 71.7973 | 273.6807 | 280.0773 | 275.0544 | 268.7364 | 273.7803 | 0.80245 | 0.2262 | 0.80402 | 0.101 | 0.80558 | 0.49168 | 2016-09-22 11:20 | 1.2462 | 1.2473 | 2016-09-22 11:21 | 1.2437 | 1.2448 | 2016-09-22 11:22 | 1.2413 | 1.2424 | 2016-09-22 11:20 | 1.245 | 1.2461 | 2016-09-22 11:22 | 1.2425 | 1.2436
41.3 | 24.6 | 80.7 | 22 | 11 | 24 | 0 | 9 | 16 | C | 83 | IZO | 38.2258 | 22.3999 | 71.4286 | 273.7041 | 283.9143 | 275.831 | 265.8078 | 273.7836 | 0.80866 | 0.22622 | 0.81018 | 0.10238 | 0.81168 | 0.49307 | 2016-09-22 11:24 | 1.2366 | 1.2376 | 2016-09-22 11:25 | 1.2343 | 1.2353 | 2016-09-22 11:26 | 1.232 | 1.233 | 2016-09-22 11:24 | 1.2355 | 1.2364 | 2016-09-22 11:26 | 1.2332 | 1.2341

## param
-0.9 | 1e-05 |  | -1.9 | 0
0 | 1 |  | -1 | 1
0.9 | 1e-05 |  | 1 | 1
|  |  | 1.9 | 0
304.6 | 1e-07 | 310.55 | 1e-06 | 316.7 | 1e-06 | 323.5 | 1e-06 | 323.1 | 1e-06 | 330.5 | 1e-06 | 338 | 1e-06
305.5 | 1000 | 311.45 | 1000 | 317.6 | 1000 | 324.4 | 1000 | 324 | 1000 | 331.4 | 1000 | 338.9 | 1000
306.4 | 1e-07 | 312.35 | 1e-06 | 318.5 | 1e-06 | 326.4 | 1000 | 326 | 1000 | 333.4 | 1000 | 340.9 | 1000
[6 empty] | 327.3 | 1e-06 | 326.9 | 1e-06 | 334.3 | 1e-06 | 341.8 | 1e-06
1.1111
304.6 | 0.001 | 310.55 | 0.001 | 316.7 | 0.001 | 323.5 | 0 | 323.1 | 0.001 | 330.5 | 0.001 | 338 | 1e-07
305.5 | 100 | 311.45 | 100 | 317.6 | 100 | 324.4 | 100 | 324 | 100 | 331.4 | 100 | 338.9 | 100
306.4 | 0.001 | 312.35 | 0.001 | 318.5 | 0.001 | 326.4 | 100 | 326 | 100 | 333.4 | 100 | 340.9 | 100
[6 empty] | 327.3 | 0 | 326.9 | 0.001 | 334.3 | 0.001 | 341.8 | 1e-07
58 | 0
92 | 0
code | number | name | Dobson | earth_radius | LONG | Hemisphere | degs | min | sec | LAT | Hemisphere | deg | min | sec | TimeZone | stn Pressure | elevation | Ozone_Height | LongRadian | LatRadian
IZO | 999 | Izana Observatory,Spain | 83 | 6373593 | 16.4973 | W | 16 | 29 | 25 | 28.2986 | N | 28 | 17 | 55 | 0 | 770 | 2360 | 26000 | 0.28781 | 0.4939
=IF( C13<90,(earth_radius+Ozone_height)/(SQRT(((earth_radius+Ozone_height)^2)-((earth_radius+Elevation)^2)*(SIN(RADIANS(C13)))^2)),-90000)
Public Function AirMass#(CosZenAng As Double) | [14 empty] | p0 | 0.75993
AirMass# = 1# / (CosZenAng + 0.15 / (90 - RadsToDegs#(ArcCos#(CosZenAng)) + 3.885) ^ 1.253)
End Function
Ozone Absorption and Molecular Scattering coefficients for Use
with Dobson ozone Spectrophotometers Beginning 1 January 1992
Wavelength | ALFA |  | BETA | d(BETA)/d(ALFA) | [5 empty] | IUP Corr-factor | B&BP Corr_factor | D&M |  |  | α_Komhyr r adj
(nm) | (atm-cm)-1 |  | (atm)-1 | (atm-cm/atm) |  |  |  |  | A_ pair | 0.9898 | 0.9969 | 0.9889 |  |  | 1.806
[9 empty] | C_pair | 0.9922 | 0.9983 | 0.9845 |  |  | 0.833
305 | 0.489 | [7 empty] | D_pair | 0.9642 | 0.9825 | 0.9562 |  |  | 0.374
325 | 0.375 | [7 empty] | AD_pair | 0.9965 | 1.0006 | 0.9975 |  |  | 1.432
Alfa_A | 1.7876 | Beta_A | 114 | 63 | 1000 |  |  |  | CD_pair | 1.015 | 1.0112 | 1.0076 |  |  | 0.459
|  |  | 0 | 0
308.9 | 0.466 |  | 0 | 0
329.1 | 0.355 |  | 0 | 0
Alfa_B | 1.192 | Beta_B | 111 | 93
|  |  | 0 | 0
311.5 | 0.45 |  | 0 | 0 |  |  | 5
332.4 | 0.341 |  | 0 | 0
Alfa_C | 0.8265 | Beta_C | 109 | 131
|  |  | 0 | 0
317.5 | 0.414 |  | 0 | 0
339.9 | 0.31 |  | 0 | 0
Alfa_D | 0.36061 | Beta_D | 104 | 278
|  |  | 0 | 0
Alfa_AD | 1.427 | Beta_AD | 10 | 7
Alfa_BD | 0.818 | Beta_BD | 7 | 9
Alfa_CD | 0.46588 | Beta_CD | 5 | 11

## Nfunc083
D83RA | D83NA | D83RC | D83NC | D83RD | D83ND | Rby5 | a | c | d | in pretty print
5 | -1.51 | 5 | 2.18 | 5 | 3.26 | 5 | -1.51 | 2.18 | 3.26 | -1.5 | 2.2 | 3.3 | 0.01 | 0.02 | 0.04
10.74 | 4.7 | 10.76 | 8.39 | 10.72 | 9.62 | 15 | 9.2606 | 12.8971 | 14.1824 | 9.2 | 12.9 | 14.2 | -0.060647 | 0.0029402 | 0.017648
16.48 | 10.83 | 16.51 | 14.49 | 16.44 | 15.7 | 25 | 19.7018 | 23.3471 | 24.6275 | 19.7 | 23.3 | 24.6 | -0.001759 | -0.047139 | -0.027526
22.22 | 16.83 | 22.27 | 20.51 | 22.16 | 21.69 | 35 | 29.9065 | 33.5082 | 34.7616 | 29.9 | 33.5 | 34.8 | -0.0065067 | -0.0081693 | 0.038446
27.96 | 22.74 | 28.02 | 26.46 | 27.88 | 27.58 | 45 | 39.8449 | 43.394 | 44.5867 | 39.8 | 43.4 | 44.6 | -0.044871 | 0.0060056 | 0.013291
33.7 | 28.59 | 33.78 | 32.28 | 33.6 | 33.36 | 55 | 49.3404 | 52.8934 | 54.076 | 49.3 | 52.9 | 54.1 | -0.040402 | 0.0065573 | 0.02402
39.87 | 34.8 | 39.99 | 38.5 | 40.01 | 39.73 | 65 | 58.6907 | 62.1867 | 63.3142 | 58.7 | 62.2 | 63.3 | 0.0093361 | 0.013335 | -0.014152
46.12 | 40.93 | 46.25 | 44.6 | 46.26 | 45.8 | 75 | 67.9965 | 71.4015 | 72.4459 | 68 | 71.4 | 72.4 | 0.0034853 | -0.0015358 | -0.045888
52.43 | 46.93 | 52.58 | 50.62 | 52.56 | 51.79 | 85 | 77.243 | 80.6092 | 81.6241 | 77.2 | 80.6 | 81.6 | -0.043043 | -0.0091746 | -0.024141
58.76 | 52.85 | 58.93 | 56.56 | 58.88 | 57.68 | 95 | 86.5778 | 89.8754 | 90.8361 | 86.6 | 89.9 | 90.8 | 0.022224 | 0.024624 | -0.036083
65.01 | 58.7 | 65.22 | 62.39 | 65.17 | 63.47 | 105 | 95.9718 | 99.1641 | 100.0591 | 96 | 99.2 | 100.1 | 0.028156 | 0.03591 | 0.040888
71.68 | 64.91 | 71.96 | 68.6 | 72.14 | 69.83 | 115 | 105.3164 | 108.4291 | 109.276 | 105.3 | 108.4 | 109.3 | -0.016442 | -0.029128 | 0.024023
78.27 | 71.03 | 78.58 | 74.7 | 78.77 | 75.9 | 125 | 114.7278 | 117.7197 | 118.4987 | 114.7 | 117.7 | 118.5 | -0.027761 | -0.019725 | 0.0013422
84.77 | 77.03 | 85.12 | 80.72 | 85.3 | 81.9 | 135 | 124.2697 | 127.0863 | 127.7279 | 124.3 | 127.1 | 127.7 | 0.030284 | 0.013723 | -0.027928
91.14 | 82.95 | 91.54 | 86.67 | 91.69 | 87.78 | 145 | 133.8086 | 136.5037 | 137.0681 | 133.8 | 136.5 | 137.1 | -0.0086133 | -0.0037106 | 0.031879
97.36 | 88.8 | 97.82 | 92.49 | 97.96 | 93.57 | 155 | 143.4602 | 145.9931 | 146.5049 | 143.5 | 146 | 146.5 | 0.03978 | 0.0069477 | -0.0049043
103.97 | 95.01 | 104.5 | 98.7 | 104.86 | 99.93 | 165 | 153.1836 | 155.5627 | 155.9752 | 153.2 | 155.6 | 156 | 0.016436 | 0.037317 | 0.02477
110.54 | 101.13 | 111.08 | 104.8 | 111.45 | 106.01 | 175 | 162.9608 | 165.2327 | 165.5125 | 163 | 165.2 | 165.5 | 0.039212 | -0.032674 | -0.012494
116.94 | 107.14 | 117.58 | 110.82 | 117.96 | 112 | 185 | 172.7866 | 174.9334 | 175.074 | 172.8 | 174.9 | 175.1 | 0.013394 | -0.033433 | 0.026028
123.23 | 113.05 | 123.98 | 116.77 | 124.34 | 117.89 | 195 | 182.6394 | 184.6057 | 184.6243 | 182.6 | 184.6 | 184.6 | -0.039352 | -0.0057191 | -0.024324
129.38 | 118.9 | 130.22 | 122.59 | 130.61 | 123.67 | 205 | 192.4841 | 194.2836 | 194.1583 | 192.5 | 194.3 | 194.2 | 0.015876 | 0.016413 | 0.041746
135.88 | 125.11 | 136.83 | 128.81 | 137.48 | 130.03 | 215 | 202.4109 | 204.0518 | 203.7711 | 202.4 | 204.1 | 203.8 | -0.010885 | 0.048175 | 0.028851
142.31 | 131.24 | 143.3 | 134.9 | 143.98 | 136.11 | 225 | 212.4107 | 213.9099 | 213.4697 | 212.4 | 213.9 | 213.5 | -0.010729 | -0.0099222 | 0.030315
148.58 | 137.24 | 149.67 | 140.92 | 150.34 | 142.1 | 235 | 222.6125 | 223.9066 | 223.3561 | 222.6 | 223.9 | 223.4 | -0.01248 | -0.0066373 | 0.043946
154.69 | 143.16 | 155.92 | 146.87 | 156.57 | 147.99 | 245 | 232.9094 | 234.043 | 233.3305 | 232.9 | 234 | 233.3 | -0.0094379 | -0.04302 | -0.030472
160.72 | 149 | 162.02 | 152.69 | 162.68 | 153.77 | 255 | 243.0375 | 244.1782 | 243.3484 | 243 | 244.2 | 243.3 | -0.037453 | 0.021839 | -0.048358
167.07 | 155.21 | 168.46 | 158.91 | 169.37 | 160.14 | 265 | 253.2588 | 254.2376 | 253.357 | 253.3 | 254.2 | 253.4 | 0.041246 | -0.037564 | 0.043032
173.34 | 161.34 | 174.77 | 165.01 | 175.73 | 166.21 | 275 | 263.5293 | 264.3569 | 263.3423 | 263.5 | 264.4 | 263.3 | -0.029307 | 0.043099 | -0.042337
179.48 | 167.34 | 180.98 | 171.03 | 181.99 | 172.2 | 285 | 273.6505 | 274.5418 | 273.4295 | 273.7 | 274.5 | 273.4 | 0.049496 | -0.041795 | -0.029511
185.48 | 173.26 | 187.11 | 176.98 | 188.16 | 178.09 |  |  |  |  | 284 | 284.8 | 283.6 | -0.080761 | -0.032459 | 0.10211
191.42 | 179.11 | 193.13 | 182.8 | 194.22 | 183.88
197.72 | 185.32 | 199.56 | 189.01 | 200.89 | 190.24
203.94 | 191.44 | 205.85 | 195.11 | 207.25 | 196.31
210.02 | 197.44 | 212.02 | 201.13 | 213.48 | 202.31
215.95 | 203.36 | 218.08 | 207.08 | 219.6 | 208.2
221.81 | 209.21 | 223.98 | 212.9 | 225.52 | 213.98
227.98 | 215.42 | 230.23 | 219.11 | 231.96 | 220.34
233.97 | 221.55 | 236.29 | 225.21 | 238.08 | 226.42
239.77 | 227.55 | 242.22 | 231.23 | 244.08 | 232.41
245.54 | 233.46 | 248.1 | 237.18 | 249.96 | 238.3
251.31 | 239.31 | 253.83 | 243 | 255.73 | 244.08
257.45 | 245.52 | 260.03 | 249.22 | 262.08 | 250.45
263.44 | 251.65 | 266.07 | 255.32 | 268.18 | 256.52
269.25 | 257.65 | 272.01 | 261.34 | 274.17 | 262.51
275.04 | 263.57 | 277.89 | 267.28 | 280.03 | 268.4
280.82 | 269.42 | 283.59 | 273.11 | 285.75 | 274.19
286.94 | 275.63 | 289.71 | 279.32 | 292.01 | 280.55
292.84 | 281.75 | 295.61 | 285.42 | 298.01 | 286.62
298.49 | 287.75

## comp page
Komyhr adjusted |  |  |  |  | IUP multiply |  |  |  |  | B&P B multiply |  |  |  |  | D&M multiply
276.4905 | 286.1889 | 275.5886 | 268.6398 | 272.8038 | 278.6641 | 296.8149 | 278.4286 | 264.6698 | 273.7619 | 276.9614 | 291.2864 | 276.4456 | 265.6644 | 272.6402 | 280.8436 | 299.2982 | 278.682 | 266.6135 | 273.4875
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
273.4875 | 276.3318 | 272.1133 | 271.4599 | 270.9209 | 275.6375 | 286.5918 | 274.9174 | 267.4481 | 271.8725 | 273.9532 | 281.2537 | 272.9594 | 268.4532 | 270.7585 | 277.7933 | 288.9896 | 275.1676 | 269.4123 | 271.5999
273.0457 | 276.8102 | 272.8886 | 270.2186 | 271.789 | 275.1922 | 287.088 | 275.7007 | 266.2252 | 272.7436 | 273.5106 | 281.7407 | 273.7371 | 267.2257 | 271.626 | 277.3445 | 289.4899 | 275.9516 | 268.1804 | 272.4702
273.2912 | 277.8718 | 273.7387 | 269.7602 | 272.596 | 275.4396 | 288.189 | 276.5596 | 265.7736 | 273.5534 | 273.7566 | 282.8212 | 274.5899 | 266.7723 | 272.4325 | 277.5939 | 290.6001 | 276.8113 | 267.7255 | 273.2792
274.8006 | 278.0794 | 274.0044 | 272.2994 | 272.8864 | 276.9609 | 288.4043 | 276.828 | 268.2752 | 273.8449 | 275.2686 | 283.0325 | 274.8564 | 269.2834 | 272.7228 | 279.1271 | 290.8172 | 277.08 | 270.2455 | 273.5704
275.0566 | 279.8073 | 274.091 | 271.331 | 272.5523 | 277.2189 | 290.1963 | 276.9156 | 267.3212 | 273.5095 | 275.525 | 284.7911 | 274.9434 | 268.3258 | 272.3888 | 279.3871 | 292.6242 | 277.1676 | 269.2845 | 273.2354
274.1426 | 279.7792 | 274.2001 | 269.6748 | 272.7036 | 276.2977 | 290.1671 | 277.0258 | 265.6894 | 273.6614 | 274.6094 | 284.7625 | 275.0528 | 266.6879 | 272.54 | 278.4587 | 292.5948 | 277.2779 | 267.6407 | 273.387
274.9084 | 279.6986 | 274.1671 | 271.1135 | 272.6882 | 277.0695 | 290.0836 | 276.9925 | 267.1068 | 273.646 | 275.3765 | 284.6805 | 275.0197 | 268.1106 | 272.5247 | 279.2366 | 292.5105 | 277.2446 | 269.0685 | 273.3717
274.4674 | 280.6976 | 274.3129 | 269.4852 | 272.6155 | 276.6251 | 291.1197 | 277.1397 | 265.5027 | 273.573 | 274.9348 | 285.6973 | 275.1659 | 266.5004 | 272.452 | 278.7887 | 293.5553 | 277.3919 | 267.4526 | 273.2987
274.46 | 279.7536 | 274.0377 | 270.2293 | 272.5187 | 276.6176 | 290.1406 | 276.8617 | 266.2358 | 273.4758 | 274.9274 | 284.7365 | 274.8899 | 267.2363 | 272.3553 | 278.7811 | 292.5681 | 277.1137 | 268.1911 | 273.2017
274.3468 | 281.3482 | 274.1595 | 268.7148 | 272.2589 | 276.5035 | 291.7944 | 276.9848 | 264.7436 | 273.2152 | 274.814 | 286.3595 | 275.0121 | 265.7385 | 272.0956 | 278.6661 | 294.2357 | 277.2369 | 266.6879 | 272.9413
274.6338 | 282.2515 | 274.9089 | 268.4913 | 272.9707 | 276.7928 | 292.7313 | 277.7419 | 264.5234 | 273.9295 | 275.1015 | 287.2789 | 275.7638 | 265.5175 | 272.807 | 278.9577 | 295.1804 | 277.9947 | 266.4661 | 273.6548
275.5152 | 282.5933 | 274.7662 | 269.8052 | 272.7036 | 277.6811 | 293.0858 | 277.5977 | 265.8179 | 273.6615 | 275.9844 | 287.6268 | 275.6206 | 266.8168 | 272.5401 | 279.8529 | 295.5379 | 277.8503 | 267.7701 | 273.3871
273.244 | 282.4819 | 275.1603 | 265.7681 | 273.2317 | 275.3921 | 292.9703 | 277.9958 | 261.8405 | 274.1914 | 273.7093 | 287.5134 | 276.0159 | 262.8244 | 273.0679 | 277.546 | 295.4214 | 278.2488 | 263.7635 | 273.9165
274.9044 | 283.1011 | 275.2202 | 268.2716 | 273.1473 | 277.0655 | 293.6124 | 278.0564 | 264.307 | 274.1066 | 275.3725 | 288.1436 | 276.076 | 265.3003 | 272.9835 | 279.2325 | 296.0689 | 278.3094 | 266.2481 | 273.8319
275.7496 | 284.6922 | 275.2625 | 268.5044 | 272.7865 | 277.9173 | 295.2626 | 278.0991 | 264.5363 | 273.7446 | 276.2191 | 289.763 | 276.1185 | 265.5305 | 272.6229 | 280.091 | 297.7329 | 278.3522 | 266.4792 | 273.4702
275.7769 | 285.1904 | 275.412 | 268.1441 | 272.8461 | 277.9449 | 295.7793 | 278.2501 | 264.1814 | 273.8045 | 276.2465 | 290.2701 | 276.2684 | 265.1741 | 272.6825 | 280.1188 | 298.2539 | 278.5034 | 266.1216 | 273.53
275.502 | 284.5932 | 275.4156 | 268.1283 | 273.0078 | 277.6678 | 295.1599 | 278.2538 | 264.1658 | 273.9667 | 275.9712 | 289.6623 | 276.272 | 265.1585 | 272.8441 | 279.8395 | 297.6293 | 278.507 | 266.1059 | 273.692
276.0071 | 286.579 | 276.051 | 267.4238 | 273.2915 | 278.1769 | 297.2195 | 278.8957 | 263.4718 | 274.2514 | 276.4772 | 291.6835 | 276.9094 | 264.4619 | 273.1276 | 280.3526 | 299.7061 | 279.1495 | 265.4068 | 273.9764
276.9031 | 286.4347 | 275.8577 | 269.1646 | 273.0863 | 279.0799 | 297.0698 | 278.7005 | 265.1868 | 274.0455 | 277.3746 | 291.5366 | 276.7155 | 266.1834 | 272.9226 | 281.2626 | 299.5552 | 278.9541 | 267.1344 | 273.7707
277.1845 | 285.3454 | 275.638 | 270.5605 | 273.0945 | 279.3635 | 295.94 | 278.4785 | 266.562 | 274.0537 | 277.6565 | 290.4279 | 276.4952 | 267.5638 | 272.9307 | 281.5485 | 298.416 | 278.732 | 268.5197 | 273.779
277.4 | 286.0018 | 275.7132 | 270.4146 | 273.0186 | 279.5807 | 296.6208 | 278.5545 | 266.4184 | 273.9775 | 277.8724 | 291.096 | 276.5706 | 267.4195 | 272.8548 | 281.7674 | 299.1025 | 278.808 | 268.375 | 273.7028
277.0163 | 285.879 | 275.8865 | 269.8164 | 273.2697 | 279.194 | 296.4935 | 278.7295 | 265.8289 | 274.2295 | 277.488 | 290.971 | 276.7444 | 266.8279 | 273.1059 | 281.3776 | 298.9741 | 278.9832 | 267.7812 | 273.9546
276.0459 | 286.3999 | 275.1142 | 267.6292 | 272.1603 | 278.216 | 297.0337 | 277.9493 | 263.6741 | 273.1162 | 276.516 | 291.5012 | 275.9697 | 264.665 | 271.9971 | 280.392 | 299.5188 | 278.2022 | 265.6106 | 272.8424
276.8937 | 287.6788 | 275.6043 | 268.1241 | 272.4448 | 279.0704 | 298.3601 | 278.4444 | 264.1617 | 273.4017 | 277.3652 | 292.8029 | 276.4613 | 265.1544 | 272.2814 | 281.2531 | 300.8563 | 278.6978 | 266.1017 | 273.1276
276.6541 | 286.8584 | 275.4014 | 268.3564 | 272.4037 | 278.829 | 297.5092 | 278.2394 | 264.3906 | 273.3604 | 277.1252 | 291.9678 | 276.2578 | 265.3841 | 272.2403 | 281.0097 | 299.9983 | 278.4926 | 266.3323 | 273.0864
277.8036 | 286.8792 | 275.6821 | 270.4244 | 272.7527 | 279.9875 | 297.5308 | 278.5231 | 266.428 | 273.7107 | 278.2767 | 291.989 | 276.5394 | 267.4292 | 272.5892 | 282.1774 | 300.0201 | 278.7765 | 268.3847 | 273.4363
275.3277 | 286.2981 | 275.9176 | 266.4034 | 273.2018 | 277.4922 | 296.9282 | 278.761 | 262.4664 | 274.1614 | 275.7966 | 291.3976 | 276.7756 | 263.4527 | 273.038 | 279.6625 | 299.4124 | 279.0147 | 264.394 | 273.8866
276.9135 | 285.1192 | 275.2282 | 270.2408 | 272.6406 | 279.0904 | 295.7055 | 278.0645 | 266.2471 | 273.5982 | 277.385 | 290.1977 | 276.0841 | 267.2476 | 272.4771 | 281.2732 | 298.1795 | 278.3175 | 268.2025 | 273.3239
276.1354 | 286.5802 | 275.4469 | 267.6374 | 272.5351 | 278.3062 | 297.2207 | 278.2854 | 263.6821 | 273.4923 | 276.6057 | 291.6847 | 276.3034 | 264.673 | 272.3717 | 280.4829 | 299.7074 | 278.5387 | 265.6187 | 273.2182
278.7011 | 291.3104 | 277.1859 | 268.4342 | 273.4946 | 280.8921 | 302.1265 | 280.0423 | 264.4672 | 274.4552 | 279.1757 | 296.4991 | 278.0478 | 265.461 | 273.3306 | 283.089 | 304.6543 | 280.2972 | 266.4095 | 274.18
278.4968 | 290.7994 | 277.3293 | 268.4793 | 273.8091 | 280.6862 | 301.5966 | 280.1872 | 264.5116 | 274.7708 | 278.9711 | 295.9791 | 278.1917 | 265.5056 | 273.6449 | 282.8815 | 304.1199 | 280.4422 | 266.4542 | 274.4953
278.0111 | 291.8381 | 277.6324 | 266.7512 | 273.9202 | 280.1967 | 302.6738 | 280.4935 | 262.8091 | 274.8823 | 278.4846 | 297.0362 | 278.4958 | 263.7967 | 273.756 | 282.3882 | 305.2061 | 280.7487 | 264.7392 | 274.6067
279.6998 | 292.5678 | 277.7444 | 269.2207 | 273.8709 | 281.8986 | 303.4307 | 280.6065 | 265.2421 | 274.8328 | 280.1761 | 297.779 | 278.608 | 266.2388 | 273.7067 | 284.1034 | 305.9693 | 280.8619 | 267.1901 | 274.5573
278.6942 | 292.9919 | 277.2977 | 267.05 | 273.197 | 280.8851 | 303.8704 | 280.1553 | 263.1034 | 274.1565 | 279.1688 | 298.2106 | 278.16 | 264.0921 | 273.0332 | 283.082 | 306.4128 | 280.4103 | 265.0357 | 273.8817
278.2583 | 291.1163 | 277.4128 | 267.7868 | 273.832 | 280.4458 | 301.9252 | 280.2715 | 263.8293 | 274.7938 | 278.7321 | 296.3015 | 278.2754 | 264.8208 | 273.6678 | 282.6392 | 304.4512 | 280.5266 | 265.7669 | 274.5183
278.4326 | 290.9133 | 276.9692 | 268.2681 | 273.3258 | 280.6214 | 301.7147 | 279.8234 | 264.3036 | 274.2858 | 278.9067 | 296.0949 | 277.8305 | 265.2968 | 273.1619 | 282.8162 | 304.2389 | 280.0781 | 266.2447 | 274.0108
279.253 | 294.5084 | 276.7259 | 266.8273 | 272.08 | 281.4483 | 305.4433 | 279.5776 | 262.8841 | 273.0357 | 279.7285 | 299.7541 | 277.5864 | 263.872 | 271.9169 | 283.6495 | 307.9988 | 279.832 | 264.8147 | 272.7619
280.7536 | 295.8366 | 277.083 | 268.4682 | 272.1837 | 282.9607 | 306.8207 | 279.9384 | 264.5007 | 273.1396 | 281.2317 | 301.1059 | 277.9446 | 265.4947 | 272.0204 | 285.1738 | 309.3877 | 280.1932 | 266.4432 | 272.8658
278.5372 | 292.7364 | 276.8882 | 266.9718 | 272.7477 | 280.7269 | 303.6054 | 279.7415 | 263.0264 | 273.7057 | 279.0116 | 297.9505 | 277.7492 | 264.0148 | 272.5841 | 282.9225 | 306.1455 | 279.9961 | 264.9581 | 273.4313
279.653 | 295.6522 | 277.7139 | 266.6207 | 273.0277 | 281.8515 | 306.6295 | 280.5758 | 262.6805 | 273.9866 | 280.1293 | 300.9182 | 278.5775 | 263.6676 | 272.8639 | 284.0559 | 309.1949 | 280.8312 | 264.6097 | 273.7119
278.7852 | 294.1002 | 276.4046 | 266.31 | 271.7818 | 280.9768 | 305.0199 | 279.253 | 262.3744 | 272.7364 | 279.2599 | 299.3386 | 277.2641 | 263.3603 | 271.6188 | 283.1744 | 307.5718 | 279.5071 | 264.3013 | 272.4629
277.7085 | 294.4286 | 276.9345 | 264.0882 | 272.3644 | 279.8917 | 305.3605 | 279.7883 | 260.1854 | 273.321 | 278.1814 | 299.6729 | 277.7957 | 261.1632 | 272.2011 | 282.0808 | 307.9153 | 280.043 | 262.0963 | 273.047
279.2069 | 292.3458 | 276.517 | 268.5044 | 272.3819 | 281.4018 | 303.2004 | 279.3666 | 264.5363 | 273.3386 | 279.6823 | 297.553 | 277.3769 | 265.5304 | 272.2186 | 283.6027 | 305.7371 | 279.6208 | 266.4791 | 273.0646
279.6221 | 294.3904 | 276.7653 | 267.5917 | 272.1611 | 281.8203 | 305.3209 | 279.6174 | 263.6372 | 273.117 | 280.0983 | 299.634 | 277.626 | 264.6279 | 271.9979 | 284.0245 | 307.8754 | 279.8719 | 265.5734 | 272.8432
279.8729 | 294.029 | 276.4656 | 268.3412 | 271.8776 | 282.0731 | 304.9461 | 279.3146 | 264.3755 | 272.8325 | 280.3495 | 299.2662 | 277.3253 | 265.369 | 271.7145 | 284.2792 | 307.4974 | 279.5688 | 266.3172 | 272.5589
279.9606 | 297.9123 | 277.2662 | 265.3361 | 271.8731 | 282.1615 | 308.9735 | 280.1235 | 261.4149 | 272.828 | 280.4374 | 303.2186 | 278.1284 | 262.3972 | 271.7101 | 284.3683 | 311.5585 | 280.3784 | 263.3348 | 272.5545