## summaryO3 18 Jun 16
Averages of total ozone:
With the exisiting Calibration, Lamp tests included
Average is over the complete Mu range
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
263.4075 | 276.2379 | 264.1164 | 253.5285 | 261.034
2.3735 | 15.2039 | 3.0825 | -7.5055
With Langley Plot Calibration
Langley Plot Adjustments and Lamp Test results included
D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD*
257.8196 | 263.3472 | 260.6455 | 253.5829 | 259.9469
-2.1272 | 3.4003 | 0.69864 | -6.364

## IdD083
Dobson 083 at IZO 2016.Sep.27 Langley Plot Results
SLC083Na | -0.7 | SLC083Nc | -0.7 | [9 empty] | SLC083Nd | -0.6 | [11 empty] | Correction to
D083 LP adj. A:-0.85 C:-0.53 D:-0.68 Nad:-0.17 | [12 empty] | MaxMu | 2.5 | MaxMu can be changed | [5 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83 | AD | CD
[20 empty] | With out High mu values | -0.87103 |  | -0.88085 |  | -1.1804 | -0.29952 | 0.009823 | [14 empty] | Limited Mu range
[11 empty] | 58 |  |  |  | 263.4075 | 276.2379 | 264.1164 | 253.5285 | 261.034 | all Values | -0.53448 |  | -0.68212 |  | -0.85181 | -0.16969 | 0.14763 | [14 empty] | 0.0052499 |  | -0.29401
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD | 1/mu.cd | P*CD_83 | 1/mu.ad | P*AD_83
135.5 | 77.6 | 240.6 | 27 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 126.8574 | 74.2273 | 227.7038 | 262.4068 | 270.5698 | 263.0215 | 256.3585 | 261.0255 | 0.23933 | 0.21688 | 0.24277 | 0.09757 | 0.24621 | 0.47017 | 2016-09-27 08:00 | 4.1783 | 4.3748 | 2016-09-27 08:01 | 4.1192 | 4.3066 | 2016-09-27 08:02 | 4.0617 | 4.2405 | 2016-09-27 08:01 | 4.1486 | 4.3404 | 2016-09-27 08:02 | 4.0902 | 4.2733 | 0.24105 | 0.11931 | 0.24449 | 0.3726
128 | 73 | 229 | 27 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 119.815 | 70.0162 | 215.7572 | 262.5349 | 270.1519 | 263.4471 | 256.8646 | 261.6782 | 0.25309 | 0.21699 | 0.25653 | 0.09742 | 0.25998 | 0.47093 | 2016-09-27 08:04 | 3.9512 | 4.1144 | 2016-09-27 08:05 | 3.8981 | 4.0541 | 2016-09-27 08:06 | 3.8464 | 3.9957 | 2016-09-27 08:04 | 3.9245 | 4.084 | 2016-09-27 08:06 | 3.8721 | 4.0247 | 0.25481 | 0.11957 | 0.25826 | 0.37351
121.1 | 69.2 | 218.1 | 27 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 113.3899 | 66.5488 | 204.8043 | 262.2518 | 271.9344 | 263.5296 | 254.9476 | 261.3422 | 0.26687 | 0.21675 | 0.27032 | 0.098062 | 0.27377 | 0.47108 | 2016-09-27 08:08 | 3.7471 | 3.8839 | 2016-09-27 08:09 | 3.6993 | 3.8304 | 2016-09-27 08:10 | 3.6527 | 3.7784 | 2016-09-27 08:08 | 3.723 | 3.857 | 2016-09-27 08:10 | 3.6758 | 3.8042 | 0.2686 | 0.11869 | 0.27205 | 0.37302
115 | 65.6 | 208.1 | 27 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 107.7291 | 63.2639 | 194.8394 | 262.353 | 272.3506 | 263.4752 | 254.7767 | 261.1778 | 0.28066 | 0.21684 | 0.28411 | 0.098213 | 0.28756 | 0.47098 | 2016-09-27 08:12 | 3.563 | 3.6787 | 2016-09-27 08:13 | 3.5197 | 3.6308 | 2016-09-27 08:14 | 3.4776 | 3.5843 | 2016-09-27 08:12 | 3.5412 | 3.6546 | 2016-09-27 08:13 | 3.4985 | 3.6074 | 0.28239 | 0.11862 | 0.28583 | 0.37277
109.6 | 62.4 | 199 | 27 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 102.7287 | 60.3274 | 185.8798 | 262.8427 | 272.9809 | 263.5321 | 255.1347 | 261.097 | 0.29444 | 0.21724 | 0.29788 | 0.09844 | 0.30132 | 0.47108 | 2016-09-27 08:16 | 3.3962 | 3.4948 | 2016-09-27 08:17 | 3.357 | 3.4519 | 2016-09-27 08:18 | 3.3187 | 3.41 | 2016-09-27 08:17 | 3.3765 | 3.4732 | 2016-09-27 08:18 | 3.3377 | 3.4308 | 0.29616 | 0.1188 | 0.2996 | 0.37264
104.5 | 59.3 | 190.7 | 27 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 98 | 57.4688 | 177.7007 | 262.5983 | 271.8923 | 263.5303 | 255.525 | 261.3759 | 0.3082 | 0.21704 | 0.31163 | 0.098047 | 0.31506 | 0.47108 | 2016-09-27 08:20 | 3.2447 | 3.3293 | 2016-09-27 08:21 | 3.209 | 3.2905 | 2016-09-27 08:22 | 3.174 | 3.2526 | 2016-09-27 08:20 | 3.2267 | 3.3098 | 2016-09-27 08:22 | 3.1914 | 3.2714 | 0.30991 | 0.11899 | 0.31334 | 0.37303
100 | 56.9 | 183.2 | 27 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 93.8158 | 55.2441 | 170.3087 | 262.8161 | 274.1957 | 263.6584 | 254.1131 | 260.9591 | 0.32191 | 0.21722 | 0.32533 | 0.098878 | 0.32875 | 0.47131 | 2016-09-27 08:24 | 3.1065 | 3.1796 | 2016-09-27 08:25 | 3.0738 | 3.1444 | 2016-09-27 08:26 | 3.0419 | 3.11 | 2016-09-27 08:24 | 3.0901 | 3.1619 | 2016-09-27 08:26 | 3.0578 | 3.1271 | 0.32362 | 0.11834 | 0.32704 | 0.37243
95.9 | 54.5 | 176.1 | 27 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 90.0093 | 53.0092 | 163.334 | 263.091 | 274.5645 | 263.388 | 254.3026 | 260.5313 | 0.33557 | 0.21745 | 0.33898 | 0.099011 | 0.34238 | 0.47083 | 2016-09-27 08:28 | 2.98 | 3.0435 | 2016-09-27 08:29 | 2.9501 | 3.0114 | 2016-09-27 08:30 | 2.9208 | 2.9801 | 2016-09-27 08:28 | 2.965 | 3.0274 | 2016-09-27 08:29 | 2.9353 | 2.9957 | 0.33727 | 0.11843 | 0.34068 | 0.37182
92.1 | 52.2 | 169.8 | 27 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 86.4889 | 50.8509 | 157.1793 | 263.2244 | 273.8436 | 263.6166 | 255.0864 | 261.0033 | 0.34917 | 0.21756 | 0.35256 | 0.098751 | 0.35594 | 0.47124 | 2016-09-27 08:32 | 2.8639 | 2.9194 | 2016-09-27 08:33 | 2.8364 | 2.8901 | 2016-09-27 08:34 | 2.8094 | 2.8614 | 2016-09-27 08:33 | 2.8501 | 2.9047 | 2016-09-27 08:34 | 2.8229 | 2.8757 | 0.35086 | 0.1188 | 0.35425 | 0.37248
88.5 | 50.3 | 164 | 27 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 83.1502 | 49.0553 | 151.5041 | 262.9025 | 275.0305 | 263.8284 | 253.5876 | 260.9715 | 0.3627 | 0.21729 | 0.36607 | 0.099179 | 0.36943 | 0.47161 | 2016-09-27 08:36 | 2.7571 | 2.8058 | 2016-09-27 08:37 | 2.7317 | 2.7789 | 2016-09-27 08:38 | 2.7068 | 2.7525 | 2016-09-27 08:36 | 2.7444 | 2.7923 | 2016-09-27 08:38 | 2.7192 | 2.7656 | 0.36438 | 0.11811 | 0.36775 | 0.37244
85.3 | 48.4 | 158.7 | 27 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 80.1863 | 47.2488 | 146.3396 | 263.0971 | 274.6102 | 264.2008 | 254.2505 | 261.5468 | 0.37615 | 0.21745 | 0.3795 | 0.099027 | 0.38284 | 0.47228 | 2016-09-27 08:40 | 2.6585 | 2.7014 | 2016-09-27 08:41 | 2.6351 | 2.6767 | 2016-09-27 08:42 | 2.612 | 2.6524 | 2016-09-27 08:40 | 2.6467 | 2.689 | 2016-09-27 08:42 | 2.6235 | 2.6645 | 0.37783 | 0.11842 | 0.38117 | 0.37325
82.2 | 46.8 | 153.5 | 27 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 77.3297 | 45.7185 | 141.3061 | 262.7348 | 275.7055 | 264.0095 | 252.7531 | 261.0324 | 0.38951 | 0.21715 | 0.39284 | 0.099422 | 0.39616 | 0.47194 | 2016-09-27 08:44 | 2.5673 | 2.6053 | 2016-09-27 08:45 | 2.5456 | 2.5824 | 2016-09-27 08:46 | 2.5242 | 2.56 | 2016-09-27 08:44 | 2.5564 | 2.5938 | 2016-09-27 08:46 | 2.5348 | 2.5712 | 0.39118 | 0.11773 | 0.3945 | 0.37252
79.4 | 45.2 | 148.8 | 27 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 74.7548 | 44.1796 | 136.752 | 262.7222 | 275.4246 | 264.0852 | 252.9427 | 261.2001 | 0.40278 | 0.21714 | 0.40608 | 0.099321 | 0.40938 | 0.47207 | 2016-09-27 08:48 | 2.4827 | 2.5165 | 2016-09-27 08:49 | 2.4625 | 2.4953 | 2016-09-27 08:50 | 2.4427 | 2.4746 | 2016-09-27 08:49 | 2.4726 | 2.5059 | 2016-09-27 08:50 | 2.4526 | 2.4849 | 0.40443 | 0.11782 | 0.40773 | 0.37275
76.8 | 43.7 | 144.4 | 27 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 72.3603 | 42.7297 | 132.5355 | 262.6897 | 274.8992 | 264.2027 | 253.2867 | 261.4817 | 0.41595 | 0.21711 | 0.41923 | 0.099132 | 0.4225 | 0.47228 | 2016-09-27 08:52 | 2.4041 | 2.4342 | 2016-09-27 08:53 | 2.3853 | 2.4146 | 2016-09-27 08:54 | 2.3669 | 2.3954 | 2016-09-27 08:52 | 2.3947 | 2.4244 | 2016-09-27 08:54 | 2.3761 | 2.4049 | 0.41759 | 0.11798 | 0.42086 | 0.37315
74.5 | 42.5 | 140.3 | 27 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 70.2407 | 41.5644 | 128.6225 | 263.2199 | 276.5811 | 264.3563 | 252.921 | 261.2505 | 0.42901 | 0.21755 | 0.43226 | 0.099738 | 0.4355 | 0.47256 | 2016-09-27 08:56 | 2.3309 | 2.3579 | 2016-09-27 08:57 | 2.3134 | 2.3396 | 2016-09-27 08:58 | 2.2962 | 2.3217 | 2016-09-27 08:56 | 2.3221 | 2.3487 | 2016-09-27 08:58 | 2.3048 | 2.3306 | 0.43064 | 0.11781 | 0.43388 | 0.37282
72.2 | 41.2 | 136.2 | 27 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 68.1211 | 40.2963 | 124.7153 | 262.9767 | 276.0024 | 263.8698 | 252.9338 | 260.7885 | 0.44196 | 0.21735 | 0.44518 | 0.099529 | 0.44839 | 0.47169 | 2016-09-27 09:00 | 2.2626 | 2.2868 | 2016-09-27 09:01 | 2.2463 | 2.2698 | 2016-09-27 09:02 | 2.2302 | 2.2531 | 2016-09-27 09:00 | 2.2544 | 2.2783 | 2016-09-27 09:02 | 2.2382 | 2.2614 | 0.44357 | 0.11782 | 0.44679 | 0.37216
69.9 | 40.1 | 132.4 | 27 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 66.0032 | 39.2184 | 121.0842 | 261.9748 | 276.7829 | 263.4454 | 250.5491 | 260.0607 | 0.45479 | 0.21652 | 0.45798 | 0.099811 | 0.46116 | 0.47093 | 2016-09-27 09:04 | 2.1988 | 2.2206 | 2016-09-27 09:05 | 2.1835 | 2.2047 | 2016-09-27 09:06 | 2.1685 | 2.1891 | 2016-09-27 09:05 | 2.1911 | 2.2126 | 2016-09-27 09:06 | 2.176 | 2.1969 | 0.45638 | 0.11671 | 0.45957 | 0.37112
68 | 38.9 | 129 | 27 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 64.2541 | 38.037 | 117.8377 | 262.298 | 275.2982 | 263.4349 | 252.2687 | 260.4237 | 0.46749 | 0.21679 | 0.47065 | 0.099276 | 0.47379 | 0.47091 | 2016-09-27 09:08 | 2.1391 | 2.1587 | 2016-09-27 09:09 | 2.1247 | 2.1439 | 2016-09-27 09:10 | 2.1106 | 2.1293 | 2016-09-27 09:08 | 2.1319 | 2.1513 | 2016-09-27 09:10 | 2.1176 | 2.1365 | 0.46907 | 0.11751 | 0.47222 | 0.37164
66.3 | 37.8 | 125.8 | 27 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 62.6872 | 36.949 | 114.7884 | 263.0371 | 274.0873 | 263.4134 | 254.5145 | 260.7035 | 0.48006 | 0.2174 | 0.48319 | 0.098839 | 0.4863 | 0.47087 | 2016-09-27 09:12 | 2.0831 | 2.1008 | 2016-09-27 09:13 | 2.0696 | 2.0869 | 2016-09-27 09:14 | 2.0563 | 2.0732 | 2016-09-27 09:12 | 2.0763 | 2.0938 | 2016-09-27 09:14 | 2.0629 | 2.08 | 0.48163 | 0.11856 | 0.48474 | 0.37203
64.5 | 37.1 | 122.9 | 27 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 61.0245 | 36.2544 | 112.0382 | 262.622 | 277.3776 | 263.711 | 251.2291 | 260.2456 | 0.4925 | 0.21706 | 0.49559 | 0.10003 | 0.49867 | 0.4714 | 2016-09-27 09:16 | 2.0305 | 2.0465 | 2016-09-27 09:17 | 2.0178 | 2.0335 | 2016-09-27 09:18 | 2.0053 | 2.0207 | 2016-09-27 09:16 | 2.0241 | 2.04 | 2016-09-27 09:18 | 2.0115 | 2.0271 | 0.49405 | 0.11703 | 0.49713 | 0.37138
62.9 | 36.1 | 120 | 27 | 9 | 20 | 0 | 9 | 16 | C | 83 | IZO | 59.5444 | 35.2594 | 109.3104 | 262.7166 | 275.8087 | 263.6024 | 252.6093 | 260.5068 | 0.5048 | 0.21714 | 0.50785 | 0.09946 | 0.51089 | 0.47121 | 2016-09-27 09:20 | 1.981 | 1.9956 | 2016-09-27 09:21 | 1.9691 | 1.9833 | 2016-09-27 09:22 | 1.9574 | 1.9713 | 2016-09-27 09:20 | 1.975 | 1.9894 | 2016-09-27 09:22 | 1.9632 | 1.9773 | 0.50633 | 0.11768 | 0.50937 | 0.37175
61.4 | 35.2 | 117.4 | 27 | 9 | 24 | 0 | 9 | 16 | C | 83 | IZO | 58.1548 | 34.3614 | 106.8719 | 262.83 | 274.8136 | 263.8771 | 253.5788 | 261.1029 | 0.51695 | 0.21723 | 0.51996 | 0.099101 | 0.52297 | 0.4717 | 2016-09-27 09:24 | 1.9344 | 1.9477 | 2016-09-27 09:25 | 1.9232 | 1.9362 | 2016-09-27 09:26 | 1.9122 | 1.9248 | 2016-09-27 09:24 | 1.9288 | 1.9419 | 2016-09-27 09:26 | 1.9177 | 1.9305 | 0.51846 | 0.11813 | 0.52147 | 0.3726
60 | 34.6 | 114.7 | 27 | 9 | 28 | 0 | 9 | 16 | C | 83 | IZO | 56.8553 | 33.7616 | 104.3343 | 263.0043 | 277.4645 | 263.435 | 251.8346 | 259.8798 | 0.52895 | 0.21737 | 0.53193 | 0.10006 | 0.5349 | 0.47091 | 2016-09-27 09:28 | 1.8905 | 1.9026 | 2016-09-27 09:29 | 1.88 | 1.8918 | 2016-09-27 09:30 | 1.8695 | 1.8811 | 2016-09-27 09:28 | 1.8852 | 1.8972 | 2016-09-27 09:30 | 1.8747 | 1.8864 | 0.53044 | 0.11732 | 0.53341 | 0.37085
58.7 | 33.7 | 112.3 | 27 | 9 | 32 | 0 | 9 | 16 | C | 83 | IZO | 55.6458 | 32.8603 | 102.0792 | 263.2832 | 275.0211 | 263.4273 | 254.2191 | 260.488 | 0.5408 | 0.2176 | 0.54374 | 0.099176 | 0.54666 | 0.4709 | 2016-09-27 09:32 | 1.8491 | 1.8602 | 2016-09-27 09:33 | 1.8391 | 1.8499 | 2016-09-27 09:34 | 1.8293 | 1.8399 | 2016-09-27 09:32 | 1.8441 | 1.855 | 2016-09-27 09:34 | 1.8342 | 1.8449 | 0.54227 | 0.11843 | 0.5452 | 0.37172
57.5 | 32.9 | 110.1 | 27 | 9 | 36 | 0 | 9 | 16 | C | 83 | IZO | 54.528 | 32.0576 | 100.0188 | 263.7199 | 273.359 | 263.6395 | 256.2791 | 261.1743 | 0.55249 | 0.21797 | 0.55539 | 0.098576 | 0.55827 | 0.47128 | 2016-09-27 09:36 | 1.81 | 1.8201 | 2016-09-27 09:37 | 1.8006 | 1.8104 | 2016-09-27 09:38 | 1.7912 | 1.8009 | 2016-09-27 09:36 | 1.8053 | 1.8153 | 2016-09-27 09:38 | 1.7959 | 1.8057 | 0.55394 | 0.11939 | 0.55683 | 0.3727
56.3 | 32.3 | 107.9 | 27 | 9 | 40 | 0 | 9 | 16 | C | 83 | IZO | 53.4087 | 31.4547 | 97.9697 | 263.7224 | 274.1686 | 263.5286 | 255.6556 | 260.8311 | 0.56401 | 0.21797 | 0.56687 | 0.098868 | 0.56971 | 0.47108 | 2016-09-27 09:40 | 1.773 | 1.7823 | 2016-09-27 09:41 | 1.7641 | 1.7731 | 2016-09-27 09:42 | 1.7553 | 1.7641 | 2016-09-27 09:40 | 1.7685 | 1.7777 | 2016-09-27 09:42 | 1.7597 | 1.7686 | 0.56544 | 0.1191 | 0.56829 | 0.37221
55.1 | 31.7 | 106 | 27 | 9 | 44 | 0 | 9 | 16 | C | 83 | IZO | 52.287 | 30.8508 | 96.2032 | 263.288 | 274.4299 | 263.9814 | 254.6817 | 261.3327 | 0.57537 | 0.21761 | 0.57819 | 0.098962 | 0.58099 | 0.47189 | 2016-09-27 09:44 | 1.738 | 1.7465 | 2016-09-27 09:45 | 1.7295 | 1.7379 | 2016-09-27 09:46 | 1.7212 | 1.7293 | 2016-09-27 09:44 | 1.7338 | 1.7422 | 2016-09-27 09:46 | 1.7254 | 1.7336 | 0.57678 | 0.11865 | 0.57959 | 0.37293
54 | 31.2 | 104.1 | 27 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 51.2561 | 30.3468 | 94.4316 | 263.0803 | 275.795 | 264.1023 | 253.2556 | 261.1395 | 0.58656 | 0.21744 | 0.58933 | 0.099455 | 0.59209 | 0.4721 | 2016-09-27 09:48 | 1.7049 | 1.7127 | 2016-09-27 09:49 | 1.6968 | 1.7045 | 2016-09-27 09:50 | 1.6889 | 1.6964 | 2016-09-27 09:48 | 1.7008 | 1.7085 | 2016-09-27 09:50 | 1.6929 | 1.7004 | 0.58795 | 0.11798 | 0.59071 | 0.37265
47.4 | 27.7 | 92.1 | 27 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 45.0041 | 26.7963 | 83.1492 | 264.0321 | 279.4829 | 265.0223 | 252.0841 | 261.3618 | 0.66945 | 0.21822 | 0.67184 | 0.10078 | 0.67422 | 0.47375 | 2016-09-27 10:20 | 1.4938 | 1.4978 | 2016-09-27 10:21 | 1.4884 | 1.4924 | 2016-09-27 10:22 | 1.4832 | 1.4871 | 2016-09-27 10:20 | 1.4911 | 1.4951 | 2016-09-27 10:22 | 1.4858 | 1.4898 | 0.67065 | 0.11744 | 0.67303 | 0.37296
46.7 | 27.3 | 90.7 | 27 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 44.3328 | 26.3877 | 81.8388 | 263.6981 | 278.8086 | 264.3825 | 252.0129 | 260.7309 | 0.67894 | 0.21795 | 0.68128 | 0.10054 | 0.6836 | 0.4726 | 2016-09-27 10:24 | 1.4729 | 1.4767 | 2016-09-27 10:25 | 1.4678 | 1.4715 | 2016-09-27 10:26 | 1.4628 | 1.4665 | 2016-09-27 10:24 | 1.4704 | 1.4741 | 2016-09-27 10:25 | 1.4653 | 1.469 | 0.68011 | 0.11741 | 0.68244 | 0.37206
46.1 | 26.9 | 89.6 | 27 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 43.7555 | 25.9786 | 80.8129 | 263.8835 | 277.7582 | 264.6133 | 253.1545 | 261.2856 | 0.68821 | 0.2181 | 0.6905 | 0.10016 | 0.69277 | 0.47302 | 2016-09-27 10:28 | 1.453 | 1.4565 | 2016-09-27 10:29 | 1.4482 | 1.4516 | 2016-09-27 10:30 | 1.4435 | 1.4468 | 2016-09-27 10:28 | 1.4506 | 1.4541 | 2016-09-27 10:30 | 1.4458 | 1.4492 | 0.68936 | 0.11794 | 0.69164 | 0.37285
45.6 | 26.6 | 88.6 | 27 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 43.2735 | 25.6713 | 79.8824 | 264.6321 | 278.3245 | 265.0186 | 254.0438 | 261.6504 | 0.69728 | 0.21872 | 0.69951 | 0.10037 | 0.70174 | 0.47374 | 2016-09-27 10:32 | 1.4341 | 1.4374 | 2016-09-27 10:33 | 1.4296 | 1.4327 | 2016-09-27 10:34 | 1.425 | 1.4281 | 2016-09-27 10:32 | 1.4318 | 1.435 | 2016-09-27 10:34 | 1.4273 | 1.4304 | 0.6984 | 0.11835 | 0.70063 | 0.37337
45 | 26.3 | 87.4 | 27 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 42.694 | 25.3638 | 78.7678 | 264.3312 | 278.5794 | 264.5045 | 253.3122 | 260.9421 | 0.70614 | 0.21847 | 0.70832 | 0.10046 | 0.71048 | 0.47282 | 2016-09-27 10:36 | 1.4162 | 1.4191 | 2016-09-27 10:37 | 1.4118 | 1.4147 | 2016-09-27 10:38 | 1.4075 | 1.4104 | 2016-09-27 10:36 | 1.414 | 1.4169 | 2016-09-27 10:38 | 1.4096 | 1.4125 | 0.70723 | 0.11801 | 0.7094 | 0.37236
44.6 | 26 | 86.5 | 27 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 42.307 | 25.0559 | 77.933 | 265.4603 | 278.5263 | 264.9122 | 255.3562 | 261.4663 | 0.71478 | 0.2194 | 0.7169 | 0.10044 | 0.71901 | 0.47355 | 2016-09-27 10:40 | 1.399 | 1.4018 | 2016-09-27 10:41 | 1.3949 | 1.3976 | 2016-09-27 10:42 | 1.3908 | 1.3935 | 2016-09-27 10:40 | 1.397 | 1.3997 | 2016-09-27 10:41 | 1.3928 | 1.3955 | 0.71584 | 0.11896 | 0.71796 | 0.37311
43.9 | 25.7 | 85.6 | 27 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 41.6283 | 24.7477 | 77.0989 | 263.8451 | 278.1687 | 265.148 | 252.7671 | 261.8522 | 0.7232 | 0.21807 | 0.72527 | 0.10031 | 0.72733 | 0.47397 | 2016-09-27 10:44 | 1.3827 | 1.3853 | 2016-09-27 10:45 | 1.3788 | 1.3813 | 2016-09-27 10:46 | 1.3749 | 1.3774 | 2016-09-27 10:44 | 1.3808 | 1.3833 | 2016-09-27 10:46 | 1.3768 | 1.3793 | 0.72424 | 0.11776 | 0.7263 | 0.37366
43.6 | 25.6 | 84.7 | 27 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 41.3368 | 24.6449 | 76.2652 | 265.4085 | 281.6935 | 265.2129 | 252.8121 | 261.0428 | 0.7314 | 0.21936 | 0.73342 | 0.10158 | 0.73542 | 0.47409 | 2016-09-27 10:48 | 1.3672 | 1.3696 | 2016-09-27 10:49 | 1.3635 | 1.3658 | 2016-09-27 10:50 | 1.3598 | 1.3621 | 2016-09-27 10:48 | 1.3654 | 1.3677 | 2016-09-27 10:50 | 1.3616 | 1.3639 | 0.73241 | 0.11778 | 0.73442 | 0.37251
43 | 25.2 | 83.6 | 27 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 40.7529 | 24.2335 | 75.248 | 264.1859 | 278.672 | 264.3443 | 252.9815 | 260.7183 | 0.73938 | 0.21835 | 0.74134 | 0.10049 | 0.74328 | 0.47254 | 2016-09-27 10:52 | 1.3525 | 1.3547 | 2016-09-27 10:53 | 1.3489 | 1.3511 | 2016-09-27 10:54 | 1.3454 | 1.3475 | 2016-09-27 10:52 | 1.3507 | 1.3529 | 2016-09-27 10:54 | 1.3471 | 1.3493 | 0.74036 | 0.11786 | 0.74231 | 0.37204
42.5 | 24.8 | 82.8 | 27 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 40.2652 | 23.8215 | 74.5097 | 263.6097 | 275.3078 | 264.463 | 254.5632 | 261.7173 | 0.74713 | 0.21787 | 0.74903 | 0.099279 | 0.75092 | 0.47275 | 2016-09-27 10:56 | 1.3385 | 1.3405 | 2016-09-27 10:57 | 1.3351 | 1.3371 | 2016-09-27 10:58 | 1.3317 | 1.3337 | 2016-09-27 10:56 | 1.3367 | 1.3388 | 2016-09-27 10:57 | 1.3334 | 1.3354 | 0.74808 | 0.1186 | 0.74998 | 0.37347
42.2 | 24.8 | 82.2 | 27 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 39.972 | 23.8215 | 73.9564 | 264.6082 | 280.2609 | 265.2087 | 252.5005 | 261.3998 | 0.75465 | 0.2187 | 0.7565 | 0.10107 | 0.75833 | 0.47408 | 2016-09-27 11:00 | 1.3251 | 1.327 | 2016-09-27 11:01 | 1.3219 | 1.3237 | 2016-09-27 11:02 | 1.3187 | 1.3205 | 2016-09-27 11:01 | 1.3235 | 1.3254 | 2016-09-27 11:02 | 1.3203 | 1.3221 | 0.75558 | 0.11763 | 0.75742 | 0.37302
41.9 | 24.7 | 81.4 | 27 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 39.6785 | 23.7184 | 73.2191 | 265.4385 | 282.8768 | 265.0247 | 251.9483 | 260.5084 | 0.76195 | 0.21939 | 0.76373 | 0.10201 | 0.76551 | 0.47375 | 2016-09-27 11:04 | 1.3124 | 1.3142 | 2016-09-27 11:05 | 1.3094 | 1.3111 | 2016-09-27 11:06 | 1.3063 | 1.308 | 2016-09-27 11:04 | 1.3109 | 1.3126 | 2016-09-27 11:06 | 1.3078 | 1.3095 | 0.76284 | 0.11738 | 0.76462 | 0.37174
41.5 | 24.5 | 80.8 | 27 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 39.2865 | 23.5121 | 72.6661 | 265.1891 | 283.0919 | 265.4827 | 251.3392 | 261.0279 | 0.76901 | 0.21918 | 0.77074 | 0.10209 | 0.77245 | 0.47457 | 2016-09-27 11:08 | 1.3004 | 1.302 | 2016-09-27 11:09 | 1.2975 | 1.2991 | 2016-09-27 11:10 | 1.2946 | 1.2962 | 2016-09-27 11:08 | 1.2989 | 1.3005 | 2016-09-27 11:10 | 1.296 | 1.2976 | 0.76987 | 0.11709 | 0.77159 | 0.37249
41.1 | 24.4 | 80.3 | 27 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 38.8938 | 23.409 | 72.2051 | 264.7547 | 285.2958 | 266.2034 | 248.8624 | 261.3737 | 0.77583 | 0.21882 | 0.7775 | 0.10288 | 0.77916 | 0.47586 | 2016-09-27 11:12 | 1.2889 | 1.2905 | 2016-09-27 11:13 | 1.2862 | 1.2877 | 2016-09-27 11:14 | 1.2834 | 1.2849 | 2016-09-27 11:12 | 1.2876 | 1.289 | 2016-09-27 11:13 | 1.2848 | 1.2863 | 0.77667 | 0.11594 | 0.77833 | 0.37298
40.3 | 23.9 | 78.4 | 27 | 11 | 24 | 0 | 9 | 16 | C | 83 | IZO | 38.1061 | 22.8926 | 70.4503 | 266.1604 | 286.1817 | 265.926 | 250.67 | 260.8025 | 0.79487 | 0.21998 | 0.79636 | 0.1032 | 0.79783 | 0.47536 | 2016-09-27 11:24 | 1.2581 | 1.2593 | 2016-09-27 11:25 | 1.2557 | 1.2569 | 2016-09-27 11:26 | 1.2534 | 1.2546 | 2016-09-27 11:24 | 1.2569 | 1.2581 | 2016-09-27 11:26 | 1.2545 | 1.2557 | 0.79562 | 0.11678 | 0.7971 | 0.37216
40 | 23.5 | 77.7 | 27 | 11 | 28 | 0 | 9 | 16 | C | 83 | IZO | 37.8099 | 22.479 | 69.802 | 265.9998 | 280.677 | 265.2766 | 254.6457 | 261.3802 | 0.80073 | 0.21985 | 0.80216 | 0.10122 | 0.80357 | 0.4742 | 2016-09-27 11:28 | 1.2489 | 1.25 | 2016-09-27 11:29 | 1.2466 | 1.2477 | 2016-09-27 11:30 | 1.2444 | 1.2455 | 2016-09-27 11:28 | 1.2477 | 1.2489 | 2016-09-27 11:29 | 1.2455 | 1.2466 | 0.80145 | 0.11863 | 0.80287 | 0.37299
39.8 | 23.6 | 77.4 | 27 | 11 | 32 | 0 | 9 | 16 | C | 83 | IZO | 37.6121 | 22.5825 | 69.524 | 266.6459 | 286.4694 | 266.1659 | 251.3081 | 261.0306 | 0.80635 | 0.22038 | 0.80772 | 0.1033 | 0.80907 | 0.47579 | 2016-09-27 11:32 | 1.2402 | 1.2412 | 2016-09-27 11:33 | 1.2381 | 1.2391 | 2016-09-27 11:34 | 1.236 | 1.237 | 2016-09-27 11:33 | 1.2391 | 1.2401 | 2016-09-27 11:34 | 1.237 | 1.238 | 0.80703 | 0.11708 | 0.80839 | 0.37249
39.4 | 23.2 | 76.8 | 27 | 11 | 37 | 0 | 9 | 16 | C | 83 | IZO | 37.2158 | 22.1685 | 68.9676 | 265.7907 | 281.2659 | 266.1653 | 253.8185 | 262.3449 | 0.81302 | 0.21968 | 0.81431 | 0.10143 | 0.81558 | 0.47579 | 2016-09-27 11:37 | 1.23 | 1.2309 | 2016-09-27 11:38 | 1.228 | 1.229 | 2016-09-27 11:39 | 1.2261 | 1.227 | 2016-09-27 11:38 | 1.229 | 1.2299 | 2016-09-27 11:38 | 1.2271 | 1.228 | 0.81367 | 0.11825 | 0.81495 | 0.37436
39.1 | 23.1 | 76.4 | 27 | 11 | 41 | 0 | 9 | 16 | C | 83 | IZO | 36.9179 | 22.0649 | 68.5965 | 265.1243 | 281.9944 | 266.3672 | 252.0722 | 262.4136 | 0.81808 | 0.21913 | 0.81931 | 0.10169 | 0.82052 | 0.47615 | 2016-09-27 11:41 | 1.2224 | 1.2233 | 2016-09-27 11:42 | 1.2205 | 1.2214 | 2016-09-27 11:43 | 1.2187 | 1.2196 | 2016-09-27 11:42 | 1.2215 | 1.2223 | 2016-09-27 11:42 | 1.2196 | 1.2205 | 0.8187 | 0.11744 | 0.81991 | 0.37446
38.9 | 23.1 | 76 | 27 | 11 | 45 | 0 | 9 | 16 | C | 83 | IZO | 36.719 | 22.0649 | 68.2252 | 265.2956 | 284.9071 | 266.4516 | 250.1214 | 261.7834 | 0.82289 | 0.21927 | 0.82405 | 0.10274 | 0.8252 | 0.4763 | 2016-09-27 11:45 | 1.2152 | 1.2161 | 2016-09-27 11:46 | 1.2135 | 1.2143 | 2016-09-27 11:47 | 1.2118 | 1.2126 | 2016-09-27 11:46 | 1.2144 | 1.2152 | 2016-09-27 11:46 | 1.2127 | 1.2135 | 0.82347 | 0.11653 | 0.82462 | 0.37356
38.7 | 23 | 75.5 | 27 | 11 | 49 | 0 | 9 | 16 | C | 83 | IZO | 36.5198 | 21.9613 | 67.761 | 265.3295 | 285.2841 | 265.9887 | 249.8897 | 261.1083 | 0.82744 | 0.2193 | 0.82854 | 0.10288 | 0.82962 | 0.47548 | 2016-09-27 11:49 | 1.2085 | 1.2093 | 2016-09-27 11:50 | 1.2069 | 1.2077 | 2016-09-27 11:51 | 1.2054 | 1.2061 | 2016-09-27 11:50 | 1.2077 | 1.2085 | 2016-09-27 11:50 | 1.2062 | 1.2069 | 0.82799 | 0.11642 | 0.82908 | 0.3726
38.7 | 22.9 | 75.2 | 27 | 11 | 53 | 0 | 9 | 16 | C | 83 | IZO | 36.5198 | 21.8577 | 67.4823 | 267.2336 | 285.4797 | 266.2725 | 253.1162 | 261.4144 | 0.83174 | 0.22087 | 0.83278 | 0.10295 | 0.8338 | 0.47598 | 2016-09-27 11:53 | 1.2023 | 1.203 | 2016-09-27 11:54 | 1.2008 | 1.2015 | 2016-09-27 11:55 | 1.1993 | 1.2 | 2016-09-27 11:54 | 1.2015 | 1.2022 | 2016-09-27 11:54 | 1.2001 | 1.2008 | 0.83226 | 0.11792 | 0.83329 | 0.37304
38.5 | 22.8 | 74.9 | 27 | 11 | 57 | 0 | 9 | 16 | C | 83 | IZO | 36.3205 | 21.754 | 67.2036 | 267.0087 | 285.4955 | 266.4467 | 252.7047 | 261.6287 | 0.83579 | 0.22068 | 0.83676 | 0.10295 | 0.83771 | 0.47629 | 2016-09-27 11:57 | 1.1965 | 1.1971 | 2016-09-27 11:58 | 1.1951 | 1.1957 | 2016-09-27 11:59 | 1.1937 | 1.1944 | 2016-09-27 11:58 | 1.1958 | 1.1964 | 2016-09-27 11:58 | 1.1944 | 1.195 | 0.83627 | 0.11773 | 0.83724 | 0.37334
38.2 | 22.4 | 74.4 | 27 | 12 | 1 | 0 | 9 | 16 | C | 83 | IZO | 36.0211 | 21.3392 | 66.739 | 265.6353 | 278.0794 | 265.6371 | 256.0084 | 262.4887 | 0.83957 | 0.21955 | 0.84048 | 0.10028 | 0.84137 | 0.47485 | 2016-09-27 12:01 | 1.1911 | 1.1917 | 2016-09-27 12:02 | 1.1898 | 1.1904 | 2016-09-27 12:03 | 1.1885 | 1.1891 | 2016-09-27 12:02 | 1.1904 | 1.191 | 2016-09-27 12:02 | 1.1892 | 1.1898 | 0.84003 | 0.11927 | 0.84093 | 0.37457
38.3 | 22.5 | 74.3 | 27 | 12 | 5 | 0 | 9 | 16 | C | 83 | IZO | 36.1209 | 21.4429 | 66.646 | 268.1957 | 282.5655 | 266.4691 | 257.0782 | 262.3973 | 0.8431 | 0.22166 | 0.84395 | 0.1019 | 0.84477 | 0.47633 | 2016-09-27 12:05 | 1.1861 | 1.1867 | 2016-09-27 12:06 | 1.1849 | 1.1855 | 2016-09-27 12:07 | 1.1838 | 1.1843 | 2016-09-27 12:06 | 1.1855 | 1.1861 | 2016-09-27 12:06 | 1.1843 | 1.1849 | 0.84353 | 0.11977 | 0.84436 | 0.37444
37.9 | 22.3 | 74 | 27 | 12 | 9 | 0 | 9 | 16 | C | 83 | IZO | 35.7212 | 21.2354 | 66.3672 | 265.5352 | 279.6024 | 266.319 | 254.6517 | 262.9581 | 0.84638 | 0.21947 | 0.84715 | 0.10083 | 0.84791 | 0.47607 | 2016-09-27 12:09 | 1.1815 | 1.182 | 2016-09-27 12:10 | 1.1804 | 1.181 | 2016-09-27 12:11 | 1.1794 | 1.1799 | 2016-09-27 12:10 | 1.181 | 1.1815 | 2016-09-27 12:10 | 1.1799 | 1.1804 | 0.84677 | 0.11864 | 0.84754 | 0.37524
37.8 | 22.2 | 73.7 | 27 | 12 | 13 | 0 | 9 | 16 | C | 83 | IZO | 35.6212 | 21.1315 | 66.0883 | 265.8113 | 278.8957 | 266.0626 | 255.6885 | 262.8155 | 0.84939 | 0.21969 | 0.8501 | 0.10057 | 0.8508 | 0.47561 | 2016-09-27 12:13 | 1.1773 | 1.1778 | 2016-09-27 12:14 | 1.1763 | 1.1768 | 2016-09-27 12:15 | 1.1754 | 1.1759 | 2016-09-27 12:14 | 1.1768 | 1.1773 | 2016-09-27 12:14 | 1.1758 | 1.1763 | 0.84975 | 0.11912 | 0.85045 | 0.37504
38.7 | 22.6 | 73.4 | 27 | 12 | 17 | 0 | 9 | 16 | C | 83 | IZO | 36.5198 | 21.5467 | 65.8094 | 276.2646 | 290.2912 | 265.7007 | 265.4126 | 259.4824 | 0.85214 | 0.22833 | 0.85279 | 0.10468 | 0.85342 | 0.47496 | 2016-09-27 12:17 | 1.1735 | 1.174 | 2016-09-27 12:18 | 1.1726 | 1.1731 | 2016-09-27 12:19 | 1.1718 | 1.1722 | 2016-09-27 12:18 | 1.1731 | 1.1735 | 2016-09-27 12:18 | 1.1722 | 1.1727 | 0.85246 | 0.12365 | 0.8531 | 0.37028
37.6 | 22.5 | 73.4 | 27 | 12 | 21 | 0 | 9 | 16 | C | 83 | IZO | 35.421 | 21.4429 | 65.8094 | 266.0038 | 289.2834 | 266.5696 | 247.9893 | 260.8256 | 0.85463 | 0.21985 | 0.85521 | 0.10432 | 0.85577 | 0.47651 | 2016-09-27 12:21 | 1.1701 | 1.1706 | 2016-09-27 12:22 | 1.1693 | 1.1698 | 2016-09-27 12:23 | 1.1685 | 1.169 | 2016-09-27 12:22 | 1.1697 | 1.1701 | 2016-09-27 12:22 | 1.1689 | 1.1694 | 0.85492 | 0.11553 | 0.85549 | 0.3722
37.5 | 22.6 | 73.3 | 27 | 12 | 25 | 0 | 9 | 16 | C | 83 | IZO | 35.3208 | 21.5467 | 65.7164 | 265.9214 | 293.0385 | 266.8954 | 244.9365 | 260.2849 | 0.85685 | 0.21978 | 0.85737 | 0.10567 | 0.85787 | 0.4771 | 2016-09-27 12:25 | 1.1671 | 1.1675 | 2016-09-27 12:26 | 1.1664 | 1.1668 | 2016-09-27 12:27 | 1.1657 | 1.1661 | 2016-09-27 12:26 | 1.1667 | 1.1671 | 2016-09-27 12:26 | 1.166 | 1.1664 | 0.85711 | 0.11411 | 0.85762 | 0.37142

## IdD083_star
This Page uses the lamp tests and the langley plot results in the limited mu range from sheet IdD083 | [21 empty] | the correction values from ID083 are applied to the NC
Dobson 083 at IZO 2016.Sep.27 Langley Plot Results | [15 empty] | 109
SLC083Na | -0.7 | SLC083Nc | -0.7 | [9 empty] | SLC083Nd | -0.6
D083 LP adj. A:0.58 C:0.49 D:0.30 Nad:0.28 | [20 empty] | LPC_C_83 |  | LPC_D_83 |  | LPC_A_83
[15 empty] | 257.8196 | 263.3472 | 260.6455 | 253.5829 | 259.9469 | All Obs | 0.49369 |  | 0.29742 |  | 0.57704 | 0.27962 | 0.19627
D083RC | D083RD | D083RA | day | h | m | s | m | year |  |  |  | D083NC | D083ND | D083NA | D083_TO3_C* | D083_TO3_D* | D083_TO3_A* | D083_TO3_CD* | D083_TO3_AD* | 1/mu.C | P*C_83 | 1/Mu.D | P*D_83 | 1/Mu.A | P*A_83 | lst.C | Mu.C | AirM.C | lst.D | Mu.D | AirM.D | lst.A | Mu.A | AirM.A | lst.CD | Mu.CD | AirM.CD | lst.AD | Mu.AD | AirM.AD
135.5 | 77.6 | 240.6 | 27 | 8 | 0 | 0 | 9 | 16 | C | 83 | IZO | 125.9864 | 73.3464 | 226.5234 | 259.8846 | 264.6398 | 261.3958 | 256.474 | 260.4875 | 0.23933 | 0.2148 | 0.24277 | 0.095432 | 0.24621 | 0.46727 | 2016-09-27 08:00 | 4.1783 | 4.3748 | 2016-09-27 08:01 | 4.1192 | 4.3066 | 2016-09-27 08:02 | 4.0617 | 4.2405 | 2016-09-27 08:01 | 4.1486 | 4.3404 | 2016-09-27 08:02 | 4.0902 | 4.2733
128 | 73 | 229 | 27 | 8 | 4 | 0 | 9 | 16 | C | 83 | IZO | 118.9439 | 69.1354 | 214.5768 | 259.8676 | 263.8856 | 261.7304 | 256.9831 | 261.1112 | 0.25309 | 0.21478 | 0.25653 | 0.09516 | 0.25998 | 0.46786 | 2016-09-27 08:04 | 3.9512 | 4.1144 | 2016-09-27 08:05 | 3.8981 | 4.0541 | 2016-09-27 08:06 | 3.8464 | 3.9957 | 2016-09-27 08:04 | 3.9245 | 4.084 | 2016-09-27 08:06 | 3.8721 | 4.0247
121.1 | 69.2 | 218.1 | 27 | 8 | 8 | 0 | 9 | 16 | C | 83 | IZO | 112.5189 | 65.6679 | 203.624 | 259.4393 | 265.3313 | 261.7218 | 255.069 | 260.7463 | 0.26687 | 0.21443 | 0.27032 | 0.095681 | 0.27377 | 0.46785 | 2016-09-27 08:08 | 3.7471 | 3.8839 | 2016-09-27 08:09 | 3.6993 | 3.8304 | 2016-09-27 08:10 | 3.6527 | 3.7784 | 2016-09-27 08:08 | 3.723 | 3.857 | 2016-09-27 08:10 | 3.6758 | 3.8042
115 | 65.6 | 208.1 | 27 | 8 | 12 | 0 | 9 | 16 | C | 83 | IZO | 106.8581 | 62.3831 | 193.6591 | 259.3951 | 265.4107 | 261.5764 | 254.901 | 260.553 | 0.28066 | 0.21439 | 0.28411 | 0.09571 | 0.28756 | 0.46759 | 2016-09-27 08:12 | 3.563 | 3.6787 | 2016-09-27 08:13 | 3.5197 | 3.6308 | 2016-09-27 08:14 | 3.4776 | 3.5843 | 2016-09-27 08:12 | 3.5412 | 3.6546 | 2016-09-27 08:13 | 3.4985 | 3.6074
109.6 | 62.4 | 199 | 27 | 8 | 16 | 0 | 9 | 16 | C | 83 | IZO | 101.8577 | 59.4465 | 184.6995 | 259.7396 | 265.7046 | 261.5424 | 255.2618 | 260.4433 | 0.29444 | 0.21468 | 0.29788 | 0.095816 | 0.30132 | 0.46753 | 2016-09-27 08:16 | 3.3962 | 3.4948 | 2016-09-27 08:17 | 3.357 | 3.4519 | 2016-09-27 08:18 | 3.3187 | 3.41 | 2016-09-27 08:17 | 3.3765 | 3.4732 | 2016-09-27 08:18 | 3.3377 | 3.4308
104.5 | 59.3 | 190.7 | 27 | 8 | 20 | 0 | 9 | 16 | C | 83 | IZO | 97.129 | 56.5879 | 176.5204 | 259.3503 | 264.2803 | 261.4499 | 255.6549 | 260.6934 | 0.3082 | 0.21435 | 0.31163 | 0.095302 | 0.31506 | 0.46736 | 2016-09-27 08:20 | 3.2447 | 3.3293 | 2016-09-27 08:21 | 3.209 | 3.2905 | 2016-09-27 08:22 | 3.174 | 3.2526 | 2016-09-27 08:20 | 3.2267 | 3.3098 | 2016-09-27 08:22 | 3.1914 | 3.2714
100 | 56.9 | 183.2 | 27 | 8 | 24 | 0 | 9 | 16 | C | 83 | IZO | 92.9447 | 54.3632 | 169.1283 | 259.4236 | 266.249 | 261.4876 | 254.2456 | 260.248 | 0.32191 | 0.21441 | 0.32533 | 0.096012 | 0.32875 | 0.46743 | 2016-09-27 08:24 | 3.1065 | 3.1796 | 2016-09-27 08:25 | 3.0738 | 3.1444 | 2016-09-27 08:26 | 3.0419 | 3.11 | 2016-09-27 08:24 | 3.0901 | 3.1619 | 2016-09-27 08:26 | 3.0578 | 3.1271
95.9 | 54.5 | 176.1 | 27 | 8 | 28 | 0 | 9 | 16 | C | 83 | IZO | 89.1383 | 52.1283 | 162.1536 | 259.5546 | 266.2845 | 261.1272 | 254.4377 | 259.7917 | 0.33557 | 0.21452 | 0.33898 | 0.096025 | 0.34238 | 0.46679 | 2016-09-27 08:28 | 2.98 | 3.0435 | 2016-09-27 08:29 | 2.9501 | 3.0114 | 2016-09-27 08:30 | 2.9208 | 2.9801 | 2016-09-27 08:28 | 2.965 | 3.0274 | 2016-09-27 08:29 | 2.9353 | 2.9957
92.1 | 52.2 | 169.8 | 27 | 8 | 32 | 0 | 9 | 16 | C | 83 | IZO | 85.6179 | 49.9701 | 155.9989 | 259.5446 | 265.2318 | 261.2663 | 255.2241 | 260.2353 | 0.34917 | 0.21451 | 0.35256 | 0.095645 | 0.35594 | 0.46703 | 2016-09-27 08:32 | 2.8639 | 2.9194 | 2016-09-27 08:33 | 2.8364 | 2.8901 | 2016-09-27 08:34 | 2.8094 | 2.8614 | 2016-09-27 08:33 | 2.8501 | 2.9047 | 2016-09-27 08:34 | 2.8229 | 2.8757
88.5 | 50.3 | 164 | 27 | 8 | 36 | 0 | 9 | 16 | C | 83 | IZO | 82.2792 | 48.1744 | 150.3237 | 259.0802 | 266.0887 | 261.3889 | 253.7278 | 260.1753 | 0.3627 | 0.21413 | 0.36607 | 0.095954 | 0.36943 | 0.46725 | 2016-09-27 08:36 | 2.7571 | 2.8058 | 2016-09-27 08:37 | 2.7317 | 2.7789 | 2016-09-27 08:38 | 2.7068 | 2.7525 | 2016-09-27 08:36 | 2.7444 | 2.7923 | 2016-09-27 08:38 | 2.7192 | 2.7656
85.3 | 48.4 | 158.7 | 27 | 8 | 40 | 0 | 9 | 16 | C | 83 | IZO | 79.3153 | 46.3679 | 145.1592 | 259.133 | 265.3403 | 261.6728 | 254.3931 | 260.7225 | 0.37615 | 0.21417 | 0.3795 | 0.095685 | 0.38284 | 0.46776 | 2016-09-27 08:40 | 2.6585 | 2.7014 | 2016-09-27 08:41 | 2.6351 | 2.6767 | 2016-09-27 08:42 | 2.612 | 2.6524 | 2016-09-27 08:40 | 2.6467 | 2.689 | 2016-09-27 08:42 | 2.6235 | 2.6645
82.2 | 46.8 | 153.5 | 27 | 8 | 44 | 0 | 9 | 16 | C | 83 | IZO | 76.4586 | 44.8376 | 140.1257 | 258.6298 | 266.1097 | 261.3935 | 252.8982 | 260.1804 | 0.38951 | 0.21376 | 0.39284 | 0.095962 | 0.39616 | 0.46726 | 2016-09-27 08:44 | 2.5673 | 2.6053 | 2016-09-27 08:45 | 2.5456 | 2.5824 | 2016-09-27 08:46 | 2.5242 | 2.56 | 2016-09-27 08:44 | 2.5564 | 2.5938 | 2016-09-27 08:46 | 2.5348 | 2.5712
79.4 | 45.2 | 148.8 | 27 | 8 | 48 | 0 | 9 | 16 | C | 83 | IZO | 73.8838 | 43.2988 | 135.5716 | 258.4774 | 265.5053 | 261.3819 | 253.09 | 260.3205 | 0.40278 | 0.21363 | 0.40608 | 0.095744 | 0.40938 | 0.46724 | 2016-09-27 08:48 | 2.4827 | 2.5165 | 2016-09-27 08:49 | 2.4625 | 2.4953 | 2016-09-27 08:50 | 2.4427 | 2.4746 | 2016-09-27 08:49 | 2.4726 | 2.5059 | 2016-09-27 08:50 | 2.4526 | 2.4849
76.8 | 43.7 | 144.4 | 27 | 8 | 52 | 0 | 9 | 16 | C | 83 | IZO | 71.4892 | 41.8488 | 131.3552 | 258.3061 | 264.6589 | 261.4129 | 253.4363 | 260.5747 | 0.41595 | 0.21349 | 0.41923 | 0.095439 | 0.4225 | 0.4673 | 2016-09-27 08:52 | 2.4041 | 2.4342 | 2016-09-27 08:53 | 2.3853 | 2.4146 | 2016-09-27 08:54 | 2.3669 | 2.3954 | 2016-09-27 08:52 | 2.3947 | 2.4244 | 2016-09-27 08:54 | 2.3761 | 2.4049
74.5 | 42.5 | 140.3 | 27 | 8 | 56 | 0 | 9 | 16 | C | 83 | IZO | 69.3697 | 40.6835 | 127.4421 | 258.6986 | 266.0224 | 261.4806 | 253.0729 | 260.3164 | 0.42901 | 0.21382 | 0.43226 | 0.095931 | 0.4355 | 0.46742 | 2016-09-27 08:56 | 2.3309 | 2.3579 | 2016-09-27 08:57 | 2.3134 | 2.3396 | 2016-09-27 08:58 | 2.2962 | 2.3217 | 2016-09-27 08:56 | 2.3221 | 2.3487 | 2016-09-27 08:58 | 2.3048 | 2.3306
72.2 | 41.2 | 136.2 | 27 | 9 | 0 | 0 | 9 | 16 | C | 83 | IZO | 67.2501 | 39.4154 | 123.535 | 258.319 | 265.1281 | 260.909 | 253.0878 | 259.8275 | 0.44196 | 0.2135 | 0.44518 | 0.095608 | 0.44839 | 0.4664 | 2016-09-27 09:00 | 2.2626 | 2.2868 | 2016-09-27 09:01 | 2.2463 | 2.2698 | 2016-09-27 09:02 | 2.2302 | 2.2531 | 2016-09-27 09:00 | 2.2544 | 2.2783 | 2016-09-27 09:02 | 2.2382 | 2.2614
69.9 | 40.1 | 132.4 | 27 | 9 | 4 | 0 | 9 | 16 | C | 83 | IZO | 65.1322 | 38.3375 | 119.9038 | 257.1819 | 265.596 | 260.4003 | 250.7053 | 259.0731 | 0.45479 | 0.21256 | 0.45798 | 0.095777 | 0.46116 | 0.46549 | 2016-09-27 09:04 | 2.1988 | 2.2206 | 2016-09-27 09:05 | 2.1835 | 2.2047 | 2016-09-27 09:06 | 2.1685 | 2.1891 | 2016-09-27 09:05 | 2.1911 | 2.2126 | 2016-09-27 09:06 | 2.176 | 2.1969
68 | 38.9 | 129 | 27 | 9 | 8 | 0 | 9 | 16 | C | 83 | IZO | 63.3831 | 37.1561 | 116.6574 | 257.3713 | 263.8019 | 260.3064 | 252.4269 | 259.4098 | 0.46749 | 0.21272 | 0.47065 | 0.09513 | 0.47379 | 0.46532 | 2016-09-27 09:08 | 2.1391 | 2.1587 | 2016-09-27 09:09 | 2.1247 | 2.1439 | 2016-09-27 09:10 | 2.1106 | 2.1293 | 2016-09-27 09:08 | 2.1319 | 2.1513 | 2016-09-27 09:10 | 2.1176 | 2.1365
66.3 | 37.8 | 125.8 | 27 | 9 | 12 | 0 | 9 | 16 | C | 83 | IZO | 61.8162 | 36.0682 | 113.608 | 257.9778 | 262.2847 | 260.2022 | 254.6747 | 259.6635 | 0.48006 | 0.21322 | 0.48319 | 0.094583 | 0.4863 | 0.46513 | 2016-09-27 09:12 | 2.0831 | 2.1008 | 2016-09-27 09:13 | 2.0696 | 2.0869 | 2016-09-27 09:14 | 2.0563 | 2.0732 | 2016-09-27 09:12 | 2.0763 | 2.0938 | 2016-09-27 09:14 | 2.0629 | 2.08
64.5 | 37.1 | 122.9 | 27 | 9 | 16 | 0 | 9 | 16 | C | 83 | IZO | 60.1534 | 35.3736 | 110.8578 | 257.4317 | 265.272 | 260.4181 | 251.3913 | 259.1799 | 0.4925 | 0.21277 | 0.49559 | 0.09566 | 0.49867 | 0.46552 | 2016-09-27 09:16 | 2.0305 | 2.0465 | 2016-09-27 09:17 | 2.0178 | 2.0335 | 2016-09-27 09:18 | 2.0053 | 2.0207 | 2016-09-27 09:16 | 2.0241 | 2.04 | 2016-09-27 09:18 | 2.0115 | 2.0271
62.9 | 36.1 | 120 | 27 | 9 | 20 | 0 | 9 | 16 | C | 83 | IZO | 58.6734 | 34.3786 | 108.1301 | 257.3967 | 263.4036 | 260.2289 | 252.7734 | 259.4156 | 0.5048 | 0.21274 | 0.50785 | 0.094986 | 0.51089 | 0.46518 | 2016-09-27 09:20 | 1.981 | 1.9956 | 2016-09-27 09:21 | 1.9691 | 1.9833 | 2016-09-27 09:22 | 1.9574 | 1.9713 | 2016-09-27 09:20 | 1.975 | 1.9894 | 2016-09-27 09:22 | 1.9632 | 1.9773
61.4 | 35.2 | 117.4 | 27 | 9 | 24 | 0 | 9 | 16 | C | 83 | IZO | 57.2838 | 33.4806 | 105.6915 | 257.382 | 262.1126 | 260.4238 | 253.7448 | 259.9866 | 0.51695 | 0.21273 | 0.51996 | 0.094521 | 0.52297 | 0.46553 | 2016-09-27 09:24 | 1.9344 | 1.9477 | 2016-09-27 09:25 | 1.9232 | 1.9362 | 2016-09-27 09:26 | 1.9122 | 1.9248 | 2016-09-27 09:24 | 1.9288 | 1.9419 | 2016-09-27 09:26 | 1.9177 | 1.9305
60 | 34.6 | 114.7 | 27 | 9 | 28 | 0 | 9 | 16 | C | 83 | IZO | 55.9843 | 32.8807 | 103.154 | 257.4298 | 264.4712 | 259.903 | 252.0024 | 258.7387 | 0.52895 | 0.21277 | 0.53193 | 0.095371 | 0.5349 | 0.4646 | 2016-09-27 09:28 | 1.8905 | 1.9026 | 2016-09-27 09:29 | 1.88 | 1.8918 | 2016-09-27 09:30 | 1.8695 | 1.8811 | 2016-09-27 09:28 | 1.8852 | 1.8972 | 2016-09-27 09:30 | 1.8747 | 1.8864
58.7 | 33.7 | 112.3 | 27 | 9 | 32 | 0 | 9 | 16 | C | 83 | IZO | 54.7748 | 31.9794 | 100.8988 | 257.5839 | 261.7394 | 259.8176 | 254.3887 | 259.3225 | 0.5408 | 0.21289 | 0.54374 | 0.094386 | 0.54666 | 0.46444 | 2016-09-27 09:32 | 1.8491 | 1.8602 | 2016-09-27 09:33 | 1.8391 | 1.8499 | 2016-09-27 09:34 | 1.8293 | 1.8399 | 2016-09-27 09:32 | 1.8441 | 1.855 | 2016-09-27 09:34 | 1.8342 | 1.8449
57.5 | 32.9 | 110.1 | 27 | 9 | 36 | 0 | 9 | 16 | C | 83 | IZO | 53.6569 | 31.1768 | 98.8384 | 257.8974 | 259.7928 | 259.9531 | 256.4503 | 259.9846 | 0.55249 | 0.21315 | 0.55539 | 0.093684 | 0.55827 | 0.46469 | 2016-09-27 09:36 | 1.81 | 1.8201 | 2016-09-27 09:37 | 1.8006 | 1.8104 | 2016-09-27 09:38 | 1.7912 | 1.8009 | 2016-09-27 09:36 | 1.8053 | 1.8153 | 2016-09-27 09:38 | 1.7959 | 1.8057
56.3 | 32.3 | 107.9 | 27 | 9 | 40 | 0 | 9 | 16 | C | 83 | IZO | 52.5376 | 30.5738 | 96.7894 | 257.7784 | 260.3219 | 259.7666 | 255.8285 | 259.6177 | 0.56401 | 0.21305 | 0.56687 | 0.093875 | 0.56971 | 0.46435 | 2016-09-27 09:40 | 1.773 | 1.7823 | 2016-09-27 09:41 | 1.7641 | 1.7731 | 2016-09-27 09:42 | 1.7553 | 1.7641 | 2016-09-27 09:40 | 1.7685 | 1.7777 | 2016-09-27 09:42 | 1.7597 | 1.7686
55.1 | 31.7 | 106 | 27 | 9 | 44 | 0 | 9 | 16 | C | 83 | IZO | 51.416 | 29.97 | 95.0228 | 257.2243 | 260.3067 | 260.145 | 254.8562 | 260.0959 | 0.57537 | 0.2126 | 0.57819 | 0.093869 | 0.58099 | 0.46503 | 2016-09-27 09:44 | 1.738 | 1.7465 | 2016-09-27 09:45 | 1.7295 | 1.7379 | 2016-09-27 09:46 | 1.7212 | 1.7293 | 2016-09-27 09:44 | 1.7338 | 1.7422 | 2016-09-27 09:46 | 1.7254 | 1.7336
54 | 31.2 | 104.1 | 27 | 9 | 48 | 0 | 9 | 16 | C | 83 | IZO | 50.385 | 29.466 | 93.2512 | 256.8987 | 261.3996 | 260.1926 | 253.4316 | 259.8797 | 0.58656 | 0.21233 | 0.58933 | 0.094264 | 0.59209 | 0.46511 | 2016-09-27 09:48 | 1.7049 | 1.7127 | 2016-09-27 09:49 | 1.6968 | 1.7045 | 2016-09-27 09:50 | 1.6889 | 1.6964 | 2016-09-27 09:48 | 1.7008 | 1.7085 | 2016-09-27 09:50 | 1.6929 | 1.7004
47.4 | 27.7 | 92.1 | 27 | 10 | 20 | 0 | 9 | 16 | C | 83 | IZO | 44.133 | 25.9155 | 81.9688 | 256.9769 | 263.072 | 260.5703 | 252.2704 | 259.9319 | 0.66945 | 0.21239 | 0.67184 | 0.094867 | 0.67422 | 0.46579 | 2016-09-27 10:20 | 1.4938 | 1.4978 | 2016-09-27 10:21 | 1.4884 | 1.4924 | 2016-09-27 10:22 | 1.4832 | 1.4871 | 2016-09-27 10:20 | 1.4911 | 1.4951 | 2016-09-27 10:22 | 1.4858 | 1.4898
46.7 | 27.3 | 90.7 | 27 | 10 | 24 | 0 | 9 | 16 | C | 83 | IZO | 43.4617 | 25.5069 | 80.6585 | 256.543 | 262.1673 | 259.8685 | 252.2003 | 259.2817 | 0.67894 | 0.21203 | 0.68128 | 0.09454 | 0.6836 | 0.46454 | 2016-09-27 10:24 | 1.4729 | 1.4767 | 2016-09-27 10:25 | 1.4678 | 1.4715 | 2016-09-27 10:26 | 1.4628 | 1.4665 | 2016-09-27 10:24 | 1.4704 | 1.4741 | 2016-09-27 10:25 | 1.4653 | 1.469
46.1 | 26.9 | 89.6 | 27 | 10 | 28 | 0 | 9 | 16 | C | 83 | IZO | 42.8845 | 25.0977 | 79.6325 | 256.6306 | 260.8915 | 260.0387 | 253.3428 | 259.8174 | 0.68821 | 0.21211 | 0.6905 | 0.09408 | 0.69277 | 0.46484 | 2016-09-27 10:28 | 1.453 | 1.4565 | 2016-09-27 10:29 | 1.4482 | 1.4516 | 2016-09-27 10:30 | 1.4435 | 1.4468 | 2016-09-27 10:28 | 1.4506 | 1.4541 | 2016-09-27 10:30 | 1.4458 | 1.4492
45.6 | 26.6 | 88.6 | 27 | 10 | 32 | 0 | 9 | 16 | C | 83 | IZO | 42.4025 | 24.7905 | 78.702 | 257.2836 | 261.2377 | 260.3849 | 254.233 | 260.1637 | 0.69728 | 0.21265 | 0.69951 | 0.094205 | 0.70174 | 0.46546 | 2016-09-27 10:32 | 1.4341 | 1.4374 | 2016-09-27 10:33 | 1.4296 | 1.4327 | 2016-09-27 10:34 | 1.425 | 1.4281 | 2016-09-27 10:32 | 1.4318 | 1.435 | 2016-09-27 10:34 | 1.4273 | 1.4304
45 | 26.3 | 87.4 | 27 | 10 | 36 | 0 | 9 | 16 | C | 83 | IZO | 41.823 | 24.4829 | 77.5874 | 256.8894 | 261.2776 | 259.8131 | 253.5023 | 259.4374 | 0.70614 | 0.21232 | 0.70832 | 0.09422 | 0.71048 | 0.46444 | 2016-09-27 10:36 | 1.4162 | 1.4191 | 2016-09-27 10:37 | 1.4118 | 1.4147 | 2016-09-27 10:38 | 1.4075 | 1.4104 | 2016-09-27 10:36 | 1.414 | 1.4169 | 2016-09-27 10:38 | 1.4096 | 1.4125
44.6 | 26 | 86.5 | 27 | 10 | 40 | 0 | 9 | 16 | C | 83 | IZO | 41.4359 | 24.175 | 76.7526 | 257.9275 | 261.0147 | 260.1644 | 255.5471 | 259.9441 | 0.71478 | 0.21318 | 0.7169 | 0.094125 | 0.71901 | 0.46506 | 2016-09-27 10:40 | 1.399 | 1.4018 | 2016-09-27 10:41 | 1.3949 | 1.3976 | 2016-09-27 10:42 | 1.3908 | 1.3935 | 2016-09-27 10:40 | 1.397 | 1.3997 | 2016-09-27 10:41 | 1.3928 | 1.3955
43.9 | 25.7 | 85.6 | 27 | 10 | 44 | 0 | 9 | 16 | C | 83 | IZO | 40.7572 | 23.8669 | 75.9185 | 256.2235 | 260.4528 | 260.3453 | 252.9587 | 260.3128 | 0.7232 | 0.21177 | 0.72527 | 0.093922 | 0.72733 | 0.46539 | 2016-09-27 10:44 | 1.3827 | 1.3853 | 2016-09-27 10:45 | 1.3788 | 1.3813 | 2016-09-27 10:46 | 1.3749 | 1.3774 | 2016-09-27 10:44 | 1.3808 | 1.3833 | 2016-09-27 10:46 | 1.3768 | 1.3793
43.6 | 25.6 | 84.7 | 27 | 10 | 48 | 0 | 9 | 16 | C | 83 | IZO | 40.4658 | 23.7641 | 75.0848 | 257.7005 | 263.7786 | 260.3568 | 253.0044 | 259.4868 | 0.7314 | 0.21299 | 0.73342 | 0.095121 | 0.73542 | 0.46541 | 2016-09-27 10:48 | 1.3672 | 1.3696 | 2016-09-27 10:49 | 1.3635 | 1.3658 | 2016-09-27 10:50 | 1.3598 | 1.3621 | 2016-09-27 10:48 | 1.3654 | 1.3677 | 2016-09-27 10:50 | 1.3616 | 1.3639
43 | 25.2 | 83.6 | 27 | 10 | 52 | 0 | 9 | 16 | C | 83 | IZO | 39.8819 | 23.3526 | 74.0676 | 256.3937 | 260.5636 | 259.4362 | 253.1745 | 259.1462 | 0.73938 | 0.21191 | 0.74134 | 0.093962 | 0.74328 | 0.46376 | 2016-09-27 10:52 | 1.3525 | 1.3547 | 2016-09-27 10:53 | 1.3489 | 1.3511 | 2016-09-27 10:54 | 1.3454 | 1.3475 | 2016-09-27 10:52 | 1.3507 | 1.3529 | 2016-09-27 10:54 | 1.3471 | 1.3493
42.5 | 24.8 | 82.8 | 27 | 10 | 56 | 0 | 9 | 16 | C | 83 | IZO | 39.3941 | 22.9406 | 73.3293 | 255.7359 | 257.0114 | 259.5045 | 254.7567 | 260.1294 | 0.74713 | 0.21137 | 0.74903 | 0.092681 | 0.75092 | 0.46388 | 2016-09-27 10:56 | 1.3385 | 1.3405 | 2016-09-27 10:57 | 1.3351 | 1.3371 | 2016-09-27 10:58 | 1.3317 | 1.3337 | 2016-09-27 10:56 | 1.3367 | 1.3388 | 2016-09-27 10:57 | 1.3334 | 1.3354
42.2 | 24.8 | 82.2 | 27 | 11 | 0 | 0 | 9 | 16 | C | 83 | IZO | 39.101 | 22.9406 | 72.776 | 256.6551 | 261.7821 | 260.2013 | 252.6945 | 259.7968 | 0.75465 | 0.21213 | 0.7565 | 0.094401 | 0.75833 | 0.46513 | 2016-09-27 11:00 | 1.3251 | 1.327 | 2016-09-27 11:01 | 1.3219 | 1.3237 | 2016-09-27 11:02 | 1.3187 | 1.3205 | 2016-09-27 11:01 | 1.3235 | 1.3254 | 2016-09-27 11:02 | 1.3203 | 1.3221
41.9 | 24.7 | 81.4 | 27 | 11 | 4 | 0 | 9 | 16 | C | 83 | IZO | 38.8074 | 22.8375 | 72.0387 | 257.4085 | 264.2213 | 259.9699 | 252.1428 | 258.8906 | 0.76195 | 0.21275 | 0.76373 | 0.095281 | 0.76551 | 0.46472 | 2016-09-27 11:04 | 1.3124 | 1.3142 | 2016-09-27 11:05 | 1.3094 | 1.3111 | 2016-09-27 11:06 | 1.3063 | 1.308 | 2016-09-27 11:04 | 1.3109 | 1.3126 | 2016-09-27 11:06 | 1.3078 | 1.3095
41.5 | 24.5 | 80.8 | 27 | 11 | 8 | 0 | 9 | 16 | C | 83 | IZO | 38.4155 | 22.6313 | 71.4857 | 257.0847 | 264.2654 | 260.3821 | 251.534 | 259.3959 | 0.76901 | 0.21248 | 0.77074 | 0.095297 | 0.77245 | 0.46545 | 2016-09-27 11:08 | 1.3004 | 1.302 | 2016-09-27 11:09 | 1.2975 | 1.2991 | 2016-09-27 11:10 | 1.2946 | 1.2962 | 2016-09-27 11:08 | 1.2989 | 1.3005 | 2016-09-27 11:10 | 1.296 | 1.2976
41.1 | 24.4 | 80.3 | 27 | 11 | 12 | 0 | 9 | 16 | C | 83 | IZO | 38.0227 | 22.5281 | 71.0248 | 256.5784 | 266.304 | 261.0584 | 249.0576 | 259.7281 | 0.77583 | 0.21206 | 0.7775 | 0.096032 | 0.77916 | 0.46666 | 2016-09-27 11:12 | 1.2889 | 1.2905 | 2016-09-27 11:13 | 1.2862 | 1.2877 | 2016-09-27 11:14 | 1.2834 | 1.2849 | 2016-09-27 11:12 | 1.2876 | 1.289 | 2016-09-27 11:13 | 1.2848 | 1.2863
40.3 | 23.9 | 78.4 | 27 | 11 | 24 | 0 | 9 | 16 | C | 83 | IZO | 37.235 | 22.0118 | 69.27 | 257.7835 | 266.7293 | 260.6577 | 250.8657 | 259.1188 | 0.79487 | 0.21306 | 0.79636 | 0.096185 | 0.79783 | 0.46595 | 2016-09-27 11:24 | 1.2581 | 1.2593 | 2016-09-27 11:25 | 1.2557 | 1.2569 | 2016-09-27 11:26 | 1.2534 | 1.2546 | 2016-09-27 11:24 | 1.2569 | 1.2581 | 2016-09-27 11:26 | 1.2545 | 1.2557
40 | 23.5 | 77.7 | 27 | 11 | 28 | 0 | 9 | 16 | C | 83 | IZO | 36.9389 | 21.5982 | 68.6217 | 257.5611 | 261.0829 | 259.9705 | 254.8415 | 259.6848 | 0.80073 | 0.21287 | 0.80216 | 0.094149 | 0.80357 | 0.46472 | 2016-09-27 11:28 | 1.2489 | 1.25 | 2016-09-27 11:29 | 1.2466 | 1.2477 | 2016-09-27 11:30 | 1.2444 | 1.2455 | 2016-09-27 11:28 | 1.2477 | 1.2489 | 2016-09-27 11:29 | 1.2455 | 1.2466
39.8 | 23.6 | 77.4 | 27 | 11 | 32 | 0 | 9 | 16 | C | 83 | IZO | 36.7411 | 21.7016 | 68.3436 | 258.1479 | 266.7395 | 260.8235 | 251.504 | 259.324 | 0.80635 | 0.21336 | 0.80772 | 0.096189 | 0.80907 | 0.46624 | 2016-09-27 11:32 | 1.2402 | 1.2412 | 2016-09-27 11:33 | 1.2381 | 1.2391 | 2016-09-27 11:34 | 1.236 | 1.237 | 2016-09-27 11:33 | 1.2391 | 1.2401 | 2016-09-27 11:34 | 1.237 | 1.238
39.4 | 23.2 | 76.8 | 27 | 11 | 37 | 0 | 9 | 16 | C | 83 | IZO | 36.3448 | 21.2876 | 67.7873 | 257.2225 | 261.375 | 260.7799 | 254.0143 | 260.6251 | 0.81302 | 0.2126 | 0.81431 | 0.094255 | 0.81558 | 0.46616 | 2016-09-27 11:37 | 1.23 | 1.2309 | 2016-09-27 11:38 | 1.228 | 1.229 | 2016-09-27 11:39 | 1.2261 | 1.227 | 2016-09-27 11:38 | 1.229 | 1.2299 | 2016-09-27 11:38 | 1.2271 | 1.228
39.1 | 23.1 | 76.4 | 27 | 11 | 41 | 0 | 9 | 16 | C | 83 | IZO | 36.0469 | 21.1841 | 67.4161 | 256.5028 | 261.9815 | 260.9491 | 252.2679 | 260.6839 | 0.81808 | 0.212 | 0.81931 | 0.094473 | 0.82052 | 0.46647 | 2016-09-27 11:41 | 1.2224 | 1.2233 | 2016-09-27 11:42 | 1.2205 | 1.2214 | 2016-09-27 11:43 | 1.2187 | 1.2196 | 2016-09-27 11:42 | 1.2215 | 1.2223 | 2016-09-27 11:42 | 1.2196 | 1.2205
38.9 | 23.1 | 76 | 27 | 11 | 45 | 0 | 9 | 16 | C | 83 | IZO | 35.848 | 21.1841 | 67.0449 | 256.6234 | 264.7783 | 261.0027 | 250.3169 | 260.0442 | 0.82289 | 0.2121 | 0.82405 | 0.095482 | 0.8252 | 0.46656 | 2016-09-27 11:45 | 1.2152 | 1.2161 | 2016-09-27 11:46 | 1.2135 | 1.2143 | 2016-09-27 11:47 | 1.2118 | 1.2126 | 2016-09-27 11:46 | 1.2144 | 1.2152 | 2016-09-27 11:46 | 1.2127 | 1.2135
38.7 | 23 | 75.5 | 27 | 11 | 49 | 0 | 9 | 16 | C | 83 | IZO | 35.6488 | 21.0805 | 66.5806 | 256.6093 | 265.0456 | 260.5105 | 250.0849 | 259.3602 | 0.82744 | 0.21209 | 0.82854 | 0.095578 | 0.82962 | 0.46568 | 2016-09-27 11:49 | 1.2085 | 1.2093 | 2016-09-27 11:50 | 1.2069 | 1.2077 | 2016-09-27 11:51 | 1.2054 | 1.2061 | 2016-09-27 11:50 | 1.2077 | 1.2085 | 2016-09-27 11:50 | 1.2062 | 1.2069
38.7 | 22.9 | 75.2 | 27 | 11 | 53 | 0 | 9 | 16 | C | 83 | IZO | 35.6488 | 20.9768 | 66.3019 | 258.4681 | 265.1377 | 260.7668 | 253.3111 | 259.658 | 0.83174 | 0.21362 | 0.83278 | 0.095612 | 0.8338 | 0.46614 | 2016-09-27 11:53 | 1.2023 | 1.203 | 2016-09-27 11:54 | 1.2008 | 1.2015 | 2016-09-27 11:55 | 1.1993 | 1.2 | 2016-09-27 11:54 | 1.2015 | 1.2022 | 2016-09-27 11:54 | 1.2001 | 1.2008
38.5 | 22.8 | 74.9 | 27 | 11 | 57 | 0 | 9 | 16 | C | 83 | IZO | 35.4495 | 20.8732 | 66.0232 | 258.2005 | 265.0563 | 260.9151 | 252.8993 | 259.8644 | 0.83579 | 0.2134 | 0.83676 | 0.095582 | 0.83771 | 0.46641 | 2016-09-27 11:57 | 1.1965 | 1.1971 | 2016-09-27 11:58 | 1.1951 | 1.1957 | 2016-09-27 11:59 | 1.1937 | 1.1944 | 2016-09-27 11:58 | 1.1958 | 1.1964 | 2016-09-27 11:58 | 1.1944 | 1.195
38.2 | 22.4 | 74.4 | 27 | 12 | 1 | 0 | 9 | 16 | C | 83 | IZO | 35.15 | 20.4583 | 65.5586 | 256.7872 | 257.5492 | 260.0814 | 256.2026 | 260.7172 | 0.83957 | 0.21224 | 0.84048 | 0.092875 | 0.84137 | 0.46492 | 2016-09-27 12:01 | 1.1911 | 1.1917 | 2016-09-27 12:02 | 1.1898 | 1.1904 | 2016-09-27 12:03 | 1.1885 | 1.1891 | 2016-09-27 12:02 | 1.1904 | 1.191 | 2016-09-27 12:02 | 1.1892 | 1.1898
38.3 | 22.5 | 74.3 | 27 | 12 | 5 | 0 | 9 | 16 | C | 83 | IZO | 35.2499 | 20.5621 | 65.4656 | 259.3104 | 261.9507 | 260.8909 | 257.2719 | 260.619 | 0.8431 | 0.21432 | 0.84395 | 0.094462 | 0.84477 | 0.46636 | 2016-09-27 12:05 | 1.1861 | 1.1867 | 2016-09-27 12:06 | 1.1849 | 1.1855 | 2016-09-27 12:07 | 1.1838 | 1.1843 | 2016-09-27 12:06 | 1.1855 | 1.1861 | 2016-09-27 12:06 | 1.1843 | 1.1849
37.9 | 22.3 | 74 | 27 | 12 | 9 | 0 | 9 | 16 | C | 83 | IZO | 34.8502 | 20.3545 | 65.1868 | 256.6154 | 258.9093 | 260.7201 | 254.8448 | 261.1737 | 0.84638 | 0.21209 | 0.84715 | 0.093365 | 0.84791 | 0.46606 | 2016-09-27 12:09 | 1.1815 | 1.182 | 2016-09-27 12:10 | 1.1804 | 1.181 | 2016-09-27 12:11 | 1.1794 | 1.1799 | 2016-09-27 12:10 | 1.181 | 1.1815 | 2016-09-27 12:10 | 1.1799 | 1.1804
37.8 | 22.2 | 73.7 | 27 | 12 | 13 | 0 | 9 | 16 | C | 83 | IZO | 34.7501 | 20.2507 | 64.9079 | 256.8598 | 258.1306 | 260.4446 | 255.881 | 261.0254 | 0.84939 | 0.2123 | 0.8501 | 0.093085 | 0.8508 | 0.46557 | 2016-09-27 12:13 | 1.1773 | 1.1778 | 2016-09-27 12:14 | 1.1763 | 1.1768 | 2016-09-27 12:15 | 1.1754 | 1.1759 | 2016-09-27 12:14 | 1.1768 | 1.1773 | 2016-09-27 12:14 | 1.1758 | 1.1763
38.7 | 22.6 | 73.4 | 27 | 12 | 17 | 0 | 9 | 16 | C | 83 | IZO | 35.6488 | 20.6658 | 64.629 | 267.2842 | 269.4604 | 260.0654 | 265.6045 | 257.6872 | 0.85214 | 0.22091 | 0.85279 | 0.09717 | 0.85342 | 0.46489 | 2016-09-27 12:17 | 1.1735 | 1.174 | 2016-09-27 12:18 | 1.1726 | 1.1731 | 2016-09-27 12:19 | 1.1718 | 1.1722 | 2016-09-27 12:18 | 1.1731 | 1.1735 | 2016-09-27 12:18 | 1.1722 | 1.1727
37.6 | 22.5 | 73.4 | 27 | 12 | 21 | 0 | 9 | 16 | C | 83 | IZO | 34.5499 | 20.5621 | 64.629 | 256.9971 | 268.3935 | 260.9187 | 248.1805 | 259.0259 | 0.85463 | 0.21241 | 0.85521 | 0.096786 | 0.85577 | 0.46641 | 2016-09-27 12:21 | 1.1701 | 1.1706 | 2016-09-27 12:22 | 1.1693 | 1.1698 | 2016-09-27 12:23 | 1.1685 | 1.169 | 2016-09-27 12:22 | 1.1697 | 1.1701 | 2016-09-27 12:22 | 1.1689 | 1.1694
37.5 | 22.6 | 73.3 | 27 | 12 | 25 | 0 | 9 | 16 | C | 83 | IZO | 34.4498 | 20.6658 | 64.536 | 256.8912 | 272.0958 | 261.2307 | 245.1269 | 258.4811 | 0.85685 | 0.21232 | 0.85737 | 0.098121 | 0.85787 | 0.46697 | 2016-09-27 12:25 | 1.1671 | 1.1675 | 2016-09-27 12:26 | 1.1664 | 1.1668 | 2016-09-27 12:27 | 1.1657 | 1.1661 | 2016-09-27 12:26 | 1.1667 | 1.1671 | 2016-09-27 12:26 | 1.166 | 1.1664

## param
-0.9 | 1e-05 |  | -1.9 | 0
0 | 1 |  | -1 | 1
0.9 | 1e-05 |  | 1 | 1
|  |  | 1.9 | 0
304.6 | 1e-07 | 310.55 | 1e-06 | 316.7 | 1e-06 | 323.5 | 1e-06 | 323.1 | 1e-06 | 330.5 | 1e-06 | 338 | 1e-06
305.5 | 1000 | 311.45 | 1000 | 317.6 | 1000 | 324.4 | 1000 | 324 | 1000 | 331.4 | 1000 | 338.9 | 1000
306.4 | 1e-07 | 312.35 | 1e-06 | 318.5 | 1e-06 | 326.4 | 1000 | 326 | 1000 | 333.4 | 1000 | 340.9 | 1000
[6 empty] | 327.3 | 1e-06 | 326.9 | 1e-06 | 334.3 | 1e-06 | 341.8 | 1e-06
1.1111
304.6 | 0.001 | 310.55 | 0.001 | 316.7 | 0.001 | 323.5 | 0 | 323.1 | 0.001 | 330.5 | 0.001 | 338 | 1e-07
305.5 | 100 | 311.45 | 100 | 317.6 | 100 | 324.4 | 100 | 324 | 100 | 331.4 | 100 | 338.9 | 100
306.4 | 0.001 | 312.35 | 0.001 | 318.5 | 0.001 | 326.4 | 100 | 326 | 100 | 333.4 | 100 | 340.9 | 100
[6 empty] | 327.3 | 0 | 326.9 | 0.001 | 334.3 | 0.001 | 341.8 | 1e-07
58 | 0
92 | 0
code | number | name | Dobson | earth_radius | LONG | Hemisphere | degs | min | sec | LAT | Hemisphere | deg | min | sec | TimeZone | stn Pressure | elevation | Ozone_Height | LongRadian | LatRadian
IZO | 999 | Izana Observatory,Spain | 83 | 6373593 | 16.4973 | W | 16 | 29 | 25 | 28.2986 | N | 28 | 17 | 55 | 0 | 770 | 2360 | 26000 | 0.28781 | 0.4939
=IF( C13<90,(earth_radius+Ozone_height)/(SQRT(((earth_radius+Ozone_height)^2)-((earth_radius+Elevation)^2)*(SIN(RADIANS(C13)))^2)),-90000)
Public Function AirMass#(CosZenAng As Double) | [14 empty] | p0 | 0.75993
AirMass# = 1# / (CosZenAng + 0.15 / (90 - RadsToDegs#(ArcCos#(CosZenAng)) + 3.885) ^ 1.253)
End Function
Ozone Absorption and Molecular Scattering coefficients for Use
with Dobson ozone Spectrophotometers Beginning 1 January 1992
Wavelength | ALFA |  | BETA | d(BETA)/d(ALFA) | [5 empty] | IUP Corr-factor | B&BP Corr_factor | D&M |  |  | α_Komhyr r adj
(nm) | (atm-cm)-1 |  | (atm)-1 | (atm-cm/atm) |  |  |  |  | A_ pair | 0.9898 | 0.9969 | 0.9889 |  |  | 1.806
[9 empty] | C_pair | 0.9922 | 0.9983 | 0.9845 |  |  | 0.833
305 | 0.489 | [7 empty] | D_pair | 0.9642 | 0.9825 | 0.9562 |  |  | 0.374
325 | 0.375 | [7 empty] | AD_pair | 0.9965 | 1.0006 | 0.9975 |  |  | 1.432
Alfa_A | 1.7876 | Beta_A | 114 | 63 | 1000 |  |  |  | CD_pair | 1.015 | 1.0112 | 1.0076 |  |  | 0.459
|  |  | 0 | 0
308.9 | 0.466 |  | 0 | 0
329.1 | 0.355 |  | 0 | 0
Alfa_B | 1.192 | Beta_B | 111 | 93
|  |  | 0 | 0
311.5 | 0.45 |  | 0 | 0 |  |  | 5
332.4 | 0.341 |  | 0 | 0
Alfa_C | 0.8265 | Beta_C | 109 | 131
|  |  | 0 | 0
317.5 | 0.414 |  | 0 | 0
339.9 | 0.31 |  | 0 | 0
Alfa_D | 0.36061 | Beta_D | 104 | 278
|  |  | 0 | 0
Alfa_AD | 1.427 | Beta_AD | 10 | 7
Alfa_BD | 0.818 | Beta_BD | 7 | 9
Alfa_CD | 0.46588 | Beta_CD | 5 | 11

## Nfunc083
D83RA | D83NA | D83RC | D83NC | D83RD | D83ND | Rby5 | a | c | d | in pretty print
5 | -1.51 | 5 | 2.18 | 5 | 3.26 | 5 | -1.51 | 2.18 | 3.26 | -1.5 | 2.2 | 3.3 | 0.01 | 0.02 | 0.04
10.74 | 4.7 | 10.76 | 8.39 | 10.72 | 9.62 | 15 | 9.2606 | 12.8971 | 14.1824 | 9.2 | 12.9 | 14.2 | -0.060647 | 0.0029402 | 0.017648
16.48 | 10.83 | 16.51 | 14.49 | 16.44 | 15.7 | 25 | 19.7018 | 23.3471 | 24.6275 | 19.7 | 23.3 | 24.6 | -0.001759 | -0.047139 | -0.027526
22.22 | 16.83 | 22.27 | 20.51 | 22.16 | 21.69 | 35 | 29.9065 | 33.5082 | 34.7616 | 29.9 | 33.5 | 34.8 | -0.0065067 | -0.0081693 | 0.038446
27.96 | 22.74 | 28.02 | 26.46 | 27.88 | 27.58 | 45 | 39.8449 | 43.394 | 44.5867 | 39.8 | 43.4 | 44.6 | -0.044871 | 0.0060056 | 0.013291
33.7 | 28.59 | 33.78 | 32.28 | 33.6 | 33.36 | 55 | 49.3404 | 52.8934 | 54.076 | 49.3 | 52.9 | 54.1 | -0.040402 | 0.0065573 | 0.02402
39.87 | 34.8 | 39.99 | 38.5 | 40.01 | 39.73 | 65 | 58.6907 | 62.1867 | 63.3142 | 58.7 | 62.2 | 63.3 | 0.0093361 | 0.013335 | -0.014152
46.12 | 40.93 | 46.25 | 44.6 | 46.26 | 45.8 | 75 | 67.9965 | 71.4015 | 72.4459 | 68 | 71.4 | 72.4 | 0.0034853 | -0.0015358 | -0.045888
52.43 | 46.93 | 52.58 | 50.62 | 52.56 | 51.79 | 85 | 77.243 | 80.6092 | 81.6241 | 77.2 | 80.6 | 81.6 | -0.043043 | -0.0091746 | -0.024141
58.76 | 52.85 | 58.93 | 56.56 | 58.88 | 57.68 | 95 | 86.5778 | 89.8754 | 90.8361 | 86.6 | 89.9 | 90.8 | 0.022224 | 0.024624 | -0.036083
65.01 | 58.7 | 65.22 | 62.39 | 65.17 | 63.47 | 105 | 95.9718 | 99.1641 | 100.0591 | 96 | 99.2 | 100.1 | 0.028156 | 0.03591 | 0.040888
71.68 | 64.91 | 71.96 | 68.6 | 72.14 | 69.83 | 115 | 105.3164 | 108.4291 | 109.276 | 105.3 | 108.4 | 109.3 | -0.016442 | -0.029128 | 0.024023
78.27 | 71.03 | 78.58 | 74.7 | 78.77 | 75.9 | 125 | 114.7278 | 117.7197 | 118.4987 | 114.7 | 117.7 | 118.5 | -0.027761 | -0.019725 | 0.0013422
84.77 | 77.03 | 85.12 | 80.72 | 85.3 | 81.9 | 135 | 124.2697 | 127.0863 | 127.7279 | 124.3 | 127.1 | 127.7 | 0.030284 | 0.013723 | -0.027928
91.14 | 82.95 | 91.54 | 86.67 | 91.69 | 87.78 | 145 | 133.8086 | 136.5037 | 137.0681 | 133.8 | 136.5 | 137.1 | -0.0086133 | -0.0037106 | 0.031879
97.36 | 88.8 | 97.82 | 92.49 | 97.96 | 93.57 | 155 | 143.4602 | 145.9931 | 146.5049 | 143.5 | 146 | 146.5 | 0.03978 | 0.0069477 | -0.0049043
103.97 | 95.01 | 104.5 | 98.7 | 104.86 | 99.93 | 165 | 153.1836 | 155.5627 | 155.9752 | 153.2 | 155.6 | 156 | 0.016436 | 0.037317 | 0.02477
110.54 | 101.13 | 111.08 | 104.8 | 111.45 | 106.01 | 175 | 162.9608 | 165.2327 | 165.5125 | 163 | 165.2 | 165.5 | 0.039212 | -0.032674 | -0.012494
116.94 | 107.14 | 117.58 | 110.82 | 117.96 | 112 | 185 | 172.7866 | 174.9334 | 175.074 | 172.8 | 174.9 | 175.1 | 0.013394 | -0.033433 | 0.026028
123.23 | 113.05 | 123.98 | 116.77 | 124.34 | 117.89 | 195 | 182.6394 | 184.6057 | 184.6243 | 182.6 | 184.6 | 184.6 | -0.039352 | -0.0057191 | -0.024324
129.38 | 118.9 | 130.22 | 122.59 | 130.61 | 123.67 | 205 | 192.4841 | 194.2836 | 194.1583 | 192.5 | 194.3 | 194.2 | 0.015876 | 0.016413 | 0.041746
135.88 | 125.11 | 136.83 | 128.81 | 137.48 | 130.03 | 215 | 202.4109 | 204.0518 | 203.7711 | 202.4 | 204.1 | 203.8 | -0.010885 | 0.048175 | 0.028851
142.31 | 131.24 | 143.3 | 134.9 | 143.98 | 136.11 | 225 | 212.4107 | 213.9099 | 213.4697 | 212.4 | 213.9 | 213.5 | -0.010729 | -0.0099222 | 0.030315
148.58 | 137.24 | 149.67 | 140.92 | 150.34 | 142.1 | 235 | 222.6125 | 223.9066 | 223.3561 | 222.6 | 223.9 | 223.4 | -0.01248 | -0.0066373 | 0.043946
154.69 | 143.16 | 155.92 | 146.87 | 156.57 | 147.99 | 245 | 232.9094 | 234.043 | 233.3305 | 232.9 | 234 | 233.3 | -0.0094379 | -0.04302 | -0.030472
160.72 | 149 | 162.02 | 152.69 | 162.68 | 153.77 | 255 | 243.0375 | 244.1782 | 243.3484 | 243 | 244.2 | 243.3 | -0.037453 | 0.021839 | -0.048358
167.07 | 155.21 | 168.46 | 158.91 | 169.37 | 160.14 | 265 | 253.2588 | 254.2376 | 253.357 | 253.3 | 254.2 | 253.4 | 0.041246 | -0.037564 | 0.043032
173.34 | 161.34 | 174.77 | 165.01 | 175.73 | 166.21 | 275 | 263.5293 | 264.3569 | 263.3423 | 263.5 | 264.4 | 263.3 | -0.029307 | 0.043099 | -0.042337
179.48 | 167.34 | 180.98 | 171.03 | 181.99 | 172.2 | 285 | 273.6505 | 274.5418 | 273.4295 | 273.7 | 274.5 | 273.4 | 0.049496 | -0.041795 | -0.029511
185.48 | 173.26 | 187.11 | 176.98 | 188.16 | 178.09 |  |  |  |  | 284 | 284.8 | 283.6 | -0.080761 | -0.032459 | 0.10211
191.42 | 179.11 | 193.13 | 182.8 | 194.22 | 183.88
197.72 | 185.32 | 199.56 | 189.01 | 200.89 | 190.24
203.94 | 191.44 | 205.85 | 195.11 | 207.25 | 196.31
210.02 | 197.44 | 212.02 | 201.13 | 213.48 | 202.31
215.95 | 203.36 | 218.08 | 207.08 | 219.6 | 208.2
221.81 | 209.21 | 223.98 | 212.9 | 225.52 | 213.98
227.98 | 215.42 | 230.23 | 219.11 | 231.96 | 220.34
233.97 | 221.55 | 236.29 | 225.21 | 238.08 | 226.42
239.77 | 227.55 | 242.22 | 231.23 | 244.08 | 232.41
245.54 | 233.46 | 248.1 | 237.18 | 249.96 | 238.3
251.31 | 239.31 | 253.83 | 243 | 255.73 | 244.08
257.45 | 245.52 | 260.03 | 249.22 | 262.08 | 250.45
263.44 | 251.65 | 266.07 | 255.32 | 268.18 | 256.52
269.25 | 257.65 | 272.01 | 261.34 | 274.17 | 262.51
275.04 | 263.57 | 277.89 | 267.28 | 280.03 | 268.4
280.82 | 269.42 | 283.59 | 273.11 | 285.75 | 274.19
286.94 | 275.63 | 289.71 | 279.32 | 292.01 | 280.55
292.84 | 281.75 | 295.61 | 285.42 | 298.01 | 286.62
298.49 | 287.75

## comp page
Komyhr adjusted |  |  |  |  | IUP multiply |  |  |  |  | B&P B multiply |  |  |  |  | D&M multiply
261.3529 | 266.3486 | 261.4225 | 257.3314 | 260.1204 | 263.4075 | 276.2379 | 264.1164 | 253.5285 | 261.034 | 261.798 | 271.0927 | 262.2354 | 254.4813 | 259.9644 | 265.4677 | 278.549 | 264.3568 | 255.3905 | 260.7723
D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD | D083_TO3_C | D083_TO3_D | D083_TO3_A | D083_TO3_CD | D083_TO3_AD
260.36 | 260.8834 | 260.3387 | 260.2039 | 260.1119 | 262.4068 | 270.5698 | 263.0215 | 256.3585 | 261.0255 | 260.8034 | 265.5302 | 261.1483 | 257.3219 | 259.9559 | 264.4592 | 272.8335 | 263.2609 | 258.2413 | 260.7638
260.4871 | 260.4805 | 260.7599 | 260.7176 | 260.7623 | 262.5349 | 270.1519 | 263.4471 | 256.8646 | 261.6782 | 260.9307 | 265.1201 | 261.5708 | 257.8299 | 260.6059 | 264.5882 | 272.4121 | 263.6868 | 258.7511 | 261.4158
260.2063 | 262.1991 | 260.8416 | 258.7718 | 260.4275 | 262.2518 | 271.9344 | 263.5296 | 254.9476 | 261.3422 | 260.6494 | 266.8693 | 261.6527 | 255.9056 | 260.2713 | 264.303 | 274.2095 | 263.7694 | 256.82 | 261.0802
260.3066 | 262.6004 | 260.7878 | 258.5983 | 260.2637 | 262.353 | 272.3506 | 263.4752 | 254.7767 | 261.1778 | 260.7499 | 267.2778 | 261.5987 | 255.7341 | 260.1076 | 264.4049 | 274.6292 | 263.715 | 256.6478 | 260.916
260.7925 | 263.2082 | 260.8441 | 258.9617 | 260.1832 | 262.8427 | 272.9809 | 263.5321 | 255.1347 | 261.097 | 261.2366 | 267.8964 | 261.6552 | 256.0934 | 260.0272 | 264.8984 | 275.2648 | 263.7719 | 257.0084 | 260.8353
260.55 | 262.1586 | 260.8423 | 259.3579 | 260.461 | 262.5983 | 271.8923 | 263.5303 | 255.525 | 261.3759 | 260.9937 | 266.8281 | 261.6534 | 256.4852 | 260.3049 | 264.6521 | 274.1671 | 263.7702 | 257.4016 | 261.1138
260.7661 | 264.3795 | 260.9691 | 257.9248 | 260.0458 | 262.8161 | 274.1957 | 263.6584 | 254.1131 | 260.9591 | 261.2102 | 269.0886 | 261.7806 | 255.068 | 259.8898 | 264.8716 | 276.4898 | 263.8984 | 255.9794 | 260.6975
261.0389 | 264.7351 | 260.7015 | 258.1171 | 259.6195 | 263.091 | 274.5645 | 263.388 | 254.3026 | 260.5313 | 261.4834 | 269.4505 | 261.5121 | 255.2582 | 259.4638 | 265.1487 | 276.8616 | 263.6277 | 256.1702 | 260.2701
261.1713 | 264.04 | 260.9277 | 258.9127 | 260.0898 | 263.2244 | 273.8436 | 263.6166 | 255.0864 | 261.0033 | 261.616 | 268.743 | 261.7391 | 256.045 | 259.9338 | 265.2831 | 276.1347 | 263.8565 | 256.9598 | 260.7417
260.8519 | 265.1845 | 261.1373 | 257.3914 | 260.0581 | 262.9025 | 275.0305 | 263.8284 | 253.5876 | 260.9715 | 261.2961 | 269.9078 | 261.9494 | 254.5406 | 259.9022 | 264.9588 | 277.3316 | 264.0685 | 255.45 | 260.7099
261.045 | 264.7791 | 261.5059 | 258.0642 | 260.6314 | 263.0971 | 274.6102 | 264.2008 | 254.2505 | 261.5468 | 261.4895 | 269.4953 | 262.3191 | 255.2059 | 260.4751 | 265.1549 | 276.9077 | 264.4412 | 256.1177 | 261.2846
260.6854 | 265.8353 | 261.3166 | 256.5444 | 260.1188 | 262.7348 | 275.7055 | 264.0095 | 252.7531 | 261.0324 | 261.1294 | 270.5702 | 262.1292 | 253.703 | 259.9628 | 264.7897 | 278.0122 | 264.2497 | 254.6094 | 260.7708
260.673 | 265.5644 | 261.3915 | 256.7368 | 260.2859 | 262.7222 | 275.4246 | 264.0852 | 252.9427 | 261.2001 | 261.1169 | 270.2946 | 262.2043 | 253.8932 | 260.1298 | 264.7771 | 277.7289 | 264.3255 | 254.8003 | 260.9382
260.6407 | 265.0579 | 261.5079 | 257.086 | 260.5666 | 262.6897 | 274.8992 | 264.2027 | 253.2867 | 261.4817 | 261.0846 | 269.779 | 262.3211 | 254.2385 | 260.4103 | 264.7443 | 277.1992 | 264.4432 | 255.1469 | 261.2196
261.1667 | 266.6795 | 261.6599 | 256.7149 | 260.3361 | 263.2199 | 276.5811 | 264.3563 | 252.921 | 261.2505 | 261.6115 | 271.4295 | 262.4735 | 253.8715 | 260.18 | 265.2786 | 278.8951 | 264.5969 | 254.7785 | 260.9886
260.9254 | 266.1215 | 261.1783 | 256.7278 | 259.8758 | 262.9767 | 276.0024 | 263.8698 | 252.9338 | 260.7885 | 261.3698 | 270.8615 | 261.9905 | 253.8843 | 259.7199 | 265.0335 | 278.3115 | 264.11 | 254.7914 | 260.5271
259.9314 | 266.874 | 260.7583 | 254.3073 | 259.1505 | 261.9748 | 276.7829 | 263.4454 | 250.5491 | 260.0607 | 260.3741 | 271.6275 | 261.5692 | 251.4907 | 258.9951 | 264.0238 | 279.0985 | 263.6852 | 252.3892 | 259.8
260.2521 | 265.4425 | 260.7479 | 256.0527 | 259.5122 | 262.298 | 275.2982 | 263.4349 | 252.2687 | 260.4237 | 260.6953 | 270.1705 | 261.5587 | 253.2167 | 259.3566 | 264.3495 | 277.6015 | 263.6747 | 254.1214 | 260.1626
260.9854 | 264.275 | 260.7265 | 258.3322 | 259.791 | 263.0371 | 274.0873 | 263.4134 | 254.5145 | 260.7035 | 261.4298 | 268.9822 | 261.5373 | 255.4709 | 259.6353 | 265.0943 | 276.3805 | 263.6531 | 256.3837 | 260.4421
260.5736 | 267.4475 | 261.0211 | 254.9976 | 259.3347 | 262.622 | 277.3776 | 263.711 | 251.2291 | 260.2456 | 261.0173 | 272.2112 | 261.8328 | 252.1732 | 259.1792 | 264.6761 | 279.6983 | 263.951 | 253.0742 | 259.9847
260.6674 | 265.9348 | 260.9137 | 256.3984 | 259.595 | 262.7166 | 275.8087 | 263.6024 | 252.6093 | 260.5068 | 261.1113 | 270.6715 | 261.725 | 253.5585 | 259.4393 | 264.7714 | 278.1163 | 263.8423 | 254.4645 | 260.2456
260.7799 | 264.9752 | 261.1855 | 257.3825 | 260.189 | 262.83 | 274.8136 | 263.8771 | 253.5788 | 261.1029 | 261.224 | 269.6949 | 261.9977 | 254.5317 | 260.033 | 264.8856 | 277.1128 | 264.1172 | 255.4411 | 260.8411
260.9529 | 267.5313 | 260.748 | 255.6121 | 258.9702 | 263.0043 | 277.4645 | 263.435 | 251.8346 | 259.8798 | 261.3973 | 272.2965 | 261.5588 | 252.7809 | 258.8149 | 265.0613 | 279.7859 | 263.6748 | 253.6841 | 259.6192
261.2296 | 265.1754 | 260.7404 | 258.0324 | 259.5763 | 263.2832 | 275.0211 | 263.4273 | 254.2191 | 260.488 | 261.6745 | 269.8986 | 261.5512 | 255.1745 | 259.4207 | 265.3424 | 277.3221 | 263.6671 | 256.0862 | 260.2269
261.6629 | 263.5727 | 260.9504 | 260.1233 | 260.2601 | 263.7199 | 273.359 | 263.6395 | 256.2791 | 261.1743 | 262.1085 | 268.2674 | 261.7618 | 257.2422 | 260.1041 | 265.7825 | 275.646 | 263.8794 | 258.1612 | 260.9124
261.6654 | 264.3534 | 260.8406 | 259.4905 | 259.9182 | 263.7224 | 274.1686 | 263.5286 | 255.6556 | 260.8311 | 262.111 | 269.062 | 261.6517 | 256.6164 | 259.7623 | 265.7851 | 276.4624 | 263.7684 | 257.5332 | 260.5696
261.2344 | 264.6053 | 261.2888 | 258.5019 | 260.418 | 263.288 | 274.4299 | 263.9814 | 254.6817 | 261.3327 | 261.6792 | 269.3183 | 262.1013 | 255.6388 | 260.2618 | 265.3473 | 276.7259 | 264.2216 | 256.5521 | 261.0707
261.0283 | 265.9216 | 261.4085 | 257.0544 | 260.2255 | 263.0803 | 275.795 | 264.1023 | 253.2556 | 261.1395 | 261.4728 | 270.6581 | 262.2214 | 254.2073 | 260.0695 | 265.1379 | 278.1025 | 264.3427 | 255.1155 | 260.8777
261.9727 | 269.4774 | 262.3191 | 255.8653 | 260.447 | 264.0321 | 279.4829 | 265.0223 | 252.0841 | 261.3618 | 262.4188 | 274.2773 | 263.1348 | 253.0314 | 260.2909 | 266.0972 | 281.8212 | 265.2635 | 253.9354 | 261.0998
261.6413 | 268.8273 | 261.6858 | 255.7931 | 259.8183 | 263.6981 | 278.8086 | 264.3825 | 252.0129 | 260.7309 | 262.0868 | 273.6156 | 262.4995 | 252.96 | 259.6625 | 265.7605 | 281.1413 | 264.6231 | 253.8638 | 260.4695
261.8252 | 267.8144 | 261.9142 | 256.9518 | 260.3711 | 263.8835 | 277.7582 | 264.6133 | 253.1545 | 261.2856 | 262.2711 | 272.5847 | 262.7287 | 254.1058 | 260.2149 | 265.9474 | 280.082 | 264.8541 | 255.0137 | 261.0236
262.568 | 268.3605 | 262.3154 | 257.8544 | 260.7346 | 264.6321 | 278.3245 | 265.0186 | 254.0438 | 261.6504 | 263.0151 | 273.1405 | 263.1311 | 254.9985 | 260.5783 | 266.7018 | 280.6531 | 265.2598 | 255.9095 | 261.3881
262.2694 | 268.6063 | 261.8066 | 257.1119 | 260.0288 | 264.3312 | 278.5794 | 264.5045 | 253.3122 | 260.9421 | 262.716 | 273.3906 | 262.6207 | 254.2642 | 259.8729 | 266.3986 | 280.9101 | 264.7453 | 255.1726 | 260.6805
263.3897 | 268.555 | 262.2101 | 259.1866 | 260.5512 | 265.4603 | 278.5263 | 264.9122 | 255.3562 | 261.4663 | 263.8383 | 273.3385 | 263.0255 | 256.3158 | 260.395 | 267.5366 | 280.8565 | 265.1533 | 257.2316 | 261.2042
261.7871 | 268.2103 | 262.4435 | 256.5586 | 260.9357 | 263.8451 | 278.1687 | 265.148 | 252.7671 | 261.8522 | 262.2329 | 272.9876 | 263.2596 | 253.717 | 260.7792 | 265.9087 | 280.496 | 265.3893 | 254.6235 | 261.5897
263.3383 | 271.6089 | 262.5077 | 256.6042 | 260.1291 | 265.4085 | 281.6935 | 265.2129 | 252.8121 | 261.0428 | 263.7868 | 276.4467 | 263.324 | 253.7621 | 259.9731 | 267.4843 | 284.0503 | 265.4542 | 254.6688 | 260.7811
262.1252 | 268.6955 | 261.6479 | 256.7763 | 259.8058 | 264.1859 | 278.672 | 264.3443 | 252.9815 | 260.7183 | 262.5716 | 273.4814 | 262.4616 | 253.9322 | 259.65 | 266.2521 | 281.0035 | 264.5848 | 254.8395 | 260.457
261.5536 | 265.4517 | 261.7654 | 258.3816 | 260.8013 | 263.6097 | 275.3078 | 264.463 | 254.5632 | 261.7173 | 261.999 | 270.1799 | 262.5794 | 255.5198 | 260.6449 | 265.6715 | 277.6111 | 264.7036 | 256.4327 | 261.4549
262.5443 | 270.2275 | 262.5036 | 256.288 | 260.4849 | 264.6082 | 280.2609 | 265.2087 | 252.5005 | 261.3998 | 262.9914 | 275.0407 | 263.3198 | 253.4494 | 260.3287 | 266.6778 | 282.6057 | 265.45 | 254.3549 | 261.1378
263.3681 | 272.7498 | 262.3214 | 255.7276 | 259.5966 | 265.4385 | 282.8768 | 265.0247 | 251.9483 | 260.5084 | 263.8165 | 277.6079 | 263.1371 | 252.8951 | 259.4409 | 267.5145 | 285.2434 | 265.2659 | 253.7987 | 260.2472
263.1206 | 272.9572 | 262.7748 | 255.1093 | 260.1143 | 265.1891 | 283.0919 | 265.4827 | 251.3392 | 261.0279 | 263.5687 | 277.819 | 263.592 | 252.2837 | 259.9583 | 267.2632 | 285.4604 | 265.7244 | 253.1851 | 260.7662
262.6896 | 275.0822 | 263.4881 | 252.5954 | 260.4589 | 264.7547 | 285.2958 | 266.2034 | 248.8624 | 261.3737 | 263.137 | 279.9819 | 264.3074 | 249.7976 | 260.3027 | 266.8254 | 287.6827 | 266.4456 | 250.6901 | 261.1117
264.0844 | 275.9364 | 263.2135 | 254.43 | 259.8897 | 266.1604 | 286.1817 | 265.926 | 250.67 | 260.8025 | 264.5341 | 280.8513 | 264.032 | 251.612 | 259.7339 | 268.2421 | 288.576 | 266.168 | 252.5109 | 260.5411
263.925 | 270.6288 | 262.5708 | 258.4654 | 260.4654 | 265.9998 | 280.677 | 265.2766 | 254.6457 | 261.3802 | 264.3745 | 275.4492 | 263.3873 | 255.6026 | 260.3092 | 268.0803 | 283.0253 | 265.518 | 256.5158 | 261.1182
264.566 | 276.2138 | 263.451 | 255.0778 | 260.1169 | 266.6459 | 286.4694 | 266.1659 | 251.3081 | 261.0306 | 265.0166 | 281.1336 | 264.2703 | 252.2525 | 259.961 | 268.7314 | 288.8661 | 266.4082 | 253.1538 | 260.7689
263.7175 | 271.1966 | 263.4505 | 257.6258 | 261.4267 | 265.7907 | 281.2659 | 266.1653 | 253.8185 | 262.3449 | 264.1666 | 276.027 | 264.2697 | 254.7723 | 261.2699 | 267.8695 | 283.6191 | 266.4076 | 255.6826 | 262.0819
263.0563 | 271.899 | 263.6502 | 255.8533 | 261.4952 | 265.1243 | 281.9944 | 266.3672 | 252.0722 | 262.4136 | 263.5043 | 276.742 | 264.4701 | 253.0195 | 261.3384 | 267.1979 | 284.3537 | 266.6096 | 253.9235 | 262.1506
263.2263 | 274.7074 | 263.7338 | 253.8733 | 260.8672 | 265.2956 | 284.9071 | 266.4516 | 250.1214 | 261.7834 | 263.6745 | 279.6004 | 264.5539 | 251.0614 | 260.7107 | 267.3705 | 287.2907 | 266.6941 | 251.9584 | 261.521
263.2599 | 275.0709 | 263.2756 | 253.6381 | 260.1944 | 265.3295 | 285.2841 | 265.9887 | 249.8897 | 261.1083 | 263.7083 | 279.9704 | 264.0943 | 250.8288 | 260.0384 | 267.4047 | 287.6709 | 266.2308 | 251.7249 | 260.8465
265.1492 | 275.2595 | 263.5565 | 256.9129 | 260.4995 | 267.2336 | 285.4797 | 266.2725 | 253.1162 | 261.4144 | 265.6007 | 280.1624 | 264.3761 | 254.0673 | 260.3433 | 269.3237 | 287.8682 | 266.5148 | 254.9751 | 261.1524
264.926 | 275.2748 | 263.7289 | 256.4952 | 260.713 | 267.0087 | 285.4955 | 266.4467 | 252.7047 | 261.6287 | 265.3771 | 280.1779 | 264.549 | 253.6543 | 260.5566 | 269.097 | 287.8841 | 266.6892 | 254.5606 | 261.3664
263.5633 | 268.1242 | 262.9276 | 259.8485 | 261.57 | 265.6353 | 278.0794 | 265.6371 | 256.0084 | 262.4887 | 264.0121 | 272.8999 | 263.7452 | 256.9704 | 261.4131 | 267.7129 | 280.4059 | 265.8789 | 257.8886 | 262.2255
266.1038 | 272.4497 | 263.7511 | 260.9344 | 261.4789 | 268.1957 | 282.5655 | 266.4691 | 257.0782 | 262.3973 | 266.5569 | 277.3025 | 264.5713 | 258.0443 | 261.3221 | 270.2933 | 284.9296 | 266.7116 | 258.9662 | 262.1342
263.464 | 269.5927 | 263.6026 | 258.4715 | 262.0378 | 265.5352 | 279.6024 | 266.319 | 254.6517 | 262.9581 | 263.9126 | 274.3946 | 264.4223 | 255.6086 | 261.8806 | 267.612 | 281.9417 | 266.5614 | 256.5219 | 262.6945
263.738 | 268.9112 | 263.3488 | 259.5238 | 261.8956 | 265.8113 | 278.8957 | 266.0626 | 255.6885 | 262.8155 | 264.1871 | 273.701 | 264.1677 | 256.6493 | 261.7386 | 267.8903 | 281.2291 | 266.3047 | 257.5663 | 262.552
274.1098 | 279.8987 | 262.9905 | 269.3938 | 258.5742 | 276.2646 | 290.2912 | 265.7007 | 265.4126 | 259.4824 | 274.5765 | 284.8842 | 263.8083 | 266.41 | 258.4192 | 278.4253 | 292.7199 | 265.9425 | 267.3619 | 259.2223
263.929 | 278.9271 | 263.8506 | 251.7092 | 259.9127 | 266.0038 | 289.2834 | 266.5696 | 247.9893 | 260.8256 | 264.3784 | 283.8952 | 264.6711 | 248.9212 | 259.7569 | 268.0843 | 291.7037 | 266.8122 | 249.8106 | 260.5641
263.8472 | 282.5478 | 264.1731 | 248.6105 | 259.3739 | 265.9214 | 293.0385 | 266.8954 | 244.9365 | 260.2849 | 264.2965 | 287.5804 | 264.9946 | 245.8569 | 259.2183 | 268.0012 | 295.4902 | 267.1383 | 246.7353 | 260.0239