## Slide 1: Aerosol Optical Properties Using long-term atmospheric aerosol optical measurements to study climate
Elisabeth Andrews
CIRES, University of Colorado, Boulder
NOAA/Global Monitoring Division
Mt. Lulin, Taiwan

## Slide 2
NOAA Global Monitoring Division
Objective: Long term measurements of background atmospheric constituents climate change, ozone depletion and air quality.
Measurements:
Greenhouse gases
Ozone/ozone-depleting gases
Solar/thermal radiation
Aerosols
{Established 1973}
GMD
Mauna Loa, HI

## Slide 3
Factors influencing climate change
Warming
Cooling
Global averages based on models, measurements and theory.
Aerosols ‘contribute the largest uncertainty to the total radiative forcing estimate’.
From IPCC, 2013
Gases
Aerosols

## Slide 4
Direct Aerosol Effect on Climate
Forward
scattering
particle
Absorbing
particle
Backward
scattering
particle
Surface cooling: sunlight is prevented from reaching the Earth’s surface
Atmospheric warming: energy is transferred as heat by absorbing particles.
Aerosol particles can also indirectly affect climate….

## Slide 5
SPO (1974)
SMO (1977)
MLO (1974)
BRW (1976)
These stations are far removed from human activities
 global background measurements
GMD’s Original 4 ‘baseline’ stations 1970s-1990s
But…aerosol/climate effects happen where the particles are…

## Slide 6
Where’s the aerosol?
SMO
MLO
BRW
SPO
not at NOAA’s baseline stations
Aerosol distribution is patchy due to source distribution and short residence times (order of 1 wk)
Modeled black carbon
(from Skeie et al., 2011)
Notes: Just 1 day, but gives indication of patchiness

## Slide 7
Aerosol group in NOAA/ESRL/GMD
Climate change calculations
Ground truth for remote sensing (e.g., satellites)
Evaluate/constrain models
Characterize the means, variabilities, and trends of climate-forcing properties of different types of aerosols
To understand the factors that control these properties.
Some applications:
Our approach:
Standardized suite of measurements and protocols
Globally distributed network (pristine and polluted sites)
Long-term permanent and shorter-term “mobile” sites
Bondville, IL

## Slide 8
Long-term Collaborative Aerosol Network, 2016
Wide range of environments and aerosol types
CGO
Nov. 2015
In Feb. 2017 we’ll be up to ~30 active sites.
Notes: Started adding regional sites in the 1990s

## Slide 9
Long-term Collaborative Aerosol Network, 2017

## Slide 10
10 meter high stack with rain hat
Pumps pull air through the stack and instruments
Super-isokinetic particle losses are minimized (except ultrafines)
Sample humidity <40% (heat and/or dilute)
Sample In
(~1000 lpm)
Sample out (filtered)
Instrument
Rack (30 lpm)
Stack
Heater
Pump Box (carbon vane pump +blower)
‘Sheath’ Airflow
(~850 lpm)
Definitely not to scale!
Surface Aerosol Sampling
Anmyeon-do, S. Korea
Anemometer
(WS/WD)

## Slide 11
Surface Aerosol Sampling
PSAP
Absorption
Inlet
Nephelometer
Scattering, backscattering
CPC
Number
Switched Impactors
Size cut (1 and 10 mm)
Pumpbox
Barrow, AK
Measurements made at low RH (<40%) and 1 min frequency

## Slide 12
Measured Parameters
Clean Region: 10 Mm-1 < Light extinction
Polluted Region: Light extinction > 60 Mm-1
Montseny: light extinction ~30 Mm-1
South Pole: light extinction ~0.5 Mm-1
Asia: light extinction ~ 100 Mm-1
These properties depend on AMOUNT of Aerosol:
Light absorption, sap
Light scattering, ssp
Back-scattering, sbsp
Light extinction, sext = ssp + sap
Number concentration, NCN

## Slide 13
Visibility  How far one can see (distance)
Light extinction inversely proportional to visibility  1/distance
Rocky Mountain National Park http://vista.cira.colostate.edu/views/
Mm-1 - What are these weird units?
sext = 20 Mm-1
sext = 200 Mm-1
Distance unit conversions  1 km = 0.001 Mm
(120 miles visibility)
(12 miles visibility)

## Slide 14
Derived aerosol optical properties
Backscatter fraction
Scattering Ångström exponent
Absorption Ångström exponent
Single scattering albedo
Angular dependence of scattering
Wavelength dependence of scattering
DON’T depend on amount of particles – dimensionless
Useful for comparing different sites, events
Used in climate forcing calculations
Additional hints about particle ‘nature’ (chemistry/microphysics)
Relative amount of absorption
Wavelength dependence of absorption
= f(extinction, backscatter fraction, single scattering albedo)
Aerosol
Radiative
Forcing
size
composition
composition

## Slide 15
Time for fun!
Climatology and trends in aerosol optical properties
Airborne measurements and satellite comparisons
Model-Measurement comparisons
Trinidad Head, CA
Storm Peak, CO
Good long term data:
consistent measurements (instruments and support)
good documentation (sampling and instrument changes)
regionally representative - local contamination removed

## Slide 16
Wide range in aerosol amount
No relationship between amount and “nature” of aerosol
Annual climatology from NOAA Collaborative Network
Polar
Mountain
Continental
Coastal
Important to measure regionally representative air masses.
scattering (Mm-1)
single-scattering albedo

## Slide 18
Particle concentration
Scattering
Black carbon
South Pole Aerosol Climatology: 1974 - 2014
Particle concentration instrument changed in ~1989
No statistically significant trends
Annual cycle in the different aerosol properties
Different parameters have different annual cycles  different sources/types of particles??
From Sheridan et al., 2015

## Slide 19
(Figure from Coen Collaud et al., 2013)
Based on data sets with >8 years
Trends not spatially homogenous
complex processes including emissions changes, transport, and transformation of aerosol particles.
Aerosol scattering has mostly decreased over last two decades in US
approximately -2% year-1
due to air pollution control laws?
The three US sites that see increases are high altitude sites in west
due to long-range Asian transport?
Long-term trends in aerosol properties
SPO
decreasing trends
increasing trends
statistically insignificant
Trends in aerosol light scattering
MLO
Notes: global to regional cycling of atmospheric constituents and natural and anthropogenic changes
validate past and present emission inventories
to test validity of models at different scales.
This is particularly true for aerosol species in order to quantify the effectiveness of past emission abatement strategies implemented in various countries and the influence of these on aerosol radiative forcing.
Need 10++ yrs to do a trend (weatherhead et al., 1998) length depends on variance (noise) in data and autocorrelation – more autocorrelation means longer time series is required.

## Slide 20
‘Long-term’ vertical Aerosol profiles
Aerosol Inlet
Nephelometer
PSAP
~600 profiles in OK over 8 yrs
~400 profiles in IL over 3 yrs
How well do surface measurements represent atmospheric aerosol aloft?
How do in situ measurements compare to remote sensing measurements?
Surface site
Airport

## Slide 21
Climatology of light scattering – vertical profiles
(From Andrews et al., 2011)
Data from Southern Great Plains site in Oklahoma

## Slide 22
Mean extinction profiles; the shaded areas are the standard deviations.
Based on 28 overlap flights.
Generally good agreement between airplane and satellite measurements
Satellite often overestimates extinction at lower altitudes.
Possible issues with CALIPSO’s cloud screening algorithm
Satellite doesn’t really detect aerosol in clean(ish) conditions (20–25 Mm−1).
Provides guidance on CALIPSO’s ability to retrieve aerosol extinction at sites around the globe
Satellite validation using in-situ aerosol profiles
Airplane
Satellite
(From Sheridan et al., 2012)
Data from Bondville site in Illinois
Notes: Remote-sensing retrieval products cannot be considered reliable until they have been independently validated
 In-situ aerosol measurements can be related back to physical standards; remotely-sensed aerosol properties can not be.

## Slide 23
  Models are used to predict climate forcing
  Models parameterize complex aerosol processes
  Aerosols are large source of model uncertainty
Latitude
Direct Aerosol Forcing (W m-2)
(from Myhre et al., 2013)
Why evaluate models?

## Slide 24
--emissions
--transport
--parameterization of atmospheric processes
wet/dry deposition
chemical transformation
aerosol water interaction
aerosol size and physical processes
--spatial resolution and topography
--assumptions about converting from chemical to optical properties
Why the model variability?

## Slide 25
Models Used in this Analysis
Model name | Gridbox size | Output Year
TM5 | 3.0° x 2.0° | 2010
GEOS-Chem | 2.4° x 2.0° | 2010
CAM5 | 2.4° x 1.9° | 2010
ECHAM6-SALSA | 1.8° x 1.9° | 2010
GEOS5-Globase | 1.25° x 1° | 2010
GEOS5-MERRAero | 0.6° x 0.5° | 2010
OsloCTM2 | 2.8° x 2.8° | 2008
GOCART | 2.5° x 2.0° | 2006*
MPIHAM | 1.8° x 0.9° | 2006*
SPRINTARS | 1.1° x 1.1° | 2006*
Models all participate in ‘AeroCom’ project

## Slide 26
Sites with aerosol light scattering and/or absorption (~65 sites)
Fewer sites than AERONET
Gaps in S. America, Africa, Middle East, Russia, Asia
In-situ Measurement Sites

## Slide 27
SPRINTARS-2006
CAM5-2010
MPIHAM-2006
GLOBASE-2010
ECHAM6-SALSA-2010
TM5_INSITU-2010
OSLO-CTM-2008
GOCART-2006
GEOS-CHEM-2010
Aerosol Annual Climatology: Aerosol Scattering
General pattern of scattering similar for models
Differences due to model input and conditions

## Slide 28
Aerosol Climatology: Big Picture
General pattern of absorption and scattering similar for models and in-situ measurements
Differences are observed for some sites
Absorption
Scattering
CAM5 output for AEROCOM P3 INSITU project

## Slide 29
SPRINTARS-2006
MPIHAM-2006
ECHAM6-SALSA-2010
GLOBASE-2010
CAM5-2010
TM5_INSITU-2010
OSLO CTM-2008
GEOS-CHEM-2010
GOCART-2006
lo
Some models see much darker aerosol in some source regions
  Model emissions/processing?
  Aerosol mass to optical property parameterization?
Aerosol Annual Climatology: Single Scattering Albedo

## Slide 30
MPIHAM-2006
CAM5-2010
TM5_INSITU-2010
OSLO CTM-2008
GOCART-2006
ECHAM6-SALSA-2010
GLOBASE-2010
GEOS-CHEM-2010
In-situ
In Asia, most models simulate darker aerosol (lower SSA) than is observed by the in-situ measurements.
SPRINTARS-2006
Aerosol Annual Climatology: Single Scattering Albedo

## Slide 31
Aerosol Annual Climatology: Absorption and Scattering
Model absorption
Measured absorption
Measured scattering
Model scattering
Models tend to over-predict absorption and scattering at mountain sites
Modeled absorption tends to be over-predicted
Scattering tends to be under-predicted (except at mountain sites)
More range (relatively) in model prediction of absorption than scattering
Vertical bar shows range of models, horizontal bar is measurement uncertainty based on Sherman et al. (2015), only 2010 model output (CAM5, ECHAM6-SALSA, GLOBASE, GEOS-CHEM, MERRAERO, TM5)

## Slide 32
Aerosol Annual Climatology: SSA and Ångström exponent
Model SSA
In-situ SSA
In-situ Ångström exponent
Model Ångström exponent
Model SSA tends to be lower (more absorbing) than in-situ SSA  partly driven by model under-prediction of scattering
Modelled Ångström exponents suggest larger particles than observed by in-situ measurements
Vertical bar shows range of model medians, horizontal bar is measurement uncertainty based on Sherman et al. (2015), only 2010 model output (CAM5, ECHAM6-SALSA, GLOBASE, GEOS-CHEM, MERRAERO, TM5)
.
Bigger particles
Darker particles
SSA>0.85

## Slide 33
Aerosol Seasonality: Scattering in the Arctic
Measurement median Model median
Seasonal comparisons can suggest indicate model processes to focus on.
For example: what is the modelled peak in summer at Barrow due to:
--Overestimating forest fire emissions?
--Underestimating removal processes?
Why are the models better in the European Arctic than the North American Arctic?
--Better transport details?
Notes: Models appear to be doing better in European Arctic (PAL and ZEP) than in North American Arctic (ALT and BRW)

## Slide 34
Aerosol ‘behavior’: Systematic variability
Systematic variability can provide information about how well the model is simulating aerosol aging processes, chemistry, sources, transport, etc.
For example, if models correctly simulate how two parameters co-vary but have the overall values wrong, then maybe they just need to tweak the emissions.
Alternatively, if models cannot simulate the observed co-variance then perhaps an atmospheric process (e.g., wet removal) is incorrectly parameterized.

## Slide 35
Single Scattering Albedo
Scattering Angstrom Exponent
Darker (more absorbing)
Smaller
Aerosol Behavior: Systematic Variability
In-situ data
Continental
Marine
Mountain
Arctic

## Slide 36
Aerosol Behavior: Systematic Variability
Single Scattering Albedo
Scattering Angstrom Exponent
In-situ
SSA
Scattering Angstrom Exponent
2010 Models
Model data exhibit similar overall relationships between SSA (chem) and SAE (size)
general pattern of decreasing SSA with increasing SAE
models tend to have darker, larger particles
Continental
Marine
Mountain
Arctic

## Slide 37
Aerosol Behavior: Systematic Variability
El Arenosillo, Spain (ARN)
Rural Oklahoma, USA (SGP)
Mt Waliguan, China (WLG)
Models and in-situ tend to agree at coastal sites (ARN)
Models tend to be darker than in-situ in Asia (WLG)
Mid-continental, rural sites may be hard to characterize this way (SGP)
In-situ
Model
Density of in-situ data

## Slide 38
Aerosol Behavior: Systematic Variability
Cazorla et al., 2013; Schmeisser et al. (to be submitted)
Relationships between aerosol optical parameters may indicate aerosol type/composition.
Absorption Angstrom Exponent
Scattering Angstrom Exponent
Continental
Marine
Mountain
Arctic
NOAA network in-situ data only
Smaller

## Slide 39
Aerosol Behavior: Systematic Variability
Absorption Angstrom Exponent
Scattering Angstrom Exponent
Model data exhibit very different relationships between AAE and SAE
differences amongst models
differences between models and insitu
Models
SAE
In-situ
AAE

## Slide 40
Conclusions
General:
Lots of fun to be had with long-term data
  Climatologies, trends, remote sensing validation…
Lots of in-situ data to be evaluated…more is always coming in…
Model evaluation
  models tend to see lower scattering than observations
  models tend to see darker, smaller aerosol than observations
  models have varying success in reproducing observed seasonality and co-variance amongst aerosol optical properties
  on-going research…stay tuned!
El Arenosillo, Spain
Cape Point,
South Africa
Gosan, South Korea

## Slide 41: THANK YOU!
Acknowledgements
John A. Ogren, Patrick Sheridan, Jim Wendell NOAA/ESRL/GMD
Derek Hageman, Anne Jefferson CIRES, University of Colorado
and
Our collaborators and technicians from all over the place
Cape San Juan, PR

## Slide 43
Extra stuff

## Slide 44
What’s an Aerosol??
Definition: Particle or liquid suspended in a gas.
0.01-100 micron (human hair is ~100 micron diameter)
For our optical measurements we mostly care about 0.1-10 micron particles
Aerosol Characteristics
Size
Composition
Shape

## Slide 45
Aerosols reflecting light back to space
Shadowed – solar radiation isn’t getting through plume
Extreme examples of direct aerosol effects
Dust storm in China
Volcanic eruption

## Slide 46
Aerosol Optical Properties - Absorption
Filter-based absorption measurements:
PSAP – Particle Soot Absorption Photometer
TAP – Tri-color Absorption Photometer
Aethalometer
MAAP – Multi-Angle Absorption Photometer
Light source
MAAP
TAP filters
These are on-line measurements

## Slide 47
Aerosol Optical Properties - Scattering
Nephelometer
particles scatter light in sensing volume
photomultiplier tubes detect scattered light
Common options:
Multiple wavelength
Angular dependence of scattering
Calibrated with gas like CO2

## Slide 48
Satellite/measurement comparison of extinction
In-situ extinction
CALIPSO extinction
Measurements at high altitude (> 2km)
Remote-sensing retrieval products cannot be considered reliable until they have been independently validated.
In-situ aerosol measurements can be related back to physical standards; remotely-sensed aerosol properties can not be.
In-situ data are a point measurement, CALIPSO is a regionally averaged value.
(From Andrews et al., 2011)
Notes: Statistical comparisons of long-term, in-situ extinction with space/time averaged satellite retrievals at altitude look pretty good.

## Slide 49: Humidity Dependence of Aerosol Forcing
Relative Humidity (%)
Radiative forcing efficiency (W m-2 AOD-1)
Depending on aerosol type, humidity can have strong influence on radiative forcing efficiency.
www.liquidimage.com
Some types of particles will interact with water, while others do not.
Clean Marine
Polluted
Dust
Continental
Polluted Marine
Puerto Rico?

## Slide 50
The co-variance observed between SSA and scattering for in-situ data is not necessarily reproduced by model output
Lower loading corresponds to darker (and smaller) particles
 preferential scavenging of large, scattering aerosol by clouds/precipitation?
Aerosol Behavior: Systematic Variability
Cabauw,
Netherlands
Montseny,
Spain
In-situ
Model
Density of in-situ data
Notes: Model curves (dashed lines). Model output tends to indicate lower SSA than in-situ data.
Note that shape of in-situ curve is often similar (APP, GRW), though not always (GSN)

## Slide 51
Models must include secondary formation processes (e.g., nucleation) to correctly represent aerosol number concentrations.
Models must correctly parameterize aerosol microphysics in order to properly simulate cloud formation and, hence, indirect forcing by aerosols.
(From Spracklen et al., 2010)
x
Observations
Modeled values, different assumptions
Barrow, AK
American Samoa
Trinidad Head, CA
Model/measurement comparison of number concentration
N (cm-3)
N (cm-3)
N (cm-3)
Notes: Black – primary emissions
Gray – primary +binary homogeneous nuc
Red – primary+ BHN + increased sulfate
Blue – primary+BHN+kinetic nucleation

## Slide 52
0
1
2
3
4
0
50
100
150
scattering (Mm
-1
)
alt (km)
0
1
2
3
4
0
50
100
150
scattering (Mm
-1
)
alt (km)
0
1
2
3
4
0
50
100
150
scattering (Mm
-1
)
alt (km)
light scattering (Mm-1)
No smoke detected
Smoke detected
Smoke detected aloft, but air is clear at surface
Cold front moves in
Date
Differences between surface and aircraft measurements - Los Alamos fire
Data from Southern Great Plains site in Oklahoma

## Slide 53: Airplane - Satellite comparison
6
5
1
4
3
2
Scattering (Mm-1)
Altitude (km)
Attenuated Backscatter (km-1 sr-1)
20070828
20070915
Airplane
Satellite
Airplane
Satellite
Satellite only detects aerosol above ~20 Mm-1
Difficult to detect aerosol in clean places
Satellite data from CALIPSO, Airplane data for NOAA Cessna

## Slide 54
Aerosol Forcing 101 (the primer)
What do we need to know? | WHY?
AEROSOL AMOUNT | Correlated with forcing
AEROSOL ‘DARKNESS’ | Determines the cooling/warming potential of particles
AEROSOL TYPE | Source identification/contribution
AEROSOL SIZE | Anthropogenic aerosol contribution Amount of incoming radiation lost to space
LOCATION | Aerosol forcing depends on the underlying surface and whether they are above or below clouds.

## Slide 55
Aerosol particles act as cloud nuclei
More particles =
more cloud droplets
smaller cloud droplets
clouds more reflective – more cooling
less rain?
Aerosols and Clouds
Shiptracks image
(M. King)

## Slide 56
Climatology of light scattering – vertical profiles

## Slide 57
Systematic Variability
Systematic relationships can provide information about particle types and processes
Trinidad Head, CA
Aerosol properties change with loading
changes in source
atmospheric processing
High loading = dominated by sea salt
Low loading – fog scavenging leaves small, dark particles?
Spring
Summer
Fall
Winter
Notes: One of those things

## Slide 58
System Design Considerations
Representative Data
Particle losses minimized
Temperature and humidity control
Remote from large local sources
Data Contamination
Stack height
Pump filters
‘Clean air’ sectors
Data Stream
1-min average
Tranferred to NOAA every 6h
Remote access
Weekly data QC
Robust archiving
Lamont, OK

## Slide 59
Long-term Remote Operations…
Daily data checks (station peeps+remote scientist)
Weekly quality control (data review and editing)
Remote access
Annual visits
Tons of documentation

## Slide 60
Sources of Local Contamination at SPO
Sheridan et al., AAQR 2015

## Slide 61
Dt=1 hour, r=0.96
Dt=3 hours, r=0.86
Dt=12 hours, r=0.68
Dt=24 hours, r=0.57
IZA scattering
Aerosol Persistence
Colors represent density of points
How well does a measurement at time ‘t’ represent a measurement at time t+Dt?
Scattering at t=t0
Scattering at t=t0+Dt

## Slide 62
(Anderson et al., 2003)
Autocorrelation Analysis
Lag is the time between measurements being compared (Dt).
‘r’ is the lag autocorrelation statistic.
Lag autocorrelation relationships for aerosol light scattering at Bondville, IL (rural continental site) and Spitzbergen (Arctic site)

## Slide 63
Applications of lag autocorrelation analysis
constrain comparisons by identification of expected ‘best case’ agreement between different data sources
determine whether data from different measurement platforms and models are internally consistent
identify influence of atmospheric processes based on different time scales
Lag
12 h
3 h
1 h

## Slide 64
Lag Autocorrelation of mountain sites – Short term
Lag Coefficient ‘r’
Lag time (hr)

## Slide 65
Model – Measurement comparison
Model#2
In-situ data
Model is better at middle of country (BND) than coast (THD) or Arctic (BRW)
effects of sub-grid variability
Model tends to over predict annual cycle strength