## Sheet1
MFRSR Inventory
20081120 Revision by Gary

In Service MFRSRs (and history)

Location	Head (hex)	Head (dec)	Head (sn)	Logger	Installed	Removed	Notes
EF-01	$ABC451A	180 110 618	Y0343	2121	20080722
EF-02	$AB9C8CA	179 947 722	Y0341	1717	20070518
	$AB9C8CA	179 947 722	Y0341	1772	20071016
EF-03	$ABC9B8B	180 132 747	B911	1761	20080826
EF-04	$AB95903	179 919 107	B925	2118	20080305
EF-05	$ABD3887	180 172 935	Y0320	2695	20070502
EF-06	$AB9ED6A	179 957 098	Y0370	2124	20080520
EF-07	$AB9F0D0	179 957 968	B916	1716	20080924
EF-08	$AB89C2F	179 870 767	Y0324	1759	20070501
EF-09	$ABC5195	180 113 813	B924	1764	20080304
EF-10	$ABB6997	180 054 423	B242	2126	20080305
EF-11	$ABCA176	180 134 262	Y0344	1760	20080722
EF-12	$AB9E17D	179 954 045	B902	2119	20080821
EF-13	$ABC9CC1	180 133 057	Y0322	2695	20070208
	$ABC9CC1	180 133 057	Y0322	1461	20070314
EF-15	$AB8D992	179 886 482	Y0436	1758	20080306
EF-16	$AB9E987	179 956 103	Y0346	1767	20080312
EF-18	$ABCA392	180 134 802	Y0312	2127	20080731
EF-19	$ABB7202	180 056 578	Y0345	1717	20080313
EF-20	$ABD3A2B	180 173 355	Y0227	1766	20080801
EF-22	$AB9EDEB	179 957 227	Y0321	1765 (0)	20070815		Logger ID not being read
EF-24	$AB8EA80	179 956 352	Y0226	1768	20080724
EF-27	$AB8DAFE	179 886 826	Y0225	2125	20080807

NSA C1	$AB9F142	179 958 082	240	Yankee			Rebuilt head on modified Yankee logger
NSA C2	$AB89C2F	179 919 100	235	Yankee			Rebuilt head on modified Yankee logger

TWP C1	$5945		B922c
TWP C2	$F922		B905c
TWP C3	$2847		Y0430i

AMF M1	$5F01		B241c	Yank $B265
AMF S1	$1CEC		Y0437i	Yank $3DB2
AMF spare 1	$0DB7		B917c	Yank $A353
AMF spare 2

Available MFRSR Heads, Calibrated/Characterized
$AB9F075	179 957 877	Y0314

Assembled MFRSR Heads, Need further work
None

In Service MFRs
SGP 10m	$BD8E			Yank $EF62			Standard MFRSR head
SGP 25m	$0A40			Yank $A713			Standard MFRSR head

NSA C1	$EA01			Yank $BD15
NSA C2	$E3CF			Yank $B9C8

Available MFR Heads, Calibrated/Characterized
$AB9E25A	179 954 266					With RACORO I believe
$ABCA37F	180 134 783					With RACORO I believe
$ABCA373					Not sure if this is real or a typo

Empty MFR cans
4 or 5

In Service NIMFRs
SGP C1	$5A1F			Yank $B432

NSA C1	$AB8991D			Yank $A713			Rebuilt head on modified Yankee logger
NSA C2	$AB9F1F8			Yank $B074			Rebuilt head on modified Yankee logger

Available NIMFR Heads, Calibrated/Characterized
None

Empty NIMFR cans
8		One is in Boulder. There should be 8 tubes as well. All tubes are at SGP.

Available Parts/Components

CR1000 Loggers
1461	In Use @ E13
1716	In Use @ E7
1717	In Use @ E19
1758	In Use @ E15
1759	In Use @ E8
1760	In Use @ E11
1761	In Use @ E3
1764	In Use @ E9
1765	In Use @ E22
1766	In Use @ E20
1767	In Use @ E16
1768	In Use @ E24
1772	In Use @ E2
1915	In Boulder
2118	In Use @ E4
2119	In Use @ E12
2121	In Use @ E1
2124	In Use @ E6
2125	In Use @ E27
2126	In Use @ E10
2127	In Use @ E18
2695	In Use @ E5
????	Available
????	Available
????	Available
????	Available
????	Available
????	Available
????	Available
????	Available

Heater Boards
Available	3
Need Repair	1
Need Assembly	0

Motor Controllers
Available	11
Need Repair	0
Need Assembly	0

Assembled cubes (w/detectors)
63		Need gain resisters added

Loose filter detectors
415	8
500	10
615	10
673	10
870	10
940	10

Band Motors
7	Complete
11	Stepper motor only
0	Sensor board
5	Empty housing

Miscellaneous Components
?/?	Yankee Crow's foot / PNL base
?	Power Supply
?	Fiberglass Enclosure
?	Signal cable
?	Motor cable

All MFRSR Heads by Serial Number

B200			Test Head. ID Unknown
Y0225	$AB8DAFE	179 886 826	Rebuilt, No desiccant on can
Y0226	$AB8EA80	179 956 352	Rebuilt, No desiccant on can
Y0227	$ABD3A2B	180 173 355	Rebuilt, No desiccant on can
B229	$732E
B230cc	$649A
B235	$AB89C2F	179 919 100	Rebuilt
B236	$689A
B240c	$AB9F142	179 958 082	Rebuilt
B241c	$5F01		Operating
B242cc	$ABB6997	180 054 423	Rebuilt
B243cc	$68E8
B244	$FBB8
B245	????
B246cc	$72E7
B247cc	$F927
Y0312	$ABCA392	180 134 802	Rebuilt
Y0314	$AB9F075	179 957 877	Rebuilt
Y0320	$ABD3887	180 172 935	Rebuilt
Y0321	$AB9EDEB	179 957 227	Rebuilt
Y0322	$ABC9CC1	180 133 057	Rebuilt
Y0324	$AB89C2F	179 870 767	Rebuilt
Y0325	$B1D3
Y0330	$BDBA
Y0341	$AB9C8CA	179 947 722	Rebuilt
Y0342	$B40D
Y0343	$ABC451A	180 110 618	Rebuilt
Y0344	$ABCA176	180 134 262	Rebuilt
Y0345	$ABB7202	180 056 578	Rebuilt
Y0346	$AB9E987	179 956 103	Rebuilt
Y0347	$BF60
Y0348	$BFF0
Y0349	$B588
Y0350	$B9EE
Y0351	$BEAA
Y0368	$B0BC
Y0369	$BE76
Y0370	$AB9ED6A	179 957 098	Rebuilt
Y0371	$BFA3
Y0372	$C100
Y0373	$B3A8
Y0374	$C170
Y0375	$B92C
Y0425i	$B467
Y0426i	$47C9
Y0430i	$2847		Operating
Y0433i	$1316
Y0436	$AB8D992	179 886 482	Rebuilt
Y0437i	$1CEC		Was $29C8, Operating
Y0438i	$2310
Y0439i	$4023
Y0440i	$1050
Y0442i	$D221
Y0445i	$B237
Y0446i	$F4AD
B902	$AB9E17D	179 954 045
B903	$B06A
B905c	$F922		Was $BFA0, Operating
B907	$FB46
B908	$F265
B911	$ABC9B8B	180 132 747
B914cc	$F460
B915	$BD66
B916c	$AB9F0D0	179 957 968
B917c	$0DB7		Was $B164, Operating
B918	$66FC
B919cc	$649C
B920cc	$0C7E
B921c	$BD8E
B922c	$5945		Operating
B923c	$681E
B924	$ABC5195	180 113 813	Rebuilt
B925	$AB95903	179 919 107	Rebuilt
B926c	$F07D
B991	$5AE6		Old design. One glass in diffuser assembly. Not suitable to use without modification
B992	$59C8		Old design. One glass in diffuser assembly. Not suitable to use without modification

????	$AB9E17D	179 954 045	Rebuilt

Heads thought to be owned by other groups, but listed here in case they pop up
Y201	Basic Energy Sciences (BEZ)
Y204	BEZ
Y219	BEZ
B237	BEZ
B248
B901	BEZ
B907	BEZ
B909	BEZ
B911	BEZ
B912	BEZ
B913	BEZ

Yankee Loggers