- AS

  - (T) Test

    - (S) System

    - (F) Flow

    - (C) Compression

    - (V) Valve

    - (B) Bypass

    - (M) Monitor

    - (G) GPS

    - (A) Altimeter

    - (Q) Quit

  - (S) Setup

    - (S) Sample Plan

      - (A) Add

      - (D) Delete

      - (L) List

      - (Q) Quit

    - (L) Limits

      - (P) Plan

      - (S) Sampling

      - (T) Test

      - (D) Default

      - (L) List

      - (Q) Quit

    - (D) Date

    - (C) Site Code

    - (Q) Quit

  - (P) Prep

    - (O) Open all flasks

    - (C) Close all flasks

    - (Q) Quit

  - (M) Manual

    - (P) Position

    - (S) Start

      - Sample (1-12):

      - Do you wish to proceed with Sampling? (Y/N):

    - (G) GPS

    - (M) Met Start/Stop

      - Met sampling not running – start it now? (Y/N):

    - (Q) Quit

  - (H) History

    - (N) Number

    - (U) Unit

    - (S) Setup Limits

    - (A) Altitude

    - (L) Location

    - (T) Time

    - (G) GPS

    - (P) Prefill

    - (F) Fill

    - (E) Error flags

    - (C) Conditions

    - (D) Datalog

    - (Q) Quit

  - (U) Unload

    - (O) Open

      - Sample (1-12):

    - (C) Close

      - Sample (1-12):

    - (P) Manifold Pressure

    - (S) Site Code

    - (N) Serial Number

    - (Q) Quit

  - (C) Calibrate

    - (P) Pressure

      - (N)ew calibration, or (E)dit last calibration?:

    - (S) Supply

    - (V) Valve

    - (L) List

    - (M) Monitor

    - (B) Bogus

    - (Q) Quit

  - (F) Fix Memory

    - (F) Fix

      - !Warning this operation will update all checksums! Go for it? (Y/N):

    - (I) Init

      - !Warning this operation will clear all memory! Do it? Do it now? (Y/N):

    - (C) Check

    - (N) Serial Number

    - (T) Test Bypass

    - (Q) Quit