## Lamp test Sample
Dobson Spectrophotometer Lamp Tests |  |  |  | Observatory |  | sample station
|  |  |  | Instrument No. |  | 123456
Mercury Lamp Test |  |  | Standard Lamp Test
Date | 2014-08-01 |  | Date |  | 2014-08-01
Inst. Temp. | Start | 27 | Lamp Number |  | Q1 | Q2
| End | 27.5 | Inst. Temp. |  | 27 | 27
| Mean | 27.25 | Room Temp. |  | 26 | 26
Q1 | (1) | 80.8 | Voltage Value |  | 24 | 24
| (2) | 88.1 | λ λ A | R | 25 | 25
Mean Q1 |  | 84.45 |  | R | 25.1 | 25
Q1 | (1) | 80.7 |  | R | 25 | 24.9
| (2) | 88.1 | λ λ C | R | 25 | 25
Mean Q1 |  | 84.4 |  | R | 25 | 25
Q1 | (1) | 80.8 |  | R | 25 | 25
| (2) | 88.1 | λ λ D | R | 25 | 24.9
Mean Q1 |  | 84.45 |  | R | 25.1 | 25
Q1 | (1) | 80.7 |  | R | 25 | 25
| (2) | 88 | Mean R A |  | 25.0333 | 24.9667
Mean Q1 |  | 84.35 | Mean R C |  | 25 | 25
Q1 | (1) | 80.7 | Mean R D |  | 25.0333 | 24.9667
| (2) | 88.1 | Calculation of Standard Lamp Corrections
Mean Q1 |  | 84.4 |  |  | Ref.N | Test N | Dif. N
Mean Q1 from Above |  | 84.41 | Lamp # | λ λ A | 12.6 | 12.5 | 0.1
|  |  |  | λ λ C | 16.4 | 16.5 | -0.1
Q1 Value from Table |  | 84.6 |  | λ λ D | 19.6 | 19.3 | 0.3
|  |  | Lamp # | λ λ A | 12.5 | 12.5 | 0
ΔQ1 |  | 0.19 |  | λ λ C | 16.3 | 16.5 | -0.2
|  |  |  | λ λ D | 19.3 | 19.3 | 0
When ΔQ1 is greater than 0.2 degrees (+ or -), it means that the Q1 Table of wavelength settings needs to be adjusted. See the WMO Report No.6, Page 73. |  |  | The Standard Lamp Correction is calculated by using the Mean ΔN of Two (2) Lamps.
[5 empty] | λ λ A = | 0.05
The Correction to the Table of Q1 Wavelength Settings is calculated as follows:- λ λ ΔQ1 Const. Corr'n A . . . . x 0.67 = . . . . . . C . . . . x 0.99 = . . . . . . D . . . . x 0.97 = . . . . . . |  |  |  |  | λ λ C = | -0.15
[5 empty] | λ λ D = | 0.15
If only ONE (1) Standard Lamp was tested, then the Lamp Correction will be derived from the ΔN of that Lamp.
Note: Input to a color frame.

## Lamp test Input
Dobson Spectrophotometer Lamp Tests |  |  |  | Observatory |  | G.C QUETTA
|  |  |  | Instrument No. |  | #100
Mercury Lamp Test |  |  | Standard Lamp Test
Date | 2015-09-07 |  | Date |  | 2015-09-07
Inst. Temp. | Start | 30.5 | Lamp Number
| End | 31 | Inst. Temp. |  | 31 | 31
| Mean | 30.75 | Room Temp. |  | 31 | 31
Q1 | (1) | 76 | Voltage Value
| (2) | 92 | λ λ A | R | 31.5 | 31.5
Mean Q1 |  | 84 |  | R | 32.5 | 31
Q1 | (1) | 76 |  | R | 32 | 32
| (2) | 92.5 | λ λ C | R | 36 | 36
Mean Q1 |  | 84.25 |  | R | 37 | 36
Q1 | (1) | 76 |  | R | 36.5 | 36
| (2) | 93 | λ λ D | R | 44.5 | 44
Mean Q1 |  | 84.5 |  | R | 44.5 | 44
Q1 | (1) | 76 |  | R | 44.5 | 44.5
| (2) | 92.5 | Mean R A |  | 32 | 31.5
Mean Q1 |  | 84.25 | Mean R C |  | 36.5 | 36
Q1 | (1) | 76 | Mean R D |  | 44.5 | 44.1667
| (2) | 92.5 | Calculation of Standard Lamp Corrections
Mean Q1 |  | 84.25 |  |  | Ref.N | Test N | Dif. N
Mean Q1 from Above |  | 84.25 | Lamp # | λ λ A | 10 | 18.3 | -8.3
|  |  |  | λ λ C | 15.7 | 23.4 | -7.7
Q1 Value from Table |  | 84.1 |  | λ λ D | 17.9 | 23.4 | -5.5
|  |  | Lamp # | λ λ A
ΔQ1 |  | -0.15 |  | λ λ C
λ λ D
When ΔQ1 is greater than 0.2 degrees (+ or -), it means that the Q1 Table of wavelength settings needs to be adjusted. See the WMO Report No.6, Page 73. |  |  | The Standard Lamp Correction is calculated by using the Mean ΔN of Two (2) Lamps.
[5 empty] | λ λ A = | -8.3
The Correction to the Table of Q1 Wavelength Settings is calculated as follows:- λ λ ΔQ1 Const. Corr'n A . . . . x 0.67 = . . . . . . C . . . . x 0.99 = . . . . . . D . . . . x 0.97 = . . . . . . |  |  |  |  | λ λ C = | -7.7
[5 empty] | λ λ D = | -5.5
If only ONE (1) Standard Lamp was tested, then the Lamp Correction will be derived from the ΔN of that Lamp.
Note: Input to a color frame.
There is a problem here. The differenc e is 16 units -- the normal difference is ~7 units. These numbers look more like the mercury test was performed with the long-short selector rod pushed in , so the long line of mercury was being measured through slit s3. The normal test, with the rod out is 312.9NM through Slit S2.
All of the mumbers entered on this form end in X.0 or X.5. The readings can be estimated to the 0.1 -- a magnifying hand lense can be very useful. The 0.1 precision is very important for the mercury test.
What lamp numbers were used? The reference values are by lamp number.
The Reference values for 100Q1 are used as an example only.

## Total Ozone Sample
Observatory | SAPPORO
Instrument No. | 126
Year | 2014
Date | ColumnO3
2014-01-01
2014-01-02
2014-01-03 | 376
2014-01-04 | 378
2014-01-05 | 372
2014-01-06 | 366
2014-01-07 | 366
2014-01-08 | 370
2014-01-09 | 414
2014-01-10 | 372
2014-01-11 | 427
2014-01-12
2014-01-13
2014-01-14 | 409
2014-01-15 | 397
2014-01-16 | 420
2014-01-17
2014-01-18 | 394
2014-01-19 | 378
2014-01-20 | 390
2014-01-21
2014-01-22 | 401
2014-01-23
2014-01-24 | 386
2014-01-25 | 371
2014-01-26
2014-01-27 | 388
2014-01-28 | 365
2014-01-29 | 407
2014-01-30 | 384
2014-01-31 | 420
2014-02-01 | 414
2014-02-02 | 373
2014-02-03 | 398
2014-02-04 | 422
2014-02-05 | 478
2014-02-06 | 459
2014-02-07
2014-02-08 | 385
2014-02-09 | 405
2014-02-10 | 388
2014-02-11 | 384
2014-02-12 | 355
2014-02-13 | 358
2014-02-14 | 377
2014-02-15 | 368
2014-02-16
2014-02-17
2014-02-18
2014-02-19 | 418
2014-02-20 | 433
2014-02-21
2014-02-22 | 408
2014-02-23 | 404
2014-02-24 | 392
2014-02-25 | 405
2014-02-26 | 350
2014-02-27 | 341
2014-02-28 | 355
2014-03-01 | 342
2014-03-02 | 361
2014-03-03 | 424
2014-03-04 | 406
2014-03-05 | 420
2014-03-06
2014-03-07
2014-03-08 | 471
2014-03-09 | 439
2014-03-10 | 452
2014-03-11 | 462
2014-03-12 | 446
2014-03-13 | 419
2014-03-14 | 424
2014-03-15 | 464
2014-03-16 | 417
2014-03-17 | 395
2014-03-18 | 414
2014-03-19 | 388
2014-03-20 | 386
2014-03-21 | 418
2014-03-22
2014-03-23 | 412
2014-03-24 | 389
2014-03-25 | 419
2014-03-26 | 368
2014-03-27 | 417
2014-03-28 | 396
2014-03-29 | 369
2014-03-30 | 364
2014-03-31 | 384
2014-04-01 | 383
2014-04-02 | 378
2014-04-03 | 386
2014-04-04
2014-04-05 | 435
2014-04-06 | 436
2014-04-07 | 426
2014-04-08 | 389
2014-04-09 | 389
2014-04-10 | 423
2014-04-11 | 457
2014-04-12 | 444
2014-04-13 | 404
2014-04-14 | 365
2014-04-15 | 375
2014-04-16 | 417
2014-04-17 | 430
2014-04-18 | 404
2014-04-19 | 378
2014-04-20 | 369
2014-04-21 | 407
2014-04-22 | 408
2014-04-23 | 412
2014-04-24 | 403
2014-04-25 | 382
2014-04-26 | 364
2014-04-27 | 362
2014-04-28 | 386
2014-04-29 | 374
2014-04-30 | 373
2014-05-01 | 367
2014-05-02 | 346
2014-05-03 | 361
2014-05-04 | 394
2014-05-05 | 372
2014-05-06 | 397
2014-05-07 | 425
2014-05-08 | 415
2014-05-09 | 440
2014-05-10 | 416
2014-05-11 | 365
2014-05-12 | 340
2014-05-13 | 374
2014-05-14 | 391
2014-05-15 | 356
2014-05-16
2014-05-17
2014-05-18 | 381
2014-05-19 | 391
2014-05-20 | 363
2014-05-21 | 343
2014-05-22 | 366
2014-05-23 | 398
2014-05-24 | 375
2014-05-25 | 365
2014-05-26 | 344
2014-05-27 | 359
2014-05-28 | 377
2014-05-29 | 373
2014-05-30 | 379
2014-05-31 | 359
2014-06-01 | 351
2014-06-02 | 349
2014-06-03 | 344
2014-06-04 | 346
2014-06-05 | 321
2014-06-06 | 331
2014-06-07 | 320
2014-06-08 | 310
2014-06-09 | 310
2014-06-10 | 328
2014-06-11 | 334
2014-06-12 | 347
2014-06-13
2014-06-14 | 367
2014-06-15 | 351
2014-06-16 | 361
2014-06-17 | 361
2014-06-18 | 378
2014-06-19 | 364
2014-06-20 | 357
2014-06-21 | 347
2014-06-22 | 357
2014-06-23 | 356
2014-06-24 | 364
2014-06-25 | 359
2014-06-26 | 355
2014-06-27 | 352
2014-06-28 | 366
2014-06-29 | 354
2014-06-30 | 360
2014-07-01 | 341
2014-07-02 | 351
2014-07-03 | 361
2014-07-04 | 349
2014-07-05 | 352
2014-07-06 | 344
2014-07-07 | 338
2014-07-08 | 328
2014-07-09 | 312
2014-07-10 | 315
2014-07-11 | 315
2014-07-12 | 335
2014-07-13 | 338
2014-07-14 | 316
2014-07-15 | 326
2014-07-16 | 315
2014-07-17 | 333
2014-07-18 | 342
2014-07-19 | 334
2014-07-20 | 336
2014-07-21 | 312
2014-07-22 | 298
2014-07-23 | 312
2014-07-24 | 302
2014-07-25 | 301
2014-07-26 | 290
2014-07-27 | 293
2014-07-28 | 313
2014-07-29 | 309
2014-07-30 | 311
2014-07-31 | 309
2014-08-01 | 308
2014-08-02 | 304
2014-08-03 | 282
2014-08-04 | 277
2014-08-05
2014-08-06 | 299
2014-08-07
2014-08-08 | 297
2014-08-09 | 313
2014-08-10 | 299
2014-08-11 | 294
2014-08-12 | 299
2014-08-13 | 324
2014-08-14 | 295
2014-08-15 | 282
2014-08-16 | 296
2014-08-17 | 291
2014-08-18 | 288
2014-08-19
2014-08-20 | 291
2014-08-21 | 304
2014-08-22 | 303
2014-08-23 | 313
2014-08-24 | 310
2014-08-25 | 314
2014-08-26 | 303
2014-08-27 | 308
2014-08-28 | 315
2014-08-29 | 325
2014-08-30 | 316
2014-08-31 | 319
2014-09-01 | 316
2014-09-02 | 326
2014-09-03 | 310
2014-09-04
2014-09-05 | 295
2014-09-06 | 297
2014-09-07 | 306
2014-09-08 | 308
2014-09-09 | 313
2014-09-10 | 316
2014-09-11 | 316
2014-09-12 | 329
2014-09-13 | 333
2014-09-14 | 330
2014-09-15 | 300
2014-09-16 | 326
2014-09-17 | 332
2014-09-18 | 352
2014-09-19 | 334
2014-09-20 | 330
2014-09-21 | 322
2014-09-22 | 320
2014-09-23 | 310
2014-09-24 | 299
2014-09-25 | 288
2014-09-26 | 309
2014-09-27 | 310
2014-09-28 | 312
2014-09-29 | 289
2014-09-30 | 288
2014-10-01
2014-10-02
2014-10-03
2014-10-04
2014-10-05
2014-10-06
2014-10-07
2014-10-08
2014-10-09
2014-10-10
2014-10-11
2014-10-12
2014-10-13
2014-10-14
2014-10-15
2014-10-16
2014-10-17
2014-10-18
2014-10-19
2014-10-20
2014-10-21
2014-10-22
2014-10-23
2014-10-24
2014-10-25
2014-10-26
2014-10-27
2014-10-28
2014-10-29
2014-10-30
2014-10-31
2014-11-01
2014-11-02
2014-11-03
2014-11-04
2014-11-05
2014-11-06
2014-11-07
2014-11-08
2014-11-09
2014-11-10
2014-11-11
2014-11-12
2014-11-13
2014-11-14
2014-11-15
2014-11-16
2014-11-17
2014-11-18
2014-11-19
2014-11-20
2014-11-21
2014-11-22
2014-11-23
2014-11-24
2014-11-25
2014-11-26
2014-11-27
2014-11-28
2014-11-29
2014-11-30
2014-12-01
2014-12-02
2014-12-03
2014-12-04
2014-12-05
2014-12-06
2014-12-07
2014-12-08
2014-12-09
2014-12-10
2014-12-11
2014-12-12
2014-12-13
2014-12-14
2014-12-15
2014-12-16
2014-12-17
2014-12-18
2014-12-19
2014-12-20
2014-12-21
2014-12-22
2014-12-23
2014-12-24
2014-12-25
2014-12-26
2014-12-27
2014-12-28
2014-12-29
2014-12-30
2014-12-31

## Total Ozone Input
Observatory | G.C Quetta, Pakistan
Instrument No. | #100
Year | 2014
Date | ColumnO3
2014-01-01 | 296.8
2014-01-02 | 295.4
2014-01-03 | -
2014-01-04 | 281.4
2014-01-05 | 296.6
2014-01-06 | 325.2
2014-01-07 | -
2014-01-08 | -
2014-01-09 | -
2014-01-10 | -
2014-01-11 | -
2014-01-12 | -
2014-01-13 | -
2014-01-14 | -
2014-01-15 | -
2014-01-16 | -
2014-01-17 | -
2014-01-18 | -
2014-01-19 | 298.6
2014-01-20 | -
2014-01-21 | 304.7
2014-01-22 | 312.2
2014-01-23 | 305.4
2014-01-24 | 304
2014-01-25 | -
2014-01-26 | 308
2014-01-27 | 283.8
2014-01-28 | 286.6
2014-01-29 | 282.8
2014-01-30 | 266.2
2014-01-31 | 287
2014-02-01 | -
2014-02-02 | -
2014-02-03 | -
2014-02-04 | -
2014-02-05 | -
2014-02-06 | -
2014-02-07 | -
2014-02-08 | 276.8
2014-02-09 | 257
2014-02-10 | 283.6
2014-02-11 | 255.2
2014-02-12 | 286.8
2014-02-13 | 268.3
2014-02-14 | 265.8
2014-02-15 | 274.1
2014-02-16 | 265.6
2014-02-17 | 267.3
2014-02-18 | -
2014-02-19 | 262.7
2014-02-20 | 270.8
2014-02-21 | 290.4
2014-02-22 | 316.5
2014-02-23 | 307.3
2014-02-24 | 286.6
2014-02-25 | 291.6
2014-02-26 | 278.2
2014-02-27 | 284.8
2014-02-28 | 294
2014-03-01 | 283.5
2014-03-02 | -
2014-03-03 | 275.2
2014-03-04 | -
2014-03-05 | 333
2014-03-06 | 349
2014-03-07 | 294.6
2014-03-08 | -
2014-03-09 | -
2014-03-10 | 297.8
2014-03-11 | 305.3
2014-03-12 | 298.6
2014-03-13 | 316.1
2014-03-14 | 303.6
2014-03-15 | 325
2014-03-16 | 317.5
2014-03-17 | 267
2014-03-18 | 307.5
2014-03-19 | 380.5
2014-03-20 | 284
2014-03-21 | 296
2014-03-22 | 239
2014-03-23 | -
2014-03-24 | 375
2014-03-25 | 291.5
2014-03-26 | 287.6
2014-03-27 | -
2014-03-28 | -
2014-03-29 | 250
2014-03-30 | -
2014-03-31 | 271.8
2014-04-01 | 320.2
2014-04-02 | 281
2014-04-03 | 279.2
2014-04-04 | 331
2014-04-05 | -
2014-04-06 | -
2014-04-07 | 263.8
2014-04-08 | 294
2014-04-09 | 292.1
2014-04-10 | 311.7
2014-04-11 | 288.1
2014-04-12 | -
2014-04-13 | -
2014-04-14 | 304
2014-04-15 | 285.5
2014-04-16 | 304.8
2014-04-17 | 322.1
2014-04-18 | 322
2014-04-19 | 297.3
2014-04-20 | -
2014-04-21 | -
2014-04-22 | 294.2
2014-04-23 | 304.7
2014-04-24 | 298.5
2014-04-25 | 272.6
2014-04-26 | 351.5
2014-04-27 | 329
2014-04-28 | 310.5
2014-04-29 | 308.8
2014-04-30 | 286.1
2014-05-01 | 299.6
2014-05-02 | 283
2014-05-03 | -
2014-05-04 | -
2014-05-05 | 288.3
2014-05-06 | 291.5
2014-05-07 | 291.6
2014-05-08 | 296
2014-05-09 | 296.4
2014-05-10 | -
2014-05-11 | -
2014-05-12 | 278
2014-05-13 | 279.7
2014-05-14 | 274.6
2014-05-15 | -
2014-05-16 | -
2014-05-17 | -
2014-05-18 | -
2014-05-19 | 280
2014-05-20 | 298.6
2014-05-21 | 296
2014-05-22 | 307
2014-05-23 | 304.1
2014-05-24 | 284.3
2014-05-25 | 285.6
2014-05-26 | 268.2
2014-05-27 | 271
2014-05-28 | -
2014-05-29 | 261.8
2014-05-30 | -
2014-05-31 | 279.1
2014-06-01 | 269
2014-06-02 | 272.8
2014-06-03 | 276.4
2014-06-04 | 272.6
2014-06-05 | 270.8
2014-06-06 | 269.8
2014-06-07 | 285.6
2014-06-08 | 290.6
2014-06-09 | 284
2014-06-10 | 277
2014-06-11 | 271
2014-06-12 | 271
2014-06-13 | 276.3
2014-06-14 | 252
2014-06-15 | 246
2014-06-16 | 227
2014-06-17 | -
2014-06-18 | 246
2014-06-19 | 234
2014-06-20 | 246
2014-06-21 | 266
2014-06-22 | 252
2014-06-23 | 250
2014-06-24 | 262
2014-06-25 | 289
2014-06-26 | 277
2014-06-27 | 277
2014-06-28 | 289
2014-06-29 | 270
2014-06-30 | 290
2014-07-01 | 302
2014-07-02 | -
2014-07-03 | -
2014-07-04 | -
2014-07-05 | 302
2014-07-06 | 302
2014-07-07 | 289
2014-07-08 | 289
2014-07-09 | 291
2014-07-10 | 287
2014-07-11 | 282
2014-07-12 | 288.2
2014-07-13 | 287
2014-07-14 | 287
2014-07-15 | 278
2014-07-16 | 284.6
2014-07-17 | -
2014-07-18 | -
2014-07-19 | 279
2014-07-20 | -
2014-07-21 | 291
2014-07-22 | 281
2014-07-23 | 297
2014-07-24 | 295
2014-07-25 | 296.5
2014-07-26 | 299.3
2014-07-27 | 297.3
2014-07-28 | 306.6
2014-07-29 | 298.3
2014-07-30 | 300.3
2014-07-31 | 291
2014-08-01 | 288.3
2014-08-02 | 298
2014-08-03 | 301.3
2014-08-04 | 294
2014-08-05 | 292
2014-08-06 | 298.6
2014-08-07 | 274.3
2014-08-08 | 280.5
2014-08-09 | -
2014-08-10 | -
2014-08-11 | 276.3
2014-08-12 | 278.6
2014-08-13 | -
2014-08-14 | 301
2014-08-15 | 280.5
2014-08-16 | -
2014-08-17 | -
2014-08-18 | 282
2014-08-19 | 262.6
2014-08-20 | 271
2014-08-21 | 266.2
2014-08-22 | 275.6
2014-08-23 | 271.3
2014-08-24 | 270.5
2014-08-25 | -
2014-08-26 | 273
2014-08-27 | -
2014-08-28 | 258.5
2014-08-29 | -
2014-08-30 | -
2014-08-31 | 280
2014-09-01 | 278
2014-09-02 | -
2014-09-03 | 282.5
2014-09-04 | 275.3
2014-09-05 | 272.8
2014-09-06 | 275.1
2014-09-07 | 272
2014-09-08 | 274.7
2014-09-09 | -
2014-09-10 | 260.8
2014-09-11 | 269.7
2014-09-12 | 279.2
2014-09-13 | 269.8
2014-09-14 | 269.2
2014-09-15 | 264.4
2014-09-16 | 266
2014-09-17 | 253.5
2014-09-18 | 270.4
2014-09-19 | 268.2
2014-09-20 | 266
2014-09-21 | 269.3
2014-09-22 | 274.8
2014-09-23 | 267.2
2014-09-24 | 276.2
2014-09-25 | 271
2014-09-26 | 269
2014-09-27 | -
2014-09-28 | 260
2014-09-29 | 248.8
2014-09-30 | 264.7
2014-10-01 | 269.2
2014-10-02 | 269.6
2014-10-03 | 272.4
2014-10-04 | 268
2014-10-05 | 270.4
2014-10-06 | -
2014-10-07 | -
2014-10-08 | -
2014-10-09 | 261
2014-10-10 | 276.7
2014-10-11 | -
2014-10-12 | -
2014-10-13 | -
2014-10-14 | 259.4
2014-10-15 | 259.4
2014-10-16 | 262
2014-10-17 | -
2014-10-18 | -
2014-10-19 | -
2014-10-20 | -
2014-10-21 | -
2014-10-22 | -
2014-10-23 | -
2014-10-24 | -
2014-10-25 | -
2014-10-26 | -
2014-10-27 | 261
2014-10-28 | 241
2014-10-29 | 242
2014-10-30 | 256.8
2014-10-31 | 263.3
2014-11-01 | 266.1
2014-11-02 | 268.6
2014-11-03 | -
2014-11-04 | -
2014-11-05 | 278.6
2014-11-06 | -
2014-11-07 | 252
2014-11-08 | 271.1
2014-11-09 | 253
2014-11-10 | 273.6
2014-11-11 | 271.6
2014-11-12 | 272.5
2014-11-13 | 257
2014-11-14 | 276.5
2014-11-15 | 266.2
2014-11-16 | 264.2
2014-11-17 | 262
2014-11-18 | 264.8
2014-11-19 | 265
2014-11-20 | 269.8
2014-11-21 | 267.8
2014-11-22 | 274.2
2014-11-23 | -
2014-11-24 | 268
2014-11-25 | 251.3
2014-11-26 | 242
2014-11-27 | 254.3
2014-11-28 | 255.2
2014-11-29 | -
2014-11-30 | -
2014-12-01 | 266.8
2014-12-02 | 278.6
2014-12-03 | 275.7
2014-12-04 | 275.4
2014-12-05 | 288
2014-12-06 | 262.8
2014-12-07 | 258
2014-12-08 | 267.5
2014-12-09 | 266.6
2014-12-10 | 260
2014-12-11 | 268
2014-12-12 | -
2014-12-13 | 260
2014-12-14 | -
2014-12-15 | 266
2014-12-16 | 264
2014-12-17 | 256.5
2014-12-18 | 256
2014-12-19 | 255.5
2014-12-20 | 258
2014-12-21 | -
2014-12-22 | -
2014-12-23 | 261.5
2014-12-24 | -
2014-12-25 | -
2014-12-26 | 262
2014-12-27 | -
2014-12-28 | 260.6
2014-12-29 | 273
2014-12-30 | 265.2
2014-12-31 | 252.4

## RtoN0603.100
The map of R-dial readings to N-values is in this file
...\CD100\JMA Dobson Software\Windobson\DATA_D100\Information\RtoN0603.100
RtoN0603.100 2006-03-17
0 | -94 | -89 | -170
1 | -85 | -80 | -161
2 | -75 | -72 | -151
3 | -66 | -63 | -142
4 | -57 | -54 | -133
5 | -47 | -45 | -123
6 | -38 | -37 | -114
7 | -30 | -28 | -105
8 | -22 | -19 | -96
9 | -14 | -10 | -87
10 | -6 | -1 | -79
11 | 3 | 7 | -70
12 | 11 | 16 | -61
13 | 19 | 26 | -52
14 | 27 | 35 | -43
15 | 35 | 44 | -35
16 | 43 | 53 | -26
17 | 51 | 62 | -17
18 | 59 | 71 | -8
19 | 67 | 81 | 1
20 | 75 | 90 | 10
21 | 84 | 99 | 19
22 | 92 | 108 | 28
23 | 100 | 118 | 37
24 | 110 | 127 | 46
25 | 119 | 135 | 55
26 | 128 | 144 | 64
27 | 137 | 153 | 73
28 | 146 | 162 | 83
29 | 155 | 171 | 92
30 | 164 | 179 | 101
31 | 174 | 188 | 111
32 | 183 | 196 | 120
33 | 192 | 204 | 130
34 | 201 | 213 | 139
35 | 211 | 221 | 148
36 | 220 | 230 | 157
37 | 229 | 239 | 167
38 | 238 | 247 | 176
39 | 247 | 256 | 185
40 | 256 | 264 | 194
41 | 264 | 273 | 203
42 | 273 | 283 | 212
43 | 282 | 292 | 221
44 | 291 | 301 | 230
45 | 299 | 310 | 239
46 | 308 | 320 | 248
47 | 317 | 329 | 257
48 | 325 | 339 | 266
49 | 334 | 349 | 275
50 | 343 | 359 | 284
51 | 352 | 368 | 293
52 | 361 | 378 | 302
53 | 370 | 388 | 311
54 | 379 | 397 | 321
55 | 388 | 407 | 330
56 | 397 | 417 | 340
57 | 406 | 426 | 350
58 | 416 | 435 | 359
59 | 426 | 445 | 369
60 | 435 | 454 | 379
61 | 445 | 463 | 389
62 | 454 | 473 | 399
63 | 464 | 482 | 410
64 | 474 | 491 | 420
65 | 484 | 500 | 430
66 | 494 | 509 | 440
67 | 504 | 518 | 450
68 | 514 | 527 | 460
69 | 524 | 536 | 470
70 | 534 | 545 | 480
71 | 544 | 555 | 489
72 | 554 | 564 | 499
73 | 563 | 574 | 509
74 | 573 | 584 | 518
75 | 583 | 594 | 528
76 | 592 | 603 | 538
77 | 602 | 613 | 547
78 | 611 | 624 | 557
79 | 621 | 634 | 567
80 | 630 | 645 | 577
81 | 639 | 655 | 586
82 | 649 | 666 | 596
83 | 658 | 676 | 606
84 | 668 | 686 | 616
85 | 677 | 697 | 626
86 | 687 | 707 | 636
87 | 697 | 717 | 646
88 | 706 | 727 | 656
89 | 717 | 737 | 666
90 | 727 | 746 | 676
91 | 737 | 756 | 686
92 | 747 | 765 | 697
93 | 758 | 775 | 707
94 | 768 | 784 | 717
95 | 779 | 793 | 728
96 | 789 | 802 | 738
97 | 800 | 812 | 748
98 | 811 | 821 | 758
99 | 820 | 831 | 768
100 | 830 | 841 | 778
101 | 840 | 850 | 788
102 | 850 | 860 | 798
103 | 860 | 870 | 808
104 | 870 | 881 | 818
105 | 879 | 891 | 828
106 | 889 | 901 | 838
107 | 898 | 912 | 847
108 | 908 | 922 | 857
109 | 917 | 933 | 867
110 | 926 | 943 | 876
111 | 936 | 954 | 886
112 | 945 | 964 | 896
113 | 955 | 974 | 905
114 | 964 | 984 | 915
115 | 974 | 994 | 925
116 | 984 | 1004 | 934
117 | 994 | 1014 | 944
118 | 1004 | 1024 | 954
119 | 1014 | 1033 | 964
120 | 1025 | 1043 | 974
121 | 1035 | 1052 | 984
122 | 1045 | 1062 | 994
123 | 1056 | 1072 | 1005
124 | 1066 | 1081 | 1015
125 | 1076 | 1091 | 1025
126 | 1086 | 1100 | 1035
127 | 1096 | 1110 | 1045
128 | 1106 | 1119 | 1055
129 | 1116 | 1129 | 1065
130 | 1126 | 1139 | 1074
131 | 1135 | 1149 | 1084
132 | 1145 | 1159 | 1094
133 | 1155 | 1169 | 1104
134 | 1164 | 1179 | 1113
135 | 1174 | 1189 | 1123
136 | 1184 | 1199 | 1132
137 | 1193 | 1209 | 1142
138 | 1203 | 1219 | 1152
139 | 1213 | 1229 | 1162
140 | 1223 | 1239 | 1172
141 | 1233 | 1249 | 1181
142 | 1243 | 1258 | 1191
143 | 1252 | 1268 | 1201
144 | 1263 | 1278 | 1211
145 | 1273 | 1288 | 1221
146 | 1283 | 1298 | 1230
147 | 1293 | 1308 | 1240
148 | 1303 | 1318 | 1250
149 | 1313 | 1328 | 1260
150 | 1324 | 1338 | 1270
151 | 1334 | 1348 | 1280
152 | 1344 | 1358 | 1290
153 | 1354 | 1368 | 1300
154 | 1364 | 1378 | 1310
155 | 1374 | 1388 | 1320
156 | 1384 | 1398 | 1330
157 | 1394 | 1408 | 1340
158 | 1403 | 1418 | 1350
159 | 1413 | 1428 | 1360
160 | 1423 | 1438 | 1370
161 | 1432 | 1448 | 1380
162 | 1442 | 1458 | 1390
163 | 1452 | 1468 | 1399
164 | 1461 | 1477 | 1409
165 | 1471 | 1487 | 1419
166 | 1480 | 1496 | 1429
167 | 1490 | 1506 | 1439
168 | 1500 | 1515 | 1449
169 | 1509 | 1525 | 1459
170 | 1519 | 1534 | 1468
171 | 1529 | 1544 | 1478
172 | 1538 | 1553 | 1488
173 | 1548 | 1563 | 1497
174 | 1558 | 1572 | 1507
175 | 1567 | 1582 | 1516
176 | 1577 | 1592 | 1526
177 | 1587 | 1602 | 1535
178 | 1597 | 1611 | 1545
179 | 1607 | 1621 | 1554
180 | 1616 | 1631 | 1564
181 | 1626 | 1641 | 1573
182 | 1636 | 1651 | 1583
183 | 1646 | 1661 | 1592
184 | 1656 | 1671 | 1602
185 | 1665 | 1681 | 1611
186 | 1675 | 1691 | 1621
187 | 1685 | 1701 | 1631
188 | 1695 | 1711 | 1640
189 | 1705 | 1721 | 1650
190 | 1714 | 1731 | 1660
191 | 1724 | 1741 | 1669
192 | 1734 | 1751 | 1679
193 | 1744 | 1760 | 1689
194 | 1753 | 1770 | 1699
195 | 1763 | 1780 | 1708
196 | 1773 | 1789 | 1718
197 | 1784 | 1799 | 1728
198 | 1794 | 1808 | 1738
199 | 1804 | 1817 | 1748
200 | 1815 | 1827 | 1758
201 | 1825 | 1836 | 1768
202 | 1836 | 1846 | 1778
203 | 1846 | 1855 | 1788
204 | 1857 | 1865 | 1798
205 | 1867 | 1874 | 1808
206 | 1877 | 1884 | 1818
207 | 1887 | 1894 | 1828
208 | 1897 | 1904 | 1838
209 | 1908 | 1914 | 1847
210 | 1917 | 1924 | 1857
211 | 1927 | 1934 | 1867
212 | 1936 | 1944 | 1877
213 | 1946 | 1955 | 1887
214 | 1955 | 1965 | 1896
215 | 1965 | 1975 | 1906
216 | 1974 | 1985 | 1915
217 | 1984 | 1995 | 1925
218 | 1993 | 2006 | 1934
219 | 2003 | 2016 | 1944
220 | 2012 | 2026 | 1953
221 | 2023 | 2036 | 1963
222 | 2033 | 2046 | 1972
223 | 2043 | 2057 | 1982
224 | 2053 | 2067 | 1992
225 | 2063 | 2077 | 2002
226 | 2074 | 2086 | 2012
227 | 2085 | 2096 | 2022
228 | 2096 | 2106 | 2032
229 | 2107 | 2116 | 2042
230 | 2118 | 2126 | 2052
231 | 2128 | 2135 | 2063
232 | 2139 | 2145 | 2073
233 | 2150 | 2154 | 2083
234 | 2161 | 2164 | 2093
235 | 2170 | 2173 | 2103
236 | 2180 | 2183 | 2113
237 | 2190 | 2192 | 2123
238 | 2200 | 2202 | 2133
239 | 2210 | 2211 | 2143
240 | 2219 | 2221 | 2153
241 | 2228 | 2231 | 2162
242 | 2238 | 2240 | 2172
243 | 2247 | 2250 | 2182
244 | 2257 | 2260 | 2191
245 | 2266 | 2270 | 2201
246 | 2276 | 2280 | 2211
247 | 2285 | 2291 | 2220
248 | 2295 | 2301 | 2230
249 | 2305 | 2311 | 2240
250 | 2314 | 2322 | 2250
251 | 2324 | 2333 | 2260
252 | 2335 | 2343 | 2270
253 | 2345 | 2354 | 2280
254 | 2355 | 2365 | 2290
255 | 2366 | 2375 | 2301
256 | 2376 | 2386 | 2311
257 | 2387 | 2396 | 2321
258 | 2398 | 2406 | 2332
259 | 2409 | 2417 | 2342
260 | 2420 | 2426 | 2352
261 | 2431 | 2436 | 2363
262 | 2441 | 2446 | 2373
263 | 2452 | 2455 | 2383
264 | 2463 | 2465 | 2393
265 | 2473 | 2474 | 2403
266 | 2483 | 2484 | 2413
267 | 2493 | 2493 | 2423
268 | 2503 | 2503 | 2433
269 | 2513 | 2512 | 2443
270 | 2523 | 2522 | 2453
271 | 2533 | 2532 | 2462
272 | 2542 | 2542 | 2472
273 | 2552 | 2552 | 2482
274 | 2562 | 2562 | 2491
275 | 2571 | 2572 | 2501
276 | 2581 | 2583 | 2511
277 | 2591 | 2594 | 2521
278 | 2601 | 2604 | 2530
279 | 2610 | 2615 | 2540
280 | 2621 | 2626 | 2550
281 | 2631 | 2637 | 2560
282 | 2641 | 2648 | 2570
283 | 2652 | 2659 | 2581
284 | 2662 | 2670 | 2591
285 | 2673 | 2680 | 2602
286 | 2685 | 2690 | 2613
287 | 2696 | 2700 | 2624
288 | 2708 | 2710 | 2635
289 | 2720 | 2721 | 2646
290 | 2732 | 2730 | 2657
291 | 2744 | 2740 | 2669
292 | 2756 | 2750 | 2680
293 | 2768 | 2759 | 2691
294 | 2779 | 2769 | 2702
295 | 2790 | 2778 | 2714
296 | 2801 | 2788 | 2725
297 | 2812 | 2797 | 2736
298 | 2823 | 2807 | 2746
299 | 2833 | 2816 | 2757
300 | 2843 | 2826 | 2767
The file has four columns, the first is the R-dial reading (0 to 300), the second is the corresponding N-Value for the Wavelength A , the third for Wavelength C, and the fourth for wavelength D. All N-values are multipled by 10
For the first lamp R-dial reading 32 for the A gives N-value: 18.3
For the first lamp R-dial reading 36.5 for the C gives N-value: 23.4 by interpolation.
For the first lamp R-dial reading 44.5 for the D gives N-value: 23.4 by interpolation.

## reference lamps D100
The instrument and station parameters are in this file:
...\CD100\JMA Dobson Software\Windobson\DATA_D100\Information\PARA0604.100
I have extracted the reference lamps values section below -- The numbers are N-values
100Q1 | /*lamp number No3
100 /*reference value A
157 /*reference value C
179 /*reference value D
100Q2 | /*lamp number No1
103 /*reference value A
158 /*reference value C
179 /*reference value D
100Q3 | /*lamp number No2
102 /*reference value A
158 /*reference value C
179 /*reference value D
100Q4 | /*lamp number No4
104 /*reference value A
156 /*reference value C
174 /*reference value D
100Q5 | /*lamp number No5
108 /*reference value A
159 /*reference value C
176 /*reference value D
116J1 | /*lamp number No6
100 /*reference value A
158 /*reference value C
179 /*reference value D