## Sheet1
Measurement | Accuracy
Aerosol number concentration (NT) | 10%
Total aerosol size distribution (N(Dp), size range: 0.01<Dp<1 mm) | 10%
Cloud condensation nuclei (CCN) concentration (Nccn) as f(%SS) | 15%
CCN size distribution (Nccn(Dp) | 20%
Black carbon size distribution | 10%
Spectral aerosol absorption (size cuts: Dp<10 mm and Dp<1 mm) | 15%
Spectral aerosol scattering (size cuts: Dp<10 mm and Dp<1 mm) | 10%
Spectral aerosol backscattering (size cuts: Dp<10 mm and Dp<1 mm) | 10%
Spectral aerosol extinction (size cuts: Dp<10 mm and Dp<1 mm) | 10%
Aerosol hygroscopic growth (f(RH)) | 20%
Spectral aerosol optical depth | 5%
Aerosol chemical composition | NA
Ambient temperature | 3%
Ambient relative humidity | 3%
Ambient pressure | 1%
Wind direction | 5%
Wind speed | 5%
Updraft velocity | 10%
Parameters that can be calculated from these measurements include: Single scattering albedo, scattering and absorption Angstrom exponents, asymmetry parameter, radiative forcing efficiency, etc.
Items in red are measurements NOAA/ESRL/GMD aerosol group has not made on an airplane (although other groups (e.g., CSD), have or that we think would be useful.
Additionally, accuracy estimates are based on either instruments that NOAA aerosol group has used or on quick literature searches for instrument uncertainty estimates.
There may be more accurate instruments that can make these measurements, although often those are research grade instruments rather than operational, off the shelf items.